## Risk template
Occupational Health and Safety Baseline risk assessment template
Project/Dept. | Provision for civil work on MV/LV underground cables within Eskom Distribution Gauteng Cluster | [7 empty] | Department: | Contractor | [8 empty] | Next Review Date (every 2 years): |  | Template identifier: | 240-70044602
Date: | 04.10.2024 | [7 empty] | Prepared by: | Kgomotso Tlale |  |  | Name: | [7 empty] | Document identifier
[13 empty] | Designation: | [7 empty] | Revision number: | 3
[13 empty] | Signed: | [7 empty] | Revision date: | 2024-05-31
Date:
Refer to Occupational Health and Safety Risk assessment procedure 32-520
List activity | Hazard nr | Hazard Identification | Risk Nr | Associated risk | Risk type | Cause(s) of the risk | OHS opportunities | Exposed group/employees | Risk Owner | Exposure patterns | What are the possible consequences? |  |  | Risk Priority Rating |  | Exististing controls | Monitoring Mechanisms | Control Owner | Legal and Other Requirements | Target Date | Current Status | Integrated Risk Management (IRM) reference number
List specific activities to be performed taking into consideration the equipment to be used, the personnel involved in the task. | # | Anything with potential to cause of harm. Note: A hazard can pose more than one risk. | # | A chance that injury , ill health or damage could occur as a result of uncontrolled hazard. | Safety or health | What causes the risk to come into effect? | OH&S opportunities that can enhance OH&S performance and lead to hazard elimination and risk reduction. | Who is exposed to the hazard i.e. visitors, members of the public, etc. | Who is accountable for making sure the controls and monitors are: - in place, - implemented, - regularly reviewed for effectiveness. | The frequency and duration the person/group is exposed to the hazard e.g. Daily for 3 hrs. | Consider the worse case scenario without controls? | Consequence | Likelihood |  | RCE Risk Control Effectiveness | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) NB: The risk shall be evaluated, assessed and rated again once additional controls have been implemented. | How we know if we are succeeding. Include comments on effectiveness. This may include i.e. measurements, inspections, supervision where necessary. | Person allocated the responsibility for implementing the agreed controls | Where relevant, list the relevant legislative and or Eskom requirements that prescribe the control. | Once a date has been agreed to, this can not be changed | Pending, In Progress, Complete | Where applicable, add IRM system reference number for tracking of treatment actions.
Driving of vehicles | 1 | Driving on public roads | 1 | Motor vehicle accident | Safety | Not adhering nNational Road Regulations, Eskom Standards & Regulations |  | Employees, public members | Company Owner | Daily | Injuries, Property damage | 4 | 3 | II | P | Valid diriver's licence, vehicles in roadworthy condition, only transport authorised staff in vehicle, pre-trip checks,and obeying of all traffic laws, Adherence to life saving rules. Discuss in safety meetings | Reported incidents and insurance claims | Employer | National Road Safety Act. ESKOM Procedure 32-93 (Vehicle and driver safety management) . ESKOM Procedure 36-588 (Vehicle safety and transportation management) , Life saving rules
| 2 | Overspeeding of vehicles | 2 | Motor vehicle accident | Safety | Not adhering to speed limit by drives |  | Employees, public members | Company Owner | Daily | Injuries or property damage | 4 | 3 | II |  | Drivers to adhere to national traffic Act, Eskom Standards and Procedures company rules . | Report on speed violations | Employer | Eskom Procedure and National Traffic Regs
| 3 | Driving without safety belt | 3 | Severe Injuries when involved in an Accident | Safety | Not adhering to national road regulations and life saving rules |  | Employees | Company Owner | Daily | Injuries | 4 | 3 | II |  | Safety awareness and campaigns |  | Employer | National Road Safety Act. ESKOM Procedure 32-93 (Vehicle and driver safety management) . ESKOM Procedure 36-588 (Vehicle safety and transportation management) , Life saving rules
| 4 | Reversing / Reverse Parking of vehicle | 4 | Injuries and property damage | Safety | Failure to observe |  | Employees, visitors and members of the public | Company Owner | Daily | Injuries and property damage | 1 | 3 | III |  | Drivers to ensure good observation is maintained. request assistance if required. Heavy vehicles to be installed with reverse sensors and acoustic reversing alarms. | Incident Stats | Employer
| 5 | Personnel movement and vehicle within the premises | 5 | Injuries and property damage | Safety | Faillure of observation by drivers and pedesetrians |  | Employees and visitors | Company Owner | Daily | Injuries and property damage | 3 | 3 | II |  | Drivers to be always on the look-out for pedestrians and to ensure good observation is maintained |  | Employer
| 6 | Driving | 6 | Injuries and property damage | Safety | Not complying with national traffic act. Not ajusting to road and weather conditions. Making use of cellphone,driver fatique distractions. Pedestrians and live stock. Negligence and wreckless driving |  | Employees, visitors and members of the public | Company Owner | Daily | Injuries, Property damage | 4 | 3 | II | P | Staff driving vehicles to have national driver's license. Driver's to be medically fit. Vehicles in roadworthy condition. Pre-trip checks,and obeying of all traffic laws, adherence to life saving rules. Employees to rest before trips. | Incident records | Employer | National Road Safety Act. ESKOM Procedure 32-93 (Vehicle and driver safety management) . ESKOM Procedure 36-588 (Vehicle safety and transportation management) , Life saving rules
| 7 | Insects | 7 | Insects bites | Health | Insects disturbance, Weather conditions |  | Exposed group/employees | Company Owner | Daily | Experience burning, pain, itching, rediness, headache, rash, nausea, vomiting | 3 | 2 | III | P | OPERATIONAL CONTROL: Individuals to be aware of their status regarding allergies. Seek immediate emergency care for treatment. Treatment may include: Wash the area well with soap and water. Apply a cold or ice pack wrapped in a cloth, or a cold, wet washcloth to the site. Protect against infection. Elevate the site if the bite occured on an arm or leg (to help prevent swelling). PROGRAMME: SHE talks, medical surveillance and situational awereness. |  |  | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 85 of 1993 Section: 14 GENERAL DUTIES of EMPLOYER Subsection: (a) - (d) read with Section: 21 GENERAL PROHIBITIONS Subsection: (c)
Working in the field | 1 | Bees | 1 | Bee stings | Health | Employees with Anaphylaxis for bee stings are especially at high risk |  | Exposed group/employees | Company Owner | Daily | Allergic reaction ie. pain, redness. swelling, itching, sweating, anxiety, dizziness or fainting. Possible fatality. | 3 | 2 | III | P | Individuals to be aware of their status regarding allergies and inform rest of group. In the case of a bee sting, make use of a first aider. |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 85 of 1993 Section: 14 GENERAL DUTIES of EMPLOYER Subsection: (a) - (d) read with Section: 21 GENERAL PROHIBITIONS Subsection: (c)
| 2 | Snakes | 2 | Snake bites | Health | Working in the field, vegetation & weather condition |  | Exposed group/employees | Company Owner | Daily | Shock, fever, fainting, rapid pulse and breathing difficulties and worse case fatality. | 3 | 2 | III | P | Leave snakes alone. Always be aware of your surroundings. Stay out of tall grass unless you wear thick leather boots.Keep hands and feet out of areas you cannot see. It is very important to try and note what the snake looked like (colour, size etc).... to assist Medical Services or treating physician to establish what anti-venom to administer |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 85 of 1993 Section: 14 GENERAL DUTIES of EMPLOYER Subsection: (a) - (d) read with Section: 21 GENERAL PROHIBITIONS Subsection: (c)
| 3 | Wet or slippery or uneven surfaces | 3 | Slip, Trip & Fall on wet floors or uneven surfaces | Safety | Weather conditions,not paying attention & un even surface |  | Exposed group/employees | Company Owner | Daily | Injury | 3 | 3 | II | P | Obey barricades & sign posting, PPE to be worn, be aware of where you are stepping, clean up spills immediately, Safety talks & Risk Assesment | Records | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) section 8 (1): Employer shall provide and maintain as far as is reasonably practocable a working environment that is safe and without risk to the health of his employees.
| 4 | Heavy material - Transformers, Reclosers, Section Links/Fuses, Capasitor, Reculator, Poles, Conductor, A-Frame, Special Arms, Cables, Distrution, Surge Arrestors HV, etc | 4 | Injury | Safety | Handling of Material - No Supervision |  | Exposed group/employees | Company Owner | Daily | Possible Fatality,Lost time injury and back injuries | 4 | 3 | II | P | Training/authorisation. correct lifting equipment. Supervision, Q52 Critical Task Procedure. Critical Task Training. Observations. pre-job brief. SHE talks. Inspection certificate. Use of Vehicle Mounted Crane |  |  | (EPC 32-247, EPC 32-245, EPC 32-249, DPC 34-350, DPC 34-2200, DPC 34-350)
Storage of Material | 1 | Light material - Stay Rods, Earth Spikes, Insulators Bolts & Nuts, Vibration Dempers, Meterboxes, Distribution boxes, Fuse carriers, Fuse holders, T-Jointa, Lugs, Ferrules, Thimbles, Dead-end Grip, Stay insulators, Fuse Links, Bird Diverters, Foot Plates, Strut Brackets, Binding Straps, Meters, etc. | 1 | Injury | Safety | Handling of Material - No Supervision |  | Exposed group/employees | Company Owner | Daily | Possible Fatality,Lost time injury and back injuries | 2 | 3 | II | P | Training/authorisation. correct lifting equipment. Supervision, Q52 Critical Task Procedure. Critical Task Training. Observations. pre-job brief. SHE talks. Inspection certificate. Use of Vehicle Mounted Crane |  | Employer | (EPC 32-247, EPC 32-245, EPC 32-249, DPC 34-350, DPC 34-2200, DPC 34-350)
| 2 | Compressor, Jackhammer, Pruner, Chain Saw, Portable Electrical Equipment, Spade & Picks, Compactors, Vehicles, Office Equipment, etc. | 2 | Injury | Safety | Incorrect Handling of Tools - No Supervision, Improper use of PPE, Man Handling of tools |  | Exposed group/employees | Company Owner | Daily | Possible Fatality,Lost time injury and back injuries | 4 | 3 | II | P | Training/authorisation. correct lifting equipment. Supervision, Q52 Critical Task Procedure. Critical Task Training. Observations. pre-job brief. SHE talks. Inspection certificate. Use of Vehicle Mounted Crane | Inventory, inspections, | Employer | (EPC 32-247, EPC 32-245, EPC 32-249, DPC 34-350, DPC 34-2200, DPC 34-350)
Storage of tools | 1 | Oil, Petrol, Diesel, Thinners, Paint etc. | 1 | Burning/ Asphyxiation | Health | Fire fightng equpment available, Regular inspection of equipment, Training of Fire Fighting, MSDS (Material Safety Data Sheet) |  | Exposed group/employees | Company Owner | Daily | Injuries, property damameg and environmental impact | 4 | 2 | III | P | Firefighting training, regular inspection of fire fighting equipment, Supervision | Inventory | Employer | (EPC 32-247, EPC 32-245, EPC 32-249, DPC 34-350, DPC 34-2200, DPC 34-350)
Storage of flammables | 1 | Litter,general construction and maintenance waste | 1 | ground-, air-, water pollution - environmental risk | Health | Not following safe working procedures, staff not properly trained, bad housekeeping |  | Exposed group/employees | Company Owner | Daily | Damage to people and the enivronment | 2 | 3 | III | P | Waste management training, Safe working procedures, applicable PPE, medical surveilance |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
EXCAVATION by Hands - digging of holes, trenches | 1 | Improper use of hand tools | 1 | Damaged hand tools | Safety | No regular inspection of tools, Incorrect hand tools, |  | Exposed group/employees | Company Owner | Daily | Injuries | 2 | 3 | III | P | Pre-task risk assessment,Safaty Talks, Correct PPE for the job, use of correct tools for the job, tools to be in good condition, pre-job brief,.Use "hand free" approach Regular inspection of hand tools, PPE | Inspection register | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 2 | Trenches collapsing | 2 | Injuries | Safety | No bracing and shoring of excavation |  | Exposed group/employees | Company Owner | Daily | Lost Time Injuries / Fatalaties | 5 | 4 | I | p | Pre-task risk assessment, Excavate to natural angle of repose - Excavation shored/braced, Sides of excavation fenced off, Training on excavation work, Supervision. Regular inspections | Register, Observations | Employer | Construction Regulations 8 (2)
| 3 | Open trenches | 3 | Excavation collapse, Staff falling into excavations, | Safety | No proper supervision, NoShoring of excavation, Soil structure, |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Back injuries | 5 | 2 | II | P | Excavate to natural angle of repose - Excavation shored/braced, Sides of excavation fenced off, Training on excavation work, Supervision. | Inspection, Supervision | Employer | Construction Regulations 11
| 4 | Underground services | 4 | Damage to services/ property - Electrocution | Safety | Way leave not up to date, no cable tracing |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Injury to staff | 5 | 4 | I | P | Way leave, cable to be tracing | Supervision, incident register | Employer | Construction Regulations 11
| 5 | Noise | 5 | Staff exposed to excessive noise | Health | Operation of the machine |  | Exposed group/employees | Company Owner | Daily | NIHL | 4 | 2 | III | P | Supervision, Training, Hearing protection devices, medical surveillance | Supervision/ Medical Surveillance Measurements | Employer | Noise Induced Hearing Loss Regulations 6(1) and 7(1)
JACKHAMMER - digging of holes, braking up of rocks or stones, pavements | 1 | Vibration | 1 | Hand body vibration | Health | Operation of the machine |  | Exposed group/employees | Company Owner | Daily | Injuries | 2 | 1 | IV | P | Rotation of jackhammer operator, Proper lifting technique and training, medical surveillances | Inspections, Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 2 | Flying debris | 2 | Lower Respiratory diseases - Eye injury | Safety | Operation of the machine, Not making use of PPE |  | Exposed group/employees | Company Owner | Daily | Injuries | 2 | 3 | III | P | Eye protection,Q25 Dust masks | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 3 | Diesel fumes and dust | 3 | Air pollution - Lung irritation | Health | Operation of the machine, Not making use of PPE |  | Exposed group/employees | Company Owner | Daily | Injuries | 2 | 3 | III | P | Supervision and regular breaks, dust mask, Proper PPE, proper training and authorisation, medical surveillance | Supervision | Employer | Hazardous Chemical Substance Regulations 7
| 4 |  | 4 | Fire | Safety | Making use of unserviced equipment |  | Exposed group/employees | Company Owner | Daily | Damage to equipment and structures, Lost time injury | 4 | 2 | III | P | Fire fighting equipment available - Regular inspection of equipment, Training on the use of the equipment | Inspection register | Employer | Environmental Regulations for Workplaces 9 and SANS 10400
| 5 | Awkward posture | 5 | Back, shoulder neck, feet injuries/discomfort | Safety | No Regular breaks |  | Exposed group/employees | Company Owner | Daily | Injuries | 2 | 2 | IV | P | Regular breaks | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 6 | Underground services | 6 | Damage to services/ property - Electrocution | Safety | No proper way leave, Using incorrect tools |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Injury to staff | 5 | 2 | II | P | Way leave | Supervision | Employer | Construction Regulations 11
| 7 | Noise | 7 | Noise induced hearing loss | Health | Operation of the machine, Not making use of PPE |  | Exposed group/employees | Company Owner | Daily | NIHL | 4 | 2 | III | P | Supervision, Training, Hearing protection devices, medical surveillance | Supervision/ Medical Surveillance Measurements | Employer | Noise Induced Hearing Loss Regulations 6(1) and 7(1)
COMPRESSOR ( diesel) - supply jackhammer with air | 1 | Hot compressor exhaust | 1 | Burns injuries, | Safety | Equipment not maintained, no regular inspection |  | Exposed group/employees | Company Owner | Daily | Injuries | 4 | 2 | IV | P | Pre-use inspection, Proper personal protective equipment | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 2 | Heavy lifting | 2 | Injuries | Safety | No Regular breaks, Not assisting one another |  | Exposed group/employees | Company Owner | Daily | Injuries | 4 | 2 | III | P | PPE, Regular breaks, Proper lifting technique and training, medical surveillances | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 3 | Diesel fumes | 3 | Air pollution - Lung irritation | Health | Making use of unserviced equipment |  | Exposed group/employees | Company Owner | Daily | Injuries | 4 | 3 | III | P | Supervision and regular breaks, dust mask, Proper PPE, proper training and authorisation, medical surveillance | Inspections | Employer | Hazardous Chemical Substance Regulations 7
| 4 |  | 4 | Fire | Safety | Faulty equipment, lack of propre maintenance |  | Exposed group/employees | Company Owner | Daily | Damage to property and structures, injuries | 4 | 2 | III | P | Fire fighting equipment available - Regular inspection of equipment, Training on the use of the equipment | Inspections | Employer | Environmental Regulations for Workplaces 9 and SANS 10400
| 5 | Explosion / or rupture of the compressor - Pipe bursting | 5 | Possible property damage - Fatalities, Amputation, Fractures | Safety | Faulty equipment, lack of proper maintenance |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Injury to staff | 5 | 1 | III | P | Regular inspections and pressure testing of air receivers, Regular inspection of pipes | Inspections | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 6 | Noise | 6 | Staff exposed to excessive noise | health | Operation of the machine |  | Exposed group/employees | Company Owner | Daily | NIHL | 4 | 2 | III | P | Supervision, Training, Hearing protection devices, medical surveillance | Supervision/ Medical Surveillance Measurements | Employer | Noise Induced Hearing Loss Regulations 6(1) and 7(1)
Generators (petrol)- Providing portable power for drilling and lighting at night / day time | 1 | Heavy lifting | 1 | Injuries | Safety | No Regular breaks, Not assisting one another |  | Exposed group/employees | Company Owner | Daily | Injuries | 4 | 2 | III | P | Safety Boots, Gloves, Regular breaks, Proper lifting technique and training, medical surveillances | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 2 | Petrol fumes | 2 | Air pollution - Lung irritation |  | Making use of unserviced equipment |  | Exposed group/employees | Company Owner | Daily | Injuries | 2 | 3 | III | P | Supervision and regular breaks, dust mask, Proper PPE, proper training and authorisation, medical surveillance | Inspections | Employer | Hazardous Chemical Substance Regulations 7
| 3 |  | 3 | Fire | Safety | Making use of unserviced equipment |  | Exposed group/employees | Company Owner | Daily | Damage to equipment and structures, Lost time injury | 4 | 2 | III | P | Fire fighting equipment available - Regular inspection of equipment, Training on the use of the equipment | Inspections | Employer | Environmental Regulations for Workplaces 9 and SANS 10400
| 4 | Noise | 4 | Staff exposed to excessive noise |  | Operation of the machine |  | Exposed group/employees | Company Owner | Daily | NIHL | 4 | 2 | III | P | Supervision, Training, Hearing protection devices, medical surveillance | Supervision/ Medical Surveillance Measurements | Employer | Noise Induced Hearing Loss Regulations 6(1) and 7(1)
Compactors ( diesel /petrol) - For compacting sand after laying cables | 1 | Vibration | 1 | Hand body vibration | Safety | Operation of the machine |  | Exposed group/employees | Company Owner | Daily | Injuries | 2 | 1 | IV | P | Rotation of compactor operator, Proper lifting technique and training, medical surveillances | Inspections, Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 2 | Diesel/Petrol Fumes, Dust | 2 | Air pollution - Lung irritation |  | Making use of unserviced equipment |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 2 | 3 | III | P | Supervision and regular breaks, dust mask, Proper PPE, proper training and authorisation, medical surveillance | Inspections | Employer | Hazardous Chemical Substance Regulations 7
| 3 |  | 3 | Fire | Safety | Making use of unserviced equipment |  | Exposed group/employees | Company Owner | Daily | Damage to equipment and structures, Lost time injury | 4 | 2 | III | P | Fire fighting equipment available - Regular inspection of equipment, Training on the use of the equipment | Inspections | Employer | ERW 9 and SANS 10400
| 4 | Awkward posture | 4 | Injuries |  | Operation of the machine |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 2 | IV | P | Regular breaks | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 5 | Flying debris | 5 | Lower Respiratory diseases - Eye injury | Safety | Operation of the machine |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 3 | III | P | Eye protection, Dust masks | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 6 | Heavy lifting | 6 | Fatigue, Back, shoulder, neck, foot injuries | Safety | Not assisting one another |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 2 | III | P | Safety Boots, Gloves, Regular breaks, Proper lifting technique and training, medical surveillances | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 7 | Lifting heavy equipment | 7 | Fatigue, Back, shoulder, neck, foot injuries | Safety | Not assisting one another |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 4 | I | P | Safety Boots, Gloves, Regular breaks, Proper lifting technique and training, medical surveillances | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Vehicle Mounted cranes (diesel) loading and off loading, equipment | 1 | Loading / off- loading of the equipment | 1 | Injuries | Safety | Not services cranes, Inadequate inspection of lifting equipment, Incorrect rigging |  | Exposed group/employees | Company Owner | Daily | Possible property damage - Injury to staff | 4 | 4 | I | P | Keep safe working space around the machine, Supervision, Training of staff | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 2 | Working close to live electrical apparatus | 2 | Burn wounds - Electrocution | Safety | No training of operator, encroaching safety clearance |  | Exposed group/employees | Company Owner | Daily | Serious injuries/fatalities | 5 | 4 | I | P | Pre-task risk assessment, Proper PPE, Supervision, Proper training, authorisation for operator, relevant certificate for the aerial bucket, medical surveillances | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 3 | Unauthorised personnel operating lifting equipment | 3 | Property/lifting equipment damage, Serious injuries/fatalities to bystanders/employees | Safety | No training, Unauthorised personel, No Supervision, Not following Safe work procedures |  | Exposed group/employees | Company Owner | Daily | Serious injuries/fatalities, property damage | 5 | 4 | I | P | Training/authorisation. correct lifting equipment. Supervision, Q52 Critical Task Procedure. Critical Task Training. Observations. pre-job brief. SHE talks. Inspection certificate | Supervision | Employer | Driven Machinery Regulation 18: (Lifting Machines and Lifting Tackles
| 4 | Diesel fumes | 4 | Air pollution - Lung irritation |  | Operation of the machine |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 3 | III | P | Supervision and regular breaks, dust mask, Proper PPE, proper training and authorisation, medical surveillance | Supervision | Employer | Hazardous Chemical Substance Regulations 7
| 5 |  | 5 | Fire | Safety | No training of operator, encroaching safety clearance |  | Exposed group/employees | Company Owner | Daily | Damage to equipment and structures, Lost time injury | 4 | 2 | III | P | Fire fighting equipment available, Regular inspection of equipment, Training of staff | Supervision | Employer | ERW 9 and SANS 10400
| 6 | Loading and off loading, equipment | 6 | Equipment falling on staff, other equipment | Safety | Not services cranes, Inadequate inspection of lifting equipment, Incorrect rigging, |  | Exposed group/employees | Company Owner | Daily | Possible property damage - Injury to staff | 4 | 4 | I | P | Keep safe working space around the machine, Supervision, Training of staff | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 7 | Unauthorised personnel operating lifting equipment | 7 | Property/lifting equipment damage, Serious injuries/fatalities to bystanders/employees | Safety | Lifting machine not lock-out |  | Exposed group/employees | Company Owner | Daily | Serious injuries/fatalities, property damage | 5 | 4 | I | P | Unauthorised use of lifting machines prohibited. Safety talks. | Supervision, Observations | Employer | Driven Machinery Regulation 18: (Lifting Machines and Lifting Tackles
Electrical/ Hydraulic and battery Drilling machine - drilling holes steel and concrete walls | 1 | Vibration | 1 | Hand body vibration | Health | Operation of the machine |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 1 | IV | P | Rotation of operator, Proper lifting technique and training, medical surveillances | Supervision, Medical Suivellance | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 2 | awkward posture, | 2 | Back, shoulder neck, feet injuries/discomfort | Health | No regular breaks |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 2 | IV | P | Regular breaks | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 3 | Flying debris, Dust | 3 | Lower Respiratory diseases - Eye injury | Safety | Operation of the machine, not using PPE |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 3 | III | P | Eye protection, Dust masks | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 4 | Heavy lifting | 4 | Fatigue, Back, shoulder, neck, foot injuries | Safety | Not assisting one another |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 2 | III | P | Safety Boots, Gloves, Regular breaks, Proper lifting technique and training, medical surveillances | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 5 | Using defective electrical drilling machines | 5 | Electrocution | Safety | No supervision, Lack of maintenance, no propre training |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Lost time injury | 5 | 4 | I | P | Routine maintenance of equipment | Supervision, Inspection | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 6 | Driving on uneven terrain | 6 | Whole body vibration, vehicle accident, | Health | Driving of vehicles |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Lost time injury - Damage to vehicle | 4 | 3 | II | P | Valid drivers licence, Pre and post trip inspections, regular breaks, Life saving rules, Dangerous goods training, Defensive driving, PDP, Driver with a co driver | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Driving of heavy vehicles (code 14/10/08) for transporting of construction, normal day to day material. Pulling of trailer for the excavator /4X 4 LDV - utility vehicle, transporting of people/ material and responding to faults. | 1 | Long hours driving | 1 | Fatigue, vehicle accident | Safety | No Regualar breaks, Maintenance of vehicle, Driving alone |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Lost time injury - Damage to vehicle | 5 | 3 | II | P | Valid drivers licence, regular rest stops | Inspections | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 2 | Diesel, Petrol and Oil spills | 2 | Ground, air and water pollution - lung irritation | Health | Lack of proper maintenance |  | Exposed group/employees | Company Owner | Daily | Environmental damage, lost time injury | 4 | 3 | III | P | Pre trip inspections, Maintanace of vehicle, | Inspections | Employer | Hazardous Chemical Substance Regulations 7
| 3 |  | 3 | Fire | Safety | Lack of proper maintenance, Pipe burst, Vehivle accidents |  | Exposed group/employees | Company Owner | Daily | Damage to equipment and structures, Lost time injury | 4 | 2 | III | P | Fire fighting equipment available, Regular inspection of equipment, Training of staff | Inspections | Employer | ERW 9 and SANS 10400
| 4 | Using Public Roads | 4 | Property damage, Injury to staff | Safety | Not adhering to traffic rules, inadequate driver training, lack of maintenance of vehicles, Not adhering to life saving rules |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Lost time injury - Damage to vehicle/property | 4 | 3 | II | P | Valid drivers licence, Pre and post trip inspections, PDP, Life saving rules | Incident register/coida reports/ annexure 1 forms | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 5 | Defective / broken hand tools | 5 | Hand injuries, cuts and bruises , electrocution, fractures, Injuries, Fatalities | Safety | No regular inspection of tools, Incorrect hand tools, |  | Exposed group/employees | Company Owner | Daily | Lost time injuries | 4 | 3 | III | P | Medical surveillance, training, regular inspections, PPE | Inspections | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Using of hand tools - day to day task e.g connect and disconnect customers etc. | 1 | Live electricity | 1 | Electrocution | Safety | Incorrect and handling of tools, Inproper storage of tools |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Lost time injury | 5 | 4 | I | P | Proper PPE, Regular testing of equipment. Proper training, medical surveillance. Authorisation. Mental alertness and physical ability. | Inspections | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 2 | Working at heights | 2 | Falling from heights | Safety | Not using FAS, Not medically fit, |  | Exposed group/employees | Company Owner | Daily | Serious injuries, fatalities, | 5 | 4 | I | P | Safe working platforms, Supervision, Training of staff, Safety harnesses, Medical certificates of fitness | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 3 | Tools falling from heights | 3 | Objects falling on staff, other equipment | Safety | Tools not secured |  | Exposed group/employees | Company Owner | Daily | Possible property damage - Injury to staff | 5 | 4 | I | P | Proper PPE, Keep working area underneath operator safe. Proper training, medical surveillance. | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 4 | Noise | 4 | Staff exposed to excessive noise | Health | Operation of the manchine, Incorrect / lack of PPE, No supervision, no training, incorrect use. |  | Exposed group/employees | Company Owner | Daily | NIHL | 4 | 2 | III | P | Supervision, Training, Hearing protection devices, medical surveillance | Supervision/ Medical Surveillance Measurements | Employer | Noise Induced Hearing Loss Regulations 6(1) and 7(1)
Using of Angle grinders - Cutting of steel, stone and bricks | 1 | Vibration | 1 | Hand body vibration | Health | Operation of the machine, not properly maintained, |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 1 | IV | P | Rotation of operator, Proper lifting technique and training, medical surveillances | Inspections | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 2 | Flying debris, Grinding Dust | 2 | Lower Respiratory diseases - Eye injury | Safety | Making use of the machine, Not using PPE |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 4 | II | P | Eye protection, Dust masks | Supervision, Inspections | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 3 | Awkward posture | 3 | Back, shoulder neck, feet injuries/discomfort | Health | No regular breaks |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 2 | IV | P | Regular breaks | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 4 | Heavy equipment | 4 | Amputation, Fractures, Back, shoulder neck, feet injuries, Blisters. | Safety | Not using correct PPE |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 4 | II | P | Leather Gloves, Overall,- Safety Boots, Keep working area safe, Proper handling technique and training, | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Using of Big Bolt cutters- cutting of conductors/ steel bars, | 1 | Falling Objects | 1 | Objects falling on staff, other equipment | Safety | Not staying clear of person working overhead |  | Exposed group/employees | Company Owner | Daily | Possible property damage - Injury to staff | 5 | 4 | I | P | Proper PPE, Keep working area underneath operator safe. Proper training, medical surveillance | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 2 | Cutting lose ends of conductor | 2 | Head, hand, arm and eye injuries | Safety | Not staying clear of person working overhead |  | Exposed group/employees | Company Owner | Daily | Injury to staff | 3 | 4 | II | P | Training, correct PPE, Control cable ends | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 3 | Falling of tools from elevated positions | 3 | Head injuries, Fractures, Hand, arm and eye injuries, property damage | Safety | Tools not secured |  | Exposed group/employees | Company Owner | Daily | Possible property damage - Injury to staff | 5 | 4 | I | P | Proper PPE, Keep working area underneath operator safe. Proper training, medical surveillance. | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Use of Lifting gear / Kitos/ Turfor | 1 | Heavy equipment. | 1 | Amputation, Fractures, Back, shoulder neck, feet injuries, Blisters. | Safety | Lack of maintenance |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 3 | 4 | II | P | Leather Gloves, Overall, Safety Boots, Keep working area safe, Proper lifting technique and training, medical surveillances | Supervision, Inspection | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 2 | Equipment under tension/strain | 2 | Equipment failure | Safety | Lack of maintemnance, Not conducting routine inspections, No test certificates, Not using correct tools for the task at hand |  | Exposed group/employees | Company Owner | Daily | Fatalities, Head injuries, Fractures, Hand, arm and eye injuries, Equipment falling on people in working area | 3 | 5 | II | P | Proper PPE, Keep safe working space around the operator. Keep working area underneath operator safe. Make sure safe working loads of tool and equipment (conductors, slings ext.). Regular testing of equipment. Visual inspections before use. Proper training, medical surveillance | Supervision, Inspection | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 3 | Defective lifting gears. | 3 | Equipment failure | Safety | Lack of maintemnance, Not conducting routine inspections, No test certificates, Not using correct tools for the task at hand |  | Exposed group/employees | Company Owner | Daily | Fatalities, Head injuries, Fractures, Hand, arm and eye injuries, Equipment falling on people in working area | 3 | 5 | II | P | Proper PPE, Keep safe working space around the operator. Keep working area underneath operator safe. Make sure safe working loads of tool and equipment (conductors, slings ext.). Regular testing of equipment. Visual inspections before use. Proper training, medical surveillance. | Supervision, Inspection | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 4 | Breaking of conductors ,slings and poles under tension. | 4 | Possible property damage. Injury to staff | Safety | Using incorrect equipment, Inadequate training, Inadequate supervision |  | Exposed group/employees | Company Owner | Daily | Fatalities, Head injuries, Fractures, Hand, arm and eye injuries, Equipment falling on people in working area | 3 | 5 | II |  | Proper PPE, Keep safe working space around the operator. Keep working area underneath operator safe. Make sure safe working loads of tool and equipment (conductors, slings ext.). Regular testing of equipment. Visual inspections before use. Proper training, medical surveillance | Supervision, Inspection | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 5 | Ultra violet ARC | 5 | Arc eyes. Inhaling off hazardous fumes | Health | Lack of proper ventilation, not using PPE, Inadequate training, Lack of supervision |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 3 | 4 | II |  | Wear welding gloves. Wear welding helmet. Medical surveillances on people that uses it regularly. Only authorised people. Training. Working area to shielded off | Supervision, Inspection | Employer | General Safety Regulation 9
Welding using welding machines | 1 | Welding creating heat | 1 | Burn wounds |  | Conducting welding activites |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 3 | 4 | II | P | Wear welding gloves. Wear welding helmet. Wear welding apron. Only authorised people. Training. Working area to shielded off | Supervision, Inspection | Employer | General Safety Regulation 9
| 2 | Defective welding machines | 2 | Electrocution | Safety | Lack of proper mainenance |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Lost time injury | 3 | 4 | II | P | Regular inspections of welding machine, cabling and clamps | Supervision, Inspection | Employer | General Safety Regulation 9
| 3 | Welding fumes | 3 | Lower Respiratory diseases. |  | Lack of proper ventilation, not using PPE, Inadequate training, Lack of supervision, lack of training |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 2 | 3 | III | P | Work in ventilated area. Medical surveillances on people that uses it regularly. Only authorised operators. Training. | Supervision, Inspection | Employer | General Safety Regulation 9
| 4 | Damaged power leads and incorrect earthing | 4 | Electrical shock . Burning from hot metals and tools. | Safety | Lack of proper maintenance |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 2 | 4 | III | P | Regular inspections of welding machine, cabling and clamps | Supervision, Inspection | Employer | General Safety Regulation 9
| 5 | Arc flash | 5 | Burn wounds | Safety | No training of operator, encroaching safety clearance |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Injury to staff | 4 | 4 | I | P | Supervision - Proper PPE, Proper training and authorisation |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
1. Maintenance and fault repairs of electrical equipment 2. Loading and off loading equipment or material (ladders, tool boxes, generators etc) 3. Climbing of ladders and structures | 1 |  | 1 | Fire | Safety | Lack of proper maintenance, Pipe burst, Vehivle accidents |  | Exposed group/employees | Company Owner | Daily | Damage to equipment and structures, Lost time injury | 4 | 2 | III | P | Fire fighting equipment available - Regular inspection of equipment - Training of staff |  | Employer | ERW 9 and SANS 10400
| 2 | Walking on uneven terrain | 2 | Staff falling/tripping | Safety | Environment |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 3 | II | P | Obey barricades & sign posting, PPE to be worn, be aware of where you are stepping, clean up spills immediately, Safety talks, |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 3 | Awkward positions | 3 | Back, shoulder neck, feet injuries/discomfort | Health | No regualr breaks |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 3 | 4 | II | P | Regular breaks |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 4 | Falling equipment | 4 | Objects falling on staff, other equipment | Safety | Not staying clear of person working overhead |  | Exposed group/employees | Company Owner | Daily | Possible property damage - Injury to staff | 5 | 4 | I | P | Proper PPE, Keep working area underneath operator safe. Proper training, medical surveillance. |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 5 | Working at heights | 5 | Falling from heights | Safety | No proper guard rails around working platforms, Not using Safety harness, |  | Exposed group/employees | Company Owner | Daily | Serious injuries, fatalities, | 5 | 4 | I | P | Safe working platforms, Supervision, Training of staff, Safety harnesses, Medical certificates of fitness |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 6 | Loading / off- loading of the equipment | 6 | Equipment falling on staff, other equipment | Safety | Not services cranes, Inadequate inspection of lifting equipment, Incorrect rigging |  | Exposed group/employees | Company Owner | Daily | Possible property damage, Injury to staff | 4 | 4 | I | P | Keep safe working space around the machine, Supervision, Training of staff |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 7 | Electrical contact | 7 | Electrocution | Safety | MAKING CONTACT WITH LIVE EQUIPMENT |  | Exposed group/employees | Company Owner | Daily | Possible fatalities, Lost time injury | 5 | 4 | I | P | Proper PPE, Regular testing of equipment. Proper training, medical surveillance. Authorisation. Mental alertness and physical ability. |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 8 | Electrical equipment failure | 8 | Electrocution. Burn wounds. Fire. | Safety | Lack of maintenance |  | Exposed group/employees | Company Owner | Daily | Possible fatalities, Lost time injury | 4 | 5 | II | P | Proper PPE, Regular testing of equipment. Proper training, medical surveillance. Authorisation. Mental alertness and physical ability. |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 9 | Working in hot weather conditions | 9 | Staff becoming ill, heat stroke | Health | Sun rays |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 3 | III | P | Regular breaks, Availability of adequate water |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 10 | Working in cold weather conditions | 10 | Staff becoming ill | Health | Cold, Wet weather conditions |  | Exposed group/employees | Company Owner | Daily | Lost time | 4 | 3 | III | P | Regular breaks, PPE |  | Employer | OCcupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 11 | Heavy equipment. | 11 | Amputation, Fractures, Back, shoulder neck, feet injuries, Blisters. | Safety | No regular breaks, No clearing your work area .Operation of the machine, not using PPE |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 4 | II | P | Leather Gloves, Dusk Mask, Overall, Safety Boots, Keep working area safe, Proper lifting technique and training, medical surveillances. |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 12 | Unauthorised personnel operating high voltage equipment | 12 | Property/lifting equipment damage, Serious injuries/fatalities to bystanders/employees | Safety | No training, Unauthorised personel, No Supervision, Not following Safe work procedures |  | Exposed group/employees | Company Owner | Daily | Serious injuries/fatalities, property damage | 5 | 4 | I | P | Supervision, Disciplinary action, Proper training and authorisation |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 13 | Oil spill | 13 | Ground, air and water pollution | Health | Lack of maintenace, Faulty equipment |  | Exposed group/employees | Company Owner | Daily | Environmental damage | 3 | 4 | II | P | Supervision and regular breaks, dust mask, Proper PPE, proper training and authorisation, medical surveillance |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Live work Medium Voltage ( 11Kv - 33Kv) 1, Inspection of the live electrical equipment . 2, Maintenance and fault repairs of live electrical equipment 3, Loading and off loading equipment or material ( ladders, tool boxes, generators etc) 4, Climbing of ladders and structures | 1 |  | 1 | Fire | Safety | Lack of maintenace, faulty equipment |  | Exposed group/employees | Company Owner | Daily | Damage to equipment and structures, Lost time injury | 4 | 2 | III | P | Fire fighting equipment available - Regular inspection of equipment - Training of staff |  | Employer | ERW 9 and SANS 10400
| 2 | Unauthorised / untrained personnel operating high voltage equipment | 2 | Property/lifting equipment damage, Serious injuries/fatalities to bystanders/employees | Safety | No training, Unauthorised personel, No Supervision, Not following Safe work procedures |  | Exposed group/employees | Company Owner | Daily | Serious injuries/fatalities, property damage | 5 | 4 | I | P | Supervision, Disciplinary action, Proper training and authorisation |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 3 | Noise from the truck | 3 | Staff exposed to excessive noise | Health | Operation of the truck, lack of maintanance of the truck |  | Exposed group/employees | Company Owner | Daily | NIHL | 4 | 2 | III | P | Supervision, Training, Hearing protection devices medical surveillance | Supervision/ Medical Surveillance Measurements | Employer | Noise Induced Hearing Loss Regulations 6(1) and 7(1)
| 4 | Extreme hot conditions. | 4 | Staff becoming ill, heat stroke | Health | Sun rays |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 3 | III | P | Regular breaks, Availability of adequate water |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 5 | Live electricity | 5 | Electrocution | Safety | Incorrect and handling of tools, Inproper storage of tools |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Lost time injury | 5 | 4 | I | P | Proper PPE, Regular testing of equipment. Proper training, medical surveillance. Authorisation. Mental alertness and physical ability. |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 6 | Diesel fumes and dust | 6 | Air pollution - Lung irritation | Health | Operation of the machine, Not making use of PPE |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 3 | III | P | Supervision and regular breaks, dust mask, Proper PPE, proper training and authorisation, medical surveillance |  | Employer | Hazardous Chemical Substance Regulations 7
| 7 |  | 7 | Fire | Safety | Making use of unserviced equipment |  | Exposed group/employees | Company Owner | Daily | Damage to equipment and structures, Lost time injury | 4 | 2 | III | P | Fire fighting equipment available - Regular inspection of equipment |  | Employer | ERW 9 and SANS 10400
| 8 | Loading / off- loading of the equipment | 8 | Equipment falling on staff, other equipment | Safety | Not services cranes, Inadequate inspection of lifting equipment, Incorrect rigging |  | Exposed group/employees | Company Owner | Daily | Possible property damage - Injury to staff | 4 | 4 | I | P | Keep safe working space around the machine, Supervision, Training of staff |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 9 | Electrical equipment failure | 9 | Electrocution. Burn wounds. Fire. | Safety | Lack of maintenance |  | Exposed group/employees | Company Owner | Daily | Possible fatalities, Lost time injury | 5 | 4 | I | P | Proper PPE, Regular testing of equipment. Proper training, medical surveillance. Authorisation. Mental alertness and physical ability. |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 10 | Electrical contact | 10 | Electrocution | Safety | MAKING CONTACT WITH LIVE EQUIPMENT |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Lost time injury | 5 | 4 | I | P | Proper PPE, Regular testing of equipment. Proper training, medical surveillance. Authorisation. Mental alertness and physical ability. |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 11 | Walking on uneven terrain | 11 | Staff falling/tripping | Safety | Environment |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 3 | II | P | Obey barricades & sign posting, PPE to be worn, be aware of where you are stepping, clean up spills immediately, Safety talks, |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 12 | Working at heights | 12 | Falling from heights | Safety | No proper guard rails around working platforms, Not using Safety harness, |  | Exposed group/employees | Company Owner | Daily | Serious injuries, fatalities, | 5 | 4 | I | P | Safe working platforms, Supervision, Training of staff, Safety harnesses, Medical certificates of fitness |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 13 | Faulty electrical equipment | 13 | Electrocution | Safety | Lack of maintenace |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Lost time injury | 5 | 4 | I | P | Regular service, maintenance and inspection of equipment |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 14 | Awkward positions | 14 | Back, shoulder neck, feet injuries/discomfort | Health | No regualr breaks |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 4 | II | P | Regular breaks |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 15 | Falling equipment. | 15 | Injury to personnel and property damage | Safety | Not staying clear of person working overhead |  | Exposed group/employees | Company Owner | Daily | Inj | 5 | 4 | I | P |  |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 16 | Arc flash | 16 | Burn wounds | Safety | No training |  | Exposed group/employees | Company Owner | Daily | Possible fatalities - Injury to staff | 4 | 4 | I | P |  |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 17 | Unauthorised personnel operating live work on high voltage equipment | 17 | Property/lifting equipment damage, Serious injuries/fatalities to bystanders/employees | Safety | No training, Unauthorised personel, No Supervision, Not following Safe work procedures |  | Exposed group/employees | Company Owner | Daily | Serious injuries/fatalities, property damage | 5 | 4 | I | P | Supervision, Disciplinary action, Proper training and authorisation |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 18 | Unauthorised / untrained personnel operating high voltage equipment | 18 | Property/lifting equipment damage, Serious injuries/fatalities to bystanders/employees |  | No training, Unauthorised personel, No Supervision, Not following Safe work procedures |  | Exposed group/employees | Company Owner | Daily | Serious injuries/fatalities, property damage | 3 | 5 | II | P | Supervision, Disciplinary action, Proper training and authorisation |  | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Handling; Climbing and working on ladders | 1 | Awkward position | 1 | Back, shoulder neck, feet injuries/discomfort | Health | No regualr breaks |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 4 | II | P | Regular breaks |  | Employer
| 2 | Working at height | 2 | Fatigue, Back, shoulder, neck, foot injuries | Health | No proper guard rails around working platforms, Not using Safety harness, |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 4 | II | P | Regular breaks - Safety shoes |  | Employer | Construction Regulation 8: (Fall Protection Plan). Working at Height Procedure 32-418.
| 3 | Fall from height | 3 | Fractures, Back, shoulder neck, feet injuries, | Health |  |  | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 4 | II | P | Leather Gloves - Dusk Mask - Overall - Safety Boots - Keep working area safe - Proper lifting technique and training - medical surveillances. |  | Employer
| 4 | Awkward position | 4 | Falling objects or personnel falling off scaffold | Safety | No regualr breaks |  | Exposed group/employees | Company Owner | Daily | Serious injuries, fatalities, | 5 | 4 | I | P | Safe working platforms, Supervision, Training of staff, Safety harnesses, Medical certificates of fitness |  | Employer | Construction Regulation 8: (Fall Protection Plan). Working at Height Procedure 32-418.
USING PORTABLE ELECTRICAL TOOLS | 1 | Damaged cords & equipment | 1 | Electrical shocks | Safety | No proper maintenance & inspections |  | Exposed group/employees | Company Owner | Daily | Fatality, LTI or Medical | 5 | 3 | II | F | Periodical Inspections & Maintenance | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 2 | Using non-calibrated tools | 2 | Damaging Equipment, Injuries | Safety | Not calibrating equipmenmt on time as per schedule or due date |  | Exposed group/employees | Company Owner | Daily |  | 5 | 3 | II | F | Periodical Inspections & Maintenance | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 3 | Rotating and moving Machinary | 3 | Damaging Equipment, Injuries | Safety | Failure to correctly operate and not wearing correct PPE |  | Exposed group/employees | Company Owner | Daily | LTI or Medical | 4 | 3 | II | F | Use equipment as per safe working instructions, Wear correct PPE | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 4 | Physical material handling | 4 | Equipment falling on staff, other equipment | H&S | Weight and awkward material to handle |  | Exposed group/employees | Company Owner | Daily | Possible property damage, Injury to staff | 4 | 3 | II | P | Keep safe working space around the machine, Supervision, Training of staff | Capturing and monitoring incidents and reported near misses | Employer | OHSACT 8(1) Employer shall provide and maintain, as far as reasonably practicable, a working environment that is safe and without risk to the health of his employees.
Handling; Climbing and working on ladders | 1 | Awkward position | 1 | Exposed group/employees | Safety | No regualr breaks | Back, shoulder neck, feet injuries/discomfort | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 4 | II | P | Regular breaks | Maintain existing controls | Employer | Construction Regulation 8: (Fall Protection Plan). Working at Height Procedure 32-418. | IV |  | Employer
| 2 | Working at height | 2 | Exposed group/employees | Safety | No proper guard rails around working platforms, Not using Safety harness, | Fatigue, Back, shoulder, neck, foot injuries | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 4 | II | P | Regular breaks - Safety shoes | Maintain existing controls | Employer | Construction Regulation 8: (Fall Protection Plan). Working at Height Procedure 32-418. | IV |  | Employer | Construction Regulation 8: (Fall Protection Plan). Working at Height Procedure 32-418.
| 3 | Fall from height | 3 | Exposed group/employees | Safety | Risk not identified, lack of training, employees not medically fit, no supervision | Fractures, Back, shoulder neck, feet injuries, | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 4 | II | P | Leather Gloves - Dusk Mask - Overall - Safety Boots - Keep working area safe - Proper lifting technique and training - medical surveillances. | Maintain existing controls | Employer | Construction Regulation 8: (Fall Protection Plan). Working at Height Procedure 32-418. | IV |  | Employer
1 |  | Heavy lifting | 5 | Exposed group/employees | Safety | No regular breaks, No clearing your work area | Back, shoulder neck, feet injuries/discomfort | Exposed group/employees | Company Owner | Daily | Lost time injury | 4 | 2 | III | P | Regular breaks | Maintain existing controls | Employer | OHSACT 8(1) Employer shall provide and maintain, as far as reasonably practicable, a working environment that is safe and without risk to the health of his employees. | IV |  | Employer
1 | 1 | Pinching of fingers between Trestle and conductor drun | 2 | Exposed group/employees | Safety | Poor engineering /design | Hand and arm injuries | Health | NO | Daily | Strains / sprains/leg/ back injuries | 4 | 3 | II | P | Redesign the brake mechanism on the conductor drum and Trestle. | Maintain existing controls | Employer | 2 | IV | Capturing and monitoring incidents and reported near misses | Employer | OHSACT 8(1) Employer shall provide and maintain, as far as reasonably practicable, a working environment that is safe and without risk to the health of his employees.
| 2 | Working at height | 3 | Exposed group/employees | Safety | Working from a fall risk position and in awkward positions. | Fatigue, Back, shoulder, neck, foot injuries | Health | NO | Daily | Lost time injury/Fatality | 5 | 3 | II | P | Inspect FAS before use,hook up to suitable anchor point. | Maintain existing controls | Employer | Construction Regulation 8: (Fall Protection Plan). Working at Height Procedure 32-418. | IV | Planned task observations and Behavioral Observations | Employer | Construction Regulation 8: (Fall Protection Plan). Working at Height Procedure 32-418.
| 3 | Fall from height | 4 | Exposed group/employees | Safety | Working from a fall risk position and in awkward positions. | Fractures, Back, shoulder neck, feet injuries, | Health | NO | Daily | Lost time injury/Fatality | 5 | 3 | II | P | Leather Gloves - Overall - Safety Boots -Hardhat - Proper training - medical surveillances. | Maintain existing controls | Employer | OHSACT 8(1) Employer shall provide and maintain, as far as reasonably practicable, a working environment that is safe and without risk to the health of his employees. | IV | Planned task observations and Behavioral Observations | Employer | Construction Regulation 8: (Fall Protection Plan). Working at Height Procedure 32-418.
| 4 | Walking on uneven terrain | 5 | Exposed group/employees | Safety | Environment | Staff falling/tripping | Health | NO | Daily | Lost time injury | 4 | 3 | II | P | PPE to be worn, be aware of where you are stepping, Safety talks, | Maintain existing controls | Employer | Construction Regulation 8: (Fall Protection Plan). Working at Height Procedure 32-418. | IV | Capturing and monitoring incidents and reported near misses | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 5 | Equipment under tension/strain | 6 | Exposed group/employees | Safety | Lack of maintemnance, Not conducting routine inspections, No test certificates, Not using correct tools for the task at hand | Equipment failure | H&S | NO | Daily | Lost time injury | 5 | 3 | II | P | Proper PPE, Keep safe working space around the operator. Keep working area underneath operator safe. Make sure safe working loads of tool and equipment (conductors, slings ext.). Regular testing of equipment. Visual inspections before use. Proper training, medical surveillance | Maintain existing controls | Employer | Construction Regulation 8: (Fall Protection Plan). Working at Height Procedure 32-418. | IV | Supervision, Inspection | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
| 6 | Repetative motion | 7 | Exposed group/employees | Safety | Awkward position/Fatigue | Arm and joint injuries | Safety | NO | Daily | Arm and joint injuries | 3 | 3 | II | P | Take regular breaks and share the workload. | Maintain existing controls | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | IV | Supervision | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)

## Contractor Baseline template
Occupational Health and Safety Baseline risk assessment template
Business/Operating unit: | [9 empty] | Next Review Date (every 2 years): | Template identifier:
Date: |  |  |  |  | Authorised by: |  | Name: |  |  | Document identifier | [8 empty] | R | Safety | 1 | A | Fully effective | I
[7 empty] | Designation: |  |  | Revision number: | 1 | [7 empty] | N | Health | 2 | B | Mostly effective | II
[7 empty] | Signed: |  |  | Revision date: | 2024-05-31 | [9 empty] | 3 | C | Mostly ineffective | III
[7 empty] | Date: | [13 empty] | 4 | D | None | IV
Refer to Occupational Health and Safety Risk assessment procedure 32-520 | [20 empty] | 5 | E
List activity | Hazard Identification | Associated risk | Risk type | What are the possible consequences? | Existing Controls |  |  | Risk Priority Rating |  | Control Owner | Legal and Other Requirements | [9 empty] | 6
List specific activities to be performed taking into consideration the equipment to be used, the personnel involved in the task. | Anything with potential to cause of harm. Note: A hazard can pose more than one risk. | A chance that injury , ill health or damage could occur as a result of uncontrolled hazard. | Safety or health | Consider the worse case scenario without controls? | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) | Consequence | Likelihood |  | RCE Risk Control Effectiveness | Person allocated the responsibility for implementing the agreed controls | Where relevant, list the relevant legislative and or Eskom requirements that prescribe the control. | Consequences | 6 | III | II | I | I | I
Driving of vehicles | Driving on public roads | Motor vehicle accident | Safety | Injuries, Property damage | #REF! | 4 | 3 | II | P | Employer | National Road Safety Act. ESKOM Procedure 32-93 (Vehicle and driver safety management) . ESKOM Procedure 36-588 (Vehicle safety and transportation management) , Life saving rules |  | 5 | III | II | II | I | I
[13 empty] | 4 | IV | III | II | I | I
[13 empty] | 3 | IV | III | II | II | I
[13 empty] | 2 | IV | IV | III | II | II
[13 empty] | 1 | IV | IV | III | III | III
[14 empty] | A | B | C | D | E
Likelihood
Working in the field | Bees | Bee stings | Health | Allergic reaction ie. pain, redness. swelling, itching, sweating, anxiety, dizziness or fainting. Possible fatality. | #REF! | 3 | 2 | III | P | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 85 of 1993 Section: 14 GENERAL DUTIES of EMPLOYER Subsection: (a) - (d) read with Section: 21 GENERAL PROHIBITIONS Subsection: (c)
Storage of Material | Light material - Stay Rods, Earth Spikes, Insulators Bolts & Nuts, Vibration Dempers, Meterboxes, Distribution boxes, Fuse carriers, Fuse holders, T-Jointa, Lugs, Ferrules, Thimbles, Dead-end Grip, Stay insulators, Fuse Links, Bird Diverters, Foot Plates, Strut Brackets, Binding Straps, Meters, etc. | Injury | Safety | Possible Fatality,Lost time injury and back injuries | #REF! | 2 | 3 | II | P | Employer | (EPC 32-247, EPC 32-245, EPC 32-249, DPC 34-350, DPC 34-2200, DPC 34-350)
Storage of tools | Oil, Petrol, Diesel, Thinners, Paint etc. | Burning/ Asphyxiation | Health | Injuries, property damameg and environmental impact | #REF! | 4 | 2 | III | P | Employer | (EPC 32-247, EPC 32-245, EPC 32-249, DPC 34-350, DPC 34-2200, DPC 34-350)
Storage of flammables | Litter,general construction and maintenance waste | ground-, air-, water pollution - environmental risk | Health | Damage to people and the enivronment | #REF! | 2 | 3 | III | P | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
EXCAVATION by Hands - digging of holes, trenches | Improper use of hand tools | Damaged hand tools | Safety | Injuries | #REF! | 2 | 3 | III | P | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
JACKHAMMER - digging of holes, braking up of rocks or stones, pavements | Vibration | Hand body vibration | Health | Injuries | #REF! | 2 | 1 | IV | P | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
COMPRESSOR ( diesel) - supply jackhammer with air | Hot compressor exhaust | Burns injuries, | Safety | Injuries | #REF! | 4 | 2 | IV | P | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Generators (petrol)- Providing portable power for drilling and lighting at night / day time | Heavy lifting | Injuries | Safety | Injuries | #REF! | 4 | 2 | III | P | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Compactors ( diesel /petrol) - For compacting sand after laying cables | Vibration | Hand body vibration | Safety | Injuries | #REF! | 2 | 1 | IV | P | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Vehicle Mounted cranes (diesel) loading and off loading, equipment | Loading / off- loading of the equipment | Injuries | Safety | Possible property damage - Injury to staff | #REF! | 4 | 4 | I | P | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Electrical/ Hydraulic and battery Drilling machine - drilling holes steel and concrete walls | Vibration | Hand body vibration | Health | Lost time injury | #REF! | 4 | 1 | IV | P | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Driving of heavy vehicles (code 14/10/08) for transporting of construction, normal day to day material. Pulling of trailer for the excavator /4X 4 LDV - utility vehicle, transporting of people/ material and responding to faults. | Long hours driving | Fatigue, vehicle accident | Safety | Possible fatalities - Lost time injury - Damage to vehicle | #REF! | 5 | 3 | II | P | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Using of hand tools - day to day task e.g connect and disconnect customers etc. | Live electricity | Electrocution | Safety | Possible fatalities - Lost time injury | #REF! | 5 | 4 | I | P | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
s | Vibration | Hand body vibration | Health | Lost time injury | #REF! | 4 | 1 | IV | P | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Using of Big Bolt cutters- cutting of conductors/ steel bars, | Falling Objects | Objects falling on staff, other equipment | Safety | Possible property damage - Injury to staff | #REF! | 5 | 4 | I | P | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Use of Lifting gear / Kitos/ Turfor | Heavy equipment. | Amputation, Fractures, Back, shoulder neck, feet injuries, Blisters. | Safety | Lost time injury | #REF! | 3 | 4 | II | P | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Welding using welding machines | Welding creating heat | Burn wounds | 0 | Lost time injury | #REF! | 3 | 4 | II | P | Employer | General Safety Regulation 9
1. Maintenance and fault repairs of electrical equipment 2. Loading and off loading equipment or material (ladders, tool boxes, generators etc) 3. Climbing of ladders and structures | 0 | Fire | Safety | Damage to equipment and structures, Lost time injury | #REF! | 4 | 2 | III | P | Employer | ERW 9 and SANS 10400
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Live work Medium Voltage ( 11Kv - 33Kv) 1, Inspection of the live electrical equipment . 2, Maintenance and fault repairs of live electrical equipment 3, Loading and off loading equipment or material ( ladders, tool boxes, generators etc) 4, Climbing of ladders and structures | 0 | Fire | Safety | Damage to equipment and structures, Lost time injury | #REF! | 4 | 2 | III | P | Employer | ERW 9 and SANS 10400
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Handling; Climbing and working on ladders | Awkward position | Back, shoulder neck, feet injuries/discomfort | Health | Lost time injury | #REF! | 4 | 4 | II | P | Employer | 0
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
USING PORTABLE ELECTRICAL TOOLS | Damaged cords & equipment | Electrical shocks | Safety | Fatality, LTI or Medical | #REF! | 5 | 3 | II | F | Employer | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## Consequence rating
Consequence criteria
Consequence rating | Description | [7 empty] | R | Safety | 1 | A | Fully effective | I
| Health and Safety | [7 empty] | N | Health | 2 | B | Mostly effective | II
1 | No injuries or health effects(near misses) | [9 empty] | 3 | C | Mostly ineffective | III
2 | First-aid treatment case, and temporary discomfort case | [9 empty] | 4 | D | None | IV
3 | Medical treatment case; occupational disease with reversible/non-permanent effect | [9 empty] | 5 | E
4 | Lost Time Injury. Irreversible health effects/occupational disease with permanent consequence | [9 empty] | 6
5 | Fatality or life threatening health effects | Consequences | 6 | III | II | I | I | I
6 | Multiple fatalities |  | 5 | III | II | II | I | I
|  |  | 4 | IV | III | II | I | I
|  |  | 3 | IV | III | II | II | I
|  |  | 2 | IV | IV | III | II | II
|  |  | 1 | IV | IV | III | III | III
|  |  |  | A | B | C | D | E
Likelihood

## Likelihood rating
Likelihood criteria
| Score | Descriptor | Safety | Occupational hygiene
|  |  |  | Exposure | Probability of exceeding OEL
| A | Highly unlikely | § More than a “100 year event” | Rare (once a year) | No exposure (or exposure < 10% of OEL)
§ Exceptionally unlikely, even in the long-term future
§ < 5% probability.
| B | Unlikely | § Could occur in “years to decades” | Short periods of time, a few times per day/ intermittent (once in six months, three months, or a month) | Low exposure (< 50% of OEL)
§ May occur but not anticipated
§ ≥ 5% and < 20% probability.
| C | Possible | § Could occur within “months to years” | Continuous for between one and two hours (often/ weekly) | Moderate exposure (chronic exposure > 50% of OEL or acute exposure ≥ OEL)
§ May occur shortly but a distinct probability it will not, or ≥ 20% and < 70% probability.
| D | Likely | § Could occur within “weeks to months” | Continuous for between two and four hours (frequent/daily) | High exposure (chronic exposure > OEL, or exposure exceeding OEL-STEL)
§ Balance of probability will occur
§ ≥ 70% and < 90% probability.
| E | Unavoidable | § Could occur within “days to weeks” | Continuous for eight-hour shift | Very high exposure (chronic exposure > 2 x OEL or exposure exceeding OEL-C)
§ Impact is imminent
§ ≥ 90% probability.

## Risk control effectiveness
RISK CONTROL EFFECTIVENESS GUIDE
RCE | Guide
Fully effective | Nothing more to be done except review and monitor the existing controls. Controls are well designed for the risk, are largely preventive and address the root causes. Management believes that they are effective and reliable at all times. Reactive controls only support preventive controls.
Mostly effective | Most controls are designed correctly and are in place and effective. Some more work to be done to improve operating effectiveness or management has doubts about operational effectiveness and reliability of the controls.
Mostly ineffective | While the design of controls may be largely correct in that they treat most of the root causes of the risk, they are not currently operationally very effective. There may be an over-reliance on reactive controls, or some of the controls do not seem correctly designed in that they do not treat root causes.
None | Virtually no credible control. Management has no confidence that any degree of control is being achieved.

## Risk matrix
RISK MATRIX
Consequences | 6 | I | I | I | I | I
| 5 | II | II | II | I | I
| 4 | III | III | II | I | I
| 3 | IV | III | II | II | I
| 2 | IV | IV | III | II | II
| 1 | IV | IV | III | III | III
|  | A | B | C | D | E
Likelihood
| Priority | Risk ranking | Action required
| I | Very high | Immediate action required, and these risks to be captured on IRM system.
| II | High | Strong mandatory action required, and these risks to be captured on IRM system.
| III | Medium | Action required, possibly at administrative level.
| IV | Low | Minor or no action required.