## PnGs
BID NO.: INF-W29/2025/2026 GROOTPAN, SIAS, LONGDEN GA-RAMASWIKANA & GA-MMAMOLEKA RURAL WATER SUPPLY (NORTH CLUSTER RESERVOIR) CAPRICORN DISTRICT MUNICIPALITY SCHEDULE OF QUANTITIES SECTION B: SITE CLEARANCE AND FENCING
ITEM NO | PAYMENT CLAUSE | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
A | SANS 1200A | SECTION A: PRELIMINARY & GENERAL
A.1 | PS A 8.3 | FIXED-CHARGE ITEMS
A.1.1 | PSA 8.3.1 | Contractual Requirements | Sum | 1
A.1.2 | PSA 8.3.2 | Establish Facilities on the Site :
| PSA 8.3.2.1 | Facilities for Engineer
A.1.2.1 |  | a) Furnished Office (PSAB 3.2) | Sum | 1
A.1.2.2 |  | b) Telephone | Sum | 1
A.1.2.3 |  | c) Nameboards (PS AB 3.2) | Sum | 1
A.1.3 | PSA 8.3.2.2 | Facilities for Contractor
A.1.3.1 |  | a) Offices and storage sheds | Sum | 1
A.1.3.2 |  | b) Workshops | Sum | 1
A.1.3.3 |  | e) Ablution and latrine facilities | Sum | 1
A.1.3.4 |  | f) Tools and equipment | Sum | 1
A.1.3.5 |  | g) Water supplies, electric power and communications | Sum | 1
A.1.3.6 |  | h) Dealing with water (Subclause 5.5) | Sum | 1
A.1.3.7 |  | i) Access (Subclause 5.8) | Sum | 1
A.1.3.8 |  | j) Plant | Sum | 1
A.1.3.9 | PS A 8.3.3 | Other Fixed-Charge Obligations | Sum | 1
A.1.3.10 | PSA 8.3.4 | Removal of Site Establishment | Sum | 1
A.1.4 | PSA B 8.3.5 | Occupational Health And Safety
A.1.4.1 | PSA B 8.3.5.1 | Contractor’s initial obligations in respect of the Occupation Health and Safety Act and Contractual Regulations | Prov. Sum | 1 | 108000 | 108000 | 3200000
A.1.4.2 | PSA B 8.3.5.2 | Occupational, Health and Safety Act | % |  | 108000 |  | 2782608.6957
SUB-TOTAL CARRIED FORWARD
brought forward
A.2 | PS A 8.4 | SCHEDULED TIME RELATED ITEMS
A.2.1 | SANS 1200 AB | Engineer's Office
A.2.1.1 | PSAB 8.2.2(a) | Office buildings | Sum | 1
A.2.1.2 | PSAB 8.2.2(b) | Telephone and fax | Sum | 1
A.2.1.3 | PSAB 8.2.2(d) | Survey assistance and equipment | Sum | 1
A.2.2 | PSA 8.4.2.2 | Facilities for Contractor
A.2.2.1 |  | a) Offices and storage sheds | Month | 8
A.2.2.2 |  | b) Workshops | Month | 8
A.2.2.3 |  | e) Ablution and latrine facilities | Month | 8
A.2.2.4 |  | f) Tools and equipment | Month | 8
A.2.2.5 |  | g) Water supplies, electric power and communications | Month | 8
A.2.2.6 |  | h) Dealing with water (Subclause 5.5) | Month | 8
A.2.2.7 |  | i) Access (Subclause 5.8) | Month | 8
B.1.7.3 |  | j) Plant | Month | 8
B.1.7.4 | PSA 8.4.3 | Supervision for Duration of Construction | Month | 8
A.2.2.10 | PSA 8.4.4 | Overheads, charges and profit on item above. | Month | 8
B.1.7.5 | PS A 8.5 | SUMS STATED PROVISIONALLY BY ENGINEER
B.1.7.6 |  | (a) Community Liaison Officer | P/Sum | 1 | 36000 | 36000
A.3.2 |  | (b) PSC (x10) Meetings Attendance | P/Sum | 1 | 16000 | 16000
A.3.3 |  | (c) Overheads, charges and profit on (a) & (b) above | % |  | 52000
A.3.4 |  | (d)1 Training | Prov. Sum | 1 | 80000 | 80000
A.3.5 |  | (e) Overheads, changes and profit on (d) above | % |  | 80000
A.3.6 |  | (f) Relocation and repair to existing Services | Prov. Sum | 1 | 50000 | 50000
A.3.7 |  | (g) Overheads, changes and profit on (f) above | % |  | 50000
SUB-TOTAL CARRIED FORWARD
brought forward
Unforeseen Defects Rectifications as requested by Engineer
A.3.8 |  | Testing and Rectification of defects on constructed bulk water and reticulation systems, including elevated tanks. | Prov. Sum | 1 | 1500000 | 1500000
Note: No testing against isolating valves; provide properly anchored blank flanges or end caps.
A.3.9 |  | Overheads, changes and profit on item A.3.8 above | % |  | 1500000
| 8.8.5 | Land Survey works ( Additional Survey Adjacent to Sias Village for Boreholes Outside the Original Survey Area)
A.3.10 |  | Allow for carrying out an additional topographical and cadastral survey for the proposed borehole sites located outside the original surveyed area adjacent to Sias Village, including data collection, setting out, preparation of survey drawings, and submission of updated survey information for design and construction purposes. | Prov. Sum | 1 | 120000 | 120000 | 0.83333
A.3.11 |  | Overheads, charges and profit on item above. | % |  | 120000
Specialist Services: As-Built Drawings and Documentation
A.3.12 |  | Preparation and submission of as-built drawings and documentation for completed works, as approved by the Engineer. | Prov. Sum | 1 | 80000 | 80000
A.3.13 |  | Overheads, charges and profit on item above. | % |  | 80000
A.5 |  | Employer’s Reserved Provisional Sums
A.5.1 |  | Settlement of outstanding labour costs, including unpaid wages and SMME back-pay obligations | Prov. Sum | 1 | 1000000 | 1000000
A.5.2 |  | Overhead charges and handling associated with item A.5.1 above | % |  | 1000000
TOTAL CARRIED FORWARD TO SUMMARY

## Site Clearance
BID NO.: INF-W29/2025/2026 GROOTPAN, SIAS, LONGDEN GA-RAMASWIKANA & GA-MMAMOLEKA RURAL WATER SUPPLY (NORTH CLUSTER RESERVOIR) CAPRICORN DISTRICT MUNICIPALITY SCHEDULE OF QUANTITIES SECTION B: SITE CLEARANCE AND FENCING
ITEM NO | PAYMENT CLAUSE | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
B |  | SECTION B: SITE CLEARANCE
B.1 | SANS 1200C | SITE CLEARANCE
B.1.1 | 8.2.1 and PSC 8.2.1 | Clear and grub site for:
B.1.1.1 |  | Access road (6m wide) | m |  |  | Rate Only |  |  | 60
B.1.1.2 |  | Reservoir platform site | m2 |  |  | Rate Only |  |  | 78x81m
B.1.2 | PS C 8.2.2 | Remove and grub large trees and tree stumps of girth : | [8 empty] | SCHEDULE OF QUANTITIES SECTION B: SITE CLEARANCE
B.1.2.1 |  | a) over 1 m and up to and including 2 m | No. |  |  | Rate Only
B.1.2.2 |  | b) over 2 m and up to and including 3 m | No. |  |  | Rate Only
B.1.3 |  | Demolish and remove existing structures, reinstate or remove to dump site as per project specification:
B.1.3.1 | PSC 8.2.5 | 1) Take down existing fences where directed by the Engineer | m |  |  | Rate Only |  | 165600
B.1.4 |  | Top Soil Removal
| 8.3.1.2 | Remove topsoil to nominal depth 150mm, stockpile and maintain
B.1.4.1 |  | 1) Along access road routes 6m wide | m2 | 605 |  |  |  |  | 70x10
B.1.4.2 |  | 2) Along platform site | m2 | 7000
B.1.5 |  | Finishings
B.1.5.1 | 8.3.10 | Top soil at a depth 150mm
|  | 1) Along access road routes 6m wide | m3 | 605
|  | 2) Along platform site | m3 | 7000
B.1.5.2 | 8.3.11 | 3) Grassing of embankments and platform by means of hydroseeding | m2 | 100 |  |  |  |  | assume depth of 150mm
SUB-TOTAL CARRIED FORWARD
brought forward
B.1.6 |  | ERECTING NEW FENCE
B.1.6.1 | 55.01 | 1) Cleaning the fence line 2m wide strip | m | 320 |  |  | 0
-442500
B.1.6.2 | 55.02 a) | 2) Supply and install complete anti-climb Clearvu fence or steel palisade fence (2.4m high)+ equipped with barbed wire | m | 290
B.1.6.3 | 55.02 b) | 3) Supply and install complete 5m vehicle access sliding steel ClearVu/steel palisade gate | No | 1
B.1.7 |  | STRUCTURES
Executive office Container with 2x table and 2x Chairs
B.1.7.1 |  | 1) 14.64 m2 Executive Office containers with a Steel window with burglar guards + aluminium blind, Prep & painted outside – Grey Steel Door (Single) with 3 Lever Lock exterior and a Fully Insulated, Black Rubberised Flooring electrical points (Light switch, Double LED Light, Double point plug, Electrical joint) and 12000BTU Split Air-conditioning installed with Isolator interior | Sum | 1 |  |  |  |  | 2.4x12m
|  | Accommodation Unit (1x Bedroom) | [7 empty] | .
B.1.7.2 |  | 1) 2,4m x 12m Accommodation Unit (1x Bedroom) with a Steel Window with Burglar Guards Installed, External Geyser Cage, Steel Door with 3 Lever Lock, Sliding Wooden Single Door Installed Complete with 3 Lever Lock and a Primed & painted – Grey exterior and a Plumbing & electrical points (Bulkhead light, Light switch, Double LED Light, Double pint plug), Panel Partition, Bathroom fitted with basin + hot water cold water, Bathroom facilities includes toilet (excl. partition and door) + shower installed with partition, shower tray and curtain & mixer, Stainless Steel Sink, Insulate 12m GP Container with 40mm EPS and 0.47mm CDK Cladding, Black Rubberising flooring and 150-liter Geyser installed interior | Sum | 1
SUB-TOTAL CARRIED FORWARD
brought forward
Guard House (3m x 3m) Guard House Structure (3 m × 3 m) Complete with Internal Furniture (Table and Chair
B.1.7.3 |  | 1) Supply and construction of a 9m² brick guard house complete with aluminium windows fitted with burglar bars and blinds, single entrance door with 3-lever lock, insulated roofing, rubberised floor finish, internal electrical installation including power points, and 12 000 BTU split air-conditioning unit with isolator, all installed complete in accordance with the manufacturer’s specifications | No | 1
B.1.7.4 |  | 2) Supply of a 12m/40ft container for storage | No | 1
Floor Slab for Guard house, Executive office and accommodation unit
B.1.7.5 |  | 1) Slab Strength concrete, Grade 30MPa: | m3 | 10
B.1.7.6 |  | 2) 25mpa reinforced 750mm (min) width Concrete apron for the above structures | m3 | 5
B.1.8 |  | Multi-bay steel frame structure with roof sheeting and associated fittings (8 car parking) | Sum | 1
TOTAL CARRIED FORWARD TO SUMMARY

## Platform
BID NO.: INF-W29/2025/2026 GROOTPAN, SIAS, LONGDEN GA-RAMASWIKANA & GA-MMAMOLEKA RURAL WATER SUPPLY (NORTH CLUSTER RESERVOIR) CAPRICORN DISTRICT MUNICIPALITY SCHEDULE OF QUANTITIES SECTION B: SITE CLEARANCE AND FENCING
ITEM NO | PAYMENT CLAUSE | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
C |  | SECTION C: PLATFORM
C.1 | SANS 1200D | BULK EARTHWORKS
C.1.1 |  | Bulk Excavation
| 8.3.2,a) | Excavate in all materials for use for embankment or backfill or dispose
C.1.1.1 |  | Gravel material compacted to 90 % of modified AASHTO maximum density (in layers of 150mm) | m3 | 3150
| 8.3.2,b) | Extra-Over for
|  | 1) Intermediate excavation | m3 | 1570 |  |  | 1 | 0 | 0 | 1570
C.1.1.3 |  | 2) Hard rock excavation | m3 | 790
C.1.1.4 |  | 3) Boulder excavation, Class A | m3 |  |  | Rate Only
C.1.1.5 |  | 4) Boulder excavation, Class B | m3 |  |  | Rate Only
| 8.3.7 | Cut to Spoil
C.1.1.6 |  | 1) Hard rock excavation | m3 | 790
C.1.1.7 |  | 2) Boulder excavation, Class A | m3 |  |  | Rate only
C.1.1.8 |  | 3) Boulder excavation, Class B | m3 |  |  | Rate only
C.1.2 | PSDB 8.3.3 | EXCAVATION ANCILLARIES
C.1.2.1 | PSDB 8.3.3.1 | Make up deficiency in backfill material
C.1.2.2 |  | 1) from other necessary excavations on site | m3 | 1100
C.1.2.3 |  | 2) by importation from commercial or off-site sources selected by the Contractor | m3 | 785
C.1.3 | SANS 1200 DM | Bulk Eartworks
C.1.3.1 | 8.3.3 | Treatment of platform bed, preparation and compaction of material to:
C.1.3.2 |  | 1) Minimum of 90% of modified AASHTO maximum density (100% for sand) | m3 | 1050
SUB-TOTAL CARRIED FORWARD
brought forward
C.1.3.3 |  | In-place treatment of road-bed in intermediate or hard material:
|  | a) Ripping | m3 | 1050
C.1.4 |  | INTERNAL ROAD AND PARKINGS
C.1.4.1 | 8.3.3 | Treatment of road bed, preparation and compaction of material to:
C.1.4.2 |  | 1) Minimum of 90% of modified AASHTO maximum density (100% for sand) | m3 | 95
C.1.5 | SANS 1200 ME | Subbase
C.1.5.1 | 8.3.3 | Construct subbase course with material from commercial sources:
|  | 1) C4 material with 3% cement compacted to 95 % of modified AASHTO maximum density (in layers of 150mm) | m3 | 95
C.1.5.2 | 8.3.8 | Stabilising agent
|  | 1) 3% CEM V/B 32.5N cement | t | 3.1
C.1.6 | SANS 1200 MF | BASE
| 8.3.3 | Construct base with material from commercial sources or designated borrow pits:
C.1.6.1 |  | 1) Selected layer G7/G6 material compacted to 93 % of modified AASHTO maximum density (in layers of 150mm) | m3 | 95
B.1.7.3
C.1.7 | SANS 1200 MJ | Segmented paving
B.1.7.4
C.1.7.1 | 8.2.1 | 1) Provision of Kerb Edge Restraints for the internal road and parking lots | m | 250
C.1.7.2 | 8.2.2 | 2) 25MPa 80mm interlock paver for parking lots and 5m from Gate | m2 | 645
B.1.7.5
C.1.7.3 | 8.2.3 | 3) Cutting units to fit edge restraints | m | 250
B.1.7.6
C.1.7.4 |  | 4) Compacted bedding sand of 20mm compacted | m3 | 8 |  |  | 3279725
TOTAL CARRIED FORWARD TO SUMMARY
|  |  | 270000 | 1.1 | 297000

## Package Treatment Plant
BID NO.: INF-W29/2025/2026 GROOTPAN, SIAS, LONGDEN GA-RAMASWIKANA & GA-MMAMOLEKA RURAL WATER SUPPLY (NORTH CLUSTER RESERVOIR) CAPRICORN DISTRICT MUNICIPALITY SCHEDULE OF QUANTITIES SECTION B: SITE CLEARANCE AND FENCING
ITEM NO | PAYMENT CLAUSE | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
D |  | SECTION D: PACKAGE TREATMENT PLANT
D.1 |  | 1) Design, supply, assemble and commissioning Filtration system comprising of activated filter media ,powdered activated carbon and hypochlorite for chlorination Packaged Treatment Plant with daily producy of at least 2300 m3/d, 8 x 40ft HC container with insulation, assembly, & air conditioning. | Prov. Sum | 1 | 12665436.1 | 12665436.1
Note: item D.1 is subject to existing cession agreements under GCC 2015, which remain valid and enforceable despite the termination of the original Contractor and the Employer shall honour all payments in terms thereof.
D.1.1 |  | Extra-over provisional sum for overheads and handling for D1 above | % |  | 12665436.1
D.1.2 |  | Equipping of three boreholes, including supply, installation, testing and commissioning complete with associated electrical works | Prov. Sum | 1 | 1850000 | 1850000 | Rlema
D.1.3 |  | Electrification and neccesary application and approvals with eskom | Prov. Sum | 1 | 1500000 | 1500000
D.1.4 |  | Supply and installation of Telemetry System for package plant and Boreholes | Prov. Sum | 1 | 1700000 | 1700000 | Rlema
D.1.5 |  | Extra-over provisional sum for overheads and handling for item D.1.2 D.1.3 & D.1.4 above | % |  | 5050000
| SABS 1200GA | CONCRETE (Small works)
D.2 |  | FORMWORK
|  | smooth |  | .
D.2.1 |  | Vertical to package treatment plant floor slab | m2 | 22
D.2.2 |  | b) Horizontal plane to roof slab smooth finish | m² | 500
SUB-TOTAL CARRIED FORWARD
brought forward
D.3 |  | REINFORCEMENT
D.3.1 |  | High-tensile welded mesh of:
|  | (i) Ref 395 | t | 3
D.4 |  | CONCRETE
Blinding Layer
D.4.1 |  | Blinding layers in class 15/19 concrete, each 50 mm thick, steel trowelled finish | m2 | 685
Package treatment plant floor slab
D.4.2 |  | Package treatment plant floor slab Strength concrete, Grade 30MPa: | m3 | 15
B.1.7.3
B.1.7.4
B.1.7.5
B.1.7.6
TOTAL CARRIED FORWARD TO SUMMARY

## STORAGE TANKS
BID NO.:INF-W29/2025/2026 GROOTPAN, SIAS, LONGDEN GA-RAMASWIKANA & GA-MMAMOLEKA RURAL WATER SUPPLY (NORTH CLUSTER RESERVOIR) CAPRICORN DISTRICT MUNICIPALITY SCHEDULE OF QUANTITIES SECTION E: RESERVOIRS
ITEM NO | PAYMENT CLAUSE | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
E. |  | SECTION E: 2000KL COMMAND RESERVOIR
E.1 | SANS 1200 G | CONCRETE (STRUCTURAL)
E.1.1 | 8.2 | SCHEDULED FORMWORK ITEMS
| 8.2.1 | Rough
E.1.1.1 |  | a) Rough vertical plane to curved Reservoir wall, outside footing below ground | m² |  |  | Rate Only
|  | b) Vertical plane to overflow pipe base | m² |  |  | Rate Only
| 8.2.2 | Smooth
CHEDULE OF QUANTITIES SECTION F: RESERVOIRS
E.1.1.2 |  | a) Vertical plane to curved walls above ground level (Inside & outside) | m² |  |  | Rate Only
E.1.1.3 |  | b) Horizontal plane to roof slab soffit | m² |  |  | Rate Only
E.1.1.4 |  | c) Vertical plane to up stand beam around roof slab | m² |  |  | Rate Only
E.1.1.5 |  | d) Inclined plane to form shear cone at column heads | m² |  |  | Rate Only
E.1.1.6 |  | e) Circular vertical plane to 300 mm diameter columns | m² |  |  | Rate Only
E.1.1.7 |  | f) Vertical plane to column bases | m² |  |  | Rate Only
E.1.1.8 | 8.2.5 | Narrow Widths (up to 300 mm wide)
E.1.1.9 |  | a) To floor slabs | m |  |  | Rate Only
E.1.1.10 |  | b) To strip footings in curved plan | m |  |  | Rate Only
E.1.1.11 |  | c) Form 25 mm x 25 mm fillets around all exposed edges of edge beams &bases | m |  |  | Rate Only
E.1.1.12 |  | d) To upstand beams -narrow width | m |  |  | Rate Only
E.1.2 | 8.3 | SCHEDULED REINFORCEMENT ITEMS
E.1.2.1 | 8.3.1 | a) High tensile steel bars | t |  |  | Rate Only
E.1.2.2 |  | b) Mild steel bars | t |  |  | Rate Only
E.1.2.3 |  | c) Mesh ref 395 | t |  |  | Rate Only
SUB-TOTAL CARRIED FORWARD
brought forward
E.1.3 | 8.4 | SCHEDULED CONCRETE ITEMS
E.1.3.1 | 8.4.2 | (i) Blinding layers in class 15/19 concrete, each 50 mm thick, steel trowelled finish | m² |  |  | Rate Only
E.1.3.2 |  | (ii) No fines concrete drainage layer including thickening around geopipes | m³ |  |  | Rate Only
E.1.3.3 | 8.4.3 | Strength Concrete
E.1.3.4 |  | b) Grade 25/19 concrete for apron and V-drain | m³ |  |  | Rate Only
E.1.3.5 |  | c) Grade 35/19 in reservoir
E.1.3.6 |  | i) To column and wall footings | m³ |  |  | Rate Only
E.1.3.7 |  | ii) Reservoir floor slab | m³ |  |  | Rate Only
E.1.3.8 |  | iii) To Reservoir walls & buttress | m³ |  |  | Rate Only
E.1.3.9 |  | iv) To internal columns and column heads (shear cones) | m³ |  |  | Rate Only
E.1.3.10 |  | v) To reservoir roof slab | m³ |  |  | Rate Only
E.1.3.11 |  | vi) To up stand beam around roof | m³ |  |  | Rate Only
B.1.7.3
|  | vii) To encasing overflow pipe | m³ |  |  | Rate Only
B.1.7.4
E.1.3.12 | 8.4.4 | Unformed surface finishes
E.1.3.13 |  | a) Wood-floated finish
B.1.7.5
E.1.3.14 |  | i) To top of concrete | m² |  |  | Rate Only
B.1.7.6
E.1.3.15 |  | b) Steel-floated finish
E.1.3.16 |  | i) To top of foundation inside reservoir and strip footing | m² |  |  | Rate Only
E.1.3.17 |  | ii) To reservoir floor | m² |  |  | Rate Only
E.1.3.18 |  | iii) To reservoir roof | m² |  |  | Rate Only
E.1.3.19 |  | iv) To top of reservoir wall | m² |  |  | Rate Only
E.1.3.20 |  | v) To top of roof up stand | m² |  |  | Rate Only
SUB-TOTAL CARRIED FORWARD
brought forward
E.1.3.21 | 8.5 | Joints
E.1.3.22 |  | a) Wall construction joint complete as detailed on the drawings | m |  |  | Rate Only
E.1.3.23 |  | b) Joints between floor panels with 250 mm wide bandage and complete as detailed on the drawing with stainless steel 50 mm x 2 mm and dowels | m |  |  | Rate Only
E.1.3.24 |  | c) Joints between floor and wall complete as detailed on the drawings with stainless steel (50 mm x 2 mm) and dowels | m |  |  | Rate Only
E.1.3.25 |  | d) Joint between wall footing and apron slab as detailed on drawing and | m |  |  | Rate Only
E.1.3.26 |  | e) Joint between apron slab and V-drain as detailed on drawing and | m |  |  | Rate Only
E.1.3.27 |  | f) Joints in apron slab at m centre as detailed on drawing and | m |  |  | Rate Only
E.1.3.28 |  | g) Joints in V-drain at m centres as detailed on drawing and | m |  |  | Rate Only
E.1.4 |  | Miscellaneous
E.1.4.1 |  | Testing for watertightness | Sum |  |  | Rate Only
E.1.4.2 |  | Cleansing and disinfection | m² |  |  | Rate Only
E.1.4.3 |  | Supply and install under entire reservoir 1 No layers of 250µm DPC as per details on drawing | m² |  |  | Rate Only
E.1.4.4 |  | Supply and install roof Thermo insulation as detailed on drawings |  |  |  | Rate Only
E.1.4.5 |  | Supply and install:
E.1.4.6 |  | (i) 110 mm diameter perforated drain pipe protected with U44 Bidim circular in plan | m |  |  | Rate Only
E.1.4.7 |  | (ii) 80mm diameter perforated pipe protected with U44 Bidim | m² |  |  | Rate Only
E.1.4.8 |  | Supply and install geofabric layer, U44 Bidim, between no fines concrete drainage layer and 50mm thick blinding layer | No. |  |  | Rate Only
SUB-TOTAL CARRIED FORWARD
brought forward
E.1.4.9 |  | Construct manholes for sub surface drainage as detailed on drawings | No. |  |  | Rate Only
E.1.4.10 |  | Supply and install Limitgliss bearing strip between wall and roof | m |  |  | Rate Only
E.1.4.11 |  | Supply and install roof weepholes as per drawings | No. |  |  | Rate Only
E.2 |  | STRUCTURAL STEELWORK (SUNDRY ITEMS)
E.2.1 |  | a) Manhole cover and frame for reservoir access complete with locking bar and lock | No. |  |  | Rate Only
E.2.2 |  | b) Supply and install hot dipped galvanised roof ventilators to the reservoir roof | No. |  |  | Rate Only
E.2.3 |  | c) Internal ladder to reservoir installed completely | No. |  |  | Rate Only
E.2.4 |  | d) External ladder to reservoir installed cpmpletely | No. |  |  | Rate Only
E.2.5 |  | PROVISIONAL SUM
E.2.5.1 |  | Provisional Sum for earthing and lightning protection | Prov Sum | 1 | 50000 | 50000
E.2.5.2 |  | Extra-over provisional sum for overheads and handling | % |  | 50000
E.2.5.3 |  | Precast Concrete 150mm Flow meter chamber complete with rebar | Sum |  |  | Rate Only
E.2.5.4 |  | Precast Isolating valve chamber complete with rebar | Sum |  |  | Rate Only
E.2.5.5 |  | Precast level control valve chamber complete with rebar | Sum |  |  | Rate Only
E.2.6 | SANS 1200 LB | BEDDING (PIPES)
| 8.2.2.3 | Provision of bedding from commercial sources
|  | a) Selected granular material | m3 |  |  | Rate Only
SUB-TOTAL CARRIED FORWARD
brought forward
E.2.6 | SANS 1200 LC | CABLE DUCTS
E.2.7 | 8.2.2 | Excavate in all materials for trenches, backfill, compact, and dispose of surplus material | m |  |  | Rate Only
E.2.8 |  | Kabelflex 110mm Cable Ducts | m |  |  | Rate Only
E.2.9 | 8.2.7 | Draw Pits/ Manholes | No. |  |  | Rate Only
E.3 |  | CIRCULAR STORAGE STEEL TANKS
E.3.1 |  | 2 Megaliter Storage Tank with dump drain,access ladder,inlet and outlet nozzles | Prov. Sum | 1 | 3350000 | 3350000 | 3500000 | 2659389.98
Note: item E.3.1 is subject to existing cession agreements under GCC 2015, which remain valid and enforceable despite the termination of the original Contractor and the Employer shall honour all payments in terms thereof.
690610.02
|  | Extra-over provisional sum for overheads and handling | % |  | 3350000 |  | 0.09445 | 316406.95
Concrete Ring Beam to suit the 2ML tank
|  | a) Stirrup R-10 (SANS 282: 2011, Shape Code 72) | t | 0.5
|  | b) Reinforcing Bar Y-12 (6.5m length) | t | 0.5 |  |  | Density =0.888kg/m | 6.5x65=425 | LENGTH 65m
|  | c) 25mpa Concrete | m3 | 15
|  | d) Internally compacted sand bed of 100mm deep for 2ml Steel tank | m3 | 40 |  |  | 3852500
3350000
E.3.2 |  | 500 kiloliter Storage Tank with dump drain,access ladder,inlet and out nozzles | Prov. Sum | 1 | 1200000 | 1200000 | Specifiy
|  | Extra-over provisional sum for overheads and handling | % |  | 1200000
Concrete Ring Beam to suit the 500 kl tank above
|  | a) Stirrup R-10 (SANS 282: 2011, Shape Code 72) | t | 0.5 |  |  | 118
|  | b) Reinforcing Bar Y-12 (6.5m length) | t | 0.5
|  | c) 25mpa Concrete | m3 | 15
|  | d) Internally compacted sand bed of 100mm deep for 300kl steel tank | m3 | 10 |  |  | vol. 40+10 | 50
TOTAL CARRIED FORWARD TO SUMMARY
4132.3636
#REF!
#REF!
|  |  | 270000 | 1.1 | 297000

## uPVC PIPELINE
BID NO.: INF-W29/2025/2026 GROOTPAN, SIAS, LONGDEN GA-RAMASWIKANA & GA-MMAMOLEKA RURAL WATER SUPPLY (NORTH CLUSTER RESERVOIR) CAPRICORN DISTRICT MUNICIPALITY SCHEDULE OF QUANTITIES SECTION B: SITE CLEARANCE AND FENCING
ITEM NO | PAYMENT CLAUSE | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
G |  | SECTION G: uPVC PIPELINE
G.1 | SANS 1200D | BULK EARTHWORKS
G.1.2 | PSDB 8.3.2 | EARTHWORKS (Pipe trenches)
Site clearance and removal of topsoil measured under Section C: Site Clearance
| PSDB 8.3.2(a) | Excavate in all materials for trenches backfill, compact, and dispose of surplus/unsuitable material, for pipes: up to 200 mm in diameter for total trench depth: Exceeding but not exceeding
G.1.1.1 |  | 0,0 m 1,0 m | m | 155
G.1.1.2 |  | 1,0 m 2,0 m | m | 210 |  |  | 550
G.1.1.3 |  | 2,0 m 3,0 m | m |  |  | Rate Only
G.1.2 | PSDB 8.3.2(b) | Extra-over item (a) above for: | [5 empty] | 250 | 2 | 1 | 500 | 600*
G.1.2.1 |  | 1) Intermediate Excavations | m3 | 1 |  |  | 1200 | 500 | 50
G.1.2.2 |  | 2) Hard Excavations | m3 |  |  | Rate Only
G.1.2.3 |  | 3) Rock Excavations | m3 |  |  | Rate Only
G.1.2.4 |  | 4) Boulder Excavation | m3 |  |  | Rate Only | 0
G.1.2.5 |  | 4. Hand excavation and backfill where ordered by the engineer | m³ | 50
G.2 | SANS 1200 LB | BEDDING ( PIPES)
G.2.1 | PSLB 8.1.1 | Provision of Bedding from Trench Excavation
G.2.1.1 |  | a) Selected granular material | m³ | 110 | 70 |  |  | 250 | 0.4 | 1 | 100
G.2.1.2 |  | b) Selected fill material | m³ | 340 | 70
G.2.2 | PSLB 8.1.4 | From commercial sources
G.2.2.1 |  | a) Selected granular material | m³ | 42 | 70
G.2.2.2 |  | b) Selected fill material | m³ | 110 | 70
SUB-TOTAL CARRIED FORWARD
brought forward
G.3 | SANS 1200L | MEDIUM PRESSURE PIPELINES
| PSL 8.2.1 | Supply, Lay and Bed Pipes complete with couplings
G.3.1 | PSL 8.2.1.1 | Supply, Lay, Joining, Bedding, Testing and Disinfection of uPVC Class12 with the following diameters:
G.3.1.1 |  | ND 32 mm | m | 122
G.3.1.2 |  | ND 75 mm | m | 40
G.3.1.3 |  | ND 160 mm | m | 725 |  |  | 550 | +
G.3.1.4 |  | ND 200 mm | m | 44
G.3.2 | PSL 8.2.2.2 | Extra-over 8.2.1.1 for the Supplying, Laying, and Bedding of Specials Complete with Couplings for uPVC pipes
90° elbows:
G.3.2.1 |  | 32 mm | No | 4
G.3.2.2 |  | 80 mm | No | 3
G.3.2.3 |  | 160 mm | No | 10
G.3.2.4 |  | 200 mm | No | 3
G.3.2.5 |  | 45° elbows:
B.1.7.3
G.3.2.6 |  | 160 mm | No | 2
B.1.7.4
G.3.2.7 |  | Tee:
G.3.2.8 |  | 160 mm | No | 3
B.1.7.5
G.3.2.9 |  | Tee:
B.1.7.6
G.3.2.10 |  | 32 mm | No | 2
G.3.2.11 |  | 80 mm | No | 2
SUB-TOTAL CARRIED FORWARD
brought forward
G.3.3 | PSL 8.2.3 | Extra-over 8.2.1 for the supplying, fixing and bedding of valves
Flanged wedge Gate valve
G.3.3.1 |  | 80 mm | No | 1
G.3.3.2 |  | 150 mm | No | 6
G.3.3.3 |  | 200 mm | No | 2
G.3.4.4 |  | Anchor/Thrust blocks
G.3.4.5 |  | Concrete class 20MPa | m³ | 20
G.3.4.6 |  | Supply of a 9m high elevated stand for a 5.25kl tank | No | 1
G.3.4.7 |  | Supply of a 5.25kl water storage tank (Plastic tank) | No | 1
G.3.4.8 |  | Construction of tank stand foundation | No | 1
G.3.4.9 |  | Supply and installation of booster pump | No | 1
G.3.5 | SANS 1200 LF | Erf Connection
G.3.1 | 8.2.1 | Providing erf connections in HDPE pipes and fittings | m | 10
| 8.2.2 | Supply, Lay, Disinfection, Installation and Testing of Erf Connections
G.3.2 |  | The laying of erf connections will be measured on slopes overall as laid | m | 5
G.3.3 | 8.2.6 | Supply, install and test brass ball valve (ball-o-stop) complete with special fittings of 32 mm ND | No | 3
TOTAL CARRIED FORWARD TO SUMMARY

## STEEL PIPELINE
BID NO.:INF-W29/2025/2026 GROOTPAN, SIAS, LONGDEN GA-RAMASWIKANA & GA-MMAMOLEKA RURAL WATER SUPPLY (NORTH CLUSTER RESERVOIR) CAPRICORN DISTRICT MUNICIPALITY SCHEDULE OF QUANTITIES SECTION F: STEEL PIPELINE
ITEM NO | PAYMENT CLAUSE | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
F |  | SECTION F: STEEL PIPELINE
F.1 | SANS 1200D | BULK EARTHWORKS
F.1.1 |  | Excavation
Earthworks for valve chambers and structures
Topsoil measured in "Section B Site Clearance"
F.1.1.1 |  | Excavate in all materials and use for backfill or dispose(big valve chambers) | m3 | 245
F.1.1.2 |  | Excavate in all materials and use for backfill or dispose(small valve chambers) | m3 | 60
F.1.2 | PSDB 8.3.2(b) | Extra-over item (a) above for:
F.1.2.1 |  | 1) Hard Excavations | m3 | 50
F.1.2.2 |  | 2) Hand excavation and backfill where ordered by the engineer | m3 |  |  | Rate only
F.1.2.3 |  | 3) Rock Excavations | m3 | 1
F.1.2.4 |  | 4) Boulder Excavation | m3 | 1
F.1.2.5 |  | 5.) Hand excavation and backfill where ordered by the engineer | m3 | 32
F.1.3 |  | Importing of backfill material from a commercial source
F.1.3.1 |  | 1) Selected fill material | m3 | 192
SUB-TOTAL CARRIED FORWARD
brought forward
F.1.4 |  | EARTHWORKS (Pipe trenches) - STEELPIPE
| PSDB 8.3.2(a) | Excavate in all materials for trenches backfill, compact, and dispose of surplus/unsuitable material, for pipes: up to 200 mm in diameter for total trench depth: Exceeding but not exceeding
F.1.4.1 |  | 0,0 m 1,0 m | m |  |  | Rate Only
F.1.4.2 |  | 1,0 m 2,0 m | m | 44.5455
F.1.4.3 |  | 2,0 m 3,0 m | m |  |  | Rate Only
F.1.5 | PSDB 8.3.2(b) | Extra-over item (a) above for:
F.1.5.1 |  | 1) Intermediate Excavations | m3 | 1
F.1.5.2 |  | 2) Hard Excavations | m3 | 2.17
F.1.5.3 |  | 3) Rock Excavations | m3 | 1
F.1.5.4 |  | 4) Boulder Excavation | m3 | 1
F.1.5.1 |  | 5) Hand excavation and backfill where ordered by the engineer | m³ | 2.56
F.1.5.2 | 8.3.7 | Cut to Spoil
F.1.5.7 |  | 2) Hard rock excavation | m3 |  |  | Rate Only
B.1.7.3 |  | 3) Boulder excavation, Class A | m3 |  |  | Rate Only
B.1.7.4 |  | 4) Boulder excavation, Class B | m3 |  |  | Rate Only
F.2 | SANS 1200 LB | BEDDING ( PIPES)
F.2.1 | PSLB 8.1.1 | Provision of Bedding from Trench Excavation
B.1.7.5
F.2.1.1 |  | a) Selected granular material | m³ | 12.5
B.1.7.6
F.2.1.2 |  | b) Selected fill material | m³ | 158.42
SUB-TOTAL CARRIED FORWARD
brought forward
F.2.2 | PSLB 8.1.4 | From commercial sources
F.2.2.1 |  | a) Selected granular material | m³ | 10
F.2.2.2 |  | b) Selected fill material | m³ | 30
F.3 | SANS 1200L | MEDIUM PRESSURE PIPELINES
| 8.2.1 | Supply, Lay and Bed Pipes complete with couplings
F.3.1 | PSL 8.2.1.2 | Supply, Lay, Joining, Bedding, Testing and Disinfection of Hot-Dipped Steel Pipes with the following diameters:
F.3.1.1 |  | 32 mm | m | 10
F.3.1.2 |  | 80 mm | m | 10
F.3.1.3 |  | 150 mm | m | 25
F.3.1.4 |  | 200mm | m | 50
F.4 |  | CHAMBER FITTINGS (SEE CHAMBER DETAILS DWG NO.)
F.4.1 |  | Supply pipe specials complete with protection and install the following isolation valve chamber fittings:
F.4.1.1 |  | 200∅ x4.5mm THICK x550mm LONG STEEL FLANGED BOTH ENDS TO SANS 1123 - 2500/3.(Item 10) | No | 1
F.4.1.2 |  | 200∅ x4.5mm THICK x1250mm LONG STEEL FLANGED BOTH ENDS TO SANS 1123 - 2500/3. (Item 11) | No | 1.5
F.4.1.3 |  | 200∅ x4.5mm THICK x1400mm LONG STEEL FLANGED BOTH ENDS TO SANS 1123 - 2500/3.(Item 13) | No | 1.5
F.4.1.4 |  | 150∅ x4.5mm THICK x 1590 mm LONG STEEL FLANGED BOTH ENDS TO SANS 1123 - 2500/3..(Item 17) | No | 2
SUB-TOTAL CARRIED FORWARD
brought forward
F.4.1.6 |  | 150∅ x 950 mm LONG STEEL PIPE 4.5mm THICK WITH PUDDLE FLANGE. BOTH ENDS FLANGED TO SANS 1123 - 2500/3 (Item 1) | No | 4
F.4.1.7 |  | 150∅ x4.5mm THICK x 815 mm LONG STEEL FLANGED BOTH ENDS TO SANS 1123 - 2500/3. (Item 14) | No | 2
F.4.1.8 |  | 150∅ x4.5mm THICK x 315 mm LONG STEEL FLANGED BOTH ENDS TO SANS 1123 - 2500/3.(Item 5) | No | 2
F.4.1.9 |  | 150∅ x4.5mm THICK x 200 mm LONG STEEL FLANGED BOTH ENDS TO SANS 1123 - 2500/3.(Item 3) | No | 8
F.4.2 |  | Valves:
F.4.2.1 |  | 200 mm sluice valve, flanged (Item 12) | No | 2
F.4.2.2 |  | 150 mm sluice valve, flanged (Item 2) | No | 6
F.4.2.3 |  | 80 mm sluice valve, flanged (Item 18) | No | 2
F.4.2.4 |  | 150 mm altitude level control valve, flanged (Item 7) | No | 2
F.4.2.5 |  | 150 mm non return valve, flanged (Item 8) | No | 2
F.4.3 |  | Water meter:
F.4.3.1 |  | 150 mm water meter, flanged (Item 6) | No | 1
F.4.4 |  | Strainer:
F.4.4.1 |  | 150 mm strainer, flanged (Item 4) | No | 2
F.4.4.2 |  | 200 mm strainer, flanged (Item 4) | No | 2
F.3.2 | PSL 8.2.2.1 | Extra-over 8.2.1.2 for the Supplying, Laying, and Bedding of Specials Complete with Couplings for Steel pipes and adaptors to PVC
90° elbows:
F.3.2.1 |  | 150 mm | No | 6
F.3.2.2 |  | 200 mm | No | 4
SUB-TOTAL CARRIED FORWARD
brought forward
Galvanised Flanged adapters
F.3.2.3 |  | 80∅ Flange Adaptor (PN16) Flanged to SANS 1123 | No | 1
F.3.2.4 |  | 150∅ Flange Adaptor (PN16) Flanged to SANS 1123 | No | 4
F.3.2.5 |  | 200∅ Flange Adaptor (PN16) Flanged to SANS 1123 | No | 1
Galvanised Flanged Reducers
F.3.2.6 |  | 200∅ x 150∅ REDUCER WITH BOTH ENDS FLANGED TO SANS 1123 - 2500/3. | No | 2
F.3.2.7 |  | 150 ∅ x 80∅ REDUCER WITH BOTH ENDS FLANGED TO SANS 1123 - 2500/3. | No | 2
45° elbows:
F.3.2.8 |  | 150 mm | No | 2
F.3.2.9 |  | 200 mm | No | 2
Tee:
|  | 200∅ mm | No | 1
| SABS 1200GA | CONCRETE (Small works)
F.4 |  | FORMWORK
|  | Rough: |  | .
F.4.1.1 |  | Vertical to chamber floor slab | m2 | 6.5
F.4.2 | PSGA 8.2.5 | Sumps in:
F.4.2.1 |  | Valve chamber | No | 2
F.5 |  | REINFORCEMENT
F.5.1 |  | High-tensile welded mesh of:
F.5.1.1 |  | Valve Chambers floor slab (Ref.395) | t | 2
SUB-TOTAL CARRIED FORWARD
brought forward
F.6 |  | CONCRETE
F.6.1 |  | Blinding layer in 15MPa concrete, 50mm thick for:
F.6.1.1 |  | Valve chambers | m2 | 37
Strength concrete, Grade 25MPa:
F.6.1.2 |  | Valve chamber floor slab | m3 | 13
F.7 |  | PRECAST ELEMENTS / BRICK WORK
Valve chambers :
|  | Supply and install/construct precast valve chamber, complete, as per drawing | No | 2
|  | 1.8 m dia x 1.25 m Precast circular concrete chambers, cover and base | No | 2
|  | 1.8 m dia x 1 m Precast circular concrete chambers, cover and base | No | 2
TOTAL CARRIED FORWARD TO SUMMARY

## Stormwater
BID NO.: INF-W29/2025/2026 GROOTPAN, SIAS, LONGDEN GA-RAMASWIKANA & GA-MMAMOLEKA RURAL WATER SUPPLY (NORTH CLUSTER RESERVOIR) CAPRICORN DISTRICT MUNICIPALITY SCHEDULE OF QUANTITIES SECTION B: SITE CLEARANCE AND FENCING
ITEM NO | PAYMENT CLAUSE | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
H |  | SECTION H: STORMWATER
H.1 | SANS 1200D | BULK EARTHWORKS
H.1.1 | 8.3.2 | Excavation
| 8.3.2.a) | Excavate in all materials for trenches backfill, compact, and dispose of urplus/unsuitable material, for pipes: up to 675 mm diam. for total depth
H.1.1.1 |  | Exceeding 0,50 m but not exceeding 1,0 m | m |  |  | Rate Only
H.1.1.4 |  | Exceeding 2,5 m but not exceeding 3,0 m | m |  |  | Rate Only
| 8.3.2 (b) | Extra-over for (prov):
H.1.1.8 |  | Intermediate excavation | m³ |  |  | Rate Only
H.1.1.9 |  | Hard rock excavation | m³ |  |  | Rate Only
H.1.1.10 | 8.3.2.c ) | Excavate and dispose of unsuitable material from trench bottom (Provisional) | m³ |  |  | Rate Only
H.1.2 |  | EXCAVATION ANCILLARIES
H.1.2.1 | 8.3.3.1 | Make up deficiency in backfill material (Provisional)
H.1.2.2 |  | a) from other necessary excavations on site | m³ |  |  | Rate Only
H.1.2.3 |  | b) by importation from designated borrow pits | m³ |  |  | Rate Only
H.1.2.4 |  | c) by importation from commercial or off-site sources selected by the Contractor | m³ |  |  | Rate Only
SUB-TOTAL CARRIED FORWARD
brought forward
H.1.3 | SANS 1200DK | GABIONS AND PITCHING
H.1.3.1 | 8.2.1 | Surface preparation for bedding of gabions Cavities filled with approved excavated material or rock | m2 |  |  | Rate Only
H.1.3.2 | 8.2.5 | Stone pitching | m2 | 10 | 280
H.1.3.3 |  | Erosion control blanket | m2 | 10 | 950
H.1.3.4 |  | (a) Y12 hot dipped galvanised ground anchor pegs 1.5m in length | No |  |  | Rate Only
H.1.3.5 |  | Earth Channel
H.1.3.6 |  | (i) Construct a 1.2m wide earth channel,150mm layers compacted to 95% of modified AASHTO density | m2 | 300 |  |  | 250 | 1.2 | 300
B.1.7.3
B.1.7.4
B.1.7.5
B.1.7.6
TOTAL CARRIED FORWARD TO SUMMARY

## Sewer
BID NO.: INF-W29/2025/2026 GROOTPAN, SIAS, LONGDEN GA-RAMASWIKANA & GA-MMAMOLEKA RURAL WATER SUPPLY (NORTH CLUSTER RESERVOIR) CAPRICORN DISTRICT MUNICIPALITY SCHEDULE OF QUANTITIES SECTION I: SEWER RETICULATION
ITEM NO | PAYMENT CLAUSE | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
I | SANS 1200 LD | SECTION I: SEWER RETICULATION
I.1 | SANS 1200D | BULK EARTHWORKS
I.1.1 | PSDB 8.3.2 | Excavation
| 8.2.3 | Excavate in all materials for trenches, backfill & compact to 93% mod AASHTO
Between and over pipes, including disposal of surplus material. For depths : For
I.1.1.1 |  | 0.000m to 1.0m | m |  |  | Rate Only
I.1.1.2 |  | 1.001m to 1.5m | m | 96
I.1.1.3 |  | 1.501m to 2.0m | m | 11
I.1.1.4 |  | Import bedding and selected fill material from excavation on site | m³ | 454
I.1.2 | SANS 1200 LD | SEWER PIPEWORK
I.1.2.1 | 8.2.1 | Supply mains pipe, bed, lay, joint, supply bedding class B and fill blanket, test pipes with joints
I.1.2.2 |  | 110 mm dia uPVC class 34 sewer pipe | m | 105
I.1.3 | 8.2.3 | MANHOLES
I.1.3.1 |  | Complete with heavy duty concrete type cover with metal lip ring and frame - 1000mm Dia
I.1.3.2 |  | 1.0m to 1.5m dia 1.05m | No | 1
I.1.3.3 |  | 1.5m to 2.0m dia 1.05m | No | 1
| SANS 1200 LB | BEDDING ( PIPES)
| 8.1.1 | Provision of Bedding from Trench Excavation
|  | a) Selected granular material | m³ | 60
|  | b) Selected fill material | m³ | 175
| 8.1.4 | From commercial sources
|  | a) Selected granular material | m³ | 60
|  | b) Selected fill material | m³ | 50
TOTAL CARRIED FORWARD TO SUMMARY
B.1.7.3
B.1.7.4
B.1.7.5
B.1.7.6

## SEPTIC TANK & SOAK AWAY
BID NO.: INF-W29/2025/2026 GROOTPAN, SIAS, LONGDEN GA-RAMASWIKANA & GA-MMAMOLEKA RURAL WATER SUPPLY (NORTH CLUSTER RESERVOIR) CAPRICORN DISTRICT MUNICIPALITY SCHEDULE OF QUANTITIES SECTION B: SITE CLEARANCE AND FENCING
ITEM NO | PAYMENT CLAUSE | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
J |  | SECTION K: SEPTIC TANK AND SOAK AWAY
J.1 | SANS 1200D | BULK EARTHWORKS
J.1.1 |  | Bulk Excavation
J.1.1.1 | 8.3.2,a) | Excavate in all materials not exceding 2,5m deep. Purpose of excavation is to accommodate a prefabricated septic tank and backfill | m³ | 30
J.1.1.2 | 8.3.2,a) | Excavate in all materials not exceding 2,5m deep. Purpose of excavation is to accommodate a soak away | m³ | 5
J.1.1.3 |  | Back excavation of vertical sides of excavation in earth for working space including backfilling compacted to 98% Mod AASHTO density | m³ | 20
J.2.1 |  | Septic Tank
J.2.1.1 |  | 5000 litre heavy duty plastic septic tank or equal approved, installed in accordance with the manufacturer’s specifications, including excavation, backfilling in 300 mm layers, compaction to at least 95% AASHTO, and disposal of surplus material to a spoil site provided by the Contractor | No | 1
J.2.1.2 |  | 1000x1000x1000mm deep brick manhole complete with 100mm thick mass concrete slab, 230mm brickwall in English Bond, benching, plastering, forming holes and ductile cast iron cover and frame size 420 x 345mm type HYDREX Z300x400C including excavations, backfilling in 300mm layersand compacting to atleast 95% AASHTO | No | 1
J.2.1.3 |  | 300 x 300mm bidem bag with for soak away | m2 | 5
J.2.1.4 |  | 25mm stone for soak away | m³ | 5
J.2.2 |  | Sludge handling for Package Treatment Plant
J.2.2.1 |  | Supply, Installations of Sludge Drying Bed (100kl/Day Feed Flow Rate) ,(900m2 x3m depth) | Sum | 1
J.2.2.2 |  | Supply, Installations of (900m2 x3m depth) Sludge Dam x 2 | Sum | 2
TOTAL CARRIED FORWARD TO SUMMARY
B.1.7.3
B.1.7.4
B.1.7.5
B.1.7.6

## ROAD WORK
BID NO.: INF-W29/2025/2026 GROOTPAN, SIAS, LONGDEN GA-RAMASWIKANA & GA-MMAMOLEKA RURAL WATER SUPPLY (NORTH CLUSTER RESERVOIR) CAPRICORN DISTRICT MUNICIPALITY SCHEDULE OF QUANTITIES SECTION B: SITE CLEARANCE AND FENCING
ITEM NO | PAYMENT CLAUSE | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
K | SANS 1200 DM | SECTION K: ROAD WORK
K.1 | SANS 1200D | BULK EARTHWORKS
K.1.1 |  | Bulk Excavation
| 8.3.2,a) | Excavate in all materials for use for embankment or backfill or dispose
K.1.1.1 |  | Selected layer G6/G7 material compacted to 93 % of modified AASHTO maximum density 300 (in layers of 150mm) | m3 | 160
K.1.1.2 | 8.3.2,b) | Extra-Over for
K.1.1.3 |  | 1) Intermediate excavation | m3 | 1
K.1.1.4 |  | 2) Hard rock excavation | m3 | 60
K.1.1.7 | 8.3.7 | Cut to Spoil
K.1.1.8 |  | 2) Hard rock excavation | m3 | 60
K.2.1 | SANS 1200DB | EXCAVATION ANCILLARIES
K.2.1.1 | 8.3.3.1 | Make up deficiency in backfill material
K.2.1.2 |  | a) from other necessary excavations on site | m3 | 60
K.2.1.3 |  | c) by importation from commercial or off-site sources selected by the Contractor | m3 | 60
K.2.1.4 | 8.3.3 | Treatment of road bed, preparation and compaction of material to:
K.2.1.5 |  | Minimum of 95% of modified AASHTO maximum density | m3 | 55
SUB-TOTAL CARRIED FORWARD
brought forward
K.2.1.6 |  | In situ treatment of roadbed (G8/9):
K.2.1.7 |  | In situ treatment by ripping | m3 | 55
K.3.1 | SANS 1200 ME | SUBBASE
| 8.3.3 | Construct base with material from commercial sources or designated borrow pits:
K.3.1.1 |  | Gravel material compacted to 93 % of modified AASHTO maximum density (in layers of 150mm) | m3 | 55
K.4.1 |  | WEARING COURSE
| 8.3.3 | Construct base with material from commercial sources or designated borrow pits:
K.4.1.1 |  | Gravel material compacted to 95 % of modified AASHTO maximum density (in layers of 150mm) | m3 | 55
B.1.7.3
B.1.7.4
B.1.7.5
B.1.7.6
TOTAL CARRIED FORWARD TO SUMMARY

## Summary
CONTRACT NO. : INF-W29/2025/2026 SCHEDULE OF QUANTITIES SUMMARY OF BILL OF QUANTITIES
Section | Description | TENDERED AMOUNT
A | Preliminary and General
B | Site Clearance
C | Platform
D | Package Treatment Plant & Small Concrete Works
E | Reservoirs/Bulk Storage Tanks
F | Steel Pipeline
G | uPVC Pipeline (Medium Pressure pipes)
H | Stormwater
I | Sewer
J | Septic Tank & Soak Away
K | Road Work
SUB-TOTAL-1
ADD | CONTINGENCIES @ 10% (Solely for the use of the client, and only on instruction to contractor)
SUB-TOTAL-2
ADD | VAT @ 15%
TOTAL GRAND TOTAL (ALL-INCLUSIVE)
28872518
B.1.7.3
B.1.7.4
B.1.7.5
B.1.7.6