1

                    [image: image3.png]ISIGCINAMAGUGU

sﬁz

# sport,arts & culture

\\‘//

\1/ Department:

\4 Sport, Arts and Culture
REPUBLIC OF SOUTH AFRICA





                    REQUEST FOR QUOTATION  A DVERT

Ncome Museum is seeking to appoint a service provider to render a service as mentioned below:

Bid Number: NMQ 0209 OF 2026

DESCRIPTION:  INSTALLATION OF IRRIGATION SYSTEM

Name of Institution: Ncome Museum

Date Published: 19 June 2026

Venue: Ncome Museum, Blood River Heritage Site, Ohaleni, 3000

Closing Date and Time:  03 July 2026, 16h00

Site Briefing:  Compulsory

Date:               24 June  2026
Venue:            Ncome Museum Boardroom 

Time:              10:30 AM

 Enquiries: Main contact person: Mr. Samkelo Tabata

                    E-mail: samkelo.tabata@ncomemuseum.org
                    Telephone:  0875270823

                    Secondary person: Mr. Msizi Mfeka

                    E-mail: mmfeka@msunduzimuseum.org.za 

                    Telephone: 033 394 6834/5

Quotations to S. Tabata and M. Mfeka Email to: samkelo.tabata@msunduzimuseum.org.za and mmfeka@msunduzimuseum.org.za   by 03 July 2026, Friday 2026, 16h00.
[image: image1.png]ISIGCINAMAGUGU

sﬁz

# sport,arts & culture

\\‘//

\1/ Department:

\4 Sport, Arts and Culture
REPUBLIC OF SOUTH AFRICA





REQUEST FOR QUOTATION (RFQ)
INSTALLATION OF IRRIGATION SYSTEM
NCOME MUSEUM, OHALENI, NQUTHU, KWAZULU-NATAL
RFQ Number: NMQ 0209 OF 2026
Issue Date: 19 June 2026
Closing Date: 03 July 2026
Submission Method: Electronic Submission
1. INVITATION TO QUOTE
Ncome Museum invites suitably qualified and experienced irrigation contractors to submit quotations for the design, supply, installation, testing, commissioning and handover of a comprehensive irrigation system at Ncome Museum, Ohaleni, Nquthu, KwaZulu-Natal.
The proposed irrigation system is intended to provide efficient and sustainable irrigation of the landscaped and planted areas surrounding the museum complex, accommodation units, pathways, entrance precincts and associated landscaped areas identified on the attached site image.
2. PROJECT BACKGROUND
Ncome Museum maintains a number of landscaped areas and planted zones around its facilities which require a reliable and efficient irrigation system to support plant establishment, improve landscape sustainability and reduce maintenance requirements.
The attached aerial image indicates the primary landscape and planting zones requiring irrigation coverage. Contractors shall verify the extent of these areas during the site briefing and site inspection and make appropriate provision in their quotations.
3. OBJECTIVE
The objective of this project is to design and install a fit-for-purpose irrigation system that will:
1. Provide adequate irrigation coverage to all identified planting and landscaped areas.
2. Improve water-use efficiency through appropriate irrigation technologies.
3. Ensure reliable operation and ease of maintenance.
4. Promote healthy growth and sustainability of the landscaped areas.
5. Reduce manual watering requirements.
4. SCOPE OF WORK
The successful contractor shall provide all labour, materials, equipment, supervision, transport and ancillary services necessary to complete the works.
The scope shall include, but not be limited to, the following:
4.1 Site Assessment and Design
4.1.1 Conduct a detailed assessment of the irrigation requirements.
4.1.2 Verify all irrigation zones and planting areas on site.
4.1.3 Develop an irrigation layout suitable for the site conditions.
4.1.4 Determine water pressure and flow requirements.
4.1.5 Identify connection points to existing water infrastructure.
4.1.6 Prepare an irrigation design indicating all proposed irrigation zones, pipe routes 
           and irrigation components.

4.2 Supply and Installation
4.2.1 Supply and install all irrigation piping and fittings.
4.2.2 Supply and install irrigation control valves.
4.2.3 Supply and install sprinkler heads, pop-up sprinklers, rotors, micro-sprayers,
        drippers or drip irrigation systems as appropriate for each landscape zone.
4.2.4 Supply and install irrigation controllers and associated electrical components 
        Supply and install filtration equipment where necessary.

4.2.5 Supply and install valve boxes and protection chambers.
4.2.6 Undertake all trenching, pipe laying, backfilling and reinstatement works.
4.2.7 Protect existing infrastructure, landscaping and services during installation.
4.3 Water Management and Control
4.3.1 Establish irrigation zones based on planting requirements and landscape
        characteristics.
4.3.2 Ensure efficient water distribution with minimal wastage.
4.3.3 Provide automated scheduling capability where applicable.
4.3.4 Ensure that the system can be easily operated and maintained by museum
         personnel.
4.4 Testing and Commissioning
4.4.1 Pressure test the entire irrigation system.
4.4.2 Demonstrate the operation of all irrigation zones.
4.4.3 Rectify any defects identified during testing.
4.4.4 Commission the system and place it into operation.
4.5 Training and Documentation
4.5.1 Provide operational training to designated museum staff.
4.5.2 Provide as-built drawings.
4.5.3 Provide operating manuals and maintenance instructions.
4.5.4 Provide warranty documentation for all installed equipment.
5. SITE BRIEFING AND SITE INSPECTION
A site briefing and inspection will be conducted for all interested contractors.
The purpose of the briefing is to enable contractors to:
5.1 Familiarise themselves with the site conditions.
5.2 Understand the extent and nature of the irrigation requirements.
5.3 Assess water supply infrastructure and site constraints.
5.4 Verify irrigation zones and planting areas.
5.5 Develop an adequate Bill of Quantities (BOQ).
5.6 Prepare a comprehensive and accurate quotation based on actual site conditions.
5.7 Raise any technical or contractual queries before submission of quotations.
Contractors are required to attend the site briefing to ensure that all pricing is based on a full understanding of the project requirements. All contractors who attended the site briefing will be allowed to quote.
Site Briefing Date: 24 June 2026
Time: 10:30
Venue: Ncome Museum, Ohaleni, Nquthu
6. QUOTATION REQUIREMENTS
Contractors shall submit both a Technical Proposal and Financial Proposal.
6.1 Technical Proposal
The technical proposal shall include:
6.1.1 Company profile.
6.1.2 Relevant experience in irrigation system installation.
6.1.3 Details of at least three similar projects completed within the last five years.
6.1.4 Proposed methodology and implementation programme.
6.1.5 Product specifications and technical information for key components.
6.1.6 Details of warranties and after-sales support.
6.2 Financial Proposal
The financial proposal shall include a detailed quotation and Bill of Quantities covering, but not limited to:
6.2.1 Preliminary and General Costs.
6.2.2 Irrigation system design.
6.2.3 Pipes and fittings.
6.2.4 Valves and valve boxes.
6.2.5 Sprinklers and/or drip irrigation components.
6.2.6 Controllers and associated electrical works.
6.2.7 Trenching and reinstatement.
6.2.8 Testing and commissioning.
6.2.9 Training and handover.
6.2.10 VAT (where applicable).
6.2.11 Total project cost.
Contractors are required to develop their own detailed BOQ based on the information provided and observations made during the site briefing.
7. QUOTATION SUBMISSION REQUIIREMENTS
Interested bidders must provide the following documentation:
7.1Company registration documents.( CIPC Report (with share of Ownership)

7.2 Valid BBBEE Certificated or Sworn Affidavit. In the event the bidder does not 
   supply either of these two documents, the specific goals points will not be allocated  

   to the bidder

7.3  Must be compliant and registered with CSD (Proof of CSD Report) or CSD number

7.4  Valid Tax Compliance Status PIN.

7.5 Relevant professional registrations, certifications or accreditations, CIDB
    Certificate, Grading of CE1 and ME1 upwards.
7.6 Completed and signed SBD4 Form (Attached). 
7.7 Completed and signed SBD6.1 Preference Points Claim form for Specific Goals 
    (Attached).
7.8 Contactable references for similar projects.
7.9 COIDA Certificate must be submitted   
8. EVALUATION CRITERIA
Quotations will be evaluated based on:
8.1Compliance with the requirements of this RFQ.
8.2 Relevant experience and demonstrated capability.
8.3 Technical suitability of the proposed irrigation solution.
8.4 Value for money.
8.5 Proposed implementation programme.
8.6 References from similar projects.
Ncome Museum reserves the right not to accept the lowest or any quotation received.
9.ADMINITRATIVE  ENQUIRIES

All enquiries relating to this RFQ may be directed to:
Delivery Deadlines: 

9.1 Quotations By: Friday, 03 July 2026 and Site Briefing by 24 June 2026, 10H30
9.2 For quotation submission and administrative enquiries please email to the following: 

Mr. Samkelo Tabata
Administrative Department 

Email: samkelo.tabata@ncomemuseum.org and copy the following email address 

Email: mmfeka@msunduzimuseum.org.za

Telephone: 087 527 0823
“RFQ: Assessment of Existing Borehole at Ncome Museum, Ohaleni Area, Nquthu”
10. SUBMISSION OF QUOTATIONS

10.1 Completed quotations must be submitted electronically before the stipulated 
          closing date and time.

10.3 Late submissions will not be considered.

10.3 Quotations must clearly indicate all costs and be inclusive of travel,
        accommodation, subsistence and any other related expenses.

APPENDIX A
[image: image2.png]


The attached aerial site image forms part of this RFQ and identifies the landscape and planting zones requiring irrigation coverage. Contractors shall use the image as a preliminary guide and verify all requirements during the site briefing and inspection before finalising their Bill of Quantities and quotation.
ANNEXURE B

INDICATIVE IRRIGATION AREAS AND DIMENSION ESTIMATES

INSTALLATION OF IRRIGATION SYSTEM

NCOME MUSEUM, OHALENI, NQUTHU, KWAZULU-NATAL

1. PURPOSE

This Annexure provides indicative dimensions and estimated areas of the landscaped and planted zones identified for irrigation at Ncome Museum.

The information contained herein has been derived from the aerial site image provided as Annexure A and is intended solely to assist bidders in developing preliminary Bills of Quantities (BOQs) and preparing responsive quotations.

The dimensions and areas contained in this Annexure are estimates only and shall not be construed as surveyed measurements.

2. IMPORTANT NOTICE TO BIDDERS

2. 1    Contractors shall verify all dimensions, irrigation zones, quantities and site 
          conditions during the compulsory site briefing and site inspection.

2.2 Contractors shall satisfy themselves regarding the extent of the works prior to 
        submission of quotations.
2.3 Any quantities reflected in this Annexure are indicative only and shall not relieve
      bidders of their responsibility to undertake independent assessments.

2.4 Contractors are required to prepare their own detailed Bill of Quantities based on 
     site verification.
2.5 No claims arising from incorrect assumptions regarding dimensions or quantities
    will be entertained after award of the contract.
2.6 No claims arising from incorrect assumptions regarding dimensions or quantities 
     will be entertained after award of the contract.

3. INDICATIVE IRRIGATION ZONES

The identified irrigation areas generally comprise landscaped zones immediately adjacent to:

     3.1 The accommodation village precinct.

     3.2 The main museum building.

     3.3 The entrance and arrival precinct.

     3.4 Walkways and associated landscaped planting areas.

     3.5 The eastern accommodation and service precinct.
4. ESTIMATED DIMENSIONS AND AREAS

	Zone
	Description
	Approximate Dimensions
	Estimated Area

	A
	Northern Accommodation Village Landscaped Area
	55 m × 45 m
	2,475 m²

	B
	Central Landscaped Area between Accommodation Village and Museum Building
	35 m × 25 m
	875 m²

	C
	Western Landscaped Area Adjacent to Main Museum Building
	40 m × 30 m
	1,200 m²

	D
	Southern Landscaped Area Adjacent to Main Museum Building
	45 m × 30 m
	1,350 m²

	E
	Entrance Precinct Landscaping
	35 m × 20 m
	700 m²

	F
	Eastern Accommodation Precinct Landscaped Area
	50 m × 25 m
	1,250 m²


5. SUMMARY OF ESTIMATED IRRIGATION COVERAGE

	Description
	Estimated Area

	Landscaped Areas Adjacent to Buildings
	±7,850 m²

	Additional Planting Beds and Peripheral Landscaped Areas
	±1,150 m²

	Estimated Total Irrigation Coverage
	±9,000 m²


6. DESIGN ASSUMPTIONS

For budgeting and preliminary design purposes, contractors may consider the following assumptions:

    6.1 Irrigation zoning shall be determined according to plant type, water demand and 
          Site topography.

   6.2 A combination of sprinkler and drip irrigation systems may be required 
        depending on landscape conditions. 
    6.3 The final irrigation design shall be based on verified site measurements and
available water supply infrastructure.

    6.4 Pipe routes, controller locations and valve positions shall be determined by the 
          appointed contractor during detailed design development.

    6.5  The final design shall seek to optimise water efficiency and minimise 
operational and maintenance requirements.

7. SITE VERIFICATION REQUIREMENT

The dimensions and areas reflected in this Annexure are preliminary estimates derived from aerial imagery and visual assessment.

All bidders shall verify:

7.1 Irrigation area extents.

7.2 Pipe routing requirements.

7.3 Water source locations.

7.4 Hydraulic requirements.

7.5 Access constraints.

        7.6 Quantities of irrigation equipment required
     during the compulsory site briefing and inspection before finalising their  quotations.

