DEMOLITION OF ASBESTOS HOUSES eskom holdings soc ltd

	[image: image1.jpg]R Eskom






NEC3 Engineering & Construction Contract
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30) 

	and


	[Insert at award stage]
(Reg No. ___________)

	for


	Demolition of Asbestos Houses Contract

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	24

	Part C2
	Pricing Data
	5

	Part C3
	Scope of Work
	26

	Part C4
	Site Information
	3

	
	
	

	CONTRACT No.
	[Insert at award stage]

	
	

	
	

	
	


Part C1: Agreements & Contract Data
	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 

[to be inserted from Returnable Documents at award stage]
	3

	C1.2a
	Contract Data provided by the Employer
	12

	C1.2b
	Contract Data provided by the Contractor.
[to be inserted from Returnable Documents at award stage]
	3

	C1.3
	Proforma Guarantees
	4


C1.1 Form of Offer & Acceptance

Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter a contract for the Demolition of:

                                         Asbestos Houses Contract
The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

Delete the Options which do not apply

	Options B
	The offered total of the Prices exclusive of VAT is 
	R ______________________

	
	Sub total
	R ______________________

	
	Value Added Tax @ 15% is
	R ______________________

	
	The offered total of the amount due inclusive of VAT is

	R ______________________

	
	(in words)
___________________________________________________________________________

___________________________________________________________________________



This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	Tenderer’s CIDB registration number (if applicable) 
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work: Works Information

Part C4

Site Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy signed between them of this document, including the Schedule of Deviations (if any).  

Unless the tenderer (now Contractor) within five working days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the Parties.

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Employer


	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Employer prior to contract award.
Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here, and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	
	N/A
	


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Employer



	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	(Insert name and address of organisation)



	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 ECC3 Contract Data

Part one - Data provided by the Employer.
	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for main Option 
	

	
	
	A:

Priced contract with Activity Schedule

	
	dispute resolution Option
	W1:
Dispute resolution procedure

	
	and secondary Options 
	

	
	
	X2

Changes in the law

	
	
	X5:

Sectional Completion

	
	
	X7:

Delay damages

	
	
	X16:
Retention
X17:      Low performance damage

	
	
	X18:
Limitation of liability 

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Engineering and Construction Contract, April 2013 (ECC3)
	If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data

	10.1
	The Employer is (Name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state-owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	10.1
	The Project Manager is: (Name)
	

	
	Address
	Matimba Power Station 

Nelson Mandela Drive

Lephalale

0555

	
	
	

	
	
	

	
	e-mail
	MadigoMW@eskom.co.za 



	10.1
	The Supervisor is: (Name)
	

	
	Address
	Matimba Power Station 

Nelson Mandela Drive

Lephalale

0555

	
	
	

	
	
	

	
	e-mail
	hlokapd@eskom.co.za 

	11.2(13)
	The works are 
	Demolition of Asbestos Houses

	11.2(14)
	The following matters will be included in the Risk Register
	Site available per House 1 to 143, Preference will be given to empty Houses & Garages  

	11.2(15)
	The boundaries of the site are 
	Lephalale Suburb - Onverwacht

	11.2(16)
	The Site Information is in 
	Part 4: Site Information

	11.2(19)
	The Works Information is in  
	Part 3: Scope of Work and all documents and drawings to which it refers.

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	7 days

	2
	The Contractor's main responsibilities
	Data required by this section of the core clauses is provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. 

	3
	Time
	

	11.2(3)
	The completion date for the whole of the works is
	12 months after Contract start date 

	11.2(9)
	The key dates and the conditions to be met are:
	Condition to be met
	key date

	
	
	1
	Access to site will depend on the availability of the houses &Garages
	From contract start date 1 July 2025

	30.1
	The access dates are:
	Work will be done per House
	01 Nov 2025
 

	
	
	1
	
	

	31.1
	The Contractor is to submit a first programme for acceptance within 
	2 weeks of the Contract Date.

	31.2
	The starting date is
	01 Nov 2025

	32.2
	The Contractor submits revised programmes at intervals no longer than 
	2 weeks.


	4
	Testing and Defects
	

	42.2
	The defects date is 
	52 weeks after Completion of the whole of the works.

	43.2
	The defect correction period is 
	7 Days

	5
	Payment
	

	50.1
	The assessment interval is 
	between the 25th day of each successive month.

	51.1
	The currency of this contract is the 
	South African Rand.

	51.2
	The period within which payments are made is 
	Depends on supplier vendor status with Eskom

	51.4
	The interest rate is 
	the publicly quoted prime rate of interest (calculated on a 365-day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 

(ii) the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove.

	6
	Compensation events
	

	60.1(13)
	The place where weather is to be recorded is:
	Lephalale Suburb - Onverwacht


	
	The weather measurements to be recorded for each calendar month are, 
	the cumulative rainfall (mm)

	
	
	the number of days with rainfall more than 20 mm

	
	
	the number of days with minimum air temperature less than 0 degrees Celsius

	
	
	the number of days with snow lying at 09:00 hours South African Time

	
	
	and these measurements:



	
	The weather measurements are supplied by
	Matimba Power Station

	
	The weather data are the records of past weather measurements for each calendar month which were recorded at: 
	Lephalale Suburb - Onverwacht


	
	and which are available from: 
	the South African Weather Bureau and included in Annexure A to this Contract Data provided by the Employer

	60.1(13)


	Assumed values for the ten-year return weather data for each weather measurement for each calendar month are:
	As stated in Annexure A to this Contract Data provided by the Employer.

Note:  If this arrangement is used, delete the rows above for 60.1(13) and delete this note.

	7
	Title
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	8
	Risks and insurance
	

	80.1
	These are additional Employer's risks  
	1. Handling of Asbestos Material

	84.1


	The Employer provides these insurances from the Insurance Table
	as stated for “Format A” / “Format B” / “Format Dx” {choose the applicable format then delete the others and delete this note} available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_.
From_1_April_2014_To_31_March_2015.aspx 
(See Annexure B for basic guidance)

	84.1
	The Contractor provides these additional insurances:
	

	84.2
	The minimum limit of indemnity for insurance in respect of death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract for any one event is 
	As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (Five hundred thousand Rands).

	9

	Termination
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	10
	Data for main Option clause
	

	B
	Priced contract with bill of quantities
	

	60.6
	The method of measurement is 
	Published and amended as stated in Part C2.1, Pricing Assumptions.


	11
	Data for Option W1
	

	W1.1
	The Adjudicator is 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	
	Address
	

	
	Tel No.
	

	
	Fax No.
	

	
	e-mail
	

	W1.2(3)
	The Adjudicator nominating body is:
	The Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the London Institution of Civil Engineers. (See www.ice-sa.org.za ) or its successor body.

	W1.4(2)
	The tribunal is: 
	Arbitration.

	W1.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	South Africa

	
	The person or organisation who will choose an arbitrator. 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	The Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.



	12
	Data for secondary Option clauses
	

	X2
	Changes in the law
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X5 & X7
	Sectional Completion and delay damages used together
	

	X7.1

X5.1
	Delay damages for late Completion of the sections of the works are:
	section
	Description 

Minimum delay for 15 days
	Amount per day

	
	
	1
	Complete works as per the SOW
	R24 000.00

	
	Remainder of the works
	
	
	R24 000.00

	X16
	Retention 
	

	X16.1
	The retention free amount is 
	R0.00

	
	The retention percentage is
	 5%

	X18
	Limitation of liability
	

	X18.1
	The Contractor’s liability to the Employer for indirect or consequential loss is limited to:
	  1 000 000.00

	X18.5
	The end of liability date is 
	(i) 3 years after the defects date for latent Defects and 

(ii) the date on which the liability in question prescribes in accordance with the Prescription Act No. 68 of 1969 (as amended or in terms of any replacement legislation) for any other matter.

A latent Defect is a Defect which would not have been discovered on reasonable inspection by the Employer or the Supervisor before the defects date, without requiring any inspection not ordinarily carried out by the Employer or the Supervisor during that period. 

If the Employer or the Supervisor do undertake any inspection over and above the reasonable inspection, this does not place a greater responsibility on the Employer or the Supervisor to have discovered the Defect.


	Z
	The Additional conditions of contract are
	Z1 to Z12 always apply.

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate, or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities because of the restructuring of the Electricity Supply Industry. 

	Z2
	Joint ventures

	Z2.1
	If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract.

	Z2.2
	Unless already notified to the Employer, the persons or organisations notify the Project Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf.

	Z2.3
	The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing.

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z3.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Project Manager within thirty days of the notification or as otherwise instructed by the Project Manager.

	Z3.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works.

	Z3.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	Z4
	Ethics

	Z4.1
	Any offer, payment, consideration, or benefit of any kind made by the Contractor, which constitutes or could be construed either directly or indirectly as an illegal or corrupt practice, as an inducement or reward for the award or in execution of this contract constitutes grounds for terminating the Contractor’s obligation to Provide the Works or taking any other action as appropriate against the Contractor (including civil or criminal action).

	Z4.2
	The Employer may terminate the Contractor’s obligation to Provide the Works if the Contractor (or any member of the Contractor where the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations) is found guilty by a competent court, administrative or regulatory body of participating in illegal or corrupt practices.   

Such practices include making of offers, payments, considerations, or benefits of any kind or otherwise, whether in connection with any procurement process or contract with the Employer or other people or organisations and including in circumstances where the Contractor or any such member is removed from an approved vendor data base of the Employer because of such practice.

	Z4.3
	Notwithstanding the provisions of core clause 90.2, the procedures on termination in terms of this clause are P1, P2 and P3 as stated in the core clause 92 and the amount due is A1 and A3 as stated in core clause 93.

	Z5
	Confidentiality

	Z5.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z5.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Project Manager.

	Z5.3
	If the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken, if possible, prior to any disclosure.  If such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z5.4
	The taking of images (whether photographs, video footage or otherwise) of the works or any portion thereof, while Providing the Works and after Completion, requires the prior written consent of the Project Manager.  All rights in and to all such images vests exclusively in the Employer.  

	Z5.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.



	Z6
	Waiver and estoppel: Add to core clause 12.3:

	Z6.1
	Any extension, concession, waiver, or relaxation of any action stated in this contract by the Parties, the Project Manager, the Supervisor, or the Adjudicator does not constitute a waiver of rights and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.



	Z7
	Health, safety, and the environment:  Add to core clause 27.4

	Z7.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor:

· accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Site.
· warrants that the total of the Prices as at the Contract Date includes enough for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and

· undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z7.2
	The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z8
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z8.1
	Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Works Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z8.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z8.3
	The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	Z9
	Notifying compensation events

	Z9.1
	Delete from the last sentence in core clause 61.3, “unless the Project Manager should have notified the event to the Contractor but did not”.

	Z10
	Employer’s limitation of liability

	Z10.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z10.2
	The Contractor’s entitlement under the indemnity in 83.1 is provided for in 60.1(14) and the Employer’s liability under the indemnity is limited.

	Z11
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z11.1
	   or had a business rescue order granted against it.

	Z12
	Addition to secondary Option X7 Delay damages (if applicable in this contract)

	Z12.1
	If the amount due for the Contractor’s payment of delay damages reaches the limits stated in this Contract Data for Option X7 or Options X5 and X7 used together, the Employer may terminate the Contractor’s obligation to Provide the Works using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table.

	
	


Annexure A: One-in-ten-year-return weather data obtained from SA Weather Bureau for [weather station]

If any one of these weather measurements recorded within a calendar month, before the Completion Date for the whole of the works and at the place stated in this Contract Data is shown to be more adverse than the amount stated below then the Contractor may notify a compensation event.

	
	Weather measurement

	Month
	Cumulative rainfall (mm)
	Number of days with rain more than 10mm
	Number of days with min air temp < 0 deg.C
	Number of days with snow lying at 08:00 CAT
	[Other measurements if applicable]

	January
	75mm
	5
	
	
	

	February
	75mm
	5
	
	
	

	March
	75mm
	2
	
	
	

	April
	75mm
	2
	
	
	

	May
	45mm
	1
	
	
	

	June
	45mm
	1
	
	
	

	July
	45mm
	1
	
	
	

	August
	45mm
	1
	
	
	

	September
	75mm
	5
	
	
	

	October
	75mm
	5
	
	
	

	November
	75mm
	5
	
	
	

	December
	75mm
	5
	
	
	


Only the difference between the more adverse recorded weather and the equivalent measurement given above is considered in assessing a compensation event.

Annexure B:
Insurance provided by the Employer.
These notes are provided as guidance to tendering contractors and the Contractor about the insurance provided by the Employer. The Contractor must obtain its own advice. Details of the insurance itself are available from the internet web link given below. 

1. For the purpose of works contracts, insurance provided by Eskom (the Employer) has been arranged on the basis of “project” or “contract” value, where the value is the total of the Prices at Completion of the whole of the works including VAT. 

A “project” is a collection of contracts or work packages to be undertaken as part of a single identified capital expansion or refurbishment of a particular asset or facility. 

A “contract” is a single contract not linked to or being part of a “project”.

2. For ECC3 there are three main “formats” of cover and deductible structure: Format A, Format B and Format Dx. 

Format A is for a project or contract value less than or equal to R350M (three hundred and fifty million Rand) inclusive of VAT. 

Format B is for a project or contract value greater than R350M. (three hundred and fifty million Rand) inclusive of VAT.

In the case of contracts / packages within a project:

· For a contract / package of R50M which is part of a R400M project, Format B will apply.
· For a contract / package of R250M which is part of a R6 billion project, Format B will apply.
· For a contract / package of R120M which is part of a R350M project Format A will apply.
For a contract which is not part of a project the same limits apply:

· For a contract of R50M, Format A will apply.
· For a contract of R355M, Format B will apply.

Format Dx applies only to Distribution Division projects and contracts. If a Distribution Division project or contract exceeds the Format A limit, the Eskom Insurance Management Services [EIMS] need to be contacted for advice on how to formulate the insurance cover.  Cover and deductibles for Distribution Division are per the relevant policy available on the internet web link given below.   

Format A generally applies to Transmission Division projects and contracts. If a Transmission Division project or contract exceeds the Format A limit, the Eskom Insurance Management Services [EIMS] need to be contacted for advice on how to formulate the insurance cover.

3. Tendering contractors should note that cover provided by the Employer is only per the policies available on the internet web link listed below and may not be the cover required by the tendering contractor or as intended by each of the listed insurances in the left-hand column of the Insurance Table in clause 84.2.  In terms of clause 84.1 “the Contractor provides the insurances stated in the Insurance Table except any insurance which the Employer is to provide”.  Hence the Contractor provides insurance which the Employer does not provide and in cases where the Employer does provide insurance the Contractor insures for the difference between what the Insurance Table requires and what the Employer provides.

4. When the Marine Insurance is required, the Contractor needs to obtain a copy of the latest edition of Eskom’s Marine Policies Procedures found at internet website given below.
5. Further information and full details of all Eskom provided policies and procedures may be obtained from: 

http://www.eskom.co.za/live/content.php?Item_ID=9248

C1.2 Contract Data

Part two - Data provided by the Contractor.
Notes to a tendering contractor:

1. Please read both the NEC3 Engineering and Construction Contract (April 2013) and the relevant parts of its Guidance Notes (ECC3-GN)
 to understand the implications of this Data which the tenderer is required to complete.  An example of the completed Data is provided on pages 156 to 158 of the ECC3 (April 2013) Guidance Notes.

2. The number of the clause which requires the data is shown in the left-hand column for each statement however other clauses may also use the same data.
3. Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise, complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	10.1
	The Contractor is (Name):
	     ____________________________________

	
	Address
	     ____________________________________

	
	Tel No.
	     ____________________________________

	
	Fax No.
	     ____________________________________

	11.2(8)
	The direct fee percentage is
	     ____%

	
	The subcontracted fee percentage is
	     ____%

	11.2(18)
	The working areas are the Site and
	     ____________________________________

	24.1
	The Contractor's key persons are:
	

	
	1
Name:
	     ____________________________________

	
	
Job:
	     ____________________________________

	
	
Responsibilities:
	     ____________________________________

	
	
Qualifications:
	     ____________________________________

	
	
Experience:
	     ____________________________________

	
	2
Name:
	     ____________________________________

	
	
Job
	     ____________________________________

	
	
Responsibilities:
	     ____________________________________

	
	
Qualifications:
	     ____________________________________

	
	
Experience:
	     ____________________________________

	
	
	CV's (and further key persons data including CVs) are appended to Tender Schedule entitled     .

	11.2(3)
	The completion date for the whole of the works is
	     ____________________________________

	11.2(14)
	The following matters will be included in the Risk Register
	     ____________________________________

	11.2(19)
	The Works Information for the Contractor’s design is in:
	     ____________________________________

	31.1
	The programme identified in the Contract Data is
	     ____________________________________

	B
	Priced contract with bill of quantities
	

	11.2(21)
	The bill of quantities is in
	     ____________________________________

	11.2(31) 
	The tendered total of the Prices is 
	     ____________________________________ (in figures) 

      _______________________________ 
____________________________________ (in words), excluding VAT 

	
	Data for Schedules of Cost Components
	Note “SCC” means Schedule of Cost Components starting on page 60, and “SSCC” means Shorter Schedule of Cost Components starting on page 63 of ECC3 (April 2013).

	B
	Priced contract with bill of quantities
	Data for the Shorter Schedule of Cost Components

	41 in SSCC
	The percentage for people overheads is:
	     ____%

	21 in SSCC
	The published list of Equipment is the last edition of the list published by
	     ____________________________________

	
	The percentage for adjustment for Equipment in the published list is
	Minus      ____%

	22 in SSCC
	The rates of other Equipment are:
	Equipment
	Equipment
	Equipment

	
	
	____________
	____________
	_____________

	
	
	___________
	____________
	_____________

	
	
	___________
	____________
	_____________

	
	
	____________
	___________
	_____________

	
	
	____________
	____________
	_____________

	61 in SSCC
	The hourly rates for Defined Cost of design outside the Working Areas are
	Category of employee
	Hourly rate

	
	Note:  Hourly rates are estimated ‘cost to company of the employee’ and not selling rates.  
	________________________
	_____________

	
	Please insert another schedule if foreign resources may also be used
	________________________
	_____________

	
	
	________________________
	_____________

	
	
	________________________
	_____________

	62 in SSCC
	The percentage for design overheads is
	_____%

	63 in SSCC
	The categories of design employees whose travelling expenses to and from the Working Areas are included in Defined Cost are:
	_________________________________________




C1.3 Forms of Securities 

Pro forma Retention Money Guarantee (may be used when Option X16 applies)

(To be reproduced exactly as shown below on the letterhead of the Bank providing the Guarantee)
	Eskom Holdings SOC Limited

Megawatt Park

Maxwell Drive

Sandton

Johannesburg 
	Date:
	


Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]
Retention Money Guarantee: [Drafting Note: Name of Contractor to be inserted]
Project []: Contract Reference: [Drafting Note: Contractor contract reference number to be inserted]
1. In this Guarantee the following words and expressions shall have the following meanings: -
1.1 “Bank” - means [●], [●] Branch, (Registration No. [●]); [Drafting Note: Name of Bank to be inserted]

1.2 “Bank’s Address” - means [●]; [Drafting Note: Bank’s physical address to be inserted]

1.3 “Contract” – means the written agreement relating to the Project, entered into between Eskom and the Contractor, on or about the [●] day of [●] two hundred [●] (Contract Reference No. ………. as amended, varied, restated, novated, or substituted from time to time; [Drafting Note: Signature Date and Contract reference number to be inserted]

1.4 “Contractor” – means [●] a company registered in accordance with the laws of [●] under Registration Number [●]. [Drafting Note: Name and details of Contractor to be inserted]

1.5 “Eskom” - means Eskom Holdings SOC Limited, a company registered in accordance with the laws of the Republic of South Africa under Registration Number 2002/015527/30.
1.6 “Expiry Date” - means the date on which the Defects Certificate is issued in terms of the Contract.

1.7 “Guaranteed Sum” - means the sum of R [●] ([●] Rand); [Drafting Note: Insert amount of Retention Money Guarantee.].

1.8 “Project” - means the………………………………….
2. At the instance of the Contractor, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of Eskom, as security for the proper performance by the Contractor of all of its obligations in terms of and arising from the Contract and hereby undertake to pay to Eskom, on written demand from Eskom received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

3. A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

3.1 be signed on behalf of Eskom by a director of Eskom or his authorised delegate.

3.2 state the amount claimed (“the Demand Amount’).
3.3 state that the Contractor has failed to conduct his obligation(s) to rectify certain defect(s) for which he is responsible under the Contract (and the nature of such defect(s)) alternatively that the Demand Amount is payable to Eskom in the circumstances contemplated in the Contract.

4. Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

4.1 is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

4.2 is not, and shall not be construed to be, accessory or collateral on any basis whatsoever. 

5. The Bank’s obligations in terms of this Guarantee:

5.1 shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

5.2 shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed by the fact that a dispute may exist between Eskom and the Contractor.

6. Eskom shall be entitled to arrange its affairs with the Contractor in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release, or compromise granted to the Contractor or any variation under or to the Contract. 

7. Should Eskom cede its rights against the Contractor to a third party where such cession is permitted under the Contract, then Eskom shall be entitled to cede to such third party the rights of Eskom under this Guarantee on written notification to the Bank of such cession.

8. This Guarantee:

8.1 shall expire on the Expiry Date until which time it is irrevocable.
8.2 is, save as provided for in Error! Reference source not found. above, personal to Eskom and is neither negotiable nor transferable.
8.3 shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof.
8.4 shall be regarded as a liquid document for the purpose of obtaining a court order; and

8.5 shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the authority of the Courts of the Republic of South Africa.

8.6 Any claim which arises or demand for payment received after expiry date will be invalid and unenforceable.

9. The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

Signed at _____________________

Date ____________ Bank’s seal or stamp.
For and behalf of the Bank

Bank Signatory: ___________________

Bank Signatory: ___________________

Witness: ________________________

Witness: _________________________

Pro forma ASGI-SA Guarantee
(to be reproduced exactly as shown below on the letterhead of the Bank providing the Guarantee)
	Eskom Holdings Limited

Megawatt Park

Maxwell Drive

Sandton

Johannesburg
	Date:
	


Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]
Pro-Forma ASGI-SA Guarantee: [Drafting Note: Name of Contractor to be inserted]
Project [] Contract Reference: [●] [Drafting Note: Contractor contract reference number to be inserted]
1. In this Guarantee the following words and expressions shall have the following meanings: -
1.1 “Bank” - means [●], [●] Branch, (Registration No. [●]); [Drafting Note: Name of Bank to be inserted]

1.2 “Bank’s Address” - means [●]; [Drafting Note: Bank’s physical address to be inserted]

1.3 “Contract” – means the written agreement relating to the Project, entered between the Employer and the Contractor, on or about the [●] day of [●] 200[●] (Contract Reference No. [●] as amended, varied, restated, novated or substituted from time to time; [Drafting Note: Signature Date and Contract reference number to be inserted]

1.4 “Contractor” – means [●] a company registered in accordance with the laws of [●] under Registration Number [●]. [Drafting Note: Name and details of Contractor to be inserted]

1.5 “Contractor’s ASGI-SA Obligations” – means the Contractor’s ASGI-SA Obligations under and as defined in the Contract.

1.6 “Employer” - means Eskom Holdings Limited, a company registered in accordance with the laws of the Republic of South Africa under Registration Number 2002/015527/06.

1.7 “Expiry Date” - means the [●] day of [●] two hundred [●]; [Drafting Note: anticipated date of issue of ASGI-SA Performance Certificate to be inserted.]

1.8 “Guaranteed Sum” - means the sum of R [●] ([●] Rand). 

1.9 “Project” – means the …………………………

2. At the instance of the Contractor, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of the Employer, as security for the proper performance by the Contractor of the Contractor’s ASGI-SA Obligations and hereby undertake to pay to the Employer, on written demand from the Employer received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

3. A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

3.1 state the amount claimed (“the Demand Amount’).
3.2 state that the Demand Amount is payable to the Employer in the circumstances contemplated in the Contract.

4. Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

4.1 is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

4.2 is not, and shall not be construed to be, accessory or collateral on any basis whatsoever. 

5. The Bank’s obligations in terms of this Guarantee:

5.1 shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

5.2 shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed, by the fact that a dispute may exist between the Employer and the Contractor.

6. The Employer shall be entitled to arrange its affairs with the Contractor in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release, or compromise granted to the Contractor or any variation under or to the Contract. 

7. Should the Employer cede its rights against the Contractor to a third party where such cession is permitted under the Contract, then the Employer shall be entitled to cede to such third party the rights of the Employer under this Guarantee on written notification to the Bank of such cession.

8. This Guarantee:

8.1 shall expire on the Expiry Date until which time it is irrevocable.
8.2 is, save as provided for in not found. above, personal to the Employer and is neither negotiable nor transferable.
8.3 shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof.
8.4 shall be regarded as a liquid document for the purpose of obtaining a court order; and

8.5 shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the authority of the courts of the Republic of South Africa.

8.6 Any claim which arises or demand for payment received after expiry date will be invalid and unenforceable.

9. The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

Signed at _____________________

Date ____________________________

For and behalf of the Bank

Bank Signatory: ___________________

Bank Signatory: ___________________

Witness: ________________________

Witness: _________________________

Bank’s seal or stamp
Part 2: Pricing Data

ECC3 Option B

	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option A
	3

	C2.2
	The Schedule of Activity
	2


C2.1 Pricing assumptions: Option A
How work is priced and assessed for payment

Clause 11 in NEC3 Engineering and Construction Contract (ECC3) Option A states:

	Identified and defined terms
	11

11.2
Identified and defined terms

11

11.2

(20) The Activity Schedule is the activity schedule unless later changed in accordance with this contract.
(22) Defined Cost is the cost of the components in the Shorter Schedule of Cost Components whether work is subcontracted or not excluding the cost of preparing quotations for compensation events.
(27) The Price for Work Done to Date is the total of the Prices for
·    each group of completed activities and
·    each completed activity which is not in a group.
A completed activity is one which is without Defects which would either delay or be covered by immediately following work.
(30) The Prices are the lump sum prices for each of the activities on the Activity Schedule unless later changed in accordance with this contract.
Function of the Bill of Quantities

(27) The Price for Work Done to Date is the total of the Prices for
·    each group of completed activities and
·    each completed activity which is not in a group.
A completed activity is one which is without Defects which would either delay or be covered by immediately following work.
Guidance before pricing and measuring.

Employers preparing tenders or contract documents, and tendering contractors are advised to consult the sections dealing with the Activity Schedule in the NEC3 Engineering and Construction Contract Guidance Notes before preparing the Activity Schedule or before entering rates and lump sums into the Schedule. 

There is no general provision in Option A for payment for materials on Site before incorporation into the works.  If secondary Option X14 Advanced payment has not been used.

When compensation events arise, the default position is that the Schedule of Activity is not used to calculate the cost effect of the event.  Defined Cost and the resulting Fee is used and Defined Cost includes all components of cost which the Contractor is likely to incur, including so called P & G items.  Rates and lump sums from the Schedule activity, or from any other source, may be used instead of Defined Cost and the Fee only if the Contractor and Project Manager agree.  If they are unable to agree, then Defined Cost plus Fee is used.   
	


C2.2 The Schedule of Activity
	 
	BOQ Demolition of Asbestos Houses
	 
	 
	 
	 

	
	
	
	
	
	

	Item
	Description
	Unit
	Quantity
	Rate
	Amount

	 
	 
	 
	 
	 
	 

	1
	AAIA costs
	 
	 
	 
	 

	1.1
	Plan of Work and Submissions to Government 
	sum
	1
	 
	 

	2
	 Asbestos House and Garage demolition
	 
	 
	 
	 

	2.1
	Labour costs
	each
	143
	 
	 

	2.2
	Barricading 
	each
	143
	 
	 

	3
	 Garage Modification of Private houses
	 
	 
	 
	 

	3.1
	Install 9mm Fibre Cement Boards 
	each
	63
	 
	 

	4
	Asbestos related equipment
	 
	 
	 
	 

	4.1
	Hepa vacuum facility 
	month
	12
	 
	 

	4.2
	Asbestos wetting equipment
	month
	12
	 
	 

	4.3
	Tools and other equipment 
	month
	12
	 
	 

	4.4
	Panel Shower Deacon Unit (4 off)
	month
	12
	 
	 

	5
	 Disposal costs
	 
	 
	 
	 

	5.1
	 Asbestos waste transportation 
	each
	143
	 
	 

	5.2
	 Asbestos disposal fees 
	each
	143
	 
	 

	5.3
	Steel disposal cost (transport) 
	each
	143
	 
	 

	5.4
	Roof sheeting disposal cost (transport) 
	each
	143
	 
	 

	5.5
	Wood (trusses, doors, etc) 
	each
	143
	 
	 

	5.6
	All Other (WC, basic, cupboards, pipes(etc)
	each
	143
	 
	 

	6
	6 Consumables
	 
	 
	 
	 

	6.1
	Disposable PPE (overalls) 
	each
	7150
	 
	 

	6.2
	Disposable PPE (overshoes)
	each
	7150
	 
	 

	6.3
	Respirator filters 
	each
	1430
	 
	 

	6.4
	Asbestos waste packaging, labelling, and sealing (all) 
	each
	143
	 
	 

	6.5
	Hepa filters for vacuums e
	each
	286
	 
	 

	7
	P&G's
	 
	 
	 
	 

	7.1
	Time Related P&G's
	 
	 
	 
	 

	7.2
	Site office rental 
	month
	12
	 
	 

	7.3
	Site storage rental 
	month
	12
	 
	 

	7.4
	Site ablution facilities 
	month
	12
	 
	 

	7.5
	Portable toilets (5 off) 
	month
	12
	 
	 

	7.6
	Accommodation
	month
	12
	 
	 

	7.7
	 Transport Home-work-home and sites) 
	month
	12
	 
	 

	7.2
	7.2 Time Related Supervision
	 
	 
	 
	 

	7.2.1 
	SACPCMP Professionally Registered Construction Manager 
	month
	12
	 
	 

	7.2.2
	SACPCMP Professionally registered Safety Officer
	month
	12
	 
	 

	7.2.3
	Approved Inspection Authority (Independent AIA)
	month
	12
	 
	 

	7.3
	Other P&G's
	 
	 
	 
	 

	7.3.1
	Site establishment 
	sum
	1
	 
	 

	7.3.2
	Site de-establishment 
	sum
	1
	 
	 

	7.3.3
	Signage 
	sum
	1
	 
	 

	7.3.4
	Asbestos related training and induction 
	sum
	1
	 
	 

	7.3.5
	Health and safety file
	sum
	1
	 
	 

	7.3.6
	Medicals (entry and exit) 
	each
	33
	 
	 

	7.3.7
	 Other Medical cost
	 
	 
	 
	 

	a
	First Aid box 
	each
	5
	 
	 

	b
	Fire extinguishers 
	each
	10
	 
	 

	7.4
	PPE
	 
	 
	 
	 

	a
	a) Overall Jacket 
	each
	66
	 
	 

	b
	b) Overall Pants 
	each
	66
	 
	 

	c
	c) Safety Boots 
	each
	33
	 
	 

	d
	d) Safety goggles with strap 
	each
	33
	 
	 

	e
	e) Hardhat 
	each
	33
	 
	 

	f
	f) Safety Gumboots
	each
	33
	 
	 

	g
	g) Half face respirator 
	each
	33
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Total Cost
	 
	 
	 
	


Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Employer’s Works Information
	25

	C3.2
	Contractor’s Works Information

(insert at award stage or delete if not applicable)
	1

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Employer’s works Information

Contents

1Part 3: Scope of Work

C3.1: Employer’s works Information
2
1
Description of the works
8
1.1
Executive overview
8
1.2
Employer’s objectives and purpose of the works
8
1.3
Interpretation and terminology
8
2
Management and start up.
9
2.1
Management meetings
9
2.2
Documentation control
10
2.3
Health and safety risk management
10
2.3.1
General
10
2.4
Environmental constraints and management
11
2.5
Quality assurance requirements
11
2.6
Programming constraints
12
2.7
Contractor’s management, supervision and key people
12
2.8
Invoicing and payment
12
2.9
Insurance provided by the Employer
13
2.10
Contract change management
13
2.11
Provision of bonds and guarantees
13
2.12
Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor
13
2.13
Training workshops and technology transfer
13
3
Engineering and the Contractor’s design
14
3.1
Employer’s design
14
3.1.1
Notification of Asbestos Work
14
3.1.2
Site Establishment
14
3.1.3
Site isolation, Demarcation and Barricading
14
3.1.4
Retrieval of Air conditioning units
15
3.1.5
Overview of Demolition work and Exclusions
15
3.1.6
Exclusions
15
3.1.7
Demolition, Handling and Temporary Storage of Asbestos and ACM Waste
15
3.1.8
Garage Modifications for Adjacent Private Property
16
3.1.9
Transportation of Asbestos and ACM Waste
17
3.1.10
Disposal of Asbestos and ACM Waste
17
3.1.11
Requirements for Non-Hazardous Waste
18
3.2
Parts of the works which the Contractor is to design
18
3.3
Procedure for submission and acceptance of Contractor’s design
18
3.4
Other requirements of the Contractor’s design
19
3.5
Use of Contractor’s design
19
3.6
Design of Equipment
19
3.7
Equipment required to be included in the works
19
3.8
As-built drawings, operating manuals and maintenance schedules
19
4
Procurement
20
4.1
People
20
4.1.1
Minimum requirements of people employed on the Site
20
4.1.2
BBBEE and preferencing scheme
20
4.1.3
Accelerated Shared Growth Initiative – South Africa (ASGI-SA)
20
4.2
Subcontracting
20
4.2.1
Preferred subcontractors
20
4.2.2
Subcontract documentation, and assessment of subcontract tenders
20
4.2.3
Limitations on subcontracting
21
4.2.4
Attendance on subcontractors
21
4.3
Plant and Materials
21
4.3.1
Quality
21
4.3.2
Plant & Materials provided “free issue” by the Employer
21
4.3.3
Contractor’s procurement of Plant and Materials
21
4.3.4
Spares and consumables
21
4.4
Tests and inspections before delivery
22
4.5
Marking Plant and Materials outside the Working Areas
22
4.6
Contractor’s Equipment (including temporary works).
22
4.7
Cataloguing requirements by the Contractor
22
5
Construction
23
5.1
Temporary works, Site services & construction constraints
23
5.1.1
Employer’s Site entry and security control, permits, and Site regulations
23
5.1.2
Restrictions to access on Site, roads, walkways and barricades
23
5.1.3
People restrictions on Site; hours of work, conduct and records
23
5.1.4
Health and safety facilities on Site
23
5.1.5
Environmental controls, fauna & flora, dealing with objects of historical interest
23
5.1.6
Title to materials from demolition and excavation
23
5.1.7
Cooperating with and obtaining acceptance of Others
24
5.1.8
Publicity and progress photographs
24
5.1.9
Contractor’s Equipment
24
5.1.10
Equipment provided by the Employer
24
5.1.11
Site services and facilities
24
5.1.12
Facilities provided by the Contractor
24
5.1.13
Existing premises, inspection of adjoining properties and checking work of Others
24
5.1.14
Survey control and setting out of the works
25
5.1.15
Excavations and associated water control
25
5.1.16
Underground services, other existing services, cable and pipe trenches and covers
25
5.1.17
Control of noise, dust, water and waste
25
5.1.18
Sequences of construction or installation
25
5.1.19
Giving notice of work to be covered up
25
5.1.20
Hook ups to existing works
25
5.2
Completion, testing, commissioning and correction of Defects
26
5.2.1
Work to be done by the Completion Date
26
5.2.2
Use of the works before Completion has been certified
26
5.2.3
Materials facilities and samples for tests and inspections
26
5.2.4
Commissioning
26
5.2.5
Start-up procedures required to put the works into operation
26
5.2.6
Take over procedures
27
5.2.7
Access given by the Employer for correction of Defects
27
5.2.8
Performance tests after Completion
27
5.2.9
Training and technology transfer
27
5.2.10
Operational maintenance after Completion
27
6
Plant and Materials standards and workmanship
28
6.1
Investigation, survey and Site clearance
28
6.2
Building works
28
6.3
Civil engineering and structural works
28
6.4
Electrical & mechanical engineering works
29
6.5
Process control and IT works
29
6.6
Other [as required]
29
7
List of drawings
30
7.1
Drawings issued by the Employer
30
C3.2
Contractor’s Works Information
31


Description of the works
Executive overview 

The execution of asbestos demolition, removal, transportation and disposal activities shall comply with Eskom standard Requirements for the Safe Processing, Handling, Storage, Disposal and Phase-out of Asbestos (herein referred to as 32-303), Asbestos Abatement Regulations per GNR 1196 of 2020 (herein referred to as AAR) and Matimba Waste Management Procedure (PS/244/001). Revision 2 of 32-303 asbestos phaseout standard shall be applied. Thus, prior the commencement of asbestos dismantling activities, the appointed Contractor shall, in line with the regulations, be responsible for the following:

1) Provide confirmation or proof of registration as registered asbestos Contractor (RAC) in line with the AAR regulations,

2) Conduct risk assessment and develop a plan of work (POW) in accordance with 32-303 and applicable national regulations,

3) Ensure that the POW includes emergency response plans subject to the risk assessment outcomes,

4) Ensure that the POW is accepted and signed by Eskom’s appointed representative, appointed Approved Inspection Authority for Asbestos (AIA) and Contractor’s appointed representative,

5) Ensure that approved POW is submitted to and accepted by Chief Director of Provincial Operations,

6) Ensure that all Contractor’s employees to be involved in the asbestos removal project are adequately informed, trained and competent to carry out their respective duties,

7) Ensure that training is provided in line with requirements of AAR. Moreover, training contemplated in sub-regulation (3) of AAR must be provided by (I) a person deemed competent by the Chief inspector; (ii) have a minimum contact duration of eight hours; and (iii) as outcome, provide employees with asbestos training certificates.

8) Appoint an occupational health and safety representative for the project,

9) Cooperate with the Employer’s representatives during ad hoc monitoring and inspection activities to be conducted by the Employer’s representatives per requirements described in this SOW (per section 3.4.13).

10) Ensure that asbestos-containing waste is managed per regulation 21 of the AAR and Matimba Waste Management Procedure PS/244/001. 

Employer’s objectives and purpose of the works
The Employer’s objective is to legally comply with the Asbestos Abatement Regulations per GNR 1196 of 2020 and the purpose is to safely remove,

transport and dispose of all the asbestos, asbestos-containing material (ACM) and any other waste.
which may result from demolition of all Eskom asbestos houses located in Onverwacht.

Interpretation and terminology

The following abbreviations are used in this Works Information:

	Abbreviation
	Meaning given to the abbreviation

	AAR
	Asbestos Abatement Regulations per GNR 1196 of 2020.

	ACM
	Asbestos Containing Material.

	AIA
	Approved Inspection Authority.

	GNR
	Government Notice Regulation (GNR 1196).

	OEL
	Occupational Exposure Limit.

	POW
	Plan of Work.

	QCP
	Quality Control Plan.

	PPE
	Personal Protective Equipment.

	RAC
	Registered Asbestos Contractor.

	SHE
	Safety, Health and Environment.

	SOW
	Scope of Work.

	SAIOH
	South African Institute for Occupational Hygiene.

	SANS
	South African National Standards.


Management and start up.

Management meetings

The conditions of contract (e.g. Clause 16.2) require and other sections of the Works Information (e.g. safety risk management) may require (mandate) that a meeting shall be held.  However, the intention of all NEC contracts is that the Parties and their agents use the techniques of partnering to manage the contract by holding meetings designed to pro-actively and jointly manage the administration of the contract with the objective of minimising the adverse effects of risks and surprises for both Parties.

Depending on the size and complexity of the works, it is probably beneficial for the Project Manager to hold a weekly risk register meeting (Clause 16.2).  This could be used to discuss safety, compensation events, subcontracting, overall co-ordination and other matters of a general nature.  Separate meetings for specialist activities such as programming, engineering and design management, may also be warranted.

Describe here the general meetings and their purpose. Provide particulars of approximate times, days, location, and attendance requirements, stipulating that attendees shall have the necessary delegated authority to make decisions in respect of matters raised at such meetings.

The right to hold specialist meetings should be stated generically and in such a way that ambiguity with other parts of the Works Information is avoided. 

The following text could be used as a model for this section:

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Risk register and compensation events
	Weekly on ________ at ___
	
	

	Overall contract progress and feedback
	Monthly on _____ at ___
	
	Employer, Contractor, Supervisor, and ___

	
	
	
	

	
	
	
	


Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the works.  Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

Documentation control

All contractual communications will be in the form of properly compiled letters or forms attached to e mails and not as a message in the e mail body.

Health and safety risk management

General

· Matimba Power Station Health and Safety Standards as per Matimba Power Station Health & Safety Specifications for Contractors (PA/270/003) attached to the Invitation to Tender. This procedure will be handed over during tender enquiry and will enable the successful Tenderers to compile a Health & Safety plan that has to be approved by the Employer prior to commencement of work.

· Compliance with Eskom & Matimba No Smoking Policy

· Adhere to the OHS Act 85 of 1993

· All staff will undergo Safety Induction, presented by Matimba Risk Management Department

The Contractor shall be responsible for the following:

1) Creating and maintaining a Safety, Health, and Safety Environment (SHE) file for the project,

2) Arranging medicals for Contractor’s employees,

3) Arranging health and safety inductions and relevant training for all Contractor’s employees,

4) Keeping and maintaining records of training and medical fitness certificates,

5) Ensuring safe work practices and followed by all Contractor’s employees throughout the project,

6) Maintaining safe work environment that cannot cause harm to the employees and public,

7) Ensuring compliance to the Occupational Health and Safety Act 85 of 1993.

The Contractor shall comply with the health and safety requirements contained in this Works Information.

Environmental constraints and management

The air monitoring (including sampling and analysis) shall comply with AAR and 32-303 requirements. Environmental air monitoring includes static air monitoring for regulated fibres conducted downwind for outdoors type 2 asbestos work or outside asbestos enclosures where type 3 asbestos work is performed or in any area where there is potential for asbestos contamination. During execution of works, the Contractor shall take reasonable measures to prevent any release of airborne asbestos fibres and ensure that the asbestos exposure remains below the OEL for asbestos as stipulated by the AAR. In the case of type 2 asbestos work, air monitoring of the concentration of airborne regulated fibres to which an employee may be exposed, shall be performed by an approved inspection authority. Following the completion of type 2 asbestos work, an approved inspection authority must do the following:

1) Conduct a thorough visual inspection of the relevant asbestos work area,

2) Conduct air sampling to ensure compliance with the clearance indicator,

3) Ensure that all asbestos waste has been removed in accordance with requirements of regulation 21 of AAR, and

4) Issue a written declaration for the purpose of clearance certification.

The Contractor shall comply with the environmental criteria and constraints stated  

Quality assurance requirements

All activities to be executed by the Contractor are to be monitored, inspected and signed off by relevant authority (e.g. AIA, Chief Director of Provincial Operations, Occupational Health and Safety Officer, etc.) in line with POW and AAR. Moreover, the Employer’s representatives may conduct additional ad hoc monitoring and inspection activities throughout the life of the project and at a frequency deemed necessary by the Employer to ensure that the Employer’s requirements (and all other requirements) are met.

Employer’s representatives include:

Engineer: to monitor and confirm that the technical requirements of the SOW are met throughout the project,

Environmental Officer: to monitor and confirm environmental compliance of the works, and

Health and Safety Officer: to monitor and compliance to occupational health and safety requirements.

Project Manager: to manage the overall project for the demolition of asbestos houses.

Other Representative: any other persons who may be delegated by the Employer or by any of the Employer’s representatives to fulfil any responsibilities for oversight and inspections on behalf of the Employer.

Throughout the execution of the project, the Contractor is required to provide access (to the work Site) to the Employer’s representatives to allow the Employer to conduct ad hoc monitoring and inspection activities as necessary to ensure that requirements of this SOW are met during execution of the project. This shall also include providing access to any relevant documents and records which the Employer’s representative may need to review correct PPE, complying to site access control requirements (i.e. signing relevant access registers, presenting identity and permits for verification, etc.) and other applicable requirements.

The Contractor shall generally include the inspection and monitoring activities in the Quality plans, QCPs and the POW.

Programming constraints 

A schedule for the execution of the works shall be compiled in detail and include all work activities.

Schedule to be compiled with MS Projects and presented to the project manager within one week of contract placement for review and approval.

Contractor’s management, supervision and key people

The Contractor shall provide full time supervision while staff is working on the Contract.

The person nominated by the Contractor to supervise the works shall have the authority to take instructions on behalf of the Contractor and shall be registered as a SACPCMP Professional Construction manager/ECSA PR Techni Eng (Civil) with a minimum of three years’ experience.

Invoicing and payment

The Z clauses refer to invoicing procedures stated here in this Service Information. Also include a list of information which is to be shown on an invoice. 

Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Project Manager’s payment certificate.  

The Contractor shall address the tax invoice to Eskom Holdings SOC Ltd and include on each invoice the following information:

Name and address of the Contractor and the Project Manager. 

The contract number and title.
Contractor’s VAT registration number.
The Employer’s VAT registration number 4740101508.
Description of service provided for each item invoiced based on the Price List.
Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT.
(add other as required)

Add procedures for invoice submission and payment (e.g. electronic payment instructions)

Insurance provided by the Employer
First read ECC3 Core Clause 87.1 and then add anything necessary for the management of insurance related issues such as a cross reference to where procedures for making claims can be found.  Also provide contact details for persons capable of being able to answer any insurance related queries the Contractor may have, as well as to whom the information required by Marine Insurance may be addressed.  

Contract change management 

This section is intended to deal with any additional requirements to the compensation event clauses in section 6 of the core clauses, such as the use of standard forms.  Not the same thing as documentation control.

Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Contractor is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.  

The Employer may withhold payment of amounts due to the Contractor until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Contractor by the Project Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Contractor does not affect the Employer’s right to termination stated in this contract. 

Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor
If Option C, D, E or F applies first read clause 52.2 and then state whether the Contractor is required to keep any other records.  Include any other constraint which may be required in regard to format and filing of the records, and whether access for the Project Manager shall be provided in hard copy or electronically. 

Could delete if Options A & B apply unless the Employer requires some form of control over the Contractor’s record keeping.

Engineering and the Contractor’s design

The content of this section will depend on whether the contract is for construction only with most of the design done by (or for) the Employer or whether it is a ‘design and construct’ contract.  ECC provides for design by either Party in any proportion, which proportion done by the Contractor must be stated in this part of the Works Information.

Employer’s design

Notification of Asbestos Work

The Contractor shall comply AAR requirements for notifying the Chief Director of Provincial Operations about asbestos work activities. Thus, the Contractor shall be required to do the following:

1) Notify Chief Director of Provincial Operations, in writing about any type 1, type 2 or type 3 asbestos work, at least even days prior to carrying out such work.

2) Report any spill, disturbance or uncontrolled release of asbestos during execution of asbestos work, which may be considered a health hazard, to the Chief Director of Provincial Operations by telephone, electronic mail or similar approved means of communication,

3) Inform the Employer about the notifications and activities noted in this clause (3.4.1).

Site Establishment

1) The Contractor shall be responsible for all aspects of Site establishment. These shall include setting up all facilities required for the execution of all the scope in line with 32-303 standard, AAR and approved POW.

2) The Contractor shall ensure that the required facilities, tools, equipment, materials and any other items necessary to initiate and execute the work are timely available for intended use of the project to ensure that execution of all remains in line with agreed schedule and cost constraints. This shall include acquisition, delivery to Site, setting up and any other activities necessary to ensure availability and readiness of all resources needed for safe and complete execution of work.

3) Site establishment shall be in accordance with Site preparation plan included in the overall POW.

Site isolation, Demarcation and Barricading

1) Providing clearly labelled signs and barricades to prevent public access into the regulated asbestos area.

2) Providing asbestos containment measures around the asbestos work area when there is a foreseeable risk of release of airborne asbestos fibres (i.e. subject to risk assessment and POW). The containment measures must prevent any release asbestos fibres from spreading out (though wind or rainfall) of the demarcated and regulated asbestos area. During any release of asbestos fibres, the containment measures must also be sufficient to maintain the exposure levels below the occupational exposure limit (OEL) for asbestos as prescribed by the AAR.

3) Ensuring access to the demarcated asbestos area is controlled and strictly provided to authorized personnel for purpose of executing the work. Access control measures shall also consider access requirements for the Eskom representatives as may be necessary for conducting relevant Site inspections and monitoring activities per section 3.4.13 of this SOW.

4) Ensuring personnel accessing the demarcated asbestos work-area comply with all relevant Site requirements including wearing required PPE (and any other applicable requirements).

Retrieval of Air conditioning units

Eskom considers air conditioning units installed in the asbestos houses valuable and must be safety retrieved before or as part of the demolition activities. The retrieval of the air conditioning units in each house is to be done by the Employer prior to commencement of demolition work by the Contractor. Thus, prior to commencing any dismantling work at any asbestos house, the Contractor shall be required to first verify that Eskom has removed the air conditioning units and if not, the Contractor shall inform the Employer’s representative (Project Manager) to allow Eskom to remove the identified air conditioning units. Once removal of air conditioning units has been completed and/or verified, the Contractor shall then proceed with asbestos dismantling and removal activities in line with this SOW and the POW.

Overview of Demolition work and Exclusions

Each house address included in the list attached to this SOW includes a house and a garage fenced within on stand identifiable by the address shall include removal of all parts of the superstructures for the house and the garage. In particular, demolition of superstructures for each house and its garage shall include the following:

1) Safe removal of asbestos panels (walls and ceiling).

2) Removal of doors, windows and vent louvers (including frames and burglar proofing).

3) Removal of the roof including roof cladding, roof cap, gutters, downpipes, trusses, purlins, and any other parts of the roof including services (e.g. geyser, pipes, cable, etc.) located above ceiling level.

4) Removal of steel frames and pillars which support the superstructures of the house and garage.

5) Removal of precast concrete walls including gates provided through the precast concrete walls.

6) Removal of items inside the house and garage including toilets, basin, sinks, bathtubs, cabinets (including bedroom cupboards), and overall electrical cabling and plumbing systems. Main supply and distribution systems (i.e. electricity, water and sewage) shall be safely isolated and protected to ensure future availability to the stand after demolition of the asbestos houses.

Demolished asbestos and non-asbestos waste shall be handled, stored, transported and disposed per requirements detailed in this SOW within the sections to follow.

Exclusions

The following items shall be excluded from demolition work and shall remain in the best condition.
(as found prior to demolition) possible after demolition work is complete:

1. Air conditioning units. At the start of demolition work in any house, air conditioning units shall be referred to Employer for removal if not already removed.

2. Substructures for garage and house which include concrete floor slabs, ramps, foundation, floor paving and concrete/paved walkways.

3. Main fence for each house.

4. Adjacent private garage connected to Eskom garage. The private garage shall require modifications to seal remaining openings after demolition of connected Eskom garage. Requirements for modifications of private garages are detailed in section 3.4.8.

5. Existing trees within or close to the stand where demolition work is to occur. Should any existing tree prevent safe demolition work in any of the addresses listed in this SOW, the Contractor shall be required to notify the Employer and request further instructions.

6. Underground services. This includes internal systems (i.e. electrical distribution wires and pipes) withing the house and garage which shall be removed without damaging the main systems as indicated in section 3.4.5.

7. Any other external services in vicinity of the house where is to occur.

Demolition, Handling and Temporary Storage of Asbestos and ACM Waste

The contractor shall be responsible for safe dismantling, removal, handling and on-site temporary

storage of all asbestos material gathered during demolition and removal activities. These activities

shall be done in accordance with Matimba Waste Management Procedure (PS/244/001), Eskom

standard (32-303) and national regulations (AAR). The contractor shall also be responsible for

ensuring the following requirements are met during execution of these activities:

1) Only skilled, competent and trained personnel shall be allowed to perform the work.

2) All asbestos demolition, handling and storage activities shall be executed in line with the approved POW.

3) The contractor shall measure and verify quantities on site prior to commencement of asbestos dismantling activities. Moreover, the contractor shall record and keep track of quantities of all asbestos and ACM removed during execution.

4) All asbestos and ACM collected as hazardous waste shall be placed in the double impermeable plastic bags (i.e. 250-micron thick plastic bags) for asbestos waste and sealed properly to prevent any asbestos fibre release. The waste storage containers or skips shall be provided by the contractor to be used on-site to store asbestos waste bags which are properly sealed and free from any leaks or openings.

5) All waste storage containers shall be clearly labelled and placed safely within the controlled

work area until the waste is collected and transported to the designated hazardous waste

site.

6) During the asbestos removal activities, air monitoring shall be done in line with section 3.4.11

of this document.

7) Any incidences encountered during demolition activities shall be addressed through

emergency response plans provided by the POW in line with the risk assessments completed

prior to execution.

The contractor shall also comply to particular regulatory requirements for registered asbestos

contractors per AAR. These include the following:

1) In the case of type 2 asbestos work, the registered asbestos contractor must undertake only the type of asbestos work for which they are registered by the Chief Inspector.

2) Appoint an occupational health and safety representative as contemplated in section 17 of the Act.

3) Before commencement of any asbestos work and during such work, the registered asbestos contractor must ensure that a risk assessment is performed that includes (I) identification of the hazards to which persons may be exposed; (ii) an assessment of the risks related to the hazards based on a documented method; and (iii) documented control measures to mitigate the risks.

Demolition of asbestos houses will also result in the non-hazardous waste including steel materials,

timber and any other materials which do not contain asbestos. The non-hazardous waste shall be.
managed per requirements of section 3.4.12 of this document.

Garage Modifications for Adjacent Private Property

The list of houses as attached to this SOW indicates Eskom houses with garages connected to

private properties’ garages. The contractor shall be responsible for demolishing Eskom’s garages.
without causing any damage to the adjacent private garages. Moreover, modifications shall be done.
on all the affected private garages to ensure that they all remain intact after demolishing Eskom’s

garages. Activities to be executed by the contractor shall include the following:

1) On the Eskom’s garage, remove all asbestos panels, doors, windows, roof sheeting from the

             garage shelter without removing or affecting any structural elements including column/strut.
             elements and the roof truss.

2) Separating the structural elements of Eskom’s garage from the private garage structure.

Common elements such as struts, wall panels and roof cap (all of which divide/separate the

Eskom and private garages), shall be considered as part of the private garage structure and

shelter and shall not be dismantled or damaged.

3) The steel truss and roof elements extending into the Eskom’s garage shall be separated by

cutting the Eskom garage’s truss members as close to the middle common elements as

possible. The modification details are to be per sketches attached to this SOW. It is expected.
that all the garages included in this SOW are identical and in line with similar design of roof

trusses per drawings referenced in this SOW, however, should the contractor encounter any.
garage structures which are not in line with design details provided with this SOW, the

contractor shall notify the Employer for assessment and confirmation of methods to demolish.
the Eskom’s garage without affecting the connected private property’s garage.

4) The remaining floor slab, ramp and foundation which extend into the Eskom’s side shall not.
be demolished.

5) Once the structural elements have been separated, the remaining elements on the Eskom’s.
6) side can be removed, transported, and disposed per requirements of this SOW.

The openings and gaps along the remaining common wall line on the remaining private

garage shall be sealed in line with details attached to this SOW. A 9mm fibre cement board

for exterior use with waterproof and fire resistance properties shall be used to close the

openings on the wall above the ceiling level particularly in the area where bathrooms are.
located. Contractor shall provide a sample and material data sheet for Employer’s approval.
before use of cement board.

7) The colour of the fibre cement board shall be consistent with colour of remaining asbestos.
wall panels on the private garage.

8) The contractor shall strictly take reasonable measures to ensure that the remaining structural.
elements, roof caps and wall panels along the remaining common wall are not damaged.
during execution of demolition work (on Eskom garage) and modification work (for remaining

private garage).

9) The number of houses with timber roof trusses is limited, however, where the roof of private

garage is made of timber trusses; the contractor shall follow the modification instructions and

details per document F/290/007, attached to this SOW.

10) The contractor shall submit relevant quality plans and Quality Control Plans (QCP) which.
shall govern the inspections and monitoring of demolition and garage modification activities.

11) The contractor shall also comply with all requirements for working with asbestos as described.
in this SOW and POW as well as applicable regulations and standards.

Transportation of Asbestos and ACM Waste

The contractor shall be responsible for the safe transportation of all asbestos waste to the designated.
hazardous waste disposal site. The contractor shall ensure that the transportation of asbestos waste.
adheres to the following:

1) Transportation is in accordance with the best practices to limit the risk of the potential.
             exposure of people and the environment to asbestos fibres. Transportation of asbestos waste

             shall comply with requirements of AAR and 32-303.

2) Transportation of asbestos waste shall be in accordance with applicable parts of SANS.
             10228: 2012 and SANS 10229: 2010 (parts 1 & 2).

3) Transportation personnel shall be trained and certified competent to manage and transport asbestos waste.

4) Relevant PPE for transportation shall be provided (by the contractor) and used by all transportation personnel.

5) Vehicles used for transportation shall be classified and properly labelled.

6) Where necessary, the contractor shall ensure that relevant transport and traffic control.
departments are notified of the transportation activities and obtain relevant permits necessary.
for transportation of hazardous waste. The contractor shall keep records of such permits and

timely avail them to the Employer when requested to do so.

7) Transportation of the asbestos waste shall not violate the AAR or any other applicable laws.

The contractor shall also be responsible for collection and transportation of non-hazardous waste.
per section 3.4.12.

Disposal of Asbestos and ACM Waste

The contractor shall be responsible for the safe disposal of all asbestos waste after transportation to

the designated hazardous waste disposal site. The contractor shall ensure that the following are.
adhered to:

1) All persons involved in the disposal activities shall be trained and certified competent to carry.
  

out asbestos disposal activities.

2) All persons involved in asbestos disposal activities shall use relevant PPE per regulatory.


requirements.

3) Waste shall be deposited in such a manner to minimise dust or asbestos fibres dispersal.



Disturbance of asbestos waste which may result in dust release or dispersal shall.


be prevented.

4) The permit requirements and conditions for each disposal site shall be adhered to.

5) Asbestos waste materials shall only be disposed of at sites specifically designated for such purpose.

6) Disposal shall comply with Eskom standard (32-303), AAR, Environment Conservation Act

of 1989, and National Environmental Management Waste Act of 2008.

7) Details of the registered asbestos disposal site for the disposal activities shall be confirmed.

The contractor shall confirm details of the disposal sites and further submit the permit or

licence for use of the disposal sites to be used for disposal of asbestos waste and any other.
waste generated during dismantling of asbestos houses.

The contractor shall also be responsible for disposal of non-hazardous waste per section 3.4.12 of

this document.

Requirements for Non-Hazardous Waste

Dismantling of asbestos houses will also result in the non-hazardous waste including timber, steel.
materials (roof sheeting, gutters, downpipes, frames, truss members, doors, gates, etc.) and in some

cases other materials. Any steel, timber or other non-hazardous waste materials shall be safely.
dismantled and collected for removal from site. The concrete floor slabs, foundations, and walkways

which formed part of the asbestos houses shall not be demolished. The fence for each house shall

also not be removed. To ensure that non-hazardous waste is collected and disposed appropriately,

the contractor shall be responsible for the following:

1) Dismantling, sorting, and temporary storage of all non-hazardous waste,

2) Ensuring that all waste collected as non-hazardous waste is free from contamination before



transportation to non-hazardous waste disposal site,

3) Treating contaminated waste which cannot be decontaminated with ease, as hazardous.


waste to be collected, temporarily stored, transported, and disposed safely as per



requirements for ACM discussed in previous sections of this SOW,

4) Transportation of non-hazardous waste to designated disposal site,

5) Disposal of non-hazardous waste at designated disposal site,

6) Obtaining and keeping records of relevant permits for transportation and disposal of non-hazardous


waste.

7) Ensuring that non-hazardous waste is managed and disposed in line with Matimba Waste



Management Procedure (PS/244/001).

8) Complying to National Environmental Management Waste Act of 2008 and other relevant



waste management standards and regulations.
Parts of the works which the Contractor is to design

This is a mandatory requirement of core clause 21.1 and must be addressed in detail.  Even when the contract is a traditional ‘construction only’ contract, the Contractor is probably still required to carry out workshop details from overall drawings provided by the Employer and to design temporary works. 

Procedure for submission and acceptance of Contractor’s design

This is a mandatory requirement of core clause 21.2 and must be addressed. Identify the extent of detail (the particulars) of the Contractor’s design which is to be submitted to the Project Manager for his acceptance.  This procedure may also include a design stage activity matrix or requirements for co-operation with Others on a multi-party project.  State requirements for drawings to be prepared by the Contractor.

Other requirements of the Contractor’s design

Use this section to describe any particulars which must be considered by the Contractor in his design; for example, codification (configuration management) of Plant and Materials. 

Use of Contractor’s design

First read core clause 22.1 and then include here the exceptions and other purposes if applicable.  If there are none this section could be deleted leaving the core clause to stand. 

Design of Equipment

On some complex projects requiring sophisticated temporary works, it could be in the Parties best interests that some details of the Contractor’s design or proposed design of Equipment are shared with the Project Manager, not necessarily for his acceptance but as an assurance that the Equipment will be able to allow the Contractor to Provide the Works efficiently and without delay.  For example, a tunnel boring machine, or specialised shuttering for a bridge or caisson.  Draft in such a way that there is no doubt that the liability for such design and use of the Equipment remains with the Contractor.  Clause 23.1 is always available to the Project Manager if this section is not used.

Equipment required to be included in the works
The defined term ‘Equipment’ in core clause 11.2(7) makes a cross reference to the Works Information concerning any Equipment which the Contractor is required to include in the works.  Complete here or if not applicable either delete the heading or retain the heading and state ‘None’.

As-built drawings, operating manuals and maintenance schedules

Use this section to describe these requirements.  Pay particular attention to when and in what form they are required.  Consideration should be given to obtaining operating manuals and maintenance schedules before Completion of the whole of the works when there is still considerable financial incentive for the Contractor to do so.  

Procurement

There is a cross reference from the definition of Disallowed Cost in Options C D and E to the Works Information regarding procurement procedures.  This part of the Works Information MUST include any such procedures to be able to administer this procedure.  Options A & B may also require constraints on procurement procedures.  

People

Minimum requirements of people employed on the Site

Specify any constraints relating to people employed to Provide the Works; for example, permits for foreigners, training (other than H & S), use of labour from designated areas and industrial relations.

BBBEE and preferencing scheme

Specify constraints which Contractor must comply with after contract award in regard to any Broad Based Black Economic Empowerment (B-BBEE) or preferencing scheme measures.

The Contractor complies with and fulfils the Contractor’s obligations in respect of the Accelerated and Shared Growth Initiative - South Africa in accordance with and as provided for in the Contractor’s ASGI-SA Compliance Schedule stated below

.

[Insert the agreed ASGI-SA Compliance Schedule here]

The Contractor shall keep accurate records and provide the Project Manager with reports on the Contractor’s actual delivery against the above stated ASGI-SA criteria.   [Elaborate on access to and format of records and frequency of submission etc.]

The Contractor’s failure to comply with his ASGI-SA obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract.
Subcontracting

Preferred subcontractors

ECC does not make use of nominated subcontracting, but the Employer may list which subcontractors or suppliers the Contractor is required to enter into subcontracts with.  This is usually only required where Plant and Materials need to be obtained from a particular supplier or group of suppliers in order to comply with operational standards.

Subcontract documentation, and assessment of subcontract tenders

Specify any constraints on how the Contractor is to prepare subcontract documentation, whether use of the NEC system is compulsory or not (compulsory is recommended) and how subcontract tenders are to be issued, received, assessed (using a joint report?) and awarded.

Limitations on subcontracting

The Employer may require that the Contractor must subcontract certain specialised work, or that the Contractor shall not subcontract more than a specified proportion of the whole of the contract.  

Attendance on subcontractors

State requirements for attendance on Subcontractors, if any

Plant and Materials

Quality

Quality is usually designed in or specified in the technical specifications referred to in section 6 of this Works Information.  However, to cover circumstances where quality may not be prescribed, this sub-paragraph could be used as an overarching default requirement.  It could also be used to deal with how repairs are carried out after a Defect has been notified; for example, can the item be fixed up or must it be replaced by a new one.  See also SANS 1200A, sub-paragraph 3.1

Plant & Materials provided “free issue” by the Employer
State arrangements for collection by Contractor or delivery by others on behalf of the Employer, offloading, inspection, storage, care custody and control, return of unused Plant and Materials, etc.  State whether any samples are to be provided by the Employer and if so how, where and when.  Always include a statement to the effect that ‘all other Plant and Materials are to be provided by the Contractor’.

Contractor’s procurement of Plant and Materials

Specify any constraints on how the Contractor is to order, codify, expedite, freight, import, transport to Site and any other requirements for delivery and storage before installation.  The Employer may require warranties from suppliers to be in favour of the Employer and not just to the Contractor during the life of the contract.  Also include requirements for vendor data which the Employer may need after Completion of the whole of the works.   THIS IS A VERY IMPORTANT SECTION IN PROCESS PLANT AND UTILITY PROCUREMENT CONTRACTS.

Spares and consumables

Some contracts may need to include provision for the supply of a minimum category of spares, fuel, oil or other feed stock and consumables which the Employer may need at or just after taking over and that it is best the Contractor provide these initially as part of his Providing the Works.  

Tests and inspections before delivery

Core Clauses 40 and 41 both refer to the Works Information regarding tests and inspections.  Specify any requirements here for any tests and inspections that are to be done by the Supervisor or Others before delivery to the Working Areas, particularly if such tests and inspections are to be carried out by agents of the Employer overseas.  

Marking Plant and Materials outside the Working Areas

Core clauses 70.1 and 71.1 require the Works Information to state how the Contractor is to “mark” Plant and Materials which is outside the Working Areas if they are to be paid for before delivery to the Working Areas.  Specify here how the Contractor is to mark the Plant and Materials.  

Contractor’s Equipment (including temporary works).

In contracts which require the Contractor to procure sophisticated or highly specialised Equipment that could have a major influence on the progress of the works, the Employer may wish to exercise constraints or include witness and hold points during manufacture, assembly or delivery of such Equipment.   Include these constraints here taking care not to imply that the Employer or the Project Manager take on any liability as a result.  See also section 3.6 above relating to the design phase of the Contractor’s Equipment.

Cataloguing requirements by the Contractor
State whether cataloguing is applicable, if it is, reference the requirements for cataloguing that need to be satisfied by the Contractor (consult Procurement Instruction Number 1 of 2018 – Incorporating Cataloguing into the Procurement Environment, Unique Identifier 240-1289988974).

Construction

This part of the Works Information addresses constraints, facilities, services and rules applicable to the Contractor whilst he is doing work on the Site during the construction and maintenance phase.  It does not specify the work itself as that is included in Section 6 of the Works Information.

For contracts involving civil works the approach may be to incorporate SANS1200A or SANS 2000 into the contract.   Whilst many of the headings below address the same issues, the list of headings below is more comprehensive.  If the headings below are used, it may be prudent to delete paragraphs 3, 4 and 5 from 1200A after checking that their requirements have been included below as necessary.  A similar approach can be used in contracts involving building works where the Model Trade Preambles are incorporated.  Care should be taken to avoid inconsistency or ambiguity between this part of the Works Information and standard specifications incorporated by reference.  

Temporary works, Site services & construction constraints

Employer’s Site entry and security control, permits, and Site regulations

Sites such as Sasol Secunda and Koeberg Nuclear Power Station have very strict entrance requirements which tenderers need to allow for in their prices, and the Contractor has to comply with.  State these or similar requirements here.

Restrictions to access on Site, roads, walkways and barricades

In addition to the above there may be other restrictions once on the Site, plus rules relating to roads, walkways and the provision of barricades 

People restrictions on Site; hours of work, conduct and records

Restrictions and hours of work may apply on some Sites.  It is very important that the Contractor keeps records of his people on Site, including those of his Subcontractors which the Project Manager or Supervisor have access to at any time.  These records may be needed when assessing compensation events.

Health and safety facilities on Site 

Section 2.3 deals with contractual H & S requirements in addition to those of the OHSA Act.  This section allows the Employer to state what measures are to be taken on Site against disease and epidemics and in emergencies.  Also describe where First Aid facilities provided by the Employer are located and any other emergency arrangements.  Do not use if already addressed in 2.3.  The cross reference from Clause 27.4 applies.

Environmental controls, fauna & flora, dealing with objects of historical interest 

This sub-paragraph may not be required if these matters are dealt with in the general environmental requirements referred to in paragraph 2.4 above.

Title to materials from demolition and excavation

Clause 73.2 states that the Contractor has title to materials from excavation and demolition (e. g. copper) only as stated in the Works Information.  Hence state here any special arrangements regarding such title.  If nothing is stated, then the default position is the Contractor has no such title.

Cooperating with and obtaining acceptance of Others

This sub-paragraph could be used to deal with two issues. 

1) The cross reference from core clause 25.1 about cooperation generally as well as details about Others with whom the Contractor may be required to share the working areas. See clause 11.2(10) for the definition of Others. 

2) Requirements for liaison with and acceptance from statutory authorities or landowners.

Publicity and progress photographs 

State requirements for notice boards, advertising rights, media relations, photography and progress photographs if required. 

Contractor’s Equipment

This sub-paragraph is intended to address how records are to be kept of Equipment on Site including whether it is owned or hired.  Include any constraints about scaffolding, rigs, heavy lifts and cranes, including removal from the Working Areas.   Also silencing similar to Clause 4.1 in SANS 1200 A 

Equipment provided by the Employer
Provide details of equipment made available for use by the employer and set out conditions relating thereto.

Site services and facilities

This is a mandatory cross reference from clause 25.2 in ECC3.  State what the Employer will provide in the way of power, water, waste disposal, telecoms, ablutions, fire protection, lighting etc.  Give hook up locations and any constraints on how the hook up is to be done.  Always conclude by stating that the Contractor shall provide everything else necessary for Providing the Works.

Facilities provided by the Contractor
Describe what the Contractor is to provide in the way of Site accommodation, laboratories, storage, vehicles and office equipment etc for the Project Manager and the Supervisor, and any restrictions or minimum requirements concerning the Contractor’s own facilities.  State requirements for facilities to be provided by the Contractor such as construction camps. Also state what happens to these facilities upon completion of the contract. Set out constraints, if any, as to the location by the Contractor of such facilities on the Site and requirements for drawings of Site facilities, as necessary.

Existing premises, inspection of adjoining properties and checking work of Others

Details under this sub-paragraph are very contract specific and may be quite extensive in some cases.  State requirements for the inspection with the owners of adjacent buildings and properties and representatives of local authorities before commencing with the works that have the potential to damage surrounding buildings and property. State whether Contractor is required to inspect the work of Others to which he is required to connect and if so by when to avoid delays to his work.

Survey control and setting out of the works
Provide information on survey controls established by the Employer, if any, and state requirements for survey control and the setting out of the works.

Excavations and associated water control

State any particular requirements for handling deep foundations and controlling water from excavations.  

Underground services, other existing services, cable and pipe trenches and covers

Describe known services referring to drawings containing known services and state requirements for locating, marking and recording such services.  

State requirements for the treatment of existing services i.e. their termination, diversion or continued use, either temporarily or permanently, and set out the procedures relating thereto. 

State requirements, as necessary, for the use and availability of detection equipment for the location of underground services.  

State responsibility for damage to services, known and unknown, and requirements for working in close proximity to services etc.  

State requirements and reinstatement procedures for the notification and repair of damage to services and any penalties applicable to the damage of services.

Control of noise, dust, water and waste 

State requirements, if any.

Sequences of construction or installation

Only prescribe sequences of work where absolutely necessary such as when Contractor has to give access to Others (without take over) and for technical reasons such as under tidal conditions and in rivers.

Giving notice of work to be covered up

State the procedure for notifying the Supervisor
Hook ups to existing works

State any constraints

Completion, testing, commissioning and correction of Defects

Work to be done by the Completion Date

This is mandatory.  Core clause 11.2(2) defines Completion as when the Contractor has done all the work which the Works Information states he is to do by the Completion Date.  Rather than list all works to be done by the Completion Date, state that all work is to be done by the Completion Date except for [●].  For example:

On or before the Completion Date the Contractor shall have done everything required to Provide the Works except for the work listed below which may be done after the Completion Date but in any case, before the dates stated.  The Project Manager cannot certify Completion until all the work except that listed below has been done and is also free of Defects which would have, in his opinion, prevented the Employer from using the works and Others from doing their work.

	
	Item of work
	To be completed by

	
	As built drawings of      
	Within       days after Completion

	
	Performance testing of the works in use as specified in paragraph       of this Works Information.
	See performance testing requirements.

	
	
	


Use of the works before Completion has been certified

Clause 35.2 in ECC3 provides that the Employer may use any part of the works before Completion has been certified but if he does so he takes over the part of the works except if the use is for a reason stated in the Works Information.  State the reason here if this applies.

Materials facilities and samples for tests and inspections 

State what materials facilities and samples for tests and inspections the Contractor and the Employer are to provide, per core clause 40.2.

Commissioning

Required mainly for contracts including mechanical and electrical work.  Would typically refer to detailed commissioning procedure attached as an Annexure.  Confirm whether commissioning is to be done before or after Completion.  If after Completion, include this item of work in the list in sub-paragraph 5.2.1 above.

Start-up procedures required to put the works into operation

In order to put the works into operation the Employer may require the Contractor to either do this for him or be in attendance whilst he does it, depending on who is the responsible person.  State requirements of the Contractor here together with any special arrangements associated with operating plant and machinery.

Take over procedures

Take over is after or at the same time as Completion.  The Employer may require the Contractor to aid, security personnel on a temporary basis etc.

Access given by the Employer for correction of Defects

Clause 43.4 requires that the Project Manager arranges for the Employer to allow the Contractor access to and use of a part of the works which has been taken over if needed to correct a Defect.  After the works have been put into operation, the Employer may require the Contractor to undertake certain procedures before such access can be granted (for example barricading a motorway or in a nuclear power station).  Include these here. 

Performance tests after Completion

Many design and build, or turnkey projects require the Contractor to demonstrate that the works can operate as guaranteed by the Contractor (in Contractor’s Works Information) or specified by the Employer either here or elsewhere in this Works Information.  State here the procedures for carrying out such proving tests.  These details should link up with any performance levels stated in Contract Data if secondary Option X17 in ECC3 applies.

Training and technology transfer

Include if the Employer requires the Contractor to provide training in the use and maintenance of the works or any associated transfer of technology from him to the Employer. 

Operational maintenance after Completion

The Employer may require the Contractor before the defects date to perform certain duties after Completion and take over which relate to maintenance of the works.  (Not to be confused with Defect correction) For example oil and filter changes 

Plant and Materials standards and workmanship

This section of the Works Information contains all the specifications for the work, which is left behind, the permanent works.  It is likely to be the largest section by far and may even be compiled in volumes, e. g. Section 6 Volume 1: Civil Engineering Works.  In design and construct contracts, it may be compiled in accordance with systems within the works; e. g. Section 6 Volume 4: Crushers.

Because practice varies widely between employers it is not practical in a general template such as this to deal with all arrangements.  Only the discipline-based section subheadings are provided below in the order the works are likely to be constructed together with some notes of a general nature.

Investigation, survey and Site clearance

Some contracts may require the Contractor to carry out further investigation of existing facilities or of the Site before commencing final design.  There could be constraints on Site clearance especially in pipeline or transmission grid servitudes.   

Building works

Reference could be made to the latest Model Trade Preambles published by the Association of South African Quantity Surveyors.  However, these have been developed for use with the JBCC series of contracts and an approach where description of the work is made part of the bill of quantities, which is not the case in other forms of contract.  Only parts of the Model Trade Preambles could be referenced by an ECC contract, with a covering note dealing with the changes in terminology.  Further changes are required depending on which parts are to be selected. 

This subsection would typically comprise 

a) 
Particular specifications provided by the Employer 

b)
List of standardised specifications applicable to the works and

c)
Variations to the standardised specifications

Civil engineering and structural works

Reference could be made to the SANS1200 series of specifications developed and published by South African National Standards.  However, these are now very out of date and originally developed for use with SAICE general conditions of contract for works of civil engineering which have themselves been superseded twice.   

All SANS 1200 specifications are in the process of being updated to make them more compatible with a wider range of contracts, including NEC, and users should check availability of the new SANS 2000 series of specifications.

Sections 3, 4 and 5 of SANS1200A are probably already covered in section 5 of this Works Information. 

This subsection would typically comprise 

a) 
Particular specifications provided by the Employer 

b)
List of standardised specifications applicable to the works and

c)
Variations to the standardised specifications

If use is made of the 1200 series, users should include a covering note dealing with the changes in terminology, such as the one provided below.  Further changes are required depending on which specifications in the 1200 series are selected.  

Electrical & mechanical engineering works

These specifications are usually project specific and developed by the Employer to suit his operations.  Either include these specifications here or refer to them in attached Annexure. 

Check the specifications for inconsistencies in terminology and that they do not contain any provisions already dealt with in the chosen NEC conditions of contract or clash with them in any way. 

Process control and IT works

These specifications are usually project specific and developed by the Employer to suit his operations.  Either include these specifications here or refer to them in attached Annexure. 

Check the specifications for inconsistencies in terminology and that they do not contain any provisions already dealt with in the chosen NEC conditions of contract or clash with them in any way. 

Other [as required]

List of drawings

Drawings issued by the Employer

This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

Note:  Some drawings may contain both Works Information and Site Information.

	Drawing number
	Revision
	Title

	0.58/56
	Rev 0
	Matimba Power Station Temporary House Type 3SB

	0.58/422
	Rev 0
	Matimba Power Station House Type A

	0.58/425
	Rev 0
	Matimba Power Station House Type A

	0.58/423
	Rev 0
	Matimba Power Station House Type B

	0.58/426
	Rev 0
	Matimba Power Station House Type B

	0.58/424
	Rev 0
	Matimba Power Station House Type C

	0.58/850
	Rev 0
	Matimba Power Station House Type C


C3.2
Contractor’s Works Information

	This section of the Works Information will always be contract specific depending on the nature of the works.

It is most likely to be required for design and construct contracts where the tendering contractor will have proposed specifications and schedules for items of Plant and Materials and workmanship, which once accepted by the Employer prior to award of contract now become obligations of the Contractor per core clause 20.1.

Typical subheadings could be

a) 
Contractor’s design

b)
Plant and Materials specifications and schedules

c)
Other




This section could also be compiled as a separate file.

� This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008, Fax 011 803 3009 or see � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 








Contract
2
ecc3 Cover pages


