| Technical Evaluation – Generator Stator Core Monitoring |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Category | Evaluation Criterion | Description (Deliverables) | Supporting Documents | Evaluation Range Weight (%) | Scoring % |
| A. Understanding of Scope & Methodology (25%) | Understanding of GCMX Scope | Understanding of inspections, testing, cleaning, replacements, and fault clearing | Submit signed PQP = 10, No proof of PQP = 0 | 10 |  |
|  | Inspection & Testing Methodology | Methodology for inspections, power-up, leak testing, simulations, relay testing | Submit signed PQP = 10, No proof of PQP = 0 | 10 |  |
|  | Recording & Reporting | Recording readings and actions in the Product Quality Plan (PQP) | Submit signed PQP = 5, No proof of PQP = 0 | 5 |  |
| B. Technical Capability & Equipment (25%) | Tools & Test Equipment | Availability of tools for leak testing, simulations, and electrical tests | Submit calibrated equipment used in hydrogen area (spark free tool) = 10: No proof = 0 | 10 |  |
|  | GCMX System Knowledge | Experience with ion chambers, filters, solenoids, electronics | Submit proof of previous scope completed -over 4 = 15, -under 4= 5 | 10 |  |
| C. Personnel Competence & Experience (20%) | Qualifications | Relevant engineering / technical qualifications | Submit CVs with supporting documents | 10 |  |
|  | Relevant Experience | Experience in generator stator core monitoring systems | submit proof of previous scope completed, -over 4 = 1. -under 4= 5 | 15 |  |
| D. Quality, Safety & Compliance (20%) | Quality Management | Use of PQP, inspection records, test sheets | Submit signed PQP = 5, No proof of PQP = 0 | 5 |  |
|  | Safety & Compliance | Compliance with Eskom / industry safety standards | Submit safety stats during execution, -no LTI =5 -LTI=0 | 5 |  |
| E. Documentation & Deliverables (10%) | Test Reports & Records | Submission of complete inspection and test results | Previous intervention reports more than 4 = 10: no proof = 0 | 10 |  |
|  | Fault Handling & Close-Out | Fault clearing, confirmation of normal operation | Previous intervention reports more than 4 = 10: no proof = 0 | 10 |  |
| Minimum Qualifying Threshold |  |  |  | ≥75% |  |