## PRICING SCHEDULE
SUPPLY CHAIN MANAGEMENT
Pricing schedule
RFx No
RFx Title | REQUEST FOR BID FOR THE APPOINTMENT OF A SERVICE PROVIDER FOR THE SUPPLY AND INSTALLATION OF SPLIT AIR CONDITIONING UNITS AT X 17 SAPS SITES ON BEHALF OF THE SOUTH AFRICAN POLICE SERVICES (SAPS), GAUTENG
Bidder Name
1. INSTRUCTION FOR COMPLETING THE PRICING SCHEDULE
(a) Bidder must complete/enter YELLOW cells only
(b) Unit and Line prices must be VAT EXCLUSIVE and in South African Rand (ZAR) currency.
(c) The price must include all cost to deliver the goods or render the service, including all applicable taxes, duty fees, logistics/delivery, storage, labour, overtime and subsistance and travel
Item No | Goods/Service description | Unit of measure | Forex % | Qty | Unit Price (Excl VAT) | Line Price Y1 | BRAND / MODEL (if applicable) | Price clarification comment
1 | Air Conditioning Units 18000 split unit BTU aircon The unit rate including aircon units, labour, material, spares, tools, accessories and consumables., and provide the specified report. The Rate must include the specified service pack, and to perform the specified services. |  |  |  |  | 0
1.1 | Supply and Installation of 18000 split unit BTU Invertor aircon complete with evaporator, condensor and mounting brackets | Each | 0% | 14 | 0 | 0
1.2 | Condensor Copper piping with insulation and mounting brackets | Set | 0% | 14 | 0 | 0
1.3 | Cage to protect the outdoor condenser | Each | 0% | 14 | 0 | 0
1.4 | Padlocks with and at least 2 keys universal keys | Set | 0% | 16 | 0 | 0
1.5 | Master uniserval keys | Each | 0% | 2 | 0 | 0
1.6 | Drip tray underneath indoor unit | Each | 0% | 14 | 0 | 0
2 | Air Conditioning Units 12000 split unit BTU aircon The unit rate including aircon units, labour, material, spares, tools, accessories and consumables., and provide the specified report. The Rate must include the specified service pack, and to perform the specified services. |  |  |  |  | 0
2.1 | Supply and Installation of 12000 split unit BTU Invetor aircon complete with evaporator, condensor and mounting brackets | Each | 0% | 4 | 0 | 0
2.2 | Condensor Copper piping with insulation and mounting brackets | Set | 0% | 4 | 0 | 0
2.3 | Cage to protect the outdoor condenser | Each | 0% | 4 | 0 | 0
2.4 | Padlocks with and at least 2 keys universal keys | Set | 0% | 4 | 0 | 0
2.5 | Drip tray underneath indoor unit | Each | 0% | 4 | 0 | 0
3 | Electrical |  |  |  |  | 0
3.1 | 6mm2 LV Cable: HO7 RN-F Flexible Trailing Cable 3 Core | metre | 0% | 240 | 0 | 0
3.2 | 2.5mm 3 core flex cable | metre | 0% | 126 | 0 | 0
3.3 | Small 6-way surface mount DB board with Isolator with DB blanks | Each | 0% | 5 | 0 | 0
3.4 | Circuit Breaker 20 Amp, 6KA CBI | Each | 0% | 4 | 0 | 0
3.5 | Circuit Breaker 32 Amp, 6KA CBI | Each | 0% | 9 | 0 | 0
3.6 | Circuit Breaker 32 Amp, 6KA Dinrail | Each | 0% | 5 | 0 | 0
3.7 | 32Amp double pole circuit breaker/Isolator CBI | Each | 0% | 4 | 0 | 0
3.8 | 32Amp double pole circuit breaker/Isolator Dinrail | Each | 0% | 1 | 0 | 0
3.9 | Earth leakage 63Amp CBI | Each | 0% | 4 | 0 | 0
3.10 | Earth leakage 63Amp Dinrail | Each | 0% | 1 | 0 | 0
3.11 | Extension box 2x4 | Each | 0% | 18 | 0 | 0
3.12 | 32 Amp Isolator circuit supply to aircon 2x4 | Each | 0% | 14 | 0 | 0
3.13 | 20 Amp Isolator circuit supply to aircon 2x4 | Each | 0% | 4 | 0 | 0
3.14 | COC Electrical certificates | Each | 0% | 17 | 0 | 0
4 | Infrastructure |  |  |  |  | 0
4.1 | 40X40 PVC trunking | P/Length | 0% | 5 | 0 | 0
4.2 | 20mm conduit | P/Length | 0% | 14 | 0 | 0
4.3 | 20mm bends for the conduit | Each | 0% | 72 | 0 | 0
4.4 | 75x75 galvanized channeling for Aircon pipes | P/Length | 0% | 18 | 0 | 0
5 | UNIT RATES: LABOUR Note that the quantities indicated below are only for evaluation purposes and to determine the contract unit rates. The final quantities will be based on works orders. |  |  |  |  | 0
5.1 | SkilledLabour | Unit rate per hour | 0% | 120 | 0 | 0
5.2 | Unskilled labourers | Unit rate per hour |  | 120 | 0 | 0
5.3 | Semi - skilled labourers | Unit rate per hour |  | 120 | 0 | 0
5.4 | HVAC Artisian | Unit rate per hour |  | 120 | 0 | 0
5.5 | Electrician | Unit rate per hour |  | 80 | 0 | 0
5.6 | Project Manager | Unit rate per hour |  | 160 | 0 | 0
6 | SCAFFOLD PLANT UNIT RATES: Note that the quantities indicated below are only for evaluation purposes and to determine the contract unit rates. The final quantities will be based on works orders |  |  |  |  | 0
6.1 | Plant | Unit rate per day | 0% | 40 | 0 | 0
7 | TRANSPORT UNIT RATES Note that the quantities indicated below are only for evaluation purposes and to determine the contract unit rates. The final quantities will be based on works orders |  |  |  |  | 0
7.1 | Transport - specify |  | 0% | 3000 | 0 | 0
| TOTAL BID PRICE (EXCL VAT) |  |  |  |  | 0
| VAT (@15%) |  |  |  |  | 0
| TOTAL BID PRICE (INCL VAT) |  |  |  |  | 0
I, the bidder, confirm that the price(s) and rate(s) quoted cover all the goods and/or works specified in the bidding documents; that the price(s) or rate(s) cover all my obligations and I accept that any mistakes regarding price(s), rate(s) or calculations will be at my own risk. [Note: First convert to PDF, then add signature]
|  | Name |  | Capacity
|  | Signature (above) |  | Date