NEC3 Supply Contract (SC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________ ) |  |
|  | Supply and delivery of low voltage motors to Matimba Power Station over a period of five years Insert title of the goods and services |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | [●] |
| Part C2 | Pricing Data | [●] |
| Part C3 | Scope of Work | [●] |
| CONTRACT No. | [Insert at award stage] |  |

# PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] | [●] |
| C1.2a | Contract Data provided by the Purchaser | [●] |
| C1.2b | Contract Data provided by the Supplier [to be inserted from Returnable Documents at award stage] | [●] |
| C1.3 | Proforma Guarantees | [●] |

C1.1 Form of Offer & Acceptance

## Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Supply and delivery of low voltage motors to Matimba Power Station over the period of five years

The tenderer, identified in the Offer signature block, has

| either | examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender. |
| --- | --- |
| or | examined the draft contract as listed in the Acceptance section and agreed to provide this Offer. |

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

|  | The offered total of the Prices exclusive of VAT is | R [●] |
| --- | --- | --- |
|  | Value Added Tax @ 15% is | R [●] |
|  | The offered total of the amount due inclusive of VAT is | R [●] |
|  | (in words) [●] |  |

This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  | Dumisani Makamu |  |
| Capacity |  |  | (Procurement Manager) |  |
| for the Purchaser | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |  |  |  |
| Name & signature of witness | Eskom Holdings SOC Ltd (Reg No 2002/015527/30) Matimba Power Station Private Bag x215, Lephalale 0555 |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | [●] | [●] |

By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | For the Purchaser: |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  | Dumisani Makamu |
| Capacity |  |  | Manager Procurement |
| On behalf of | (Insert name and address of organisation) |  | Eskom Holdings SOC Ltd (Reg No 2002/015527/30) Matimba Power Station Private Bag x215, Lephalale 0555 |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 SC3 Contract Data

# Part one - Data provided by the Purchaser

[Instructions to the contract compiler:  (delete these two notes in the final draft of a contract)

- Please read the relevant clauses in the conditions of contract before you enter data.  The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data.

- Some SC3 options are always selected by Eskom Holdings SOC Ltd.   The remaining SC3 options are identified by shading in the left hand column.  In the event that the option is not required select and delete the whole row.  Where the following symbol is used “[●]” - data is required to be inserted relevant to the specific option selected.]

Completion of this data in full, according to the Options chosen, is essential to create a complete contract.

| Clause |  |  | ## Statement |  | ## Data |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  | ## General |  |  |  |  |  |  |  |  |
|  |  |  | The conditions of contract are the core clauses and the clauses for Options |  |  |  |  |  |  |  |  |
|  |  |  |  |  | X1: Price adjustment for inflation |  |  |  |  |  |  |
|  |  |  |  |  | X2 Changes in the law |  |  |  |  |  |  |
|  |  |  |  |  | X7: Delay damages |  |  |  |  |  |  |
|  |  |  |  |  | Z: Additional conditions of contract |  |  |  |  |  |  |
|  |  |  | of the NEC3 Supply Contract (April 2013) |  | (If the December 2009 edition is to be used delete April 2013 and replace by December 2013) |  |  |  |  |  |  |
| 10.1 |  |  | The Purchaser is (name): |  | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state-owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |  |  |
|  |  |  | Address |  | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |  |  |
|  |  |  | Tel No. |  | [●] |  |  |  |  |  |  |
|  |  |  | Fax No. |  | [●] |  |  |  |  |  |  |
| 10.1 |  |  | The Supply Manager is (name): |  | S Tisane |  |  |  |  |  |  |
|  |  |  | Address |  | Eskom Holdings SOC Limited (Reg No: 2002/015527/06) Matimba Power Station Private Bag x215, Lephalale 0555 |  |  |  |  |  |  |
|  |  |  | Tel |  | 014 763 8036 |  |  |  |  |  |  |
|  |  |  | Fax |  |  |  |  |  |  |  |  |
|  |  |  | e-mail |  | tisanets@eskom.co.za |  |  |  |  |  |  |
| 11.2(13) |  |  | The goods are |  | Supply, and delivery of low voltage motors. |  |  |  |  |  |  |
| 11.2(13) |  |  | The services are |  | Supply and deliver of low voltage motors to site Matimba Power Station, Main Stores Receiving. ` |  |  |  |  |  |  |
| 11.2(14) |  |  | The following matters will be included in the Risk Register |  | N/A |  |  |  |  |  |  |
| 11.2(15) |  |  | The Goods Information is in |  | Part 3: Scope of work and all documents and drawings to which it makes reference. |  |  |  |  |  |  |
| 11.2(15) |  |  | The Supply Requirements as part of the Goods Information is in |  | Annexure A to this Contract Data |  |  |  |  |  |  |
| 12.2 |  |  | The law of the contract is the law of |  | the Republic of South Africa |  |  |  |  |  |  |
| 13.1 |  |  | The language of this contract is |  | English |  |  |  |  |  |  |
| 13.3 |  |  | The period for reply is |  | 3 working days |  |  |  |  |  |  |
| ## 2 |  |  | ## The Supplier’s main responsibilities |  | Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |
| ## 3 |  |  | ## Time |  |  |  |  |  |  |  |  |
| 30.1 |  |  | The starting date is. |  | 2025/04/01 |  |  |  |  |  |  |
| 30.1 |  |  | The delivery date of the goods and services is: |  | Goods and services |  |  |  |  | delivery date |  |
|  |  |  |  |  | 1 | As per the order per item on as and when required basis as stipulated in this contract agreement |  |  |  | As per agreed programme |  |
| 31.1 |  |  | The Supplier is to submit a first programme for acceptance within |  | 2 weeks of the Contract Date indicating lead times of each item on the contract. |  |  |  |  |  |  |
| 32.2 |  |  | The Supplier submits revised programmes at intervals no longer than |  | 1 week |  |  |  |  |  |  |
| ## 4 |  |  | o Testing and defects |  |  |  |  |  |  |  |  |
| 42 |  |  | The defects date is |  | 1 week after delivery of goods. |  |  |  |  |  |  |
| 43.2 |  |  | The defect correction period is |  | As per the agreed lead times. |  |  |  |  |  |  |
| 42.2 |  |  | The defects access period is |  | As per agreed arrangement made |  |  |  |  |  |  |
| ## 5 |  |  | ## o Payment |  |  |  |  |  |  |  |  |
| 50.1 |  |  | The assessment interval is |  | within 7 working days after delivery. |  |  |  |  |  |  |
| 51.1 |  |  | The currency of this contract is the |  | South African Rand |  |  |  |  |  |  |
| 51.2 |  |  | The period within which payments are made is |  | As per Eskom Payments terms linked to vendor registration |  |  |  |  |  |  |
| 51.4 |  |  | The interest rate is |  | the publicly quoted prime rate of interest (calculated on a 365-day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |  |  |  |
| ## 6 |  |  | ## Compensation events |  | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |
| ## 7 |  |  | ## Title |  | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |
| ## 8 |  |  | Risks, liabilities, indemnities, and insurance |  |  |  |  |  |  |  |  |
| 88.1 |  |  | The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to |  | R10 000.00(Ten thousand Rand) |  |  |  |  |  |  |
| 88.2 |  |  | For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to |  | - the Purchaser's existing and surrounding property in the care, custody and control of the supplier: the amount of the deductible (first amount payable) relevant to the event described in the "Format A" insurance policy available on request from Eskom’s Insurance Management Services. - or all other existing Purchaser's property For any one occurrence or series of occurrences arising out of one event but unlimited during the period of contract: - R25 million (Twenty-five million Rand) for Generation property; |  |  |  |  |  |  |
| 88.3 |  |  | The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to: |  | N/A |  |  |  |  |  |  |
| 88.4 |  |  | The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to |  | N/A |  |  |  |  |  |  |
| 88.5 |  |  | The end of liability date is |  | After Quality check has been done and the Guarantee period lapsed. |  |  |  |  |  |  |
| ## 9 |  |  | ## Termination and dispute resolution |  |  |  |  |  |  |  |  |
| 94.1 |  |  | The Adjudicator is |  | the person nominated from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him and appointed on agreement by both Parties. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the ICE-SA Division. |  |  |  |  |  |  |
|  |  |  | Address |  | To be determent |  |  |  |  |  |  |
|  |  |  | Tel No. |  | To be determent |  |  |  |  |  |  |
|  |  |  | Fax No. |  | To be determent |  |  |  |  |  |  |
|  |  |  | e-mail |  | To be determent |  |  |  |  |  |  |
| 94.2(3) |  |  | The Adjudicator nominating body is: |  | the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za) |  |  |  |  |  |  |
| 94.4(2) |  |  | The tribunal is: |  | arbitration |  |  |  |  |  |  |
| 94.4(5) |  |  | The arbitration procedure is |  | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |
| 94.4(5) |  |  | The place where arbitration is to be held is |  | Lephalale South Africa |  |  |  |  |  |  |
|  |  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is |  | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |
| ## 10 |  |  | o Data for Option clauses |  |  |  |  |  |  |  |  |
| X1 |  |  | Price adjustment for inflation |  |  |  |  |  |  |  |  |
| X1.1 |  |  | The base date for indices is |  | One month prior to tender closing date |  |  |  |  |  |  |
|  |  |  | The proportions used to calculate the Price Adjustment Factor are : Material |  | Approximate Percentage by Weight |  | Index | Index prepared by |  |  |  |
|  |  |  | Electrical Steel |  | 55% |  | SEIFSA | SEIFSA Table J-4 Non-Grain Oriented Electrical Steel |  |  |  |
|  |  |  | Casing |  | 10% |  | SEIFSA | SEIFSA Table J-4 Casting (Grey Iron Casting) |  |  |  |
|  |  |  | Copper |  | 11% |  | SEIFSA | SEIFSA Table J-4 Copper RCP - Long Ton (Rand/Long Ton) |  |  |  |
|  |  |  | Insulation & Non-conductive materials |  | 4% |  | SEIFSA | SEIFSA Table J-A Insulation |  |  |  |
|  |  |  | Other (Bearings, Shaft, etc.) |  | 4% |  | SEIFSA | Table G-1 Mechanical Engineering |  |  |  |
|  |  |  | Fixed |  | 15% |  |  |  |  |  |  |
|  |  |  |  |  | 100% |  |  |  |  |  |  |
| X2 |  |  | Changes in Law |  |  |  |  |  |  |  |  |
| X2.1 |  |  | A change in the law of |  | South Africa. It is a compensation event if it occurs after the Contract Date |  |  |  |  |  |  |
| X7 |  |  | Delay damages |  |  |  |  |  |  |  |  |
| X7.1 |  |  | Delay damages for Delivery are |  | Delivery of |  |  |  | amount per day |  |  |
|  |  |  |  |  | Items as per Scope of Work as stipulated in this Contract |  |  |  | 1% per day up to a maximum of 10% of the order value. |  |  |
| Z |  |  | The additional conditions of contract are |  | Z1 to Z15 always apply for Eskom |  |  |  |  |  |  |
| Z1 |  | Cession delegation and assignment |  |  |  |  |  |  |  |  |  |
| Z1.1 |  | The Supplier does not cede, delegate, or assign any of its rights or obligations to any person without the written consent of the Purchaser. |  |  |  |  |  |  |  |  |  |
| Z1.2 |  | Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |  |  |
| Z2 |  | Joint ventures |  |  |  |  |  |  |  |  |  |
| Z2.1 |  | If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract. |  |  |  |  |  |  |  |  |  |
| Z2.2 |  | Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf. |  |  |  |  |  |  |  |  |  |
| Z2.3 |  | The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing. |  |  |  |  |  |  |  |  |  |
| Z3 |  |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |  |  |
| Z3.1 |  |  | Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change. |  |  |  |  |  |  |  |  |
| Z3.2 |  |  | The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager. |  |  |  |  |  |  |  |  |
| Z3.3 |  |  | Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services. |  |  |  |  |  |  |  |  |
| Z3.4 |  |  | Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |  |  |
| Z4 |  | Confidentiality |  |  |  |  |  |  |  |  |  |
| Z4.1 |  | The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time). Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |  |  |
| Z4.2 |  | If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager. |  |  |  |  |  |  |  |  |  |
| Z4.3 |  | In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |  |  |
| Z4.4 |  | The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager. All rights in and to all such images vests exclusively in the Purchaser. |  |  |  |  |  |  |  |  |  |
| Z4.5 |  | The Supplier ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |  |  |
| Z5 |  | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |  |  |
| Z5.1 |  | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |  |  |
| Z6 |  |  | Health, safety and the environment: Add to core clause 25.4 |  |  |  |  |  |  |  |  |
| Z6.1 |  |  | The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. Without limitation the Supplier: warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |
| Z6.2 |  |  | The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |
| Z7 |  | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |  |  |
| Z7.1 |  | Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |  |  |
| Z7.2 |  | If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |  |  |
| Z7.3 |  | The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |  |  |
| Z8 |  | Notifying compensation events |  |  |  |  |  |  |  |  |  |
| Z8.1 |  | Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”. |  |  |  |  |  |  |  |  |  |
| Z9 |  | Purchaser’s limitation of liability |  |  |  |  |  |  |  |  |  |
| Z9.1 |  | The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |  |  |
| Z9.2 |  | The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited. |  |  |  |  |  |  |  |  |  |
| Z10 |  | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |  |  |
| Z10.1 |  | or had a business rescue order granted against it. |  |  |  |  |  |  |  |  |  |
| Z11 |  | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |  |  |  |  |  |
| Z11.1 |  | If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |  |  |  |  |  |
| Z12 | Ethics |  |  |  |  |  |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |  |  |  |  |
| Affected Party |  |  |  | means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |  |  |  |  |  |  |
| Coercive Action |  |  |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |
| Collusive Action |  |  |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |
| Committing Party |  |  |  | means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, |  |  |  |  |  |  |
| Corrupt Action |  |  |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |  |  |  |  |  |  |
| Fraudulent Action |  |  |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |  |  |  |  |  |  |
| Obstructive Action |  |  |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |  |  |  |  |  |  |
| Prohibited Action |  |  |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |  |  |  |  |  |  |
| Z12.1 | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |  |  |  |  |  |  |  |  |
| Z12.2 | The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason. |  |  |  |  |  |  |  |  |  |
| Z12.3 | If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |  |  |  |  |  |  |  |  |
| Z12.4 | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation. |  |  |  |  |  |  |  |  |  |

Z13	Insurance

Z __13.1	Replace core clause 84 with the following:

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued. |

INSURANCE TABLE A

Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage to the goods, plant and materials; The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.. Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract; Loss of or damage to property Purchaser’s property The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance. Other property The replacement cost Death of or bodily injury The amount required by the applicable law.. Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law.

Z _13.2		Replace core clause 87 with the following:

| Insurance by the Purchaser |  |  |  | 87 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 87.1 | The Purchaser provides the insurances stated in the Insurance Table B |  |
|  |  |  |  |  | INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |
| Z14 |  | Nuclear Liability |  |  |  |  |
| Z14.1 |  | The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |  |  |  |
| Z14.2 |  | The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |
| Z14.3 |  | Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |
| Z14.4 |  | The Purchaser does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |  |  |  |
| Z14.5 |  | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |  |  |  |
| Z15 |  | Asbestos |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |
| AAIA |  |  |  | means approved asbestos inspection authority. |  |  |
| ACM |  |  |  | means asbestos containing materials. |  |  |
| AL |  |  |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |  |  |
| Ambient Air |  |  |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |  |  |
| Compliance Monitoring |  |  |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |
| OEL |  |  |  | means occupational exposure limit. |  |  |
| Parallel Measurements |  |  |  | means measurements performed in parallel, yet separately, to existing measurements to verify validity of results. |  |  |
| Safe Levels |  |  |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |
| Standard |  |  |  | means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |  |  |
| SANAS |  |  |  | means the South African National Accreditation System. |  |  |
| TWA |  |  |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |  |  |
| Z15.1 |  | The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |  |  |  |
| Z15.2 |  | Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |  |  |  |
| Z15.3 |  | The Purchaser manages asbestos and ACM according to the Standard. |  |  |  |  |
| Z15.4 |  | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe. |  |  |  |  |
| Z15.5 |  | The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |  |  |  |
| Z15.6 |  | The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations. |  |  |  |  |
| Z15.7 |  | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Purchaser at the Purchaser’s expense, and conducted in line with South African legislation. |  |  |  |  |

Annexure A:	Supply Requirements

[Notes: The example given in the NEC3 Supply Contract Guidance Notes pages 15 to 20 inclusive is based on Incoterms 2000.   However users will probably wish to use Incoterms 2010 which the details below are based on.    Users may need to adjust the information to comply with actual requirements. First decide whether Incoterms will be used or not, then delete the arrangement below which does not apply and delete these notes]

## The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2010 as follows:

[Select the group and then term within the group which applies and state the applicable delivery place.  Delete all the other groups and this note]

| Group | Category | Term | Delivery Place |
| --- | --- | --- | --- |
| E | departure | EXW |  |
| F | main carriage unpaid | FCA, FAS, FOB |  |
| C | main carriage paid | CFR, CIF, CPT, CIP |  |
| D | arrival | DAT, DAP, DDP |  |

The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

| A | The Supplier’s obligations | B | The Purchaser’s obligations |
| --- | --- | --- | --- |
| A1 | Provision of goods in conformity with contract | B1 | Payment of the price |
| A2 | Licences, authorisations and formalities | B2 | Licences, authorisations and formalities |
| A3 | Contracts of carriage and insurance | B3 | Contracts of carriage and insurance |
| A4 | Delivery | B4 | Taking delivery |
| A5 | Transfer of risks | B5 | Transfer of risks |
| A6 | Division of costs | B6 | Division of costs |
| A7 | Notice to the buyer | B7 | Notice to the seller |
| A8 | Proof of delivery, transport document or equivalent electronic message | B8 | Proof of delivery, transport document or equivalent electronic message |
| A9 | Checking - packing - marking | B9 | Inspection of goods |
| A10 | Other obligations | B10 | Other obligations |

[Should there be a need to amplify any of the published obligations listed above for the chosen INCOTERM, add them here.]

All other information NOT pertinent to the above is given in the balance of the Goods Information

## The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].  [Revise and complete as required]

| 1. The requirements for the supply are | [State the constraints on how the Supplier manufactures, prototypes, tests and stores the goods including order and timing] |  |
| --- | --- | --- |
| 2. The requirements for transport are | [State the extent to which the Supplier transports the goods and the mode of transport] |  |
| 3. The delivery place is | [State the location where the goods are to be placed by the Supplier, such as whether it is a dispatch department at the Supplier’s premises, the Purchaser is to collect or other location the Purchaser may require. If the delivery place for the services is different to the goods state it here] |  |
| 4. Actions of the Parties during supply | Action | Party which does it |
|  | Giving notice of Delivery |  |
|  | Checking packing and marking before dispatch |  |
|  | Contracting for transport |  |
|  | Pay costs of transport |  |
|  | Arrange access to delivery place |  |
|  | Loading the goods |  |
|  | Unloading the goods |  |
| For international procurement | Undertake export requirements |  |
|  | Undertake import requirements |  |
| 5. Information to be provided by the Supplier | Title of document |  |
|  | Packing lists for cases and their contents |  |
|  | Copy of invoice for the goods |  |
|  | Delivery Note |  |
|  | Test results and maintenance manuals |  |
| For international procurement | Licences, authorisations and other formalities associated with export of the goods |  |
|  | Air Waybill or Bill of Lading with associated landing, delivery and forwarding order |  |
|  | The Bill of Entry endorsed by the importation authority |  |
|  | Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay |  |
|  | Invoice from the importation clearing agent showing airline fees, landing charges, wharfage and dock dues as applicable |  |
|  | Specify other import documents required by authorised officials. |  |

All other information NOT pertinent to the above is given in the balance of the Goods Information

C1.2 Contract Data

# Part two - Data provided by the Supplier

[Instructions to the contract compiler:  (delete this note before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left hand column it denotes this data is optional and would be required in relation to the option selected.  In the event that the option is not required select and delete the whole row.]

Notes to a tendering supplier:

- Please read both the NEC3 Supply Contract (SC3) and the relevant parts of its Guidance Notes (SC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.

- The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

- Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 10.1 | The Supplier is (Name): |  |  |  |  |
|  | Address |  |  |  |  |
|  | Tel No. |  |  |  |  |
|  | Fax No. |  |  |  |  |
| 11.2(8) | The Goods Information for the Supplier’s design is in: |  |  |  |  |
| 11.2(11) | The tendered total of the Prices is | R , (in words) |  |  |  |
| 11.2(12) | The price schedule is in: |  |  |  |  |
| 11.2(14) | The following matters will be included in the Risk Register |  |  |  |  |
| 25.2 | The restrictions to access for the Supply Manager and Others to work being done for this contract are |  |  |  |  |
| 30.1 | The delivery date of the goods and services is: | goods and services |  | delivery date |
|  |  | 1 | [●] | [●] |
|  |  | 2 | [●] | [●] |
|  |  | 3 | [●] | [●] |
| 31.1 | The programme identified in the Contract Data is contained in: |  |  |  |  |
| 63.2 | The percentage for overheads and profit added to the Defined Cost is | % |  |  |  |

# Part 2: Pricing Data

NEC3 Supply Contract

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions | 2 |
| C2.2 | The price schedule | [●] |

C2.1 Pricing assumptions

# How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

| Identified and defined terms | 11 11.2 | (11) The Prices are the amounts stated in the price column of the Price Schedule. Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate. |
| --- | --- | --- |
|  |  | (12) The Price Schedule is the price schedule unless later changed in accordance with this contract. |
| Assessing the amount due | 50.2 | The amount due is the Price for each lump sum item in the Price Schedule which the Supplier has completed, where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate, plus other amounts to be paid to the Supplier, less amounts to be paid by or retained from the Supplier. Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due. |

This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

# Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.

# Preparing the price schedule

Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has

- Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;

- Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

- Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices;

- Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;

- Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.

## Format of the price schedule

Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier.

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule

Supply and Delivery of low voltage Motors.. Item nr; Material number; Material Description and Texts (Low votage motors); UOM; QTY; Unit Price; Total Price. 1; 178891; MOTOR, ELECTRIC: POWER: 6 KW; SPEED: 2634 RPM; FRAME: KFC160; CURRENT: 0.227-0.166 A; POTENTIAL: 220 VDC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 110 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 1; SERVICE FACTOR: S1; REFERENCE NO: 63861-002; CONNECTION 1; EA; 50. 2; 597874; MOTOR, ELECTRIC: POWER: 0.18 KW; SPEED: 1370 RPM; FRAME: 63; CURRENT: 0.563 A; POTENTIAL: 380 VAC; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 11 X LG 22 MM; CONNECTION LOCATION: TOP; POLES: 4; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CAST IRON; TYPE: STAR/DELTA CONNECTION; 50 HZ; EA; 50. 3; 43498; MOTOR, ELECTRIC: POWER: 0.55 KW; SPEED: 1425 RPM; FRAME: KDY80; CURRENT: 1.5 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: B7734-100E; KDY80; COMPLETE WITH PUMP, FOR OIL PURIFIER COALESCER 4.4, 50HZ; EA; 50. 4; 139561; MOTOR, ELECTRIC: POWER: 7.5 KW; SPEED: 2910 RPM; FRAME: 132S; CURRENT: 14.1 A; POTENTIAL: 380 VAC; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP66; SHAFT SIZE: DIA 38 X LG 80 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CAST IRON; SERVICE FACTOR: S1; SHAFT: K6 TO HAVE A HOLE IN THE CENTRE OF THE SHAFT TAPPED M6; 2910 RPM; 14.1 A; CONNECTION DELTA, 50 HZ, IC0141; FLANGE TYPE: FF-265; MATERIAL: CAST IRON; EA; 10. 5; 139563; MOTOR, ELECTRIC: POWER: 1.5 KW; SPEED: 2820 RPM; FRAME: D905D; CURRENT: 3.3 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 24.5 X LG 55 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: B5233/5IH; DE/NDE 6205, CONNECTION STAR, 50 HZ; IC0141; EA; 10. 6; 139564; MOTOR, ELECTRIC: POWER: 1.1 KW; SPEED: 2860 RPM; FRAME: KDY80; CURRENT: 2.6 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 18 X LG 45 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: B7382.11 ID; CONNECTION STAR; 50 HZ; IC0141; EA; 10. 7; 139571; MOTOR, ELECTRIC: POWER: 1.5 KW; SPEED: 1410 RPM; FRAME: D90L; CURRENT: 4 A; POTENTIAL: 220/380 VAC; MOUNTING: B3 FOOT FLANGE; ENCLOSURE RATING: S1; SHAFT SIZE: DIA 24 X HT 100 MM; CONNECTION LOCATION: STAR; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SUPPL P/N: 1LC5096-4AD21-Z; REFERENCE NO: D90L; 3.7/6.4 A, BEARINGS DE AND NDE 6205Z C3, PLANT MILL LOWER AND UPPER COLD AIR DAM PERS/EFP STANDBY OIL PUMP/REFRIGERATOR, CONNECTION STAR, 50 HZ; EA; 10. 8; 139970; MOTOR, ELECTRIC: POWER: 45 KW; SPEED: 1475 RPM; FRAME: D225DM; CURRENT: 87 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 60 X LG 145 MM; CONNECTION LOCATION: LH SIDE NDE; POLES: 4; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; HIGH EFFICIENCY; BEARINGS DE NU313 AND NDE 6312; USED ON CONDENSATE TRANSFER PUMP C; CONNECTION DELTA; 50 HZ; IC0141; COMPLETE SCHEDULE B FORM AND PROVIDE A DATA SHEET; EA; 10. 9; 140131; MOTOR, ELECTRIC: POWER: 25 KW; SPEED: 1500 RPM; FRAME: NBG031/85; CURRENT: 126 A; POTENTIAL: 220 VDC; MOUNTING: FLANGE; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 57 X LG 145 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 1; SERVICE FACTOR: S1; SPECIFICATION: BS 4999; REFERENCE NO: 1HA3253-6ZZ24Z; EMERGENCY, PLANT TURBINE LUBE OIL SYSTEM, SHUNT WOUND, CONNECTION 1; EA; 10. 10; 140172; MOTOR, ELECTRIC: POWER: 0.18 KW; SPEED: 2800 RPM; CURRENT: 1.6-0.9 A; POTENTIAL: 380 VAC; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0530/72; SUPPL P/N: MD56-2-45; STAR/DELTA, COS 0.6, 10MIN, PLANT HLD EJECTOR B / EJ COND TO ACCCT, 50HZ; EA; 5. 11; 140173; MOTOR, ELECTRIC: POWER: 0.37 KW; SPEED: 2800 RPM; CURRENT: 2.4-1.3 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0530/72; SUPPL P/N: MD56-2/60; ACTUATOR, PF 0.72, 10MIN, CONNECTION DELTA/STAR, 50HZ, SHAFT ENCLOSED; EA; 5. 12; 140174; MOTOR, ELECTRIC: POWER: 0.25 KW; SPEED: 1400 RPM; CURRENT: 2.8-1.6 A; POTENTIAL: 220/380 VAC; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0530/72; SUPPL P/N: MD71-4-50; STAR/DELTA, COS 0.6, 10 MIN, PLANT EFP DISCHARGE PYPASS, IP TURBINE HEATING CONTROL AND LP CONDESATE INJ VALVE; EA; 5. 13; 140175; MOTOR, ELECTRIC: POWER: 1.1 KW; SPEED: 2800 RPM; CURRENT: 5.5-3.2 A; POTENTIAL: 220/380 VAC; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0530/72; SUPPL P/N: MD71-2/80; REFERENCE NO: 2-4686/1515; ACTUATOR, STAR/DELTA, COS 0.66, 10MIN, 50HZ; EA; 5. 14; 140178; MOTOR ELEC:2.2 KW;2800 RPM;6.6 A;IP67;FMOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 2800 RPM; CURRENT: 6.6 A; POTENTIAL: 220/380 VAC; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0530/72; SUPPL P/N: MD96/2/75; REFERENCE NO: 6105 07 000 9667; STAR/DELTA, COS 0.64, 10MIN, ACTUATOR COMPLETE, PLANT HP HEATER BYPASS VALVE, 50HZ; EA; 5. 15; 140179; MOTOR, ELECTRIC: POWER: 1.1 KW; SPEED: 1400 RPM; POTENTIAL: 220/380 VAC; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0630/72; SUPPL P/N: MD90-4-75; STAR/DELTA, COS 0.62, 10MIN, PLANT TURBINE CASE HEATING SYSTEM CONTROL VALVE, 50HZ; EA; 5. 16; 140180; MOTOR, ELECTRIC: POWER: 7.5 KW; SPEED: 2800 RPM; CURRENT: 18-31 A; POTENTIAL: 220/380 VAC; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0530/72; REFERENCE NO: 3-0985/3784; MD112-2-140; ACTUATOR, STAR/DELTA, COS 0.75, 10MIN, 50HZ; EA; 5. 17; 140182; MOTOR, ELECTRIC: POWER: 4 KW; SPEED: 2800 RPM; CURRENT: 19-11 A; POTENTIAL: 220/380 VAC; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0530/72; SUPPL P/N: MD90-2/130; DELTA/STAR, COS 0.66, 10MIN, PLANT FEEDWATER REG VALVE/ISOLATING VALVE A AND B, REG STATION, EFP DISCHARGE VALVE, 50HZ; EA; 5. 18; 140236; MOTOR, ELECTRIC: POWER: 0.75 KW; SPEED: 1400 RPM; FRAME: DX132M; CURRENT: 3.6-2.1 A; POTENTIAL: 220/380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 19 X LG 40 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: FT080L24; UNILEC, CONNECTION DELTA/STAR, 50 HZ; EA; 10. 19; 140238; MOTOR, ELECTRIC: POWER: 11.5 KW; SPEED: 1500 RPM; CURRENT: 60 A; POTENTIAL: 220 VDC; MOUNTING: FLANGE; FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 55 X LG 110 MM; INSULATION CLASS: F; PHASE: 1; SERVICE FACTOR: S1; REFERENCE NO: MCCC2FA200L; IEC, SERV DUTY 100 PCT, WEIGHT 270 KG, EXCIT SHUNT 220 V 7.6 A, R, ADD 14 HOMS, WITH OPEN PARALLEL KEYWAY DIMENSIONS WORK LENGTH 98 X 16 MM WIDE; EA; 10. 20; 140239; MOTOR, ELECTRIC: POWER: 4 KW; SPEED: 1440 RPM; CURRENT: DELTA 16.5; STAR 9.5 A; POTENTIAL: 380 V; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 40 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: FT112M14; WITH PUMP; 50 HZ; PF 0.78; EA; 10. 21; 140240; MOTOR, ELECTRIC: POWER: 0.75 KW; SPEED: 2820 RPM; FRAME: T80L12; CURRENT: 3.3-1.9 A; POTENTIAL: 220/380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 19 X LG 40 MM; CONNECTION LOCATION: LEFT HAND SIDE; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: T80L12; PF 0.84, CONNECTION DELTA/STAR, 50 HZ; EA; 10. 22; 140245; MOTOR, ELECTRIC: POWER: 1.1 KW; SPEED: 1410 RPM; FRAME: DZ90S; CURRENT: 2.86 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 24 X LG 63 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: DZ90S; BEARINGS DE 6205ZZ AND NDE 6204ZZ, CONNECTION STAR, 50 HZ; IC0141; EA; 10. 23; 140252; MOTOR, ELECTRIC: POWER: 6.5 KW; SPEED: 705 RPM; FRAME: 160L; CURRENT: 20-24 A; POTENTIAL: 220/380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 115 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S4/25; REFERENCE NO: 3LT3166-8AA10Z; BEARINGS DE AND NDE 6309 C3, CONNECTION STAR/STAR, 0.60 SERVICE FACTOR, 50 HZ, IC0141; EA; 10. 24; 140255; MOTOR, ELECTRIC: POWER: 1.1/1.02 KW; SPEED: 260- 2650 RPM; CURRENT: 3.2-1.35 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP67; SHAFT SIZE: DIA 24 X LG 54 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; CONNECTION STAR/STAR, 50 HZ; EA; 10. 25; 140256; MOTOR, ELECTRIC: POWER: 0.6/0.1 KW; SPEED: 390- 2600 RPM; CURRENT: 1.9-0.79 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 18 X LG 43 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SUPPL P/N: D-B5-80; CONNECTION STAR/STAR, 50 HZ; EA; 10. 26; 140257; MOTOR, ELECTRIC: POWER: 0.37 KW; SPEED: 1375 RPM; FRAME: 1LA3073-4AB22-Z; CURRENT: 1.94-1.12 A; POTENTIAL: 220/380 VAC; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 15 X LG 27 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: KDY71; FRAME KDY70, BEARINGS DE 6204Z AND NDE 6202Z, CONNECTION STAR/DELTA, 50 HZ; 0.76 SERVICE FACTOR; IC0141; EA; 15. 27; 140270; MOTOR, ELECTRIC: POWER: 18.5 KW; SPEED: 1460 RPM; FRAME: D180M; CURRENT: 38.5 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 50 X LG 110 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: 1LA41834YA71; BEARINGS DE 6310Z AND NDE 6210 C3, CONNECTION DELTA, 50 HZ; IC0141; EA; 10. 28; 140271; MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 950 RPM; FRAME: DX132S; CURRENT: 7.5 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 38 X LG 87 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: 0.141; REFERENCE NO: 1LA0-130-6AX40; BEARINGS DE AND NDE 6208Z, PLANT SEC, AIR HEATER AUX, CONNECTION DELTA, 50 HZ; IC0141; EA; 10. 29; 140272; MOTOR, ELECTRIC: POWER: 4 KW; SPEED: 1430 RPM; FRAME: DX112MD; CURRENT: 9 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 X LG 63 MM; CONNECTION LOCATION: TOP; PHASE: 3; SERVICE FACTOR: S1; BEARINGS DE AND NDE 6206Z, CONNECTION DELTA, 50 HZ; EA; 10. 30; 140281; MOTOR, ELECTRIC: POWER: 0.55 KW; SPEED: 2835 RPM; CURRENT: 1.3 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 15 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: M71-2; ANTON PILLER, CONNECTION STAR, 50 HZ; EA; 10. 31; 140284; MOTOR, ELECTRIC: POWER: 300 W; SPEED: 2300 RPM; FRAME: WK1331802; CURRENT: 2.1 A; POTENTIAL: 220 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP20; INSULATION CLASS: F; PHASE: 1; SERVICE FACTOR: S1; SUPPL P/N: RHM50-50; 50HZ; EA; 10. 32; 140295; MOTOR, GEARED: POWER: 1.1 KW; CURRENT: 2.8 A; OUTPUT SPEED: 14 RPM; POTENTIAL: 380 VAC; MOTOR SPEED: 1420 RPM; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP65; INSULATION CLASS: B; SERVICE FACTOR: S1; REFERENCE NO: G43-20; DK94G11CFG3-111/216ZWD; COMPLETE, CONNECTION STAR, 0.87 SERVICE FACTOR, 50HZ, DK94-216 FRAME; EA; 10. 33; 140321; MOTOR ELEC:0.18 KW;1370 RPM;63;0.563 AMOTOR, ELECTRIC: POWER: 0.18 KW; SPEED: 1370 RPM; FRAME: 63; CURRENT: 0.563 A; POTENTIAL: 380 VAC; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 11 X LG 22 MM; CONNECTION LOCATION: TOP; CLASSIFICATION: ASH AND DUST; POLES: 4; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: STEEL; SERVICE FACTOR: S1; TEMPERATURE CLASS: 155 DEG F; DIRECTION: BI-DIRECTIONAL; TYPE: AC; SUPPL P/N: 53442; MILL CLEANOUT CONVEYOR; CONNECTION STAR/DELTA; 50 HZ; EA; 50. 34; 140329; MOTOR ELEC:11 KW;1460 RPM;160M;23 AMOTOR, ELECTRIC: POWER: 11 KW; SPEED: 1460 RPM; FRAME: 160M; CURRENT: 23 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 110 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SUPPL P/N: 1LA31634-YA40Z; CONNECTION DELTA, 50 HZ; EA; 10. 35; 140340; MOTOR, ELECTRIC: POWER: 1.5 KW; SPEED: 1410 RPM; FRAME: D90LD; CURRENT: 3.9 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 24 X LG 50 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SUPPL P/N: 8009/1; CONNECTION STAR, 50 HZ; EA; 10. 36; 140402; MOTOR, ELECTRIC: POWER: 0.18 KW; SPEED: 1360 RPM; FRAME: D63-4; CURRENT: 1.1-0.63 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 13 X LG 27 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: KMERB6304; CONNECTION STAR, 50 HZ; EA; 10. 37; 140403; MOTOR, ELECTRIC: POWER: 0.37 KW; SPEED: 1400 RPM; FRAME: MT71B14-4; CURRENT: 2.3-1.3 A; POTENTIAL: 220/380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 18 X LG 35 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SPECIFICATION: IEC 34; REFERENCE NO: MK110017S; CONNECTION STAR/DELTA, 50 HZ; EA; 10. 38; 140404; MOTOR, ELECTRIC: POWER: 1.1 KW; SPEED: 1410 RPM; FRAME: DZ90S; CURRENT: 2.07 A; POTENTIAL: 525 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP44; SHAFT SIZE: DIA 67 X LG 24 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SUPPL P/N: 1LA0-090-4AW90; BEARINGS DE 6205ZZ, NDE 6204ZZ, CONNECTION STAR, 50 HZ; IC0141; EA; 10. 39; 140451; MOTOR, GEARED: POWER: 0.18 KW; CURRENT: 0.87 A; OUTPUT SPEED: 12 RPM; POTENTIAL: 380 VAC; MOTOR SPEED: 1350 RPM; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; PHASE: 3; INSULATION CLASS: F; SHAFT: DIA 18 X LG 55 MM; SUPPL P/N: 15015-87; R63; 712B FRAME, WITH GEARBOX, BEARINGS DE - 6303ZZ, NDE - 6200ZZ, CONNECTION STAR, 50 HZ, IC0141; EA; 10. 40; 140458; MOTOR, ELECTRIC: POWER: 0.25 KW; SPEED: 1445 RPM; FRAME: KDY71D; CURRENT: 0.85 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP44; SHAFT SIZE: DIA 38 X LG 14 MM; INSULATION CLASS: F; PHASE: 3; TYPE: INDUCTION; TEMP RISE 80 K, BEARINGS DE 6202ZZ AND NDE 6202ZZ, CONNECTION STAR, 50 HZ, IC0141; EA; 10. 41; 140459; MOTOR ELEC:0.34 HP;1410-1445 RPM;71MOTOR, ELECTRIC: POWER: 0.34 HP; SPEED: 1410-1445 RPM; FRAME: 71; CURRENT: 0.85 A; POTENTIAL: 380 VAC; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 14 X LG 30 MM; CONNECTION LOCATION: STAR; POLES: 4; INSULATION CLASS: B; PHASE: 3; CASING MATERIAL: CAST IRON; SERVICE FACTOR: S1; REFERENCE NO: TPW0203050; 0.2 KW, CONNECTION Y, 0.8 AMP, FIN 1,1 RPM, BAUF B 3, CONNECTION STAR, 50 HZ; EA; 10. 42; 140461; MOTOR, ELECTRIC: POWER: 7.5 KW; SPEED: 1440 RPM; CURRENT: 15.6 A; POTENTIAL: 380 VAC; MOUNTING: V1 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 38 X LG 90 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; CONNECTION DELTA, 50 HZ; EA; 10. 43; 140462; MOTOR, ELECTRIC: POWER: 18 KW; SPEED: 1455 RPM; POTENTIAL: 380 VAC; SUPPL P/N: FF31/35; REFERENCE NO: 547700-1988; FOR USE ON ASH HANDLING PLANT INCLUDING LIFTING DEVICE AND IMMERSION DAMPERS, 50HZ; EA; 10. 44; 140463; MOTOR, ELECTRIC: POWER: 7.5 KW; SPEED: 960 RPM; FRAME: D160M; CURRENT: 17.8 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 123 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: 1LLA3163-6YA40; BEARINGS DE 6309ZC3 AND NDE 6309C3, USE FOR APROM DRIVE FEEDER, CONNECTION DELTA, 0.75 SERVICE FACTOR, 50 HZ, IC0141; EA; 10. 45; 140478; MOTOR, ELECTRIC: POWER: 18.5 KW; SPEED: 2900 RPM; FRAME: DX160L; CURRENT: 35.7 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 110 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: DX160L; 48940/001LI; CA10A291-600EM/SOV750; FOR HP COMPRESSOR, CONNECTION DELTA, 50Hz; EA; 10. 46; 140505; MOTOR, ELECTRIC: POWER: 30 KW; SPEED: 1460 RPM; FRAME: D200L; CURRENT: 60 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 55 X LG 116 MM; CONNECTION LOCATION: DELTA; INSULATION CLASS: F; PHASE: 3; FROM FAN SIDE BOX MUST BE ON THE LEFT-HAND SIDE; BEARINGS DE 6312 AND NDE 6312, PLANT DEMIN WATER SUPPLY AND PORTABLE WATER, CONNECTION DELTA, 083 SERVICE FACTOR, 50 HZ, IC0141; EA; 10. 47; 140506; MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 1430 RPM; FRAME: DX100LD; CURRENT: 6.9 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 X LG 64 MM; INSULATION CLASS: F; PHASE: 3; BEARINGS DE AND NDE 6206Z; CONNECTION DELTA; 50 HZ; EA; 10. 48; 140517; MOTOR, ELECTRIC: POWER: 10/15 KW; SPEED: 976-1465 RPM; FRAME: DX180L; CURRENT: 30.4-22.3 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 47 X LG 112 MM; CONNECTION LOCATION: STAR/DELTA; INSULATION CLASS: F; PHASE: 3; BEARINGS - DE AND NDE 6310Z, CONNECTION: STAR/STAR/DELTA, 50 HZ, 0.141 SERVICE FACTOR, IC0141; EA; 10. 49; 140518; MOTOR, ELECTRIC: POWER: 22/14.7 KW; SPEED: 1479/992 RPM; FRAME: D225S; CURRENT: 40-38 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 60 X LG 140 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; CONNECTION STAR/STAR/DELTA, 50 HZ; EA; 10. 50; 140525; MOTOR, ELECTRIC: POWER: 11 KW; SPEED: 2899 RPM; FRAME: DX160M; CURRENT: 22.9 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 110 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: D5520/11JI; BEARINGS DE 6309Z NDE 6309Z, PLANT FLAME SCANNER AND BURNER COOLING FANS A AND B, CONNECTION DELTA, 50 HZ, IC0141; EA; 10. 51; 140542; MOTOR, ELECTRIC: POWER: 0.55 KW; SPEED: 1500 RPM; CURRENT: 6.6-3.8 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SUPPL P/N: 80L1; 2.8/1.6AMP, IC 0141, CONNECTION STAR, COS 0.75, 50HZ; EA; 5. 52; 140543; MOTOR, ELECTRIC: POWER: 0.75 KW; SPEED: 1500 RPM; CURRENT: 3.6-2.1 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP67; CONNECTION LOCATION: STAR; INSULATION CLASS: F; PHASE: 3; SUPPL P/N: 80L2; CONNECTION STAR, 50HZ, IC0141; EA; 5. 53; 140560; MOTOR, ELECTRIC: POWER: 0.18 KW; SPEED: 1370 RPM; FRAME: FR0.18/4.7; CURRENT: 1.2-0.7 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 11 MM; INSULATION CLASS: B; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: 54411/C01; STARTING DOL, CONNECTION STAR, 50 HZ; EA; 10. 54; 140609; MOTOR, ELECTRIC: POWER: 0.12 KW; SPEED: 2800 RPM; FRAME: LS56/T; CURRENT: 0.5 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: 1; ELECTRICAL RATING 50HZ, STAR CONNECTION, FOR AMMONIA DOSING PUMP; EA; 10. 55; 140610; MOTOR, ELECTRIC: POWER: 0.06 KW; SPEED: 1400 RPM; CURRENT: 0.3 A; POTENTIAL: 380 VAC; INSULATION CLASS: F; ANION CONDENSATE OUTLET VALVE, AUMA, CONNECTION STAR, 50HZ; EA; 5. 56; 140646; MOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 1400 RPM; FRAME: 100L-4; CURRENT: 5.3 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 30 X LG 65 MM; CONNECTION LOCATION: STAR; INSULATION CLASS: B80; PHASE: 3; REFERENCE NO: G059; MTG B141, INSOLATION CLASS B800, BEARINGS DE - 6205ZZ, NDE - 6205ZZ, CONNECTION STAR, FEMET, 50 HZ, IC0141; EA; 10. 57; 140647; MOTOR, ELECTRIC: POWER: 30 KW; SPEED: 2960 RPM; FRAME: D200C; CURRENT: 61 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 55 X LG 115 MM; CONNECTION LOCATION: DELTA; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; BEARINGS DE - 6312 AND NDE - 6312, CONNECTION DELTA, 50 HZ; 0.89 SERVICE FACTOR; EA; 10. 58; 140665; MOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 1415 RPM; FRAME: IEC 100C; CURRENT: 9-3.2 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 X LG 59 MM; INSULATION CLASS: F; PHASE: 3; TEMPERATURE CLASS: 40 DEG C; SPECIFICATION: VDE0530; SUPPL P/N: E.6F654162 01 001; REFERENCE NO: 1LCS106-4AD21Z; ROT KL16, KT, WITH PARALLEL KEYWAY, 7.8 MM WD, CONNECTION DELTA/STAR, 50 HZ; 0.75 SERVICE FACTOR; EA; 10. 59; 140676; MOTOR, ELECTRIC: POWER: 13 KW; SPEED: 227-1365 RPM; FRAME: 200-250; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: LNMA; POLES: 4-24; INSULATION CLASS: F; PHASE: 3; TYPE: SQUIRREL CAGE; MODEL NO: LNMA 200 MD 21; INTERNALLY COOLED, 50 HZ, TORQUE 99NM, STARTS PER HOUR 180 S/H 40 PCT, CDF 240 - 320, THERMISTOR SENSOR CONTROL, SPEED NO LOAD 1500/250 RPM, 91 PCT OF NO LOAD; EA; 5. 60; 140695; MOTOR, ELECTRIC: POWER: 15 KW; SPEED: 1445 RPM; FRAME: DX160L; CURRENT: 29.8 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 110 MM; CONNECTION LOCATION: LH; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SUPPL P/N: 197930/2; CONNECTION DELTA, 50 HZ; EA; 20. 61; 140696; MOTOR, ELECTRIC: POWER: 7.5 KW; SPEED: 960 RPM; FRAME: 160M; CURRENT: 17.8 A; POTENTIAL: 380 VAC; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 123 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; TYPE: INDUCTION; REFERENCE NO: 1LA3163-64A41-160M; BEARINGS DE 6309ZZ AND NDE 6309ZZ, PLANT MILL HP NDE/DE AND LP OIL PUMP, CONNECTION DELTA, 0.75 SERVICE FACTOR, 50 HZ; EA; 10. 62; 140697; MOTOR, ELECTRIC: POWER: 1.5 KW; SPEED: 935 RPM; FRAME: DZ100LD; CURRENT: 3.7 A; POTENTIAL: 380 VAC; MOUNTING: B5 FLANGE/FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 27 X LG 62 X HT 100 MM; INSULATION CLASS: F; PHASE: 3; TYPE: INDUCTION; BEARINGS DE AND NDE - 6206Z, CONNECTION STAR, 50 HZ, IC0141; EA; 10. 63; 140698; MOTOR, ELECTRIC: POWER: 5.5 KW; SPEED: 940 RPM; FRAME: DX132M; CURRENT: 13.4 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP67; SHAFT SIZE: DIA 38 X HT 132 MM; CONNECTION LOCATION: BASE MOUNTING; INSULATION CLASS: F; PHASE: 3; TYPE: INDUCTION; REFERENCE NO: DX132M; PLANT MILL, GEARBOX OIL PUMP, CONNECTION DELTA, 50 HZ; EA; 10. 64; 140699; MOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 1430 RPM; FRAME: DX100LD; CURRENT: 9.2-5.3 A; POTENTIAL: 220/380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 X LG 64 MM; INSULATION CLASS: F; PHASE: 3; TYPE: INDUCTION; BEARINGS DE AND NDE 6206Z; SHAFT HEIGHT 175 MM; CONNECTION STAR/DELTA; 0.8 SERVICE FACTOR; 50 HZ; EA; 10. 65; 140700; MOTOR, ELECTRIC: POWER: 0.75 KW; SPEED: 1420 RPM; FRAME: KDY80D; CURRENT: 2.1 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; B5 FLANGE; ENCLOSURE RATING: IP44; SHAFT SIZE: DIA 18 X LG 40 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: KDY80D; BEARINGS DE AND NDE 6204ZZ, FOR USE ON ID AND FD FAN JACKING OIL PUMP, CONNECTION STAR, 50 HZ; EA; 10. 66; 140701; MOTOR, ELECTRIC: POWER: 0.55 KW; SPEED: 1425 RPM; FRAME: KDY80; CURRENT: 1.5 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 21 X LG 43 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; TYPE: INDUCTION; REFERENCE NO: KDY80; IC 0141, TORQUE 3.7 NM, EFFICIENCY 74 PCT, POWER FACTOR 0.73, BEARINGS DE 6204ZZ NDE 6202Z, END SHIELDS CAST IRON, SHAFT DIMENSIONS LENGTH FROM END SHIELD = 40 MM, SHAFT DIAMETER = 19 (+0.009) (-0.004)MM, PARALLEL KEY WAY LENGTH = 25 MM, WIDTH = 6(+0)(-0.03)MM, DISTANCE (MEASURED FROM BOTTOM OF SHAFT TO OBTAIN KEY WAY DEPTH = 15.5(+0)(-0.2)MM, BASE TO SHAFT CENTRE = 80 MM, BASE HOLE CENTRES (LENGTH) = 100 MM, BASE HOLE CENTRES (WIDTH) = 125 MM, DISTANCE FROM FRONT BASE HOLES TO SHAFT END = 100 MM, CONNECTION STAR, 50 HZ; EA; 10. 67; 140715; MOTOR, ELECTRIC: POWER: 1.5 KW; SPEED: 1405 RPM; FRAME: D90LD; CURRENT: 6.4-3.7 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 24 X LG 53 MM; INSULATION CLASS: F; PHASE: 3; SPECIFICATION: IEC 90L; VDE 0530; REFERENCE NO: 1LC3098-4AD21-Z; WITH KEYWAY, CONNECTION DELTA/STAR, 0.82 SERVICE FACTOR, 50 HZ; SHAFT HEIGHT 100 MM; EA; 5. 68; 140752; MOTOR, ELECTRIC: POWER: 45 KW; SPEED: 2950 RPM; FRAME: D225M; CURRENT: 90 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 55 X LG 110 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SUPPL P/N: JMC2 - 02/01/97; BEARINGS DE NU313 AND NDE 6312, SHAFT DIA 55 MM AND SHAFT HEIGHT 225 MM, NOTE, MOUNTINGS HAS 1 HOLE AT NDE SIDE AND 2 HOLES AT DE SIDE, DISTANCE BETWEEN DE AND NDE HOLES +- 283 MM, PLANT USED ON AUX COOLING PUMPS, CONNECTION DELTA, 50 HZ; EA; 5. 69; 140784; MOTOR, ELECTRIC: POWER: 0.37 KW; SPEED: 915 RPM; FRAME: 80K6; CURRENT: 1.22-2.12 A; POTENTIAL: 200/400 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 19 X LG 40 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: KPER80K6; COOLING IC0141, WEIGHT 11 KG, CONNECTION DELTA/STAR, 50 HZ; EA; 10. 70; 140865; MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 1440 RPM; FRAME: DZ100L; CURRENT: 6.6 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP44; SHAFT SIZE: DIA 28 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: 56420/037LI; DZ100L; BASE MOUNTED 4 X 12 MM DIA, MOUNTING CENTRES 140 MM X 160 MM, BASE TO SHAFT CENTRE 100 MM, CONNECTION DELTA, 50 HZ; EA; 10. 71; 140893; MOTOR, CHART DRIVE: POTENTIAL: 220 VAC; REFERENCE NO: 1AK23102N; W79047A2049X; Z6512, 1AK2300-2NC35-AL, Z6511, RATIO 1-6000, MOTOR AND GEABOX, SHAFT 5MM DIA X 15MM LG, MTG FLANGE, MOUNTING HOLES 4MM X 2MM, PITCH 40MM X 4MM, 50HZ; EA; 10. 72; 140928; MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 720-1420 RPM; FRAME: D100LBD/D168613; CURRENT: 11.7-6.7-10.8-6.1 A; POTENTIAL: 220-460 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 X LG 60 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: 3A19883; 4RFWP; FOR BELT DRIVE VOL/ COAL FEED, CONNECTION STAR/DELTA, 50/60 HZ; EA; 10. 73; 141481; MOTOR, ELECTRIC: POWER: 5.5 KW; SPEED: 1430 RPM; FRAME: DZ132S; CURRENT: 12 A; POTENTIAL: 380 VAC; MOUNTING: B30; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 38 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F80; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: 9409/47; CONNECTION DELTA; EA; 10. 74; 141548; MOTOR, ELECTRIC: POWER: 37 KW; SPEED: 1475 RPM; FRAME: D225SD; CURRENT: 73 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 60 X LG 140 MM; CONNECTION LOCATION: TOP; CLASSIFICATION: PREMIUM HIGH EFFICIENCY; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CAST IRON; TYPE: SQUIRREL CAGE; REFERENCE NO: D225S; CONNECTION DELTA, 041 SERVICE FACTOR, 50 HZ; SEE INSPECTION TEXT BEFORE RELEASE OF RFQ; EA; 10. 75; 141620; MOTOR, ELECTRIC: POWER: 5.5 KW; SPEED: 1430 RPM; FRAME: DZ132S; CURRENT: 11.7 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 38 X LG 87 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: KDZ822-120; DZ132S; 1450 RPM; FOR USE ON WATER TREATMENT PLANT; CONNECTION DELTA; 50 HZ; EA; 10. 76; 141838; MOTOR, ELECTRIC: POWER: 0.18 KW; SPEED: 1370 RPM; FRAME: DA1328; CURRENT: 1.4-0.8 A; POTENTIAL: 220/380 VAC; MOUNTING: FOOT/B14 FLANGE; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 14 X LG 30 MM; CONNECTION LOCATION: TOP; CLASSIFICATION: ASH AND DUST; POLES: 4; INSULATION CLASS: B; PHASE: 3; CASING MATERIAL: STEEL; SERVICE FACTOR: S1; TEMPERATURE CLASS: 155 (F); DIRECTION: BI-DIRECTIONAL; TYPE: AC; REFERENCE NO: DA132-8; 4 X 8 MM DIA, MTG CENTRE 80 X 100 MM, BASE TO SHAFT CENTRE 65 MM, CONNECTION STAR/DELTA, 50 HZ; EA; 10. 77; 141889; MOTOR, ELECTRIC: POWER: 7.5 KW; SPEED: 1435 RPM; FRAME: DZ132M; CURRENT: 16.6 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP44; SHAFT SIZE: DIA 38 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: ADZ8049/25; DZ132M; STAR DELTA; IC 0141; BEARINGS DE AND NDE 6208Z; LUB BP LS3; 50 HZ; EA; 10. 78; 178964; MOTOR, ELECTRIC: POWER: 15 KW; SPEED: 1445 RPM; FRAME: FT160L; CURRENT: 48.5-28 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 110 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; CONNECTION DELTA/STAR, 0.90 SERVICE FACTOR, 50 HZ; EA; 10. 79; 178967; MOTOR, ELECTRIC: POWER: 47 KW; SPEED: 730 RPM; FRAME: 280M; CURRENT: 115-112 A; POTENTIAL: 225/380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 100 X LG 190 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: 1LT4283-8AA10Z; CONNECTION STAR, IC0141; EA; 10. 80; 178968; MOTOR, ELECTRIC: POWER: 30/3.2 KW; SPEED: 150-1430 RPM; FRAME: ED180S/H; CURRENT: 62-25 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 55 X LG 110 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: DB3-200LB3.2/30-32/4; CONNECTION STAR/STAR, 50 HZ; EA; 5. 81; 179017; MOTOR, SERVO: POTENTIAL: 220 V; POWER: 36 W; APPLICATION: INTERMEDIATE PRESSURE EMERGENCY STOP VALVE; DRAWING NO: B42.73600-0042 REV 0; REFERENCE NO: 7360; EA; 10. 82; 179018; MOTOR, SERVO: POTENTIAL: 220 V; SUPPL P/N: TWFZ2 91001; DRAWING NO: B42.71600-0074 REV 1; REFERENCE NO: 921527 7160; HIGH PRESSURE EMERGENCY STOP VALVE; EA; 10. 83; 179028; MOTOR, ELECTRIC: POWER: 45 KW; SPEED: 2950 RPM; FRAME: D225M; CURRENT: 90 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 55 X LG 110 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; 50 HZ; EA; 20. 84; 179041; MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 1420 RPM; CURRENT: 7.1 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP65; PHASE: 3; COMPLETE WITH GEARBOX, 0.79 SERVICE FACTOR; EA; 5. 85; 179042; MOTOR, ELECTRIC: POWER: 37 KW; SPEED: 1475 RPM; FRAME: D225SD; CURRENT: 75.5 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 60 X LG 140 MM; CONNECTION LOCATION: DELTA; INSULATION CLASS: F; PHASE: 3; CONNECTION DELTA, 50 HZ, IC0141; EA; 10. 86; 179044; MOTOR, ELECTRIC: POWER: 30 KW; SPEED: 1465 RPM; FRAME: 200L; CURRENT: 58 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 58 X LG 112 MM; INSULATION CLASS: F; PHASE: 3; GEC, CONNECTION DELTA; EA; 10. 87; 179048; MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 1415 RPM; CURRENT: 11.8-6.8 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 X LG 63 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: 1LC3107-4AD21-Z; CONNECTION STAR, 50 HZ; 0.82 SERVICE FACTOR; EA; 10. 88; 185372; MOTOR, ELECTRIC: POWER: 0.55 KW; SPEED: 1390 RPM; FRAME: 71ZB; CURRENT: 1.65 A; POTENTIAL: 380 VAC; MOUNTING: B30; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 104 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F80; PHASE: 3; SERVICE FACTOR: S1; IC41, SHAFT LENGTH WILL BE FROM DRIVE END SHIELD TO SHAFT END, THREAD M16 FOR 41MM ON END OF SHAFT, CONNECTION STAR, 50 HZ; EA; 10. 89; 186315; MOTOR, ELECTRIC: POWER: 5.9 KW; SPEED: 1000 RPM; FRAME: YD180L; CURRENT: 15.6 A; POTENTIAL: 400 V; MOUNTING: IM1001; ENCLOSURE RATING: IP55; INSULATION CLASS: F; SERVICE FACTOR: S1; CONNECTION SHUNT, 1001; EA; 10. 90; 186320; MOTOR, ELECTRIC: POWER: 15 KW; SPEED: 1445 RPM; FRAME: DX160L; CURRENT: 29.8 A; POTENTIAL: 380 V; MOUNTING: DX1601; ENCLOSURE RATING: IP55; INSULATION CLASS: F; SERVICE FACTOR: S1; BEARINGS DE 6309Z AND NDE 6309Z, CONNECTION DELTA; EA; 10. 91; 186359; MOTOR, ELECTRIC: POWER: 11 KW; SPEED: 1445 RPM; FRAME: 160; CURRENT: 22.3 A; POTENTIAL: 380 V; MOUNTING: FLANGE; ENCLOSURE RATING: IP66; SHAFT SIZE: DIA 42 X LG 100 MM; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CAST IRON; SERVICE FACTOR: S1; TEMPERATURE CLASS: 155 DEG C; TYPE: HIGH EFFICIENCY; GEC, CONNECTION DELTA; EA; 10. 92; 186365; MOTOR, ELECTRIC: POWER: 22/14.7 KW; SPEED: 1479/992 RPM; FRAME: D2255; CURRENT: 40-33 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; REFERENCE NO: B1699/11E; GEC, CONNECTION STAR/DELTA; EA; 10. 93; 194296; MOTOR, ELECTRIC: POWER: 5.5 KW; SPEED: 1430 RPM; FRAME: DZ132S; CURRENT: 12 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; CONNECTION STAR; EA; 10. 94; 213055; MOTOR, BRAKE: POWER: 7.5 KW; SPEED: 1470 RPM; FRAME: 132M; CURRENT: 14.2 A; POTENTIAL: 380 VAC; PHASE: 3; COMPLETE UNIT INCLUDING IGS BRAKE 70NM FDW17 380V DC IP65, PROXY SWITCH B12-EG-08-AP-X6, RECTIFIER SG3.575/A, TERMINAL BOXES, RAIN CANOPY; USED ON COAL STACKER RECLAIMER; 0.88 SERVICE FACTOR, CONNECTION STAR, 50HZ; ENCLOSURE RATING: IP55; INSULATION CLASS: F; MOUNTING: B5 FLANGE/ B3 FOOT; SHAFT SIZE: DIA 38 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).; EA; 10. 95; 213056; MOTOR, ELECTRIC: POWER: 7.5 KW; SPEED: 1470 RPM; FRAME: 132M; CURRENT: 14.2 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 38 MM; CONNECTION LOCATION: STAR; INSULATION CLASS: F; PHASE: 3; COMPLETE UNIT INCLUDING IGS BRAKE 70 NM FDW17 380 VDC IP65, PROXY SWITCH B12-EG-08-AP-X6, RECTIFIER SG3.575/A, FITTED WITH TACHO GENERATOR TDP 0.7, TERMINAL BOXES, RAIN CANOPY, USED FOR MOTOR NO 8 COAL STACKER RECLAIMER, CONNECTION STAR, 50 HZ, 0.88 SERVICE FACTOR; EA; 10. 96; 219740; MOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 1435 RPM; FRAME: DZ100L; CURRENT: 514 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP44; SHAFT SIZE: DIA 28 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SHAFT WITH SLOT KEY WAY, CONNECTION DELTA, 50 HZ; EA; 10. 97; 219741; MOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 1415 RPM; FRAME: 100LA; CURRENT: 8.32 A; POTENTIAL: 230 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; CONNECTION DELTA, 50 HZ; EA; 10. 98; 219801; MOTOR, ELECTRIC: POWER: 0.75 KW; SPEED: 935 RPM; FRAME: 90L; CURRENT: 3.8-2.2 A; POTENTIAL: 230/400 VAC; MOUNTING: B30; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 24 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; CONNECTION DELTA; EA; 10. 99; 243333; MOTOR, ELECTRIC: POWER: 4 KW; SPEED: 1345 RPM; FRAME: 112; CURRENT: 9.5 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; PHASE: 3; EA; 10. 100; 256330; MOTOR, ELECTRIC: POWER: 4 KW; SPEED: 1445 RPM; CURRENT: 8.3 A; POTENTIAL: 400 V; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; CONNECTION LOCATION: REAR SIDE; CLASSIFICATION: ZONE 2; POLES: 4; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CI; SERVICE FACTOR: 0.8; DIRECTION: CLOCKWISE; SPECIFICATION: SK112M/4; TYPE: HIGH EFFICIENCY; OFF LOADING PUMP; TO BE USED AT SO3 PLANT, GROUP: CLASS 1 DIV (2 T3); EA; 10. 101; 256331; MOTOR, ELECTRIC: POWER: 11 KW; SPEED: 2930 RPM; FRAME: 160M; CURRENT: 20.22 A; POTENTIAL: 400 V; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; CONNECTION LOCATION: REAR SIDE NDE; CLASSIFICATION: ZONE 2; POLES: 2; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CI; SERVICE FACTOR: 0.89; DIRECTION: CLOCKWISE; SPECIFICATION: LS 4163-2AA; TYPE: HIGH EFFICIENCY; TYPE TRANSFER PUMP; TO BE USED AT SO3 PLANT; EA; 10. 102; 256385; MOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 1420 RPM; FRAME: 100L; CURRENT: 8.8 A; POTENTIAL: 380 VAC; MOUNTING: B5; ENCLOSURE RATING: IP54; INSULATION CLASS: F; PHASE: 3; TYPE: OIL PUMP; USED AT ASH PLANT; EA; 10. 103; 256465; MOTOR, ELECTRIC: POWER: 1.5 KW; SPEED: 1420 RPM; CURRENT: 3.15 A; POTENTIAL: 380 VAC; MOUNTING: B5; ENCLOSURE RATING: IP55; PHASE: 3; TYPE: COOLING FAN; TO BE USED AT ASH PLANT, BEARING DE=6205ZZ, NDE=6205ZZ; EA; 10. 104; 566161; MOTOR, ELECTRIC: POWER: 4 KW; SPEED: 1445 RPM; FRAME: 112M; CURRENT: 8.6 A; POTENTIAL: 380 V; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 X LG 60 MM; CONNECTION LOCATION: TOP; POLES: 4; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: ALUMINIUM; SERVICE FACTOR: 0.97; TEMPERATURE CLASS: B; SPECIFICATION: EN50347; TYPE: HYDRAULIC PUMP; REFERENCE NO: QS112M4B; FOR REHEAT SAFETY & HP BYPASS VALVE; DUTY CYCLES & COOLING METHOD IC411; PAINT RAL/6011-RESEDA GREEN; SOUND PRESSURE LEVEL 58DBA; TO BE MANUFACTURED ACCORDING TO SPECIFICATION; EA; 10. 105; 579512; MOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 2830 RPM; FRAME: D90L; CURRENT: 4.3 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP66; SHAFT SIZE: DIA 24 X LG 50 MM; CONNECTION LOCATION: VERTICAL; POLES: 2; INSULATION CLASS: F; PHASE: 3; TYPE: FAN OIL PUMP; EA; 10. 106; 584496; MOTOR, ELECTRIC: POWER: 30 KW; SPEED: 1450 RPM; FRAME: D200L; MOUNTING: B3; ENCLOSURE RATING: IP67; SHAFT SIZE: 55 MM; CONNECTION LOCATION: RH SIDE; TYPE: INDUCTION; EA; 10. 107; 589676; MOTOR, ELECTRIC: POWER: 1.1 KW; SPEED: 1440 RPM; FRAME: D90L/S; CURRENT: 4.85 A; POTENTIAL: 380 V; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP66; SHAFT SIZE: DIA 24 MM; CONNECTION LOCATION: LEFT; CLASSIFICATION: IP66; POLES: 4; INSULATION CLASS: F/H; PHASE: 3; CASING MATERIAL: CAST IRON; SERVICE FACTOR: S1; TEMPERATURE CLASS: F; DIRECTION: CLOCKWISE; SPECIFICATION: 1804-1; TYPE: T8 OIL COUPLING DRIVE; SHAFT HEIGHT: 56 MM; EA; 10. 108; 594566; MOTOR, ELECTRIC: POWER: 11 KW; SPEED: 1450 RPM; FRAME: 160M; CURRENT: 22.6 A; POTENTIAL: 380 VAC; MOUNTING: B3; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 MM; CONNECTION LOCATION: TOP; POLES: 4; INSULATION CLASS: F; TEMPERATURE CLASS: F; TYPE: EFFICIENT SUMP PUMP; SHAFT KEYWAY: 12 MM; EA; 10. 109; 638085; MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 1410 RPM; FRAME: 100L; CURRENT: 7.17 A; POTENTIAL: 380 V; MOUNTING: B14; ENCLOSURE RATING: IP55; SHAFT SIZE: 24 MM; CONNECTION LOCATION: LH; CLASSIFICATION: DUST/OIL; POLES: 4; INSULATION CLASS: H; PHASE: 3; CASING MATERIAL: CAST IRON; SERVICE FACTOR: 1; TEMPERATURE CLASS: 105 K; DIRECTION: CLOCKWISE AND ANTI-CLOCKWISE; SPECIFICATION: INDUCTION MOTOR SQUIRREL CAGE ROTOR 3 PH; TYPE: MAIN TURBINE LUBE OIL PURIFIER; EA; 10. 110; 646657; MOTOR, ELECTRIC: POWER: 5.9 KW; SPEED: 1000 RPM; FRAME: YD180L; CURRENT: 15.6 A; POTENTIAL: 400 VDC; MOUNTING: 1M3001 (B5); ENCLOSURE RATING: IP65; SHAFT SIZE: 48 MM; CONNECTION LOCATION: LEFT HAND SIDE; CLASSIFICATION: COAL/DUST; INSULATION CLASS: F; TYPE: SLEW DRIVE; HIGH EFFICIENCY & EX PROOF FOR HAZLOC COMPLIANCE; EA; 10. 111; 662301; MOTOR, ELECTRIC: POWER: 15 KW; SPEED: 2910 RPM; FRAME: 160M; CURRENT: 29.5 A; POTENTIAL: 380 V; MOUNTING: B3; ENCLOSURE RATING: IP65; SHAFT SIZE: DIA 42 MM; CONNECTION LOCATION: LEFT HAND SIDE; POLES: 2; INSULATION CLASS: F; SERVICE FACTOR: S1; TEMPERATURE CLASS: 155 (F); DIRECTION: CLOCKWISE; EA; 10. 112; 667105; MOTOR, ELECTRIC: POWER: 5.5 KW; SPEED: 1465 RPM; FRAME: 132S; CURRENT: 11.4/6.56 A; POTENTIAL: 380 V; MOUNTING: B5; ENCLOSURE RATING: IP66; SHAFT SIZE: 38 MM; CONNECTION LOCATION: RIGHT; CLASSIFICATION: SAFE; POLES: 4; INSULATION CLASS: H; PHASE: 3; CASING MATERIAL: CAST IRON; SERVICE FACTOR: 1; TEMPERATURE CLASS: B RISE; TYPE: 3-PHASE INDUCTION; FOR USE ON HP BY-PASS; W22 CAST IRON FRAME-STANDARD EFFICIENCY IE2; EA; 10. 113; 696374; MOTOR, ELECTRIC: POWER: 0.55 KW; SPEED: 920 RPM; FRAME: KDY80D; CURRENT: 1.6 A; POTENTIAL: 380 V; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP 55; SHAFT SIZE: 19 MM; CONNECTION LOCATION: TOP; POLES: 6; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CAST IRON; TEMPERATURE CLASS: 80 K; SHAFT SIZE: 19J6; EA; 10. 114; 728785; MOTOR, ELECTRIC: POWER: 1.1 KW; SPEED: 1420 RPM; FRAME: BK50Z-54HL; CURRENT: 0.15 A; POTENTIAL: 380 VAC; MOUNTING: H1; ENCLOSURE RATING: IP 66; SHAFT SIZE: 30 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: 0.76; TYPE: STACKER TRIPPER TRAVEL DRIVES; REFERENCE NO: BK50Z-54HL/DO9SA4-S/FSX010A9/C3-SP; COMPLETE UNIT INCLUDING ESX010A9 BRAKE; BRAKE TORQUE: 10 NM; SUPPLY 180 VDC/380 VAC; EA; 10. 115; 635512; MOTOR, ELECTRIC: POWER: 0.25 KW; SPEED: 1370-1500 RPM; FRAME: 71; CURRENT: 0.82 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 14 X LG 30 MM; CONNECTION LOCATION: STAR; POLES: 4; INSULATION CLASS: B; PHASE: 3; CASING MATERIAL: CAST IRON; SERVICE FACTOR: S1; TEMPERATURE CLASS: HIGH; REFERENCE NO: TPW0203050; EA; 5. 116; 140574; PUMP, CENTRIFUGAL: NPSH: 4 M; CAPACITY: 1.1/2.2/2.9 M3/HR; TOTAL HEAD: 3-4 M; SIZE: 38.1 X 25 MM; SPEED: 1750-2190-2490 RPM; STAGE: SINGLE; DRIVER: ELECTRIC MOTOR 220 VAC 0.39/0.26/0.18 A 1 PH; TYPE: CIRCULATORY; SPECIFICATION: CRI-CCB04-25A; REFERENCE NO: CRI-CCBO4-25A; STATION DIESEL GENERATOR HOT WATER CIRCULATION; EA; 5. 117; 587307; MOTOR, ELECTRIC: POWER: 0.55 KW; SPEED: 2835 RPM; FRAME: M71-2; CURRENT: 1.3 A; POTENTIAL: 380 V; MOUNTING: B3 FOOT/B5 FLANGE; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 14 X 80 LG MM; CONNECTION LOCATION: TOP DE SIDE; POLES: 2; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CAST IRON; TYPE: MAIN OIL TANK VENT FAN; KEYWAY 5 MM WIDE X 3 MM DEEP; EA; 15. 118; 618387; MOTOR, ELECTRIC: POWER: 0.18 KW; SPEED: 1370 RPM; FRAME: 63; CURRENT: 0.563 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B14; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 11 X LG 22 MM; CONNECTION LOCATION: LEFT; POLES: 4; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CAST IRON; TYPE: MILL PLANT; EA; 5. 119; 750509; MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 2880 RPM; FRAME: DX100LD; CURRENT: 6.2 A; POTENTIAL: 380 V; MOUNTING: FLANGE (B5); ENCLOSURE RATING: IP66; SHAFT SIZE: 28 MM; CONNECTION LOCATION: TOP; POLES: 2; INSULATION CLASS: H; PHASE: 3; CASING MATERIAL: CASING IRON; SERVICE FACTOR: S1; CONNECTION DELTA; EA; 5. 120; 566160; MOTOR, ELECTRIC: POWER: 0.37 KW; SPEED: 1390 RPM; FRAME: 71M; CURRENT: 1.12 A; POTENTIAL: 380 V; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 14 X LG 30 MM; CONNECTION LOCATION: TOP; POLES: 4; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: ALUMINIUM; SERVICE FACTOR: 0.69; TEMPERATURE CLASS: B; SPECIFICATION: EN50347; TYPE: DUTY CYCLES; REFERENCE NO: QS71M4B; 000101007190; REHEAT SAFETY & HP BYPASS VALVES; OIL FILTER MOTOR; DUTY CYCLES & COOLING METHOD 1C411; PAINT RAL6011-RESEDA GREEN; SOUND PRESSURE LEVEL 45DBA; TO BE MANUFACTURED ACCORDING TO SPECIFICATION; EA; 5. 121; 140716; PUMP, ASSEMBLY: TYPE: MOTOR; REFERENCE NO: CA90 CALPEDA SPA; RATING 220/380 VOLT; 3/1.73 AMP; 0.75HP; 0.55KW; 2900RPM; 50HZ; 3 PHASE; DELEVERY 8/40 M 42/17; EA; 5. 122; 139576; MOTOR, ELECTRIC: POWER: 55 KW; SPEED: 2800 RPM; CURRENT: 3.3-1.9 A; POTENTIAL: 380 V; MOUNTING: FLANGE; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; TYPE: ACTUATOR; REFERENCE NO: MD71-2-60; VDE0532/72; MD 71-2-60; 50 HZ; STAR DELTA CONNECTION; S2-10 MIN; EA; 10. 123; 140045; MOTOR, ELECTRIC: POWER: 110 KW; SPEED: 1480 RPM; FRAME: D280M; CURRENT: 217 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 80 X LG 170 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: D280MD; BEARINGS DE NUN4317, NDE 6314, CONNECTION DELTA/STAR, 50 HZ, IC0141; EA; 10. 124; 140195; MOTOR, ELECTRIC: POWER: 90 KW; SPEED: 1480 RPM; FRAME: 1LA6283-4AA0Z; CURRENT: 168-97 A; POTENTIAL: 380/660 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 75 X LG 138 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: 1LA6-283-4AA0Z; CONNECTION DELTA/STAR, 0.85 SERVICE FACTOR, 50 HZ; EA; 10. 125; 140243; MOTOR, ELECTRIC: POWER: 55 KW; SPEED: 2955 RPM; FRAME: FA250MW2; CURRENT: 103-178 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 61 X LG 140 MM; POLES: 2; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: FA250MW2; CONNECTION STAR/DELTA, THE FRAME IS NOT STANDARD FOR A 55 KW, DISTANCE BETWEEN HOLES IN FOOT 349 MM, SHAFT DIAMETER 60 MM, REFER TO D250M FRAME DIMENSIONS, PUMP A AND B, 50 HZ; EA; 10. 126; 140279; MOTOR, ELECTRIC: POWER: 75 KW; SPEED: 1480 RPM; FRAME: D280SD; CURRENT: 144 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 80 X LG 170 MM; CONNECTION LOCATION: DELTA; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: D280SD; BEARINGS DE 317 AND NDE 6314, CONNECTION DELTA, 50 HZ; EA; 10. 127; 140289; MOTOR, ELECTRIC: POWER: 75 KW; SPEED: 1480 RPM; FRAME: D280SD; CURRENT: 147 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 80 X LG 170 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: D280SD; BEARINGS DE NU317 AND NDE 6317, PLANT TURBINE BEARING OIL PUMP, CONNECTION DELTA, 50 HZ, IC0141; EA; 10. 128; 140290; MOTOR, ELECTRIC: POWER: 90 KW; SPEED: 1480 RPM; FRAME: D280SQ; CURRENT: 177 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 80 X LG 145 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: D280SQ; BEARINGS DE NU317 AND NDE 6314, CONNECTION DELTA, 50 HZ, IC0141; EA; 10. 129; 140516; MOTOR, ELECTRIC: POWER: 55 KW; SPEED: 1480 RPM; FRAME: D250SD; CURRENT: 101 A; POTENTIAL: 380 V 50 HZ; MOUNTING: V1 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 70 X LG 140 X HT 275 MM; CONNECTION LOCATION: TOP; PHASE: 3; SUPPL P/N: D250SD; BEARINGS DE - NU313, NDE - 6312, CONNECTION DELTA; EA; 15. 130; 140524; MOTOR, ELECTRIC: POWER: 55 KW; SPEED: 1390 RPM; FRAME: 80; CURRENT: 1.65 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 18 X LG 40 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: 150267643; COOL IC41, BEARINGS DE - 6204 2Z, NDE - 6303 2Z, CONNECTION STAR, 50 HZ, IC0141; EA; 5. 131; 178965; MOTOR, ELECTRIC: POWER: 160 KW; SPEED: 1487 RPM; FRAME: D315M; CURRENT: 291 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP65; SHAFT SIZE: DIA 85 X LG 175 MM; CONNECTION LOCATION: RH; INSULATION CLASS: F; PHASE: 3; SUPPL P/N: LA6311-4AA-AAAA; REFERENCE NO: D315; SIEMENS, CONNECTION DELTA, 50 HZ; EA; 10. 132; 178973; MOTOR, ELECTRIC: POWER: 132 KW; SPEED: 1485 RPM; FRAME: D315S; CURRENT: 259 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP65; SHAFT SIZE: DIA 85 X LG 170 MM; CONNECTION LOCATION: LEFT FROM FAN COVER; INSULATION CLASS: F; PHASE: 3; TYPE: TRANSEVERSE CONVEYORS; CONNECTION DELTA, 50 HZ, IC41; EA; 10. 133; 178978; MOTOR, ELECTRIC: POWER: 132 KW; SPEED: 1485 RPM; FRAME: D315SD; CURRENT: 259 A; POTENTIAL: 380 VAC; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP65; SHAFT SIZE: DIA 85 X LG 170 MM; CONNECTION LOCATION: TOP; POLES: 4; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: D315SD; SUITABLE FOR OVERSILOS T3 & T5 (X4); LP HEATER DRAIN PUMPS U1-U6; CONNECTION BOX MUST BE ON TOP; 50 HZ, IC0141; EA; 10. 134; 178982; MOTOR, ELECTRIC: POWER: 55 KW; SPEED: 1480 RPM; FRAME: D250S; CURRENT: 101 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 70 X LG 142 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: D250S; USED ON DIRTY DRAIN RECOVERY PUMPS, BEARING SIZES DRIVE END NU315, NON DRIVE END 6312, CONNECTION DELTA, 50 HZ; EA; 10. 135; 178983; MOTOR, ELECTRIC: POWER: 75 KW; SPEED: 2965 RPM; FRAME: D250M; CURRENT: 134 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 60 X LG 142 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: DX1325; CONNECTION DELTA, 50 HZ; EA; 5. 136; 179001; MOTOR, ELECTRIC: POWER: 185 KW; SPEED: 1440 RPM; FRAME: D315; CURRENT: 311 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 85 X LG 170 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: D315MX; CONNECTION DELTA, 50 HZ, IC0141; EA; 5. 137; 179021; MOTOR, ELECTRIC: POWER: 90 KW; SPEED: 2965 RPM; FRAME: D280SD; CURRENT: 163 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 65 X LG 150 X HT 275 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; CONNECTION DELTA, 50 HZ; MUST HAVE TWO LIFTING POINTS; ONE ON EACH SIDE OF THE MOTOR; FOOT MOUNT NOT APPLICABLE; ONE ON EACH SIDE OF THE MOTOR, THE MOTOR IS MOUNTED VERTICALLY FLANGE DOWN; EA; 10. 138; 179049; MOTOR, ELECTRIC: POWER: 160 KW; SPEED: 1485 RPM; FRAME: 315M; CURRENT: 295 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 85 X LG 170 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: 1LA6316-4YA70; B3; K4119315; 315M; FOR BUCKET WHEEL COAL STACKER / RECLAIMER, CONNECTION DELTA, 1.0 SERVICE FACTOR, 50 HZ; EA; 5. 139; 186340; MOTOR, ELECTRIC: POWER: 75 KW; SPEED: 1480 RPM; CURRENT: 148 A; POTENTIAL: 380 V; INSULATION CLASS: F; CONNECTION DELTA; EA; 5. 140; 197976; MOTOR, ELECTRIC: POWER: 90 KW; SPEED: 985 RPM; FRAME: D315S; CURRENT: 174 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 85 MM; CONNECTION LOCATION: DELTA; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; BEARINGS DE NU318 NDE 6317, CONNECTION DELTA; EA; 5. 141; 217208; MOTOR, ELECTRIC: POWER: 132 KW; SPEED: 2965 RPM; FRAME: 315S/M; CURRENT: 232 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; INSULATION CLASS: F; PHASE: 3; FOR HP FUEL OIL PUMP, CONNECTION DELTA, 50HZ; EA; 5. 142; 570880; MOTOR, ELECTRIC: POWER: 90 KW; SPEED: 1480 RPM; FRAME: 280S/M; CURRENT: 164 A; POTENTIAL: 380 V; MOUNTING: FLANGE/FOOT; ENCLOSURE RATING: IP66; SHAFT SIZE: OD 80 MM; CONNECTION LOCATION: TOP; CLASSIFICATION: EFF1; POLES: 4; INSULATION CLASS: H; PHASE: 3; CASING MATERIAL: CI; SERVICE FACTOR: 1; TEMPERATURE CLASS: B; EA; 5. 143; 584499; MOTOR, ELECTRIC: POWER: 185 KW; SPEED: 1440 RPM; FRAME: D315M; CURRENT: 311 A; POTENTIAL: 380 VAC; MOUNTING: B3; ENCLOSURE RATING: IP65; SHAFT SIZE: DIA 90 MM; CONNECTION LOCATION: LEFT HAND SIDE; TYPE: INDUCTION; EA; 5. 144; 585934; MOTOR, ELECTRIC: POWER: 185 KW; SPEED: 1440 RPM; FRAME: D315S; CURRENT: 311 A; POTENTIAL: 380-400 V; MOUNTING: B3; ENCLOSURE RATING: IP65; SHAFT SIZE: DIA 170 X LG 85 MM; CONNECTION LOCATION: LEFT HAND SIDE; POLES: 4; INSULATION CLASS: F; PHASE: 3; TYPE: INDUCTION; EA; 5. 145; 698854; MOTOR, ELECTRIC: POWER: 55 KW; SPEED: 980 RPM; FRAME: 280M; CURRENT: 117 A; POTENTIAL: 380 VAC; MOUNTING: B3; ENCLOSURE RATING: IP55; SHAFT SIZE: 80 MM; CONNECTION LOCATION: STAR; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S3; TYPE: SLIPRING INDUCTION MOTOR; REFERENCE NO: 1LT42836AA10Z; COOLING IC: 0141: POWER FACTOR: 0.78; FREQUENCY: 50 HZ; MASS: 770 KG; NDE BEARING: NU317 C3; DUTY CYCLE: S3/100 PCT; ROTOR VOLTAGE: 235 V; ROTOR CURRENT: 141 A; EA; 5. 146; 139998; MOTOR ELEC: POWER: 75/9.4 KW; SPEED: 1475/730 RPM; FRAME: D280S/M; CURRENT: 140-36.5 A; POTENTIAL: 380VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; INSULATION CLASS: F; PHASE: 3; TYPE: INDUCTION; CONNECTION STAR/STAR; 50HZ; 0.87/0.45 SERVICE FACTOR; EA; 5.

# Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Purchaser’s Goods Information |  |
| C3.2 | Supplier’s Goods Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

# C3.1: Purchaser’s Goods Information

Contents

When the document is complete, insert a ‘Table of Contents’.  To do this go to:  Reference, → Table of Contents.  Three levels and the title (but not the subtitle) may be shown if the formats used in this template are retained.   Alternatively just update the table below when the drafting of the Goods Information is complete by clicking on ‘References’ then ‘Update Table’ then ‘Update entire table’

Part 3: Scope of Work	35

C3.1: Purchaser’s Goods Information	36

1	Overview and purpose of the goods and services	37

2	Specification and description of the goods	37

2.1	Purchaser’s design	59

2.2	Procedure for submission and acceptance of Supplier’s design	59

2.3	Other requirements of the Supplier’s design	60

2.4	Use of Supplier’s design	60

2.5	Manufacture & fabrication	60

2.6	Factory acceptance testing (FAT)	60

2.7	Other tests and inspections and commissioning in place of use	60

2.8	Operating manuals and maintenance schedules	60

3	Supply Requirements	60

4	Specification of the services to be provided	61

5	Constraints on how the Supplier Provides the Goods	61

5.1	Programming constraints	61

5.2	Work to be done by the Delivery Date	61

5.3	Marking the goods	61

5.4	Constraints at the delivery place and place of use	61

5.5	Cooperating with Others	61

5.6	Services & other things to be provided by the Purchaser or Supplier	62

5.7	Management meetings	62

5.8	Documentation control	62

5.9	Health and safety risk management	63

5.10	Environmental constraints and management	63

5.11	Quality	63

5.12	Invoicing and payment	63

5.13	Insurance provided by the Purchaser	63

5.14	Contract change management	64

5.15	Provision of bonds and guarantees	64

5.16	Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier	64

6	Procurement	64

6.1	Subcontracting	64

6.1.1	Preferred subcontractors	64

6.1.2	Limitations on subcontracting	64

6.1.3	Spares and consumables	64

6.1.4	Other requirements related to procurement	64

6.1.5	Cataloguing requirements	65

7	List of drawings	65

7.1	Drawings issued by the Purchaser	65

C3.2	Supplier’s Goods Information	lxvi

# Overview and purpose of the goods and services

The purpose of this document is to define a User Scope of Work requirement based on which the supply of goods and a service contract will be established between the Purchaser and the Supplier.

Matimba Power Station is expected to operate at EAF > 80% and It is therefore imperative that the successful and suitably qualified Supplier aligns his/ her organisation fully to these Scope of Work.

# Specification and description of the goods

| Supply and delivery of low voltage motors |  |  |  |
| --- | --- | --- | --- |
| Item nr | Material | Purchase Order Text | UOM |
| 1 | 178891 | MOTOR, ELECTRIC: POWER: 6 KW; SPEED: 2634 RPM; FRAME: KFC160; CURRENT: 0.227-0.166 A; POTENTIAL: 220 VDC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 110 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 1; SERVICE FACTOR: S1; REFERENCE NO: 63861-002; CONNECTION 1 | EA |
| 2 | 597874 | MOTOR, ELECTRIC: POWER: 0.18 KW; SPEED: 1370 RPM; FRAME: 63; CURRENT: 0.563 A; POTENTIAL: 380 VAC; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 11 X LG 22 MM; CONNECTION LOCATION: TOP; POLES: 4; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CAST IRON; TYPE: STAR/DELTA CONNECTION; 50 HZ | EA |
| 3 | 43498 | MOTOR, ELECTRIC: POWER: 0.55 KW; SPEED: 1425 RPM; FRAME: KDY80; CURRENT: 1.5 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: B7734-100E; KDY80; COMPLETE WITH PUMP, FOR OIL PURIFIER COALESCER 4.4, 50HZ | EA |
| 4 | 139561 | MOTOR, ELECTRIC: POWER: 7.5 KW; SPEED: 2910 RPM; FRAME: 132S; CURRENT: 14.1 A; POTENTIAL: 380 VAC; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP66; SHAFT SIZE: DIA 38 X LG 80 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CAST IRON; SERVICE FACTOR: S1; SHAFT: K6 TO HAVE A HOLE IN THE CENTRE OF THE SHAFT TAPPED M6; 2910 RPM; 14.1 A; CONNECTION DELTA, 50 HZ, IC0141; FLANGE TYPE: FF-265; MATERIAL: CAST IRON | EA |
| 5 | 139563 | MOTOR, ELECTRIC: POWER: 1.5 KW; SPEED: 2820 RPM; FRAME: D905D; CURRENT: 3.3 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 24.5 X LG 55 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: B5233/5IH; DE/NDE 6205, CONNECTION STAR, 50 HZ; IC0141 | EA |
| 6 | 139564 | MOTOR, ELECTRIC: POWER: 1.1 KW; SPEED: 2860 RPM; FRAME: KDY80; CURRENT: 2.6 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 18 X LG 45 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: B7382.11 ID; CONNECTION STAR; 50 HZ; IC0141 | EA |
| 7 | 139571 | MOTOR, ELECTRIC: POWER: 1.5 KW; SPEED: 1410 RPM; FRAME: D90L; CURRENT: 4 A; POTENTIAL: 220/380 VAC; MOUNTING: B3 FOOT FLANGE; ENCLOSURE RATING: S1; SHAFT SIZE: DIA 24 X HT 100 MM; CONNECTION LOCATION: STAR; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SUPPL P/N: 1LC5096-4AD21-Z; REFERENCE NO: D90L; 3.7/6.4 A, BEARINGS DE AND NDE 6205Z C3, PLANT MILL LOWER AND UPPER COLD AIR DAM PERS/EFP STANDBY OIL PUMP/REFRIGERATOR, CONNECTION STAR, 50 HZ | EA |
| 8 | 139970 | MOTOR, ELECTRIC: POWER: 45 KW; SPEED: 1475 RPM; FRAME: D225DM; CURRENT: 87 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 60 X LG 145 MM; CONNECTION LOCATION: LH SIDE NDE; POLES: 4; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; HIGH EFFICIENCY; BEARINGS DE NU313 AND NDE 6312; USED ON CONDENSATE TRANSFER PUMP C; CONNECTION DELTA; 50 HZ; IC0141; COMPLETE SCHEDULE B FORM AND PROVIDE A DATA SHEET | EA |
| 9 | 140131 | MOTOR, ELECTRIC: POWER: 25 KW; SPEED: 1500 RPM; FRAME: NBG031/85; CURRENT: 126 A; POTENTIAL: 220 VDC; MOUNTING: FLANGE; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 57 X LG 145 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 1; SERVICE FACTOR: S1; SPECIFICATION: BS 4999; REFERENCE NO: 1HA3253-6ZZ24Z; EMERGENCY, PLANT TURBINE LUBE OIL SYSTEM, SHUNT WOUND, CONNECTION 1 | EA |
| 10 | 140172 | MOTOR, ELECTRIC: POWER: 0.18 KW; SPEED: 2800 RPM; CURRENT: 1.6-0.9 A; POTENTIAL: 380 VAC; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0530/72; SUPPL P/N: MD56-2-45; STAR/DELTA, COS 0.6, 10MIN, PLANT HLD EJECTOR B / EJ COND TO ACCCT, 50HZ | EA |
| 11 | 140173 | MOTOR, ELECTRIC: POWER: 0.37 KW; SPEED: 2800 RPM; CURRENT: 2.4-1.3 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0530/72; SUPPL P/N: MD56-2/60; ACTUATOR, PF 0.72, 10MIN, CONNECTION DELTA/STAR, 50HZ, SHAFT ENCLOSED | EA |
| 12 | 140174 | MOTOR, ELECTRIC: POWER: 0.25 KW; SPEED: 1400 RPM; CURRENT: 2.8-1.6 A; POTENTIAL: 220/380 VAC; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0530/72; SUPPL P/N: MD71-4-50; STAR/DELTA, COS 0.6, 10 MIN, PLANT EFP DISCHARGE PYPASS, IP TURBINE HEATING CONTROL AND LP CONDESATE INJ VALVE | EA |
| 13 | 140175 | MOTOR, ELECTRIC: POWER: 1.1 KW; SPEED: 2800 RPM; CURRENT: 5.5-3.2 A; POTENTIAL: 220/380 VAC; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0530/72; SUPPL P/N: MD71-2/80; REFERENCE NO: 2-4686/1515; ACTUATOR, STAR/DELTA, COS 0.66, 10MIN, 50HZ | EA |
| 14 | 140178 | MOTOR ELEC:2.2 KW;2800 RPM;6.6 A;IP67;FMOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 2800 RPM; CURRENT: 6.6 A; POTENTIAL: 220/380 VAC; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0530/72; SUPPL P/N: MD96/2/75; REFERENCE NO: 6105 07 000 9667; STAR/DELTA, COS 0.64, 10MIN, ACTUATOR COMPLETE, PLANT HP HEATER BYPASS VALVE, 50HZ | EA |
| 15 | 140179 | MOTOR, ELECTRIC: POWER: 1.1 KW; SPEED: 1400 RPM; POTENTIAL: 220/380 VAC; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0630/72; SUPPL P/N: MD90-4-75; STAR/DELTA, COS 0.62, 10MIN, PLANT TURBINE CASE HEATING SYSTEM CONTROL VALVE, 50HZ | EA |
| 16 | 140180 | MOTOR, ELECTRIC: POWER: 7.5 KW; SPEED: 2800 RPM; CURRENT: 18-31 A; POTENTIAL: 220/380 VAC; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0530/72; REFERENCE NO: 3-0985/3784; MD112-2-140; ACTUATOR, STAR/DELTA, COS 0.75, 10MIN, 50HZ | EA |
| 17 | 140182 | MOTOR, ELECTRIC: POWER: 4 KW; SPEED: 2800 RPM; CURRENT: 19-11 A; POTENTIAL: 220/380 VAC; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S2; SPECIFICATION: VDE0530/72; SUPPL P/N: MD90-2/130; DELTA/STAR, COS 0.66, 10MIN, PLANT FEEDWATER REG VALVE/ISOLATING VALVE A AND B, REG STATION, EFP DISCHARGE VALVE, 50HZ | EA |
| 18 | 140236 | MOTOR, ELECTRIC: POWER: 0.75 KW; SPEED: 1400 RPM; FRAME: DX132M; CURRENT: 3.6-2.1 A; POTENTIAL: 220/380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 19 X LG 40 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: FT080L24; UNILEC, CONNECTION DELTA/STAR, 50 HZ | EA |
| 19 | 140238 | MOTOR, ELECTRIC: POWER: 11.5 KW; SPEED: 1500 RPM; CURRENT: 60 A; POTENTIAL: 220 VDC; MOUNTING: FLANGE; FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 55 X LG 110 MM; INSULATION CLASS: F; PHASE: 1; SERVICE FACTOR: S1; REFERENCE NO: MCCC2FA200L; IEC, SERV DUTY 100 PCT, WEIGHT 270 KG, EXCIT SHUNT 220 V 7.6 A, R, ADD 14 HOMS, WITH OPEN PARALLEL KEYWAY DIMENSIONS WORK LENGTH 98 X 16 MM WIDE | EA |
| 20 | 140239 | MOTOR, ELECTRIC: POWER: 4 KW; SPEED: 1440 RPM; CURRENT: DELTA 16.5; STAR 9.5 A; POTENTIAL: 380 V; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 40 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: FT112M14; WITH PUMP; 50 HZ; PF 0.78 | EA |
| 21 | 140240 | MOTOR, ELECTRIC: POWER: 0.75 KW; SPEED: 2820 RPM; FRAME: T80L12; CURRENT: 3.3-1.9 A; POTENTIAL: 220/380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 19 X LG 40 MM; CONNECTION LOCATION: LEFT HAND SIDE; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: T80L12; PF 0.84, CONNECTION DELTA/STAR, 50 HZ | EA |
| 22 | 140245 | MOTOR, ELECTRIC: POWER: 1.1 KW; SPEED: 1410 RPM; FRAME: DZ90S; CURRENT: 2.86 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 24 X LG 63 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: DZ90S; BEARINGS DE 6205ZZ AND NDE 6204ZZ, CONNECTION STAR, 50 HZ; IC0141 | EA |
| 23 | 140252 | MOTOR, ELECTRIC: POWER: 6.5 KW; SPEED: 705 RPM; FRAME: 160L; CURRENT: 20-24 A; POTENTIAL: 220/380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 115 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S4/25; REFERENCE NO: 3LT3166-8AA10Z; BEARINGS DE AND NDE 6309 C3, CONNECTION STAR/STAR, 0.60 SERVICE FACTOR, 50 HZ, IC0141 | EA |
| 24 | 140255 | MOTOR, ELECTRIC: POWER: 1.1/1.02 KW; SPEED: 260- 2650 RPM; CURRENT: 3.2-1.35 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP67; SHAFT SIZE: DIA 24 X LG 54 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; CONNECTION STAR/STAR, 50 HZ | EA |
| 25 | 140256 | MOTOR, ELECTRIC: POWER: 0.6/0.1 KW; SPEED: 390- 2600 RPM; CURRENT: 1.9-0.79 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 18 X LG 43 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SUPPL P/N: D-B5-80; CONNECTION STAR/STAR, 50 HZ | EA |
| 26 | 140257 | MOTOR, ELECTRIC: POWER: 0.37 KW; SPEED: 1375 RPM; FRAME: 1LA3073-4AB22-Z; CURRENT: 1.94-1.12 A; POTENTIAL: 220/380 VAC; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 15 X LG 27 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: KDY71; FRAME KDY70, BEARINGS DE 6204Z AND NDE 6202Z, CONNECTION STAR/DELTA, 50 HZ; 0.76 SERVICE FACTOR; IC0141 | EA |
| 27 | 140270 | MOTOR, ELECTRIC: POWER: 18.5 KW; SPEED: 1460 RPM; FRAME: D180M; CURRENT: 38.5 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 50 X LG 110 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: 1LA41834YA71; BEARINGS DE 6310Z AND NDE 6210 C3, CONNECTION DELTA, 50 HZ; IC0141 | EA |
| 28 | 140271 | MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 950 RPM; FRAME: DX132S; CURRENT: 7.5 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 38 X LG 87 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: 0.141; REFERENCE NO: 1LA0-130-6AX40; BEARINGS DE AND NDE 6208Z, PLANT SEC, AIR HEATER AUX, CONNECTION DELTA, 50 HZ; IC0141 | EA |
| 29 | 140272 | MOTOR, ELECTRIC: POWER: 4 KW; SPEED: 1430 RPM; FRAME: DX112MD; CURRENT: 9 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 X LG 63 MM; CONNECTION LOCATION: TOP; PHASE: 3; SERVICE FACTOR: S1; BEARINGS DE AND NDE 6206Z, CONNECTION DELTA, 50 HZ | EA |
| 30 | 140281 | MOTOR, ELECTRIC: POWER: 0.55 KW; SPEED: 2835 RPM; CURRENT: 1.3 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 15 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: M71-2; ANTON PILLER, CONNECTION STAR, 50 HZ | EA |
| 31 | 140284 | MOTOR, ELECTRIC: POWER: 300 W; SPEED: 2300 RPM; FRAME: WK1331802; CURRENT: 2.1 A; POTENTIAL: 220 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP20; INSULATION CLASS: F; PHASE: 1; SERVICE FACTOR: S1; SUPPL P/N: RHM50-50; 50HZ | EA |
| 32 | 140295 | MOTOR, GEARED: POWER: 1.1 KW; CURRENT: 2.8 A; OUTPUT SPEED: 14 RPM; POTENTIAL: 380 VAC; MOTOR SPEED: 1420 RPM; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP65; INSULATION CLASS: B; SERVICE FACTOR: S1; REFERENCE NO: G43-20; DK94G11CFG3-111/216ZWD; COMPLETE, CONNECTION STAR, 0.87 SERVICE FACTOR, 50HZ, DK94-216 FRAME | EA |
| 33 | 140321 | MOTOR ELEC:0.18 KW;1370 RPM;63;0.563 AMOTOR, ELECTRIC: POWER: 0.18 KW; SPEED: 1370 RPM; FRAME: 63; CURRENT: 0.563 A; POTENTIAL: 380 VAC; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 11 X LG 22 MM; CONNECTION LOCATION: TOP; CLASSIFICATION: ASH AND DUST; POLES: 4; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: STEEL; SERVICE FACTOR: S1; TEMPERATURE CLASS: 155 DEG F; DIRECTION: BI-DIRECTIONAL; TYPE: AC; SUPPL P/N: 53442; MILL CLEANOUT CONVEYOR; CONNECTION STAR/DELTA; 50 HZ | EA |
| 34 | 140329 | MOTOR ELEC:11 KW;1460 RPM;160M;23 AMOTOR, ELECTRIC: POWER: 11 KW; SPEED: 1460 RPM; FRAME: 160M; CURRENT: 23 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 110 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SUPPL P/N: 1LA31634-YA40Z; CONNECTION DELTA, 50 HZ | EA |
| 35 | 140340 | MOTOR, ELECTRIC: POWER: 1.5 KW; SPEED: 1410 RPM; FRAME: D90LD; CURRENT: 3.9 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 24 X LG 50 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SUPPL P/N: 8009/1; CONNECTION STAR, 50 HZ | EA |
| 36 | 140402 | MOTOR, ELECTRIC: POWER: 0.18 KW; SPEED: 1360 RPM; FRAME: D63-4; CURRENT: 1.1-0.63 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 13 X LG 27 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: KMERB6304; CONNECTION STAR, 50 HZ | EA |
| 37 | 140403 | MOTOR, ELECTRIC: POWER: 0.37 KW; SPEED: 1400 RPM; FRAME: MT71B14-4; CURRENT: 2.3-1.3 A; POTENTIAL: 220/380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 18 X LG 35 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SPECIFICATION: IEC 34; REFERENCE NO: MK110017S; CONNECTION STAR/DELTA, 50 HZ | EA |
| 38 | 140404 | MOTOR, ELECTRIC: POWER: 1.1 KW; SPEED: 1410 RPM; FRAME: DZ90S; CURRENT: 2.07 A; POTENTIAL: 525 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP44; SHAFT SIZE: DIA 67 X LG 24 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SUPPL P/N: 1LA0-090-4AW90; BEARINGS DE 6205ZZ, NDE 6204ZZ, CONNECTION STAR, 50 HZ; IC0141 | EA |
| 39 | 140451 | MOTOR, GEARED: POWER: 0.18 KW; CURRENT: 0.87 A; OUTPUT SPEED: 12 RPM; POTENTIAL: 380 VAC; MOTOR SPEED: 1350 RPM; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; PHASE: 3; INSULATION CLASS: F; SHAFT: DIA 18 X LG 55 MM; SUPPL P/N: 15015-87; R63; 712B FRAME, WITH GEARBOX, BEARINGS DE - 6303ZZ, NDE - 6200ZZ, CONNECTION STAR, 50 HZ, IC0141 | EA |
| 40 | 140458 | MOTOR, ELECTRIC: POWER: 0.25 KW; SPEED: 1445 RPM; FRAME: KDY71D; CURRENT: 0.85 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP44; SHAFT SIZE: DIA 38 X LG 14 MM; INSULATION CLASS: F; PHASE: 3; TYPE: INDUCTION; TEMP RISE 80 K, BEARINGS DE 6202ZZ AND NDE 6202ZZ, CONNECTION STAR, 50 HZ, IC0141 | EA |
| 41 | 140459 | MOTOR ELEC:0.34 HP;1410-1445 RPM;71MOTOR, ELECTRIC: POWER: 0.34 HP; SPEED: 1410-1445 RPM; FRAME: 71; CURRENT: 0.85 A; POTENTIAL: 380 VAC; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 14 X LG 30 MM; CONNECTION LOCATION: STAR; POLES: 4; INSULATION CLASS: B; PHASE: 3; CASING MATERIAL: CAST IRON; SERVICE FACTOR: S1; REFERENCE NO: TPW0203050; 0.2 KW, CONNECTION Y, 0.8 AMP, FIN 1,1 RPM, BAUF B 3, CONNECTION STAR, 50 HZ | EA |
| 42 | 140461 | MOTOR, ELECTRIC: POWER: 7.5 KW; SPEED: 1440 RPM; CURRENT: 15.6 A; POTENTIAL: 380 VAC; MOUNTING: V1 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 38 X LG 90 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; CONNECTION DELTA, 50 HZ | EA |
| 43 | 140462 | MOTOR, ELECTRIC: POWER: 18 KW; SPEED: 1455 RPM; POTENTIAL: 380 VAC; SUPPL P/N: FF31/35; REFERENCE NO: 547700-1988; FOR USE ON ASH HANDLING PLANT INCLUDING LIFTING DEVICE AND IMMERSION DAMPERS, 50HZ | EA |
| 44 | 140463 | MOTOR, ELECTRIC: POWER: 7.5 KW; SPEED: 960 RPM; FRAME: D160M; CURRENT: 17.8 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 123 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: 1LLA3163-6YA40; BEARINGS DE 6309ZC3 AND NDE 6309C3, USE FOR APROM DRIVE FEEDER, CONNECTION DELTA, 0.75 SERVICE FACTOR, 50 HZ, IC0141 | EA |
| 45 | 140478 | MOTOR, ELECTRIC: POWER: 18.5 KW; SPEED: 2900 RPM; FRAME: DX160L; CURRENT: 35.7 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 110 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: DX160L; 48940/001LI; CA10A291-600EM/SOV750; FOR HP COMPRESSOR, CONNECTION DELTA, 50Hz | EA |
| 46 | 140505 | MOTOR, ELECTRIC: POWER: 30 KW; SPEED: 1460 RPM; FRAME: D200L; CURRENT: 60 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 55 X LG 116 MM; CONNECTION LOCATION: DELTA; INSULATION CLASS: F; PHASE: 3; FROM FAN SIDE BOX MUST BE ON THE LEFT-HAND SIDE; BEARINGS DE 6312 AND NDE 6312, PLANT DEMIN WATER SUPPLY AND PORTABLE WATER, CONNECTION DELTA, 083 SERVICE FACTOR, 50 HZ, IC0141 | EA |
| 47 | 140506 | MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 1430 RPM; FRAME: DX100LD; CURRENT: 6.9 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 X LG 64 MM; INSULATION CLASS: F; PHASE: 3; BEARINGS DE AND NDE 6206Z; CONNECTION DELTA; 50 HZ | EA |
| 48 | 140517 | MOTOR, ELECTRIC: POWER: 10/15 KW; SPEED: 976-1465 RPM; FRAME: DX180L; CURRENT: 30.4-22.3 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 47 X LG 112 MM; CONNECTION LOCATION: STAR/DELTA; INSULATION CLASS: F; PHASE: 3; BEARINGS - DE AND NDE 6310Z, CONNECTION: STAR/STAR/DELTA, 50 HZ, 0.141 SERVICE FACTOR, IC0141 | EA |
| 49 | 140518 | MOTOR, ELECTRIC: POWER: 22/14.7 KW; SPEED: 1479/992 RPM; FRAME: D225S; CURRENT: 40-38 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 60 X LG 140 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; CONNECTION STAR/STAR/DELTA, 50 HZ | EA |
| 50 | 140525 | MOTOR, ELECTRIC: POWER: 11 KW; SPEED: 2899 RPM; FRAME: DX160M; CURRENT: 22.9 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 110 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: D5520/11JI; BEARINGS DE 6309Z NDE 6309Z, PLANT FLAME SCANNER AND BURNER COOLING FANS A AND B, CONNECTION DELTA, 50 HZ, IC0141 | EA |
| 51 | 140542 | MOTOR, ELECTRIC: POWER: 0.55 KW; SPEED: 1500 RPM; CURRENT: 6.6-3.8 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; SUPPL P/N: 80L1; 2.8/1.6AMP, IC 0141, CONNECTION STAR, COS 0.75, 50HZ | EA |
| 52 | 140543 | MOTOR, ELECTRIC: POWER: 0.75 KW; SPEED: 1500 RPM; CURRENT: 3.6-2.1 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP67; CONNECTION LOCATION: STAR; INSULATION CLASS: F; PHASE: 3; SUPPL P/N: 80L2; CONNECTION STAR, 50HZ, IC0141 | EA |
| 53 | 140560 | MOTOR, ELECTRIC: POWER: 0.18 KW; SPEED: 1370 RPM; FRAME: FR0.18/4.7; CURRENT: 1.2-0.7 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 11 MM; INSULATION CLASS: B; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: 54411/C01; STARTING DOL, CONNECTION STAR, 50 HZ | EA |
| 54 | 140609 | MOTOR, ELECTRIC: POWER: 0.12 KW; SPEED: 2800 RPM; FRAME: LS56/T; CURRENT: 0.5 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: 1; ELECTRICAL RATING 50HZ, STAR CONNECTION, FOR AMMONIA DOSING PUMP | EA |
| 55 | 140610 | MOTOR, ELECTRIC: POWER: 0.06 KW; SPEED: 1400 RPM; CURRENT: 0.3 A; POTENTIAL: 380 VAC; INSULATION CLASS: F; ANION CONDENSATE OUTLET VALVE, AUMA, CONNECTION STAR, 50HZ | EA |
| 56 | 140646 | MOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 1400 RPM; FRAME: 100L-4; CURRENT: 5.3 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 30 X LG 65 MM; CONNECTION LOCATION: STAR; INSULATION CLASS: B80; PHASE: 3; REFERENCE NO: G059; MTG B141, INSOLATION CLASS B800, BEARINGS DE - 6205ZZ, NDE - 6205ZZ, CONNECTION STAR, FEMET, 50 HZ, IC0141 | EA |
| 57 | 140647 | MOTOR, ELECTRIC: POWER: 30 KW; SPEED: 2960 RPM; FRAME: D200C; CURRENT: 61 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 55 X LG 115 MM; CONNECTION LOCATION: DELTA; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; BEARINGS DE - 6312 AND NDE - 6312, CONNECTION DELTA, 50 HZ; 0.89 SERVICE FACTOR | EA |
| 58 | 140665 | MOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 1415 RPM; FRAME: IEC 100C; CURRENT: 9-3.2 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 X LG 59 MM; INSULATION CLASS: F; PHASE: 3; TEMPERATURE CLASS: 40 DEG C; SPECIFICATION: VDE0530; SUPPL P/N: E.6F654162 01 001; REFERENCE NO: 1LCS106-4AD21Z; ROT KL16, KT, WITH PARALLEL KEYWAY, 7.8 MM WD, CONNECTION DELTA/STAR, 50 HZ; 0.75 SERVICE FACTOR | EA |
| 59 | 140676 | MOTOR, ELECTRIC: POWER: 13 KW; SPEED: 227-1365 RPM; FRAME: 200-250; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: LNMA; POLES: 4-24; INSULATION CLASS: F; PHASE: 3; TYPE: SQUIRREL CAGE; MODEL NO: LNMA 200 MD 21; INTERNALLY COOLED, 50 HZ, TORQUE 99NM, STARTS PER HOUR 180 S/H 40 PCT, CDF 240 - 320, THERMISTOR SENSOR CONTROL, SPEED NO LOAD 1500/250 RPM, 91 PCT OF NO LOAD | EA |
| 60 | 140695 | MOTOR, ELECTRIC: POWER: 15 KW; SPEED: 1445 RPM; FRAME: DX160L; CURRENT: 29.8 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 110 MM; CONNECTION LOCATION: LH; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SUPPL P/N: 197930/2; CONNECTION DELTA, 50 HZ | EA |
| 61 | 140696 | MOTOR, ELECTRIC: POWER: 7.5 KW; SPEED: 960 RPM; FRAME: 160M; CURRENT: 17.8 A; POTENTIAL: 380 VAC; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 123 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; TYPE: INDUCTION; REFERENCE NO: 1LA3163-64A41-160M; BEARINGS DE 6309ZZ AND NDE 6309ZZ, PLANT MILL HP NDE/DE AND LP OIL PUMP, CONNECTION DELTA, 0.75 SERVICE FACTOR, 50 HZ | EA |
| 62 | 140697 | MOTOR, ELECTRIC: POWER: 1.5 KW; SPEED: 935 RPM; FRAME: DZ100LD; CURRENT: 3.7 A; POTENTIAL: 380 VAC; MOUNTING: B5 FLANGE/FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 27 X LG 62 X HT 100 MM; INSULATION CLASS: F; PHASE: 3; TYPE: INDUCTION; BEARINGS DE AND NDE - 6206Z, CONNECTION STAR, 50 HZ, IC0141 | EA |
| 63 | 140698 | MOTOR, ELECTRIC: POWER: 5.5 KW; SPEED: 940 RPM; FRAME: DX132M; CURRENT: 13.4 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP67; SHAFT SIZE: DIA 38 X HT 132 MM; CONNECTION LOCATION: BASE MOUNTING; INSULATION CLASS: F; PHASE: 3; TYPE: INDUCTION; REFERENCE NO: DX132M; PLANT MILL, GEARBOX OIL PUMP, CONNECTION DELTA, 50 HZ | EA |
| 64 | 140699 | MOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 1430 RPM; FRAME: DX100LD; CURRENT: 9.2-5.3 A; POTENTIAL: 220/380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 X LG 64 MM; INSULATION CLASS: F; PHASE: 3; TYPE: INDUCTION; BEARINGS DE AND NDE 6206Z; SHAFT HEIGHT 175 MM; CONNECTION STAR/DELTA; 0.8 SERVICE FACTOR; 50 HZ | EA |
| 65 | 140700 | MOTOR, ELECTRIC: POWER: 0.75 KW; SPEED: 1420 RPM; FRAME: KDY80D; CURRENT: 2.1 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; B5 FLANGE; ENCLOSURE RATING: IP44; SHAFT SIZE: DIA 18 X LG 40 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: KDY80D; BEARINGS DE AND NDE 6204ZZ, FOR USE ON ID AND FD FAN JACKING OIL PUMP, CONNECTION STAR, 50 HZ | EA |
| 66 | 140701 | MOTOR, ELECTRIC: POWER: 0.55 KW; SPEED: 1425 RPM; FRAME: KDY80; CURRENT: 1.5 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 21 X LG 43 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; TYPE: INDUCTION; REFERENCE NO: KDY80; IC 0141, TORQUE 3.7 NM, EFFICIENCY 74 PCT, POWER FACTOR 0.73, BEARINGS DE 6204ZZ NDE 6202Z, END SHIELDS CAST IRON, SHAFT DIMENSIONS LENGTH FROM END SHIELD = 40 MM, SHAFT DIAMETER = 19 (+0.009) (-0.004)MM, PARALLEL KEY WAY LENGTH = 25 MM, WIDTH = 6(+0)(-0.03)MM, DISTANCE (MEASURED FROM BOTTOM OF SHAFT TO OBTAIN KEY WAY DEPTH = 15.5(+0)(-0.2)MM, BASE TO SHAFT CENTRE = 80 MM, BASE HOLE CENTRES (LENGTH) = 100 MM, BASE HOLE CENTRES (WIDTH) = 125 MM, DISTANCE FROM FRONT BASE HOLES TO SHAFT END = 100 MM, CONNECTION STAR, 50 HZ | EA |
| 67 | 140715 | MOTOR, ELECTRIC: POWER: 1.5 KW; SPEED: 1405 RPM; FRAME: D90LD; CURRENT: 6.4-3.7 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 24 X LG 53 MM; INSULATION CLASS: F; PHASE: 3; SPECIFICATION: IEC 90L; VDE 0530; REFERENCE NO: 1LC3098-4AD21-Z; WITH KEYWAY, CONNECTION DELTA/STAR, 0.82 SERVICE FACTOR, 50 HZ; SHAFT HEIGHT 100 MM | EA |
| 68 | 140752 | MOTOR, ELECTRIC: POWER: 45 KW; SPEED: 2950 RPM; FRAME: D225M; CURRENT: 90 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 55 X LG 110 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SUPPL P/N: JMC2 - 02/01/97; BEARINGS DE NU313 AND NDE 6312, SHAFT DIA 55 MM AND SHAFT HEIGHT 225 MM, NOTE, MOUNTINGS HAS 1 HOLE AT NDE SIDE AND 2 HOLES AT DE SIDE, DISTANCE BETWEEN DE AND NDE HOLES +- 283 MM, PLANT USED ON AUX COOLING PUMPS, CONNECTION DELTA, 50 HZ | EA |
| 69 | 140784 | MOTOR, ELECTRIC: POWER: 0.37 KW; SPEED: 915 RPM; FRAME: 80K6; CURRENT: 1.22-2.12 A; POTENTIAL: 200/400 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 19 X LG 40 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: KPER80K6; COOLING IC0141, WEIGHT 11 KG, CONNECTION DELTA/STAR, 50 HZ | EA |
| 70 | 140865 | MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 1440 RPM; FRAME: DZ100L; CURRENT: 6.6 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP44; SHAFT SIZE: DIA 28 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: 56420/037LI; DZ100L; BASE MOUNTED 4 X 12 MM DIA, MOUNTING CENTRES 140 MM X 160 MM, BASE TO SHAFT CENTRE 100 MM, CONNECTION DELTA, 50 HZ | EA |
| 71 | 140893 | MOTOR, CHART DRIVE: POTENTIAL: 220 VAC; REFERENCE NO: 1AK23102N; W79047A2049X; Z6512, 1AK2300-2NC35-AL, Z6511, RATIO 1-6000, MOTOR AND GEABOX, SHAFT 5MM DIA X 15MM LG, MTG FLANGE, MOUNTING HOLES 4MM X 2MM, PITCH 40MM X 4MM, 50HZ | EA |
| 72 | 140928 | MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 720-1420 RPM; FRAME: D100LBD/D168613; CURRENT: 11.7-6.7-10.8-6.1 A; POTENTIAL: 220-460 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 X LG 60 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: 3A19883; 4RFWP; FOR BELT DRIVE VOL/ COAL FEED, CONNECTION STAR/DELTA, 50/60 HZ | EA |
| 73 | 141481 | MOTOR, ELECTRIC: POWER: 5.5 KW; SPEED: 1430 RPM; FRAME: DZ132S; CURRENT: 12 A; POTENTIAL: 380 VAC; MOUNTING: B30; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 38 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F80; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: 9409/47; CONNECTION DELTA | EA |
| 74 | 141548 | MOTOR, ELECTRIC: POWER: 37 KW; SPEED: 1475 RPM; FRAME: D225SD; CURRENT: 73 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 60 X LG 140 MM; CONNECTION LOCATION: TOP; CLASSIFICATION: PREMIUM HIGH EFFICIENCY; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CAST IRON; TYPE: SQUIRREL CAGE; REFERENCE NO: D225S; CONNECTION DELTA, 041 SERVICE FACTOR, 50 HZ; SEE INSPECTION TEXT BEFORE RELEASE OF RFQ | EA |
| 75 | 141620 | MOTOR, ELECTRIC: POWER: 5.5 KW; SPEED: 1430 RPM; FRAME: DZ132S; CURRENT: 11.7 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 38 X LG 87 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: KDZ822-120; DZ132S; 1450 RPM; FOR USE ON WATER TREATMENT PLANT; CONNECTION DELTA; 50 HZ | EA |
| 76 | 141838 | MOTOR, ELECTRIC: POWER: 0.18 KW; SPEED: 1370 RPM; FRAME: DA1328; CURRENT: 1.4-0.8 A; POTENTIAL: 220/380 VAC; MOUNTING: FOOT/B14 FLANGE; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 14 X LG 30 MM; CONNECTION LOCATION: TOP; CLASSIFICATION: ASH AND DUST; POLES: 4; INSULATION CLASS: B; PHASE: 3; CASING MATERIAL: STEEL; SERVICE FACTOR: S1; TEMPERATURE CLASS: 155 (F); DIRECTION: BI-DIRECTIONAL; TYPE: AC; REFERENCE NO: DA132-8; 4 X 8 MM DIA, MTG CENTRE 80 X 100 MM, BASE TO SHAFT CENTRE 65 MM, CONNECTION STAR/DELTA, 50 HZ | EA |
| 77 | 141889 | MOTOR, ELECTRIC: POWER: 7.5 KW; SPEED: 1435 RPM; FRAME: DZ132M; CURRENT: 16.6 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP44; SHAFT SIZE: DIA 38 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: ADZ8049/25; DZ132M; STAR DELTA; IC 0141; BEARINGS DE AND NDE 6208Z; LUB BP LS3; 50 HZ | EA |
| 78 | 178964 | MOTOR, ELECTRIC: POWER: 15 KW; SPEED: 1445 RPM; FRAME: FT160L; CURRENT: 48.5-28 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 X LG 110 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; CONNECTION DELTA/STAR, 0.90 SERVICE FACTOR, 50 HZ | EA |
| 79 | 178967 | MOTOR, ELECTRIC: POWER: 47 KW; SPEED: 730 RPM; FRAME: 280M; CURRENT: 115-112 A; POTENTIAL: 225/380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 100 X LG 190 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: 1LT4283-8AA10Z; CONNECTION STAR, IC0141 | EA |
| 80 | 178968 | MOTOR, ELECTRIC: POWER: 30/3.2 KW; SPEED: 150-1430 RPM; FRAME: ED180S/H; CURRENT: 62-25 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 55 X LG 110 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: DB3-200LB3.2/30-32/4; CONNECTION STAR/STAR, 50 HZ | EA |
| 81 | 179017 | MOTOR, SERVO: POTENTIAL: 220 V; POWER: 36 W; APPLICATION: INTERMEDIATE PRESSURE EMERGENCY STOP VALVE; DRAWING NO: B42.73600-0042 REV 0; REFERENCE NO: 7360 | EA |
| 82 | 179018 | MOTOR, SERVO: POTENTIAL: 220 V; SUPPL P/N: TWFZ2 91001; DRAWING NO: B42.71600-0074 REV 1; REFERENCE NO: 921527 7160; HIGH PRESSURE EMERGENCY STOP VALVE | EA |
| 83 | 179028 | MOTOR, ELECTRIC: POWER: 45 KW; SPEED: 2950 RPM; FRAME: D225M; CURRENT: 90 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 55 X LG 110 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; 50 HZ | EA |
| 84 | 179041 | MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 1420 RPM; CURRENT: 7.1 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP65; PHASE: 3; COMPLETE WITH GEARBOX, 0.79 SERVICE FACTOR | EA |
| 85 | 179042 | MOTOR, ELECTRIC: POWER: 37 KW; SPEED: 1475 RPM; FRAME: D225SD; CURRENT: 75.5 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 60 X LG 140 MM; CONNECTION LOCATION: DELTA; INSULATION CLASS: F; PHASE: 3; CONNECTION DELTA, 50 HZ, IC0141 | EA |
| 86 | 179044 | MOTOR, ELECTRIC: POWER: 30 KW; SPEED: 1465 RPM; FRAME: 200L; CURRENT: 58 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 58 X LG 112 MM; INSULATION CLASS: F; PHASE: 3; GEC, CONNECTION DELTA | EA |
| 87 | 179048 | MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 1415 RPM; CURRENT: 11.8-6.8 A; POTENTIAL: 220/380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 X LG 63 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: 1LC3107-4AD21-Z; CONNECTION STAR, 50 HZ; 0.82 SERVICE FACTOR | EA |
| 88 | 185372 | MOTOR, ELECTRIC: POWER: 0.55 KW; SPEED: 1390 RPM; FRAME: 71ZB; CURRENT: 1.65 A; POTENTIAL: 380 VAC; MOUNTING: B30; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 104 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F80; PHASE: 3; SERVICE FACTOR: S1; IC41, SHAFT LENGTH WILL BE FROM DRIVE END SHIELD TO SHAFT END, THREAD M16 FOR 41MM ON END OF SHAFT, CONNECTION STAR, 50 HZ | EA |
| 89 | 186315 | MOTOR, ELECTRIC: POWER: 5.9 KW; SPEED: 1000 RPM; FRAME: YD180L; CURRENT: 15.6 A; POTENTIAL: 400 V; MOUNTING: IM1001; ENCLOSURE RATING: IP55; INSULATION CLASS: F; SERVICE FACTOR: S1; CONNECTION SHUNT, 1001 | EA |
| 90 | 186320 | MOTOR, ELECTRIC: POWER: 15 KW; SPEED: 1445 RPM; FRAME: DX160L; CURRENT: 29.8 A; POTENTIAL: 380 V; MOUNTING: DX1601; ENCLOSURE RATING: IP55; INSULATION CLASS: F; SERVICE FACTOR: S1; BEARINGS DE 6309Z AND NDE 6309Z, CONNECTION DELTA | EA |
| 91 | 186359 | MOTOR, ELECTRIC: POWER: 11 KW; SPEED: 1445 RPM; FRAME: 160; CURRENT: 22.3 A; POTENTIAL: 380 V; MOUNTING: FLANGE; ENCLOSURE RATING: IP66; SHAFT SIZE: DIA 42 X LG 100 MM; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CAST IRON; SERVICE FACTOR: S1; TEMPERATURE CLASS: 155 DEG C; TYPE: HIGH EFFICIENCY; GEC, CONNECTION DELTA | EA |
| 92 | 186365 | MOTOR, ELECTRIC: POWER: 22/14.7 KW; SPEED: 1479/992 RPM; FRAME: D2255; CURRENT: 40-33 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; REFERENCE NO: B1699/11E; GEC, CONNECTION STAR/DELTA | EA |
| 93 | 194296 | MOTOR, ELECTRIC: POWER: 5.5 KW; SPEED: 1430 RPM; FRAME: DZ132S; CURRENT: 12 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; CONNECTION STAR | EA |
| 94 | 213055 | MOTOR, BRAKE: POWER: 7.5 KW; SPEED: 1470 RPM; FRAME: 132M; CURRENT: 14.2 A; POTENTIAL: 380 VAC; PHASE: 3; COMPLETE UNIT INCLUDING IGS BRAKE 70NM FDW17 380V DC IP65, PROXY SWITCH B12-EG-08-AP-X6, RECTIFIER SG3.575/A, TERMINAL BOXES, RAIN CANOPY; USED ON COAL STACKER RECLAIMER; 0.88 SERVICE FACTOR, CONNECTION STAR, 50HZ; ENCLOSURE RATING: IP55; INSULATION CLASS: F; MOUNTING: B5 FLANGE/ B3 FOOT; SHAFT SIZE: DIA 38 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 95 | 213056 | MOTOR, ELECTRIC: POWER: 7.5 KW; SPEED: 1470 RPM; FRAME: 132M; CURRENT: 14.2 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 38 MM; CONNECTION LOCATION: STAR; INSULATION CLASS: F; PHASE: 3; COMPLETE UNIT INCLUDING IGS BRAKE 70 NM FDW17 380 VDC IP65, PROXY SWITCH B12-EG-08-AP-X6, RECTIFIER SG3.575/A, FITTED WITH TACHO GENERATOR TDP 0.7, TERMINAL BOXES, RAIN CANOPY, USED FOR MOTOR NO 8 COAL STACKER RECLAIMER, CONNECTION STAR, 50 HZ, 0.88 SERVICE FACTOR | EA |
| 96 | 219740 | MOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 1435 RPM; FRAME: DZ100L; CURRENT: 514 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP44; SHAFT SIZE: DIA 28 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; SHAFT WITH SLOT KEY WAY, CONNECTION DELTA, 50 HZ | EA |
| 97 | 219741 | MOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 1415 RPM; FRAME: 100LA; CURRENT: 8.32 A; POTENTIAL: 230 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; CONNECTION DELTA, 50 HZ | EA |
| 98 | 219801 | MOTOR, ELECTRIC: POWER: 0.75 KW; SPEED: 935 RPM; FRAME: 90L; CURRENT: 3.8-2.2 A; POTENTIAL: 230/400 VAC; MOUNTING: B30; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 24 MM; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; CONNECTION DELTA | EA |
| 99 | 243333 | MOTOR, ELECTRIC: POWER: 4 KW; SPEED: 1345 RPM; FRAME: 112; CURRENT: 9.5 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; PHASE: 3 | EA |
| 100 | 256330 | MOTOR, ELECTRIC: POWER: 4 KW; SPEED: 1445 RPM; CURRENT: 8.3 A; POTENTIAL: 400 V; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; CONNECTION LOCATION: REAR SIDE; CLASSIFICATION: ZONE 2; POLES: 4; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CI; SERVICE FACTOR: 0.8; DIRECTION: CLOCKWISE; SPECIFICATION: SK112M/4; TYPE: HIGH EFFICIENCY; OFF LOADING PUMP; TO BE USED AT SO3 PLANT, GROUP: CLASS 1 DIV (2 T3) | EA |
| 101 | 256331 | MOTOR, ELECTRIC: POWER: 11 KW; SPEED: 2930 RPM; FRAME: 160M; CURRENT: 20.22 A; POTENTIAL: 400 V; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; CONNECTION LOCATION: REAR SIDE NDE; CLASSIFICATION: ZONE 2; POLES: 2; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CI; SERVICE FACTOR: 0.89; DIRECTION: CLOCKWISE; SPECIFICATION: LS 4163-2AA; TYPE: HIGH EFFICIENCY; TYPE TRANSFER PUMP; TO BE USED AT SO3 PLANT | EA |
| 102 | 256385 | MOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 1420 RPM; FRAME: 100L; CURRENT: 8.8 A; POTENTIAL: 380 VAC; MOUNTING: B5; ENCLOSURE RATING: IP54; INSULATION CLASS: F; PHASE: 3; TYPE: OIL PUMP; USED AT ASH PLANT | EA |
| 103 | 256465 | MOTOR, ELECTRIC: POWER: 1.5 KW; SPEED: 1420 RPM; CURRENT: 3.15 A; POTENTIAL: 380 VAC; MOUNTING: B5; ENCLOSURE RATING: IP55; PHASE: 3; TYPE: COOLING FAN; TO BE USED AT ASH PLANT, BEARING DE=6205ZZ, NDE=6205ZZ | EA |
| 104 | 566161 | MOTOR, ELECTRIC: POWER: 4 KW; SPEED: 1445 RPM; FRAME: 112M; CURRENT: 8.6 A; POTENTIAL: 380 V; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 28 X LG 60 MM; CONNECTION LOCATION: TOP; POLES: 4; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: ALUMINIUM; SERVICE FACTOR: 0.97; TEMPERATURE CLASS: B; SPECIFICATION: EN50347; TYPE: HYDRAULIC PUMP; REFERENCE NO: QS112M4B; FOR REHEAT SAFETY & HP BYPASS VALVE; DUTY CYCLES & COOLING METHOD IC411; PAINT RAL/6011-RESEDA GREEN; SOUND PRESSURE LEVEL 58DBA; TO BE MANUFACTURED ACCORDING TO SPECIFICATION | EA |
| 105 | 579512 | MOTOR, ELECTRIC: POWER: 2.2 KW; SPEED: 2830 RPM; FRAME: D90L; CURRENT: 4.3 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP66; SHAFT SIZE: DIA 24 X LG 50 MM; CONNECTION LOCATION: VERTICAL; POLES: 2; INSULATION CLASS: F; PHASE: 3; TYPE: FAN OIL PUMP | EA |
| 106 | 584496 | MOTOR, ELECTRIC: POWER: 30 KW; SPEED: 1450 RPM; FRAME: D200L; MOUNTING: B3; ENCLOSURE RATING: IP67; SHAFT SIZE: 55 MM; CONNECTION LOCATION: RH SIDE; TYPE: INDUCTION | EA |
| 107 | 589676 | MOTOR, ELECTRIC: POWER: 1.1 KW; SPEED: 1440 RPM; FRAME: D90L/S; CURRENT: 4.85 A; POTENTIAL: 380 V; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP66; SHAFT SIZE: DIA 24 MM; CONNECTION LOCATION: LEFT; CLASSIFICATION: IP66; POLES: 4; INSULATION CLASS: F/H; PHASE: 3; CASING MATERIAL: CAST IRON; SERVICE FACTOR: S1; TEMPERATURE CLASS: F; DIRECTION: CLOCKWISE; SPECIFICATION: 1804-1; TYPE: T8 OIL COUPLING DRIVE; SHAFT HEIGHT: 56 MM | EA |
| 108 | 594566 | MOTOR, ELECTRIC: POWER: 11 KW; SPEED: 1450 RPM; FRAME: 160M; CURRENT: 22.6 A; POTENTIAL: 380 VAC; MOUNTING: B3; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 42 MM; CONNECTION LOCATION: TOP; POLES: 4; INSULATION CLASS: F; TEMPERATURE CLASS: F; TYPE: EFFICIENT SUMP PUMP; SHAFT KEYWAY: 12 MM | EA |
| 109 | 638085 | MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 1410 RPM; FRAME: 100L; CURRENT: 7.17 A; POTENTIAL: 380 V; MOUNTING: B14; ENCLOSURE RATING: IP55; SHAFT SIZE: 24 MM; CONNECTION LOCATION: LH; CLASSIFICATION: DUST/OIL; POLES: 4; INSULATION CLASS: H; PHASE: 3; CASING MATERIAL: CAST IRON; SERVICE FACTOR: 1; TEMPERATURE CLASS: 105 K; DIRECTION: CLOCKWISE AND ANTI-CLOCKWISE; SPECIFICATION: INDUCTION MOTOR SQUIRREL CAGE ROTOR 3 PH; TYPE: MAIN TURBINE LUBE OIL PURIFIER | EA |
| 110 | 646657 | MOTOR, ELECTRIC: POWER: 5.9 KW; SPEED: 1000 RPM; FRAME: YD180L; CURRENT: 15.6 A; POTENTIAL: 400 VDC; MOUNTING: 1M3001 (B5); ENCLOSURE RATING: IP65; SHAFT SIZE: 48 MM; CONNECTION LOCATION: LEFT HAND SIDE; CLASSIFICATION: COAL/DUST; INSULATION CLASS: F; TYPE: SLEW DRIVE; HIGH EFFICIENCY & EX PROOF FOR HAZLOC COMPLIANCE | EA |
| 111 | 662301 | MOTOR, ELECTRIC: POWER: 15 KW; SPEED: 2910 RPM; FRAME: 160M; CURRENT: 29.5 A; POTENTIAL: 380 V; MOUNTING: B3; ENCLOSURE RATING: IP65; SHAFT SIZE: DIA 42 MM; CONNECTION LOCATION: LEFT HAND SIDE; POLES: 2; INSULATION CLASS: F; SERVICE FACTOR: S1; TEMPERATURE CLASS: 155 (F); DIRECTION: CLOCKWISE | EA |
| 112 | 667105 | MOTOR, ELECTRIC: POWER: 5.5 KW; SPEED: 1465 RPM; FRAME: 132S; CURRENT: 11.4/6.56 A; POTENTIAL: 380 V; MOUNTING: B5; ENCLOSURE RATING: IP66; SHAFT SIZE: 38 MM; CONNECTION LOCATION: RIGHT; CLASSIFICATION: SAFE; POLES: 4; INSULATION CLASS: H; PHASE: 3; CASING MATERIAL: CAST IRON; SERVICE FACTOR: 1; TEMPERATURE CLASS: B RISE; TYPE: 3-PHASE INDUCTION; FOR USE ON HP BY-PASS; W22 CAST IRON FRAME-STANDARD EFFICIENCY IE2 | EA |
| 113 | 696374 | MOTOR, ELECTRIC: POWER: 0.55 KW; SPEED: 920 RPM; FRAME: KDY80D; CURRENT: 1.6 A; POTENTIAL: 380 V; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP 55; SHAFT SIZE: 19 MM; CONNECTION LOCATION: TOP; POLES: 6; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CAST IRON; TEMPERATURE CLASS: 80 K; SHAFT SIZE: 19J6 | EA |
| 114 | 728785 | MOTOR, ELECTRIC: POWER: 1.1 KW; SPEED: 1420 RPM; FRAME: BK50Z-54HL; CURRENT: 0.15 A; POTENTIAL: 380 VAC; MOUNTING: H1; ENCLOSURE RATING: IP 66; SHAFT SIZE: 30 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: 0.76; TYPE: STACKER TRIPPER TRAVEL DRIVES; REFERENCE NO: BK50Z-54HL/DO9SA4-S/FSX010A9/C3-SP; COMPLETE UNIT INCLUDING ESX010A9 BRAKE; BRAKE TORQUE: 10 NM; SUPPLY 180 VDC/380 VAC | EA |
| 115 | 635512 | MOTOR, ELECTRIC: POWER: 0.25 KW; SPEED: 1370-1500 RPM; FRAME: 71; CURRENT: 0.82 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 14 X LG 30 MM; CONNECTION LOCATION: STAR; POLES: 4; INSULATION CLASS: B; PHASE: 3; CASING MATERIAL: CAST IRON; SERVICE FACTOR: S1; TEMPERATURE CLASS: HIGH; REFERENCE NO: TPW0203050 | EA |
| 116 | 140574 | PUMP, CENTRIFUGAL: NPSH: 4 M; CAPACITY: 1.1/2.2/2.9 M3/HR; TOTAL HEAD: 3-4 M; SIZE: 38.1 X 25 MM; SPEED: 1750-2190-2490 RPM; STAGE: SINGLE; DRIVER: ELECTRIC MOTOR 220 VAC 0.39/0.26/0.18 A 1 PH; TYPE: CIRCULATORY; SPECIFICATION: CRI-CCB04-25A; REFERENCE NO: CRI-CCBO4-25A; STATION DIESEL GENERATOR HOT WATER CIRCULATION | EA |
| 117 | 587307 | MOTOR, ELECTRIC: POWER: 0.55 KW; SPEED: 2835 RPM; FRAME: M71-2; CURRENT: 1.3 A; POTENTIAL: 380 V; MOUNTING: B3 FOOT/B5 FLANGE; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 14 X 80 LG MM; CONNECTION LOCATION: TOP DE SIDE; POLES: 2; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CAST IRON; TYPE: MAIN OIL TANK VENT FAN; KEYWAY 5 MM WIDE X 3 MM DEEP | EA |
| 118 | 618387 | MOTOR, ELECTRIC: POWER: 0.18 KW; SPEED: 1370 RPM; FRAME: 63; CURRENT: 0.563 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE B14; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 11 X LG 22 MM; CONNECTION LOCATION: LEFT; POLES: 4; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: CAST IRON; TYPE: MILL PLANT | EA |
| 119 | 750509 | MOTOR, ELECTRIC: POWER: 3 KW; SPEED: 2880 RPM; FRAME: DX100LD; CURRENT: 6.2 A; POTENTIAL: 380 V; MOUNTING: FLANGE (B5); ENCLOSURE RATING: IP66; SHAFT SIZE: 28 MM; CONNECTION LOCATION: TOP; POLES: 2; INSULATION CLASS: H; PHASE: 3; CASING MATERIAL: CASING IRON; SERVICE FACTOR: S1; CONNECTION DELTA | EA |
| 120 | 566160 | MOTOR, ELECTRIC: POWER: 0.37 KW; SPEED: 1390 RPM; FRAME: 71M; CURRENT: 1.12 A; POTENTIAL: 380 V; MOUNTING: FLANGE B5; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 14 X LG 30 MM; CONNECTION LOCATION: TOP; POLES: 4; INSULATION CLASS: F; PHASE: 3; CASING MATERIAL: ALUMINIUM; SERVICE FACTOR: 0.69; TEMPERATURE CLASS: B; SPECIFICATION: EN50347; TYPE: DUTY CYCLES; REFERENCE NO: QS71M4B; 000101007190; REHEAT SAFETY & HP BYPASS VALVES; OIL FILTER MOTOR; DUTY CYCLES & COOLING METHOD 1C411; PAINT RAL6011-RESEDA GREEN; SOUND PRESSURE LEVEL 45DBA; TO BE MANUFACTURED ACCORDING TO SPECIFICATION | EA |
| 121 | 140716 | PUMP, ASSEMBLY: TYPE: MOTOR; REFERENCE NO: CA90 CALPEDA SPA; RATING 220/380 VOLT; 3/1.73 AMP; 0.75HP; 0.55KW; 2900RPM; 50HZ; 3 PHASE; DELEVERY 8/40 M 42/17 | EA |
| 122 | 139576 | MOTOR, ELECTRIC: POWER: 55 KW; SPEED: 2800 RPM; CURRENT: 3.3-1.9 A; POTENTIAL: 380 V; MOUNTING: FLANGE; ENCLOSURE RATING: IP67; INSULATION CLASS: F; PHASE: 3; TYPE: ACTUATOR; REFERENCE NO: MD71-2-60; VDE0532/72; MD 71-2-60; 50 HZ; STAR DELTA CONNECTION; S2-10 MIN | EA |
| 123 | 140045 | MOTOR, ELECTRIC: POWER: 110 KW; SPEED: 1480 RPM; FRAME: D280M; CURRENT: 217 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 80 X LG 170 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: D280MD; BEARINGS DE NUN4317, NDE 6314, CONNECTION DELTA/STAR, 50 HZ, IC0141 | EA |
| 124 | 140195 | MOTOR, ELECTRIC: POWER: 90 KW; SPEED: 1480 RPM; FRAME: 1LA6283-4AA0Z; CURRENT: 168-97 A; POTENTIAL: 380/660 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP54; SHAFT SIZE: DIA 75 X LG 138 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: 1LA6-283-4AA0Z; CONNECTION DELTA/STAR, 0.85 SERVICE FACTOR, 50 HZ | EA |
| 125 | 140243 | MOTOR, ELECTRIC: POWER: 55 KW; SPEED: 2955 RPM; FRAME: FA250MW2; CURRENT: 103-178 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 61 X LG 140 MM; POLES: 2; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: FA250MW2; CONNECTION STAR/DELTA, THE FRAME IS NOT STANDARD FOR A 55 KW, DISTANCE BETWEEN HOLES IN FOOT 349 MM, SHAFT DIAMETER 60 MM, REFER TO D250M FRAME DIMENSIONS, PUMP A AND B, 50 HZ | EA |
| 126 | 140279 | MOTOR, ELECTRIC: POWER: 75 KW; SPEED: 1480 RPM; FRAME: D280SD; CURRENT: 144 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 80 X LG 170 MM; CONNECTION LOCATION: DELTA; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: D280SD; BEARINGS DE 317 AND NDE 6314, CONNECTION DELTA, 50 HZ | EA |
| 127 | 140289 | MOTOR, ELECTRIC: POWER: 75 KW; SPEED: 1480 RPM; FRAME: D280SD; CURRENT: 147 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 80 X LG 170 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: D280SD; BEARINGS DE NU317 AND NDE 6317, PLANT TURBINE BEARING OIL PUMP, CONNECTION DELTA, 50 HZ, IC0141 | EA |
| 128 | 140290 | MOTOR, ELECTRIC: POWER: 90 KW; SPEED: 1480 RPM; FRAME: D280SQ; CURRENT: 177 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; B5 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 80 X LG 145 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: D280SQ; BEARINGS DE NU317 AND NDE 6314, CONNECTION DELTA, 50 HZ, IC0141 | EA |
| 129 | 140516 | MOTOR, ELECTRIC: POWER: 55 KW; SPEED: 1480 RPM; FRAME: D250SD; CURRENT: 101 A; POTENTIAL: 380 V 50 HZ; MOUNTING: V1 FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 70 X LG 140 X HT 275 MM; CONNECTION LOCATION: TOP; PHASE: 3; SUPPL P/N: D250SD; BEARINGS DE - NU313, NDE - 6312, CONNECTION DELTA | EA |
| 130 | 140524 | MOTOR, ELECTRIC: POWER: 55 KW; SPEED: 1390 RPM; FRAME: 80; CURRENT: 1.65 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 18 X LG 40 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: 150267643; COOL IC41, BEARINGS DE - 6204 2Z, NDE - 6303 2Z, CONNECTION STAR, 50 HZ, IC0141 | EA |
| 131 | 178965 | MOTOR, ELECTRIC: POWER: 160 KW; SPEED: 1487 RPM; FRAME: D315M; CURRENT: 291 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP65; SHAFT SIZE: DIA 85 X LG 175 MM; CONNECTION LOCATION: RH; INSULATION CLASS: F; PHASE: 3; SUPPL P/N: LA6311-4AA-AAAA; REFERENCE NO: D315; SIEMENS, CONNECTION DELTA, 50 HZ | EA |
| 132 | 178973 | MOTOR, ELECTRIC: POWER: 132 KW; SPEED: 1485 RPM; FRAME: D315S; CURRENT: 259 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP65; SHAFT SIZE: DIA 85 X LG 170 MM; CONNECTION LOCATION: LEFT FROM FAN COVER; INSULATION CLASS: F; PHASE: 3; TYPE: TRANSEVERSE CONVEYORS; CONNECTION DELTA, 50 HZ, IC41 | EA |
| 133 | 178978 | MOTOR, ELECTRIC: POWER: 132 KW; SPEED: 1485 RPM; FRAME: D315SD; CURRENT: 259 A; POTENTIAL: 380 VAC; MOUNTING: B5 FLANGE; ENCLOSURE RATING: IP65; SHAFT SIZE: DIA 85 X LG 170 MM; CONNECTION LOCATION: TOP; POLES: 4; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: D315SD; SUITABLE FOR OVERSILOS T3 & T5 (X4); LP HEATER DRAIN PUMPS U1-U6; CONNECTION BOX MUST BE ON TOP; 50 HZ, IC0141 | EA |
| 134 | 178982 | MOTOR, ELECTRIC: POWER: 55 KW; SPEED: 1480 RPM; FRAME: D250S; CURRENT: 101 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 70 X LG 142 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; REFERENCE NO: D250S; USED ON DIRTY DRAIN RECOVERY PUMPS, BEARING SIZES DRIVE END NU315, NON DRIVE END 6312, CONNECTION DELTA, 50 HZ | EA |
| 135 | 178983 | MOTOR, ELECTRIC: POWER: 75 KW; SPEED: 2965 RPM; FRAME: D250M; CURRENT: 134 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 60 X LG 142 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: DX1325; CONNECTION DELTA, 50 HZ | EA |
| 136 | 179001 | MOTOR, ELECTRIC: POWER: 185 KW; SPEED: 1440 RPM; FRAME: D315; CURRENT: 311 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 85 X LG 170 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: D315MX; CONNECTION DELTA, 50 HZ, IC0141 | EA |
| 137 | 179021 | MOTOR, ELECTRIC: POWER: 90 KW; SPEED: 2965 RPM; FRAME: D280SD; CURRENT: 163 A; POTENTIAL: 380 VAC; MOUNTING: FLANGE; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 65 X LG 150 X HT 275 MM; CONNECTION LOCATION: TOP; INSULATION CLASS: F; PHASE: 3; CONNECTION DELTA, 50 HZ; MUST HAVE TWO LIFTING POINTS; ONE ON EACH SIDE OF THE MOTOR; FOOT MOUNT NOT APPLICABLE; ONE ON EACH SIDE OF THE MOTOR, THE MOTOR IS MOUNTED VERTICALLY FLANGE DOWN | EA |
| 138 | 179049 | MOTOR, ELECTRIC: POWER: 160 KW; SPEED: 1485 RPM; FRAME: 315M; CURRENT: 295 A; POTENTIAL: 380 VAC; MOUNTING: FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 85 X LG 170 MM; INSULATION CLASS: F; PHASE: 3; REFERENCE NO: 1LA6316-4YA70; B3; K4119315; 315M; FOR BUCKET WHEEL COAL STACKER / RECLAIMER, CONNECTION DELTA, 1.0 SERVICE FACTOR, 50 HZ | EA |
| 139 | 186340 | MOTOR, ELECTRIC: POWER: 75 KW; SPEED: 1480 RPM; CURRENT: 148 A; POTENTIAL: 380 V; INSULATION CLASS: F; CONNECTION DELTA | EA |
| 140 | 197976 | MOTOR, ELECTRIC: POWER: 90 KW; SPEED: 985 RPM; FRAME: D315S; CURRENT: 174 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; SHAFT SIZE: DIA 85 MM; CONNECTION LOCATION: DELTA; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S1; BEARINGS DE NU318 NDE 6317, CONNECTION DELTA | EA |
| 141 | 217208 | MOTOR, ELECTRIC: POWER: 132 KW; SPEED: 2965 RPM; FRAME: 315S/M; CURRENT: 232 A; POTENTIAL: 380 VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; INSULATION CLASS: F; PHASE: 3; FOR HP FUEL OIL PUMP, CONNECTION DELTA, 50HZ | EA |
| 142 | 570880 | MOTOR, ELECTRIC: POWER: 90 KW; SPEED: 1480 RPM; FRAME: 280S/M; CURRENT: 164 A; POTENTIAL: 380 V; MOUNTING: FLANGE/FOOT; ENCLOSURE RATING: IP66; SHAFT SIZE: OD 80 MM; CONNECTION LOCATION: TOP; CLASSIFICATION: EFF1; POLES: 4; INSULATION CLASS: H; PHASE: 3; CASING MATERIAL: CI; SERVICE FACTOR: 1; TEMPERATURE CLASS: B | EA |
| 143 | 584499 | MOTOR, ELECTRIC: POWER: 185 KW; SPEED: 1440 RPM; FRAME: D315M; CURRENT: 311 A; POTENTIAL: 380 VAC; MOUNTING: B3; ENCLOSURE RATING: IP65; SHAFT SIZE: DIA 90 MM; CONNECTION LOCATION: LEFT HAND SIDE; TYPE: INDUCTION | EA |
| 144 | 585934 | MOTOR, ELECTRIC: POWER: 185 KW; SPEED: 1440 RPM; FRAME: D315S; CURRENT: 311 A; POTENTIAL: 380-400 V; MOUNTING: B3; ENCLOSURE RATING: IP65; SHAFT SIZE: DIA 170 X LG 85 MM; CONNECTION LOCATION: LEFT HAND SIDE; POLES: 4; INSULATION CLASS: F; PHASE: 3; TYPE: INDUCTION | EA |
| 145 | 698854 | MOTOR, ELECTRIC: POWER: 55 KW; SPEED: 980 RPM; FRAME: 280M; CURRENT: 117 A; POTENTIAL: 380 VAC; MOUNTING: B3; ENCLOSURE RATING: IP55; SHAFT SIZE: 80 MM; CONNECTION LOCATION: STAR; INSULATION CLASS: F; PHASE: 3; SERVICE FACTOR: S3; TYPE: SLIPRING INDUCTION MOTOR; REFERENCE NO: 1LT42836AA10Z; COOLING IC: 0141: POWER FACTOR: 0.78; FREQUENCY: 50 HZ; MASS: 770 KG; NDE BEARING: NU317 C3; DUTY CYCLE: S3/100 PCT; ROTOR VOLTAGE: 235 V; ROTOR CURRENT: 141 A | EA |
| 146 | 139998 | MOTOR ELEC: POWER: 75/9.4 KW; SPEED: 1475/730 RPM; FRAME: D280S/M; CURRENT: 140-36.5 A; POTENTIAL: 380VAC; MOUNTING: B3 FOOT; ENCLOSURE RATING: IP55; INSULATION CLASS: F; PHASE: 3; TYPE: INDUCTION; CONNECTION STAR/STAR; 50HZ; 0.87/0.45 SERVICE FACTOR | EA |

## Purchaser’s design

Clause 21.1 requires that the Purchaser states which parts of the goods he is to design.  Complete as required or delete.   Be careful not to duplicate what may already be covered in the Purchaser’s operating philosophy / user requirement specification (URS) / performance specification described elsewhere in this Goods Information.

None

## Procedure for submission and acceptance of Supplier’s design

This is a mandatory requirement of core clause 21.2 and must be addressed. Identify the extent of detail (the particulars) of the Supplier’s design which is to be submitted to the Supply Manager for his acceptance. .  State requirements for drawings to be prepared by the Supplier.

As stipulated n the Scope of Work of this document

## Other requirements of the Supplier’s design

Use this section to describe any particulars which must be taken into account by the Supplier in his design; for example codification of the goods.

The goods supplied must be bubbled wrapped during transportation and delivery  to site Matimba Power Station

## Use of Supplier’s design

First read core clause 22.1 and then include here the exceptions and other purposes if applicable.  If there are none this section could be deleted leaving the core clause to stand.

N/A

## Manufacture & fabrication

Although the Purchaser does not usually prescribe how the goods are to be manufactured and fabricated, if there are any specific requirements they could be stated here.

As per Original Equipment Manufacturer (OEM)

## Factory acceptance testing (FAT)

Core Clauses 40 and 41 both make reference to the Goods Information regarding tests and inspections.

There are often comprehensive requirements for testing at place of manufacture and before delivery. State whether the tests are to be witnessed by the Supply Manager or by a testing agency of the Purchaser’s nomination.  Note, Supplier may not restrict Supply Manager’s right to witness tests per clause 25.2

## Other tests and inspections and commissioning in place of use

Describe any other tests and inspections that may be required, specifically in the place of use.  If the Supplier is to commission the goods in the place of use after Delivery, describe the process here.  If he is only required to witness and report on the commissioning done by others, this would be included as a service in section 4 below.

## Operating manuals and maintenance schedules

Use this section to describe these requirements.  Pay particular attention to when and in what form they are required.  Consideration should be given to obtaining operating manuals and maintenance schedules before Delivery of the whole of the goods when there is still financial incentive for the Supplier to do so.

# Supply Requirements

Clause 11.2(16) defines Supply Requirements and clause 11.2(8) states that they are part of the Goods Information.  They can either be included here or as an Annexure to the Contract Data provided by the Purchaser because of their commercial nature.  Eskom has chosen to include them in the C1.2a Contract Data, hence include the following text here:

The Supply Requirements for this contract are in an Annexure to the Contract Data provided by the Purchaser.

# Specification of the services to be provided

These services may include training of the Purchaser’s staff in the use of the goods, supervision of installation of the goods on the Purchaser’s property and post Delivery commissioning and monitoring of the goods in use. Ensure that all items of service specified can be related to an item in the Price Schedule

# Constraints on how the Supplier Provides the Goods

## Programming constraints

Read clause 31.2 first then state what additional information (if any) is to go in the programme per the last bullet of clause 31.2.  Describe any particular constraints on the order and timing of the work which the Supplier must take into account in his programme.

## Work to be done by the Delivery Date

Clause 11.2(5) defines Delivery as when the Supplier has done all the work which the Goods Information states he is to do by the Delivery Date. The defined term “Delivery” is used in this contract to identify when a stage, or amount of work has been achieved. This may be more than the common meaning of “delivery” and could include the passing of specified tests, provision of documentation and packing and preparation for air freight or shipping to the Purchaser’s nominated Delivery Place specified in the Supply Requirements. Either list here what has to be done in order to constitute “Delivery”, or list what may remain undone and be completed after the Delivery Date by stating that everything else must be done before Delivery.

## Marking the goods

If this contract requires the goods be paid for before they are brought within the Delivery Place, core clause 71.1 requires that the Goods Information state how the Supplier is to “mark” the goods

## Constraints at the delivery place and place of use

State any constraints on how the Supplier is to provide the goods and services both at the delivery place and where the goods and services are to be put into use, e. g. restriction on access, hours of working and sequence of work.  Sites such as Sasol Secunda and Koeberg Nuclear Power Station have very strict entrance requirements which tenderers need to allow for in their prices, and the Supplier has to comply with.  State these or similar requirements here.

## Cooperating with Others

Although not a direct requirement of the conditions of contract if the Purchaser is aware of the Supplier’s need to co-operate with Others (for example where the supply is to one of the Purchaser’s contractor’s on a project or design of the goods needs to be discussed with Others) details could be given here.

## Services & other things to be provided by the Purchaser or Supplier

Clause 23.2 requires that the Goods Information state what services and other things are to be provided by the Parties, each to the other as part of the supply process. This has nothing to do with the services identified in the Contract Data. It would include temporary services and things needed to facilitate the supply, such as cranes provided by the Purchaser for offloading of the goods.

## Management meetings

The conditions of contract (e.g. Clause 16.2) require and other sections of the Goods Information (e.g. safety risk management) may require (mandate) that a meeting shall be held.  However the intention of all NEC contracts is that the Parties and their agents use the techniques of partnering to manage the contract by holding meetings designed to pro actively and jointly manage the administration of the contract with the objective of minimising the adverse effects of risks and surprises for both Parties.

Depending on the complexity of the goods, it is probably beneficial for the Supply Manager to hold a regular risk register meeting (Clause 16.2).  This could be used to discuss safety, compensation events, subcontracting, overall co-ordination and other matters of a general nature.  Separate meetings for specialist activities such as programming, engineering and design management, may also be warranted.

Describe here the general meetings and their purpose. Provide particulars of approximate times, days, location, and attendance requirements, stipulating that attendees shall have the necessary delegated authority to make decisions in respect of matters raised at such meetings.

The right to hold specialist meetings should be stated generically and in such a way that ambiguity with other parts of the Goods Information is avoided.

The following text could be used as a model for this section:

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Risk register and compensation events | Weekly on ________ at ___ |  |  |
| Overall contract progress and feedback | Monthly on _____ at ___ |  | Purchaser, Supplier, and ___ |

Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## Documentation control

Specify how documentation will be identified with an alpha numeric which indicates source, recipient, communication number etc.  Provide details of any particular format or other constraints; for example that all contractual communications will be in the form of properly compiled letters or forms attached to e mails and not as a message in the e mail itself.  State any particular routing requirements but note from SC who issues what to whom.

## Health and safety risk management

In addition to the requirements of the laws governing health and safety, the Purchaser may have some additional requirements particular to the goods and the location where they are to be delivered for this contract.  This is a requirement of clause 25.4.

The Supplier shall comply with the health and safety requirements [stated here or contained in Annexure ___________ to this Goods Information].

## Environmental constraints and management

Describe or cross refer to environmental constraints applicable to the Supplier’s design of the goods if not already included in the Purchaser’s URS.

The Supplier shall comply with the environmental criteria and constraints [stated here or contained in Annexure ________ ]

## Quality

Specify minimum requirements for the Supplier’s Quality Plan and Work Procedures if required and not already covered in the specifications for the goods.  State whether ISO compliance is a condition and if so which ISO standard shall apply.

## Invoicing and payment

List the information that is to be shown by the Supplier on his invoices.  State any other requirements relating to payment.   For example:

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.

The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

Name and address of the Supplier and the Supply Manager;

The contract number and title;

Supplier’s VAT registration number;

The Purchaser’s VAT registration number.

Description of goods and services provided for each item invoiced based on the Price Schedule;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

(add other as required)

Add procedures for invoice submission and payment (e. g. electronic payment instructions)

The following Eskom Life Saving Rules applies when entering premises.

a. Open, isolate, earth, bond or and isolate before touch.

b. Hook up at heights.

c. Buckle up.

d. Be sober.

e. Permit to work.

## Insurance provided by the Purchaser

First read SC3 Core Clause 84.1 and then add anything necessary for the management of insurance related issues such as a cross reference to where procedures for making claims can be found.  Also provide contact details for persons capable of being able to answer any insurance related queries the Supplier may have, as well as to whom the information required by any Marine Insurance may be addressed.

## Contract change management

This section is intended to deal with any additional requirements to the compensation event clauses in section 6 of the core clauses; such as the use of standard forms.  Not the same thing as documentation control.

## Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Supplier is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.

The Purchaser may withhold payment of amounts due to the Supplier until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Supplier by the Supply Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Supplier does not affect the Purchaser’s right to termination stated in this contract.

## Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier

Read clause 63.2 and 11.2(4) and then state whether the Supplier is required to keep any records of Defined Cost.  Include any other constraint which may be required in regard to format and filing of the records, and whether access for the Supply Manager shall be provided in hard copy or electronically.

# Procurement

## Subcontracting

### Preferred subcontractors

SC does not make use of nominated subcontracting, but the Purchaser may list which subcontractors or sub-suppliers the Supplier is required to enter into subcontracts with (if any).  This is usually only required where plant and materials need to be obtained from a particular supplier or group of suppliers in order to comply with operational standards for the goods.

### Limitations on subcontracting

The Purchaser may require that the Supplier must subcontract certain specialised work, or that the Supplier shall not subcontract more than a specified proportion of the whole of the contract.

### Spares and consumables

Some contracts may need to include provision for the supply of a minimum category of spares, fuel, oil or other consumables which the Purchaser may need at or just after delivery or commissioning of the goods and that it is best the Supplier provide these initially as part of his Providing the Goods and Services

### Other requirements related to procurement

Other requirements such as ASGISA or socio political enhancements the Supplier is to provide as part of Providing the Goods and Services (if any) could be included here.

### Cataloguing requirements by the Supplier

State whether cataloguing is applicable, if it is, reference the requirements for cataloguing that need to be satisfied by the Supplier (consult Procurement Instruction Number 1 of 2018 – Incorporating Cataloguing into the Procurement Environment, Unique Identifier 240-1289988974).

# List of drawings

## Drawings issued by the Purchaser

This is the list of drawings issued by the Purchaser at or before the Contract Date and which apply to this contract.

| Drawing number | Revision | Title |
| --- | --- | --- |

# C3.2	Supplier’s Goods Information

This section of the Goods Information will always be contract specific depending on the nature of the goods and services. It is most likely to be required for supply contracts where the tendering supplier will have proposed specifications and schedules for the goods and services, which once accepted by the Purchaser prior to award of contract now become obligations of the Supplier per core clause 20.1.

This section could also be compiled as a separate file.

This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.

International Chamber of Commerce, Incoterms 2010, Paris, January 2011

Either April 2013 or December 2009 Edition as stated by Purchaser in Contract Data part 1.

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902, or www.ecs.co.za