eskom holdings soc ltd

	[image: image1.jpg]R Eskom






NEC3 Engineering & Construction Contract
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30) 

	and


	[Insert at award stage]
(Reg No. ___________ )

	for


	Matimba Power Station Passive fire protection of cable spreading area Insert title of the works

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	[●]

	Part C2
	Pricing Data
	[●]

	Part C3
	Scope of Work
	[●]

	Part C4
	Site Information
	[●]

	
	
	

	CONTRACT No.
	[Insert at award stage]

	
	

	
	

	
	


Part C1: Agreements & Contract Data
	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 

[to be inserted from Returnable Documents at award stage]
	[●]

	C1.2a
	Contract Data provided by the Employer
	[●]

	C1.2b
	Contract Data provided by the Contractor
[to be inserted from Returnable Documents at award stage]
	[●]

	C1.3
	Proforma Guarantees
	[●]


C1.1 Form of Offer & Acceptance

Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Passive fire protection of cable spreading area
The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

Delete the Options which do not apply

	Options A 
	The offered total of the Prices exclusive of VAT is 
	R [●]

	
	Sub total
	R [●]

	
	Value Added Tax @ 15% is
	R [●]

	
	The offered total of the amount due inclusive of VAT is

	R [●]

	
	(in words) [●]



This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	Tenderer’s CIDB registration number (if applicable) 
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work: Works Information

Part C4

Site Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy signed between them of this document, including the Schedule of Deviations (if any).  

Unless the tenderer (now Contractor) within five working days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the Parties.

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Employer


	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Employer prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	N/A
	N/A
	N/A


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Employer



	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	(Insert name and address of organisation)



	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 ECC3 Contract Data

Part one - Data provided by the Employer
	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for main Option 
	

	
	
	A:

Priced contract with activity schedule

	
	dispute resolution Option
	W1:
Dispute resolution procedure

	
	and secondary Options 
	

	
	
	X1:

Price adjustment for inflation

	
	
	X2

Changes in the law

	
	
	X7:

Delay damages

	
	
	X16:
Retention

	
	
	X18:
Limitation of liability 

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Engineering and Construction Contract, April 2013 (ECC3)
	If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data

	10.1
	The Employer is (Name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	10.1
	The Project Manager is: (Name)
	TBC

	
	Address
	Matimba Power Station, Nelson Mandela Rd, Lephalale, 0555

	
	Tel
	TBC

	
	Fax
	TBC

	
	e-mail
	TBC

	10.1
	The Supervisor is: (Name)
	TBC

	
	Address
	Matimba Power Station, Nelson Mandela Rd, Lephalale, 0555

	
	Tel No.
	TBC

	
	Fax No.
	TBC

	
	e-mail
	TBC

	11.2(13)
	The works are 
	Passive fire protection of cable spreading area at Matimba Power Station

	11.2(14)
	The following matters will be included in the Risk Register
	-
Work will be done in confined spaces

-
Live wires, damaged cables will pose a risk
-     Dusty area

- 
Snakes
-     Confined space

	11.2(15)
	The boundaries of the site are 
	Matimba Power Station

	11.2(19)
	The Works Information is in  
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	3 working days

	2
	The Contractor's main responsibilities
	Data required by this section of the core clauses is provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. 

	3
	Time
	

	11.2(3)
	The completion date for the whole of the works is
	TBC

	30.1
	The access dates are:
	Part of the Site
	Date

	
	
	1
	Passive fire protection of cable spreading area
	As per the accepted Schedule



	31.1
	The Contractor is to submit a first programme for acceptance within 
	2 weeks of the Contract Date.

	31.2
	The starting date is
	TBC

	32.2
	The Contractor submits revised programmes at intervals no longer than 
	1 week.

	35.1
	The Employer is not willing to take over the works before the Completion Date.
	

	4
	Testing and Defects
	

	42.2
	The defects date is 
	52 weeks after Completion of the whole of the works.

	43.2
	The defect correction period is 
	5 calendar days

	5
	Payment
	

	50.1
	The assessment interval is 
	between the 25th day of each successive month.

	51.1
	The currency of this contract is the 
	South African Rand.

	51.4
	The interest rate is 
	the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 

(ii) the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove.

	6
	Compensation events
	

	60.1(13)
	The place where weather is to be recorded is:
	Matimba Power Station

	
	The weather measurements to be recorded for each calendar month are, 
	the cumulative rainfall (mm)

	
	
	the number of days with rainfall more than 10 mm

	
	
	the number of days with minimum air temperature less than 0 degrees Celsius

	
	
	the number of days with snow lying at 09:00 hours South African Time

	
	
	and these measurements:

	
	The weather measurements are supplied by
	The South African Weather Service

	
	The weather data are the records of past weather measurements for each calendar month which were recorded at: 
	Matimba Power Station

	
	and which are available from: 
	the South African Weather Bureau and included in Annexure A to this Contract Data provided by the Employer

	7
	Title
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	8
	Risks and insurance
	

	80.1
	These are additional Employer's risks  
	None

	9
	Termination
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	10
	Data for main Option clause
	

	A
	Priced contract with activity schedule
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	11
	Data for Option W1
	

	W1.1
	The Adjudicator is 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	W1.2(3)
	The Adjudicator nominating body is:
	the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the London Institution of Civil Engineers. (See www.ice-sa.org.za ) or its successor body.

	W1.4(2)
	The tribunal is: 
	arbitration.

	W1.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	Gauteng, South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	12
	Data for secondary Option clauses
	

	X2
	Changes in the law
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X7
	Delay damages (but not if Option X5 is also used)
	

	X7.1
	Delay damages for Completion of the whole of the works are
	2% per day up to the maximum of 10% of the contract value.

	X15
	Limitation of the Contractor’s liability for his design to reasonable skill & care
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X16
	Retention 
	

	X16.1
	
	

	
	The retention percentage is
	5% of each invoice value, 50% to be released on completion of the works and the remaining 50% will be released after the defects period

	X18
	Limitation of liability
	

	X18.1
	The Contractor’s liability to the Employer for indirect or consequential loss is limited to:
	The total of the Prices

	X18.2
	For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to:
	the amount of the deductibles relevant to the event 

	X18.4
	The Contractor’s total liability to the Employer for all matters arising under or in connection with this contract, other than excluded matters, is limited to:
	the total of the Prices other than for the additional excluded matters.

The Contractor’s total liability for the additional excluded matters is not limited. 

The additional excluded matters are amounts for which the Contractor is liable under this contract for

· Defects due to his design which arise before the Defects Certificate is issued,

· Defects due to manufacture and fabrication outside the Site,

· loss of or damage to property (other than the works, Plant and Materials),

· death of or injury to a person and 

· infringement of an intellectual property right.

	X18.5
	The end of liability date is 
	(i) 05 years after the defects date for latent Defects and 
(ii) the date on which the liability in question prescribes in accordance with the Prescription Act No. 68 of 1969 (as amended or in terms of any replacement legislation) for any other matter.

A latent Defect is a Defect which would not have been discovered on reasonable inspection by the Employer or the Supervisor before the defects date, without requiring any inspection not ordinarily carried out by the Employer or the Supervisor during that period. 

If the Employer or the Supervisor do undertake any inspection over and above the reasonable inspection, this does not place a greater responsibility on the Employer or the Supervisor to have discovered the Defect.

	Z
	The Additional conditions of contract are
	Z1 to Z15 always apply.

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract.

	Z2.2
	Unless already notified to the Employer, the persons or organisations notify the Project Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf.

	Z2.3
	The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z3.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Project Manager within thirty days of the notification or as otherwise instructed by the Project Manager.

	Z3.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works.

	Z3.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Project Manager.

	Z4.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the works or any portion thereof, in the course of Providing the Works and after Completion, requires the prior written consent of the Project Manager.  All rights in and to all such images vests exclusively in the Employer.  

	Z4.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Project Manager, the Supervisor, or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 27.4

	Z6.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor:

· accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Site;

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and

· undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Works Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete from the last sentence in core clause 61.3, “unless the Project Manager should have notified the event to the Contractor but did not”.

	
	

	Z9
	Employer’s limitation of liability

	Z9.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Contractor’s entitlement under the indemnity in 83.1 is provided for in 60.1(14) and the Employer’s liability under the indemnity is limited.

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Addition to secondary Option X7 Delay damages (if applicable in this contract)

	Z11.1
	If the amount due for the Contractor’s payment of delay damages reaches the limits stated in this Contract Data for Option X7 or Options X5 and X7 used together, the Employer may terminate the Contractor’s obligation to Provide the Works using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table.

	
	


	Z12
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractor or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z12.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z12.2
	The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason.

	Z12.3
	If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z12.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation.

	
	

	Z13
	Insurance

	Z 13.1
	Replace core clause 84 with the following:


	Insurance cover
	84
	

	
	
	

	
	84.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force.

	
	
	

	
	84.2
	The Contractor provides the insurances stated in the Insurance Table A.

	
	
	

	
	84.3
	The insurances provide cover for events which are at the Contractor’s risk from the starting date until the earlier of Completion and the date of the termination certificate.

	
	
	

	
	
	INSURANCE TABLE A
Insurance against
Minimum amount of cover or minimum limit of indemnity
Loss of or damage to the works, Plant and Materials
The replacement cost where not covered by the Employer’s insurance
The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance
Loss of or damage to Equipment
The replacement cost
Liability for loss of or damage to property (except the works, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) caused by activity in connection with this contract
Loss of or damage to property

Employer’s property

The replacement cost where not covered by the Employer’s insurance
The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance
Other property

The replacement cost

Bodily injury to or death of a person 

The amount required by applicable law
Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract
The amount required by the applicable law


	
	
	

	Z 13.2
	
	Replace core clause 87 with the following:
The Employer provides the insurances stated in the Insurance Table B.

	
	
	

	
	
	

	
	
	

	
	
	INSURANCE TABLE B
Insurance against or name of policy
Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document
General and Public Liability

Per the insurance policy document
Transportation (Marine)

Per the insurance policy document
Motor Fleet and Mobile Plant

Per the insurance policy document
Terrorism

Per the insurance policy document
Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption
Per the insurance policy document
Nuclear Material Damage Terrorism
Per the insurance policy document



	Z14
	Nuclear Liability

	Z14.1
	The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z14.2
	The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z14.3
	Subject to clause Z14.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z14.4
	The Employer does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter.

	Z14.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	
	

	Z15
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means  airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z15.1
	The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z15.2
	Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z15.3
	The Employer manages asbestos and ACM according to the Standard.

	Z15.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z15.5
	The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z15.6
	The Contractor continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001.

	Z15.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation.


C1.2 Contract Data

Part two - Data provided by the Contractor
Notes to a tendering contractor:

1. Please read both the NEC3 Engineering and Construction Contract (April 2013) and the relevant parts of its Guidance Notes (ECC3-GN)
 in order to understand the implications of this Data which the tenderer is required to complete.  An example of the completed Data is provided on pages 156 to 158 of the ECC3 (April 2013) Guidance Notes.

2. The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

3. Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	10.1
	The Contractor is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The direct fee percentage is
	     %

	
	The subcontracted fee percentage is
	     %

	11.2(18)
	The working areas are the Site and
	     

	24.1
	The Contractor's key persons are:
	

	
	1
Name:
	     

	
	
Job:
	     

	
	
Responsibilities:
	     

	
	
Qualifications:
	     

	
	
Experience:
	     

	
	2
Name:
	     

	
	
Job
	     

	
	
Responsibilities:
	     

	
	
Qualifications:
	     

	
	
Experience:
	     

	
	
	CV's (and further key persons data including CVs) are appended to Tender Schedule entitled     .

	11.2(3)
	The completion date for the whole of the works is
	     

	11.2(14)
	The following matters will be included in the Risk Register
	     

	11.2(19)
	The Works Information for the Contractor’s design is in:
	     

	31.1
	The programme identified in the Contract Data is
	     

	A
	Priced contract with activity schedule
	

	11.2(20)
	The activity schedule is in
	     

	11.2(30)
	The tendered total of the Prices is
	      (in figures) 

      (in words), excluding VAT 

	
	Data for Schedules of Cost Components
	Note “SCC” means Schedule of Cost Components starting on page 60, and “SSCC” means Shorter Schedule of Cost Components starting on page 63 of ECC3 (April 2013).

	A
	Priced contract with activity schedule
	Data for the Shorter Schedule of Cost Components


Part 2: Pricing Data

ECC3 Option A

	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option A
	     

	C2.2
	The activity schedule  
	     


C2.1 Pricing assumptions: Option A

How work is priced and assessed for payment

Clause 11 in NEC3 Engineering and Construction Contract, (ECC3) Option A states:

	Identified and defined terms
	11

11.2
	(20) The Activity Schedule is the activity schedule unless later changed in accordance with this contract.



	
	
	(27) The Price for Work Done to Date is the total of the Prices for 

· each group of completed activities and

· each completed activity which is not in a group.

A completed activity is one which is without Defects which would either delay or be covered by immediately following work.



	
	
	(30) The Prices are the lump sum prices for each of the activities on the Activity Schedule unless later changed in accordance with this contract.




This confirms that Option A is a lump sum form of contract where the work is broken down into activities, each of which is priced by the tendering contractor as a lump sum.   Only completed activities are assessed for payment at each assessment date; no part payment is made if the activity is not completed by the assessment date. 

Function of the Activity Schedule

Clause 54.1 in Option A states: “Information in the Activity Schedule is not Works Information or Site Information”.  This confirms that specifications and descriptions of the work or any constraints on how it is to be done are not included in the Activity Schedule but in the Works Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Works in accordance with the Works Information”. Hence the Contractor does not Provide the Works in accordance with the Activity Schedule.  The Activity Schedule is only a pricing document.  

Link to the programme

Clause 31.4 states that “The Contractor provides information which shows how each activity on the Activity Schedule relates to the operations on each programme which he submits for acceptance”.  Ideally the tendering contractor will develop a high level programme first then resource each activity and thus arrive at the lump sum price for that activity both of which can be entered into the activity schedule.  

Preparing the activity schedule
Generally it is the tendering contractor who prepares the activity schedule by breaking down the work described within the Works Information into suitable activities which can be well defined, shown on a programme and priced as a lump sum.

The Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in his activity schedule and be priced accordingly. 

It is assumed that in preparing his activity schedule the Contractor:
· Has taken account of the guidance given in the ECC3 Guidance Notes pages 19 and 20;

· Understands the function of the Activity Schedule and how work is priced and paid for;

· Is aware of the need to link the Activity Schedule to activities shown on his programme;

· Has listed and priced activities in the activity schedule which are inclusive of everything necessary and incidental to Providing the Works in accordance with the Works Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;
· Has priced work he decides not to show as a separate activity within the Prices of other listed activities in order to fulfil the obligation to complete the works for the tendered total of the Prices. 
· Understands there is no adjustment to the lump sum Activity Schedule price if the amount, or quantity, of work within that activity later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event. 
C2.2 the activity schedule
Use this page as a cover page to the Contractor’s activity schedule.  

Activity Schedule
	ACTIVITY SCHEDULE


	Unit
	Quantity 


	Rate 


	Amount 



	INTUMESCENT COATING
	
	
	
	

	Coating of cables
	
	
	
	

	Surface preparation/cleaning of cables
	Sum
	1
	
	

	Intumescent coating
	Sum
	1
	
	

	
	
	
	
	

	FIRE RATED PENETRATION SEALS
	
	
	
	

	Openings in floors/walls
	Sum
	1
	
	

	
	
	
	
	

	MODIFICATION OF EXISTING FIRE DOORS
	
	
	
	

	Concrete ramp
	Each
	5
	
	

	Door closer
	Each
	5
	
	

	
	
	
	
	

	PRELIMINARY AND GENERAL 
	
	
	
	

	Accommodation 
	Month
	9
	
	

	Transportation 
	Month
	9
	
	

	Delivery cost 
	Sum
	1
	
	

	Safety Officer
	Month
	9
	
	

	Site Supervisor
	Month
	9
	
	

	Project Manager 
	Month
	9
	
	

	Environmental Officer
	Month
	9
	
	

	
	
	
	
	

	PPE
	Sum
	1
	
	

	Health and Safety Costing
	Sum
	1
	
	

	Site establishment & de-establishment
	Sum
	1
	
	

	
	
	
	
	

	Total
	
	
	
	


Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Employer’s Works Information
	

	C3.2
	Contractor’s Works Information

(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Employer’s works Information

Contents

1Part 3: Scope of Work

C3.1: Employer’s works Information
2
1
Description of the works
4
1.1
 Executive overview
4
1.2
Employer’s objectives and purpose of the works
4
1.3
Interpretation and terminology
4
2
Management and start up.
5
2.1
Management meetings
5
2.2
Documentation control
6
2.2.1 Document Management
6
2.2.2 Documents Submission
6
2.2.3 Documentation Review and Turn-around
7
2.2.4 Drawings Format and Layout
7
2.3
Plant Identification
7
2.3.1 Plant Coding
7
2.4
Health and safety risk management
8
2.4.1
General
8
2.4.2
Mandatory Agreements
9
2.4.3
Health and Safety Obligations
10
2.4.4
Eskom Life Saving Rules
10
2.4.5
Matimba Permit to Work System
12
2.4.6
Health and Safety Plan (Construction Regulations)
12
2.4.7
Housekeeping
13
2.4.8
Barricading
13
2.4.9
Radiographic examinations
13
2.4.10
Scaffolding
13
2.4.11
Fire Protection
13
2.5
 Environmental constraints and management
14
2.5.1
Waste Management
14
2.5.2
Rehabilitation
14
2.5.3
Hazardous Waste
14
2.5.4
Environmental Management
15
2.6
Quality assurance requirements
15
2.6.1
Quality Management System
15
2.6.2
Quality Documents Submitted with the Tender
15
2.6.3
Quality Documents Submitted after the Contract Date
15
2.6.4
Contract Quality Management Plan Requirement
16
2.6.5
Quality Control Plan
16
2.6.6
Inspection and Testing
16
2.6.7
Quality Records
17
2.6.8
Quality Reporting
17
2.6.9
Preservation, shipping and transportation
17
2.7
Programming constraints
18
2.7.1
General
18
2.7.2
Computerised Planning
18
2.7.3
Planning and Scheduling Levels
18
2.7.4
Planning Programmes
18
2.8
Contractor’s management, supervision and key people
19
2.9
Invoicing and payment
19
2.10
Contract change management
20
2.11
Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor
20
3
Engineering and the Contractor’s design
20
3.1
Employer’s design
20
3.2
Parts of the works which the Contractor is to design
21
3.2.1
Work to be performed
21
3.2.2
Coating of cables
21
3.2.3
Fire barriers
22
3.2.4
Modification of existing fire door basis
24
3.2.5
Labelling of fire rated coatings and barriers
24
4
Procurement
24
4.1
People
24
4.1.1
Minimum requirements of people employed on the Site
24
4.2
Subcontracting
25
4.2.1
Preferred subcontractors
25
4.2.2
Subcontract documentation, and assessment of subcontract tenders
25
4.3
Plant and Materials
25
4.3.1
Quality
25
4.3.2
Plant & Materials provided “free issue” by the Employer
25
4.3.3
Contractor’s procurement of Plant and Materials
26
4.3.4
Storage
27
4.3.5
Spares and consumables
27
4.5
Tests and inspections before delivery
27
4.6
Marking Plant and Materials outside the Working Areas
27
4.7
Contractor’s Equipment (including temporary works).
27
5
Construction
28
5.1
Housekeeping
28
5.2
Temporary works, Site services & construction constraints
28
5.2.1
Employer’s Site entry and security control, permits, and Site regulations
28
5.2.2 Access to Site
29
5.2.3 People restrictions on Site; hours of work, conduct and records
29
5.2.4 Health and safety facilities on Site
29
5.2.6 Environmental controls, fauna & flora, dealing with objects of historical interest
29
5.2.7 Title to materials from demolition and excavation
30
5.2.8 Cooperating with and obtaining acceptance of Others
30
5.2.9 Publicity and progress photographs
30
5.2.10 Contractor’s Equipment
30
5.2.11
Equipment provided by the Employer
30
5.2.12
 Site services and facilities
31
5.2.12.1 Site Yard
31
5.2.12.8 Survey control and setting out of the works
32
5.2.12.9 Excavations and associated water control
32
5.2.12.10 Underground services, other existing services, cable and pipe trenches and covers
32
5.3 Control of noise, dust, water and waste
32
5.3.1 Start-up procedures required to put the works into operation
33
5.3.2 Take over procedures
33
5.4
Completion, testing, commissioning and correction of Defects
34
5.4.1 Work to be done by the Completion Date
34
5.4.2 Use of the works before Completion has been certified
34
5.4.3
Materials facilities and samples for tests and inspections
34
5.4.4
Test certificates
34
5.4.5
Labelling of fire rated coatings and seals
34
5.4.6
Commissioning
35
5.4.7
Start-up procedures required to put the works into operation
35
5.4.8
Completion
35
5.4.9
Take over procedures
35
5.4.10
Access given by the Employer for correction of Defects
35
6
List of drawings
35
6.1
Drawings issued by the Employer
35


1
Description of the works
1.1

Executive overview 

Electrical cables in groups are one of the major fire hazards at power plants. Electrical cables present the following hazards: 

· The cable insulation is a large source of combustible material. 
· Fire can spread quickly along cable routes throughout the power plant. 
· Cables exposed to small intensity fires can result in major damage to plant and equipment. 
· Exposure to toxic and corrosive gases from electrical cable fires is a risk to life, safety, plant and equipment. 
· Electrical cables are a potential source of ignition. 

This document focuses on the cable spreading areas in the Matimba Power Station Auxiliary Bay on 7.3- and 13.8-Meter Level (ML). Typically grouped electrical cable spreading areas are protected with sprinkler systems. Since the Matimba cable spreading areas have not originally been designed with a sprinkler system in mind and drainage has not been allowed for, sprinkler protection (or any type of water-based protection) cannot be considered. The added risk with regards to water-based protection is that the equipment and switchgear rooms are located below the cable spreading area and the possibility exists of water flowing into these areas without the appropriate isolations. The scope of this document focuses on passive fire protection of the auxiliary bay cable spreading areas on 7.3 ML and 13.8 ML at Matimba Power Station.

The scope of work includes the following:

· Partial coating of all grouped cables on cable racks with a 2-hour rated fire resistant coating.
· Installation of new and repair of existing damaged fire penetrant seals.
· Modification of existing fire door bases.
1.2
Employer’s objectives and purpose of the works
The Employer’s objective is to reduce the fire hazard to as low as reasonably practicable on the plant and in doing so reducing the potential safety impact to personnel and damage to plant in the event of a fire.
1.3
Interpretation and terminology

The following abbreviations are used in this Works Information:
	Abbreviation
	Meaning given to the abbreviation

	C&I 
	Control and Instrumentation

	CHS
	 Circular Hollow Section 

	CoC
	Certificate of Compliance

	CPA
	Cost Price Adjustment 

	CPM
	Critical Path Method

	ECAS
	Eskom Catering and Accommodation Services

	FRA
	Forecast rate of Payment

	FRI
	Forecasted Rate of Invoicing 

	Gx
	Generation

	KKS
	Kraftwerk-Kennzeichnung system developed by the VGB (Germany) Plant Codification System

	LAR
	Limited Access Register

	MDL
	Master Document List

	ML
	Meter Level

	NCR
	Non-conformance reports

	ND
	Nominal Diameter 

	NEC
	New Engineering Contract

	NEMA
	National Environmental Management Act 

	OHSA
	Occupational Health and Safety Act

	ORHVS
	Operating Regulations for High Voltage Systems 

	PPE
	Personal Protective Equipment

	PTW
	Permit to Work

	QAP
	Quality Assurance Programme 

	QCP
	Quality Control Plan

	SAQCC
	South African Quality Control Certificate 

	SOW 
	Scope of Work

	VDSS
	Vendor Document Submittal Schedule


2
Management and start up.

2.1
Management meetings

Meetings are held monthly between the Project Manager and the Contractor (and any other co-opted members). The Contractor is represented, at each meeting, by the appropriate members of the staff.

The venue for these meetings is as determined by the Project Manager. The Project Manager writes the minutes of meetings.

Any action of the Project Manager or Contractor implied in the minutes of meetings with contractual implications is confirmed by means of a separate communication given in accordance with this Works Information and NEC.

The Contractor reports the overall progress and as a minimum requirement, the following is

addressed:

· Contractor’s current activity progress and planned finish dates,
· Contractor’s programme agenda compared for delays and milestone targets,
· Health, safety, environmental and quality Management,
· The progress of any other relevant activities,
· To discuss any technical or commercial issues,
· Problem areas or concerns.

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Project Kick-Off Meeting
	Once, before contract start 
	Matimba Power Station
	Contractor’s Project Manager, Project Supervisor and other attendees at the discretion of the contractor.

Employer’s Project Team

	Progress Meeting
	TBC 
	Matimba Power Station
	TBC



	Progress Report 
	TBC 
	Matimba Power Station
	TBC

	Risk Management Review 
	TBC
	Matimba Power Station
	TBC


Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the works.  Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

2.2
Documentation control

2.2.1 Document Management

The documentation requirements cover the various engineering stages, from the design stage through fabrication, installation, testing and commissioning and most importantly for the operating, maintenance and training stage of the project.

The Contractor is responsible for the compilation and the supply of the documentation during the various project stages and to provide the documentation programme to link with the milestone dates. Documentation and drawings are programmed for delivery to meet the milestone dates and in accordance with the agreed VDSS supplied Employer.

2.2.2 Documents Submission
All documents and records are submitted according to Technical Document and Record Management Work Instruction (240-76992014) and Gx Projects Documentation Deliverable Requirements Specification (240-65459834) and the Employer ensures that the Contractor is provided with latest revisions of all these documents. In order to portray a consistent image it is important that all documents used within the project follow the same standards of layout, style and formatting as described in the documents above. The Contractor is required to submit documents as electronic in .pdf format in a CD and hard copies and are delivered to the Project Manager with a transmittal note.

The Contractor submits the Master Document List (MDL) to the Employer on a monthly basis for tracking purposes irrespective of whether there are updates or not. The MDL includes list of drawings and documents and contains the following minimum information for each document: 

· Date of submission

· Transmittal number

· Transmittal title

· Document description

· Document number

· Document Type

· Revision number

· Document Approval Status

· Document Authorisation Status (i.e. Accepted With Comments, Not Accepted with

· Comments, Accepted)

2.2.3 Documentation Review and Turn-around

The Employer has a minimum four working days to review and consolidate review comments for documentation submitted by the Contractor. The Contractor also has a minimum four working days to respond and / rectify as per the comments by the Employer.

2.2.4 Drawings Format and Layout
The creation, issuing and control of all Engineering Drawings are in accordance with the latest revision of 240-86973501 (Engineering Drawing Office and Engineering Documentation Standard). Drawings issued to the Employer are a minimum of one hardcopy and an electronic copy. All Contractors are required to submit electronic drawings in Micro Station (DGN) format, and scanned drawings in pdf format. No drawings in TIFF, AUTOCAD or any other electronic format are accepted. Drawings issued to the Employer may not be “Right Protected” or encrypted. The Employer reserves the right to use these drawings to meets it other contractual obligations.
2.3
Plant Identification
2.3.1 Plant Coding

Coding of the design is based on the KKS coding system and the Employer undertakes the coding in line with its standards. The KKS coding is applied during the design review stage(s) and cross referenced to all arrangement drawings, schematics, wiring diagrams, instructions and manuals and where practical to spare parts list/manuals. The Contractor is required to include allocated coding to the electronic design drawings.

The Contractor to use the KKS system for classifying and designating both plant and their associated documents. All technical documentation as per “Technical documentation classification and designation standard – 240-54179170” contain a KKS code as part of the documentation identification relevant to the plant equipment. All plant (Process, Mechanical, Electrical, C&I and Civil) to be coded to KKS breakdown level 3. The KKS code contains break down level 1, break down level 2 and breakdown level 3. Omission of any break down level is not permitted. The system is applied from the concept stage until project closeout. 

Detailed nameplate or label list with the service legends and including the KKS Code to be prepared by the Contractor and submitted to the Project Manager for review and comment before commencing manufacture of the labels. All maintainable plant equipment and components to be labelled including pipework and cabling. The rules for applying the KKS and the KKS codes are contained in the Employer’s Standard 240-93576498: KKS Coding Standard and in the publication KKS power plant classification (B105e) 5th Edition 2003 published by Verlag VGB PowerTech Service GmbH (Essen), and the KKS Applications: Guideline and explanations A, B1-4 (B106e).

The Contractor to code all plant within scope of supply according to the KKS Classification System to Breakdown Level 3 where possible. The relevant KKS codes thus allocated appear on all plant related documentation, drawings, lists and correspondence. 

The Contractor is responsible for ensuring the accuracy, completeness and consistency of the designations in all documents. This applies both to designations within documents (plant designations) and of Documents (documents designations). The Contractor to submit these for the Project Manager’s acceptance.

A list of the KKS designations allocated is drawn up by the Contractor for each scope of delivery. Methods of KKS designation, list formulation and submission format to be proposed by the Contractor and agreed by the Project Manager.

2.3.2 Plant Labelling


· The Contractor supplies the labelling for all plant, material and equipment provided as part of the works.

· It is the responsibility of the Contractor to manufacture and install labels according to 240-71432150: Plant Labelling Standard.

· Coding and labelling of components inside electrical and C&I panels are completed by the Contractor.

· The Coding practitioner to facilitate base-lining of all equipment lists from the Contractor, and only baseline equipment lists to be used as a basis for the production of labels.

· Abbreviations to descriptions on the labels are generally not acceptable. Where abbreviations are unavoidable, due to the limited number of characters that can be engraved/etched on labels, the abbreviations are submitted to the Project Manager for acceptance. The Contractor makes use of the Employer’s “Eskom Plant Labelling Abbreviation Standard; 240-109607332.

· The Contractor makes use of the KKS codes and descriptions provided by the Employer.

· The Contractor supplies to the Project Manager, for verification and acceptance purposes, with a label list showing the text only. The Project Manager’s acceptance should be sought for the positioning and designation of labels.

· The KKS codes are used accordingly on documentation (e.g., drawings, manuals, equipment lists, cable schedules etc.) as a unique identification means. References to plant are accompanied by the relevant KKS code for that item of plant.

2.4
Health and safety risk management

2.4.1
General
In carrying out its obligations to the Employer in terms of this contract, which obligations include, amongst others, to Provide the Works; using Plant, Materials and Equipment; and whilst at the site for any reason, the Contractor is the “Employer” in terms of the Occupational Health and Safety Act, No. 85 of 1993, in respect of its activities and in relation to its employees, agents, Subcontractor/s and mandatories.

The Contractor does not consider itself under the supervision or management of the Employer with regard to compliance with the Safety Health and Environmental requirements.

Furthermore, the Contractor does not consider himself to be a subordinate or under the supervision of the Project Manager in respect of these matters. The Contractor is responsible for the supervision of its employees, agents, Subcontractors and mandatories and takes full responsibility and accountability for ensuring that they are competent, aware of the Safety Health and Environmental requirements, whilst executing the works in accordance with the Safety Health and Environmental requirements.

The Contractor ensures compliance with, amongst others:

· The provisions of the Occupational Health and Safety Act, No. 85 of 1993 and all applicable regulations (as amended), binding in terms thereof.

· The latest versions of standards, procedures, specifications, rules, systems of work and requirements of the Employer, copies of which are provided to the Contractor on request.

· The Health and Safety Plan prepared by the Contractor in accordance with the Employer’s Safety Health and Environmental Specification – 240-149136837 and requirements.

· The provisions of the National Environmental Management Act (as amended) and all regulations in force from time to time in terms of that Act, 

The Contractor ensures that its employees, agents, Subcontractors and mandatories comply with the provisions of the Occupational Health and Safety Act, No. 85 of 1993, and all applicable regulations binding in terms thereof as well as the Employer’s Safety Health and Environmental Specification - 240-149136837 whilst making use of plant, materials and equipment and whilst at the Site for any reason whatsoever.

The Contractor implements a comprehensive health and safety management system, based on

the OHSAS 18001 requirements for utilisation at the project.

The Contractor appoints a person, qualified and competent in accordance with the safety health and environmental requirements, as the liaison with the Employer’s Project Safety, Health and Environment Manager/Officer or delegated person for all such matters as pertaining related to safety, health and the environment. The Contractor ensures that such a person is contactable 24 hours a day, and is registered with a registered professional council approved by the Principal Director of the Department of Labour, as per the requirements of the latest Construction Regulations, inclusive of all exemptions and amendments pertaining thereto.

The Contractor hereby indemnifies the Employer and holds the Employer harmless in respect of any and all loss, costs, claims, demands, liabilities, damage, penalties or expenses that may be made against the Employer and/or suffered or incurred by the Employer (as the case may be) as a result of, any failure of the Contractor, its employees, agents, Subcontractors and mandatories to comply with their obligations, and/or the failure of the Employer to procure the compliance by the Contractor, its employees, agents, Subcontractors and/or mandatories with their responsibilities and/or obligations in terms of or arising from the Occupational Health and Safety Act, No. 85 of 1993.

The Contractor acknowledges that he is fully aware of the requirements of all requirements and undertakes to employ only people who have been duly authorised in terms thereof and who have received sufficient safety training to ensure that they can comply therewith.

The Contractor undertakes not to do, or not to allow anything to be done which will contravene any of the provisions of the Act, Regulations or Safety and Operating Procedures.

The Contractor shall appoint a person who will liaise with the Employer Safety Officer responsible for the premises relevant to this contract.  The person so appointed shall on request:

· Supply the Employer Safety Officer with copies of minutes of all Health and Safety Committee meetings, whenever he is required to do so.

· Supply the Employer Safety Officer with copies of all appointments in respect of Employees employed on this contract, in terms of the Act and Regulations and shall advise the Employer Safety Officer of any changes thereto.

Employer may, at any stage during the currency of this agreement be entitled to:

· Do safety audits at the Contractor's premises, its workplaces and on its Employees.

· Refuse any Employees, sub-Contractor or agent of the Contractor access to its premises if such persons are found to commit any unlawful act or any unsafe working practice or are found to be not authorised or qualified in terms of the Act.

· Issue the Contractor with a work stop order or a compliance order should the Employer become aware of any unsafe working procedures or conditions or any non-compliance with the Act, Regulations and Procedures by the Contractor or any of its Employees, sub-Contractors or agents. Stoppages of this nature will not constitute a compensation event.

2.4.2
Mandatory Agreements

The Contractor confirms that:

· In terms of sections 37(1) and 37(2) of the OHSA, the Employer is relieved of any and all of its responsibilities and liabilities pertaining to the activities performed by the Contractor (and its employees, agents, Subcontractors and mandatories) relating to the works; the use of plant, materials and equipment; and whilst at the Site for whatsoever reason.

· The Contractor confirms that, in terms of the Construction Regulations, Regulation 6, it is hereby mandated as the designer and must perform all duties required of a designer. (This will be applicable only where the Contractor is required to do design work as part of their Scope).

The Contractor confirms that he has been provided with sufficient information regarding the health and safety arrangements applicable to the works; the use of Plant, Materials and Equipment, as well as at the Site.

In addition, the Contractor ensures that:

· Prior to the Contractor commencing with any operations/ activities relating to the works and/or prior to gaining access to the Site, the Contractor concludes a written mandatory agreement with the Employer in terms of Section 37(2) of the OHSA and 5(1)(k) under the construction regulations. The aforementioned agreement constitutes a record of the written arrangements and procedures between the Contractor and Employer regarding health and safety.

· As far as is reasonably practicable, the safety and absence of risks to health in connection with the production, processing, use, handling, storage or transport of articles or substances is maintained;

· As far as is reasonably practicable, all hazards pertaining to the health and safety of persons and harm to the environment that are attached to any work which is performed, any article or substance which is produced, processed, used, handled, stored or transported and any plant or machinery which is used in its business, is clearly identified and, as far as is reasonably practicable, further establishes what precautionary measures should be taken with respect to such work, article, substance, plant or machinery in order to protect the health and safety of persons and or harm to the environment, and provides the necessary means to apply such precautionary measures;

· Such information, instructions, training and supervision as may be necessary to ensure, as far as is reasonably practicable, the health and safety at work of its employees, agents, Subcontractors and mandatories is provided;

· As far as is reasonably practicable, no employee, agent, Subcontractor and mandatory performs any work or produces, processes, uses, handles, stores or transports any article or substance or operates any plant or machinery, unless the precautionary measures contemplated in paragraph 2.3.3, or any other precautionary measures which may be prescribed have been taken;

· Such measures as may be necessary in the interest of health and safety and the environment are enforced; 

· Work is performed and that plant, materials or equipment is used under the direct supervision of a person trained to understand the hazards associated with it and who has the authority to ensure that precautionary measures required by the Employer are implemented; and

· All employees are informed of the scope of their authority as contemplated in OHSA.

2.4.3
Health and Safety Obligations

In addition to the mandatory agreements, the Contractor:

· Ensures that all statutory appointments (as required in terms of the Occupational Health and Safety Act, No. 85 of 1993 and all applicable regulations binding in terms thereof, as amended) and other appointments required in terms of the Employer’s Safety Health and Environmental Specification – 240-149136837 and SHE Requirements Procedure (32-726) are in place and that all appointees are cognisant of their duties and responsibilities in terms of such appointments;

· Ensures that such appointees execute their duties and responsibilities as required by such an appointment.

· Ensures that all personnel brought by itself onto site (including employees of Contractors and Subcontractors) are suitably qualified and trained for the performance of the task, duties and functions, which are allocated to them;

· Immediately reports any occupational or other injuries, near miss events, property damage, environmental related incidents as well as any potential threat to the health and safety of individuals at the works or on the site, as soon as he becomes aware thereof, to the Project Manager; Complies with the Employer’s Occupational Health and Safety Incident Management Procedure – 32-95 and Environmental Incident Management Procedure – 240-133087117 relating to the reporting and investigation of incidents. The classification of incidents contained in such document are considered final and are applied by the Contractor relating to any incidents/ injuries relating to its employees, agents, Contractors, Subcontractors and mandatories whilst on Site;

· Conducts a risk assessment regarding the utilisation of PPE and thereafter ensure that PPE of good quality is issued (at its own cost) to its employees, agents, Contractors, Subcontractors and mandatories prior to such individuals accessing the site, alternatively performing activities related to the works at the site, as specified in the Eskom PPE Specification - 240-44175132.

2.4.4
Eskom Life Saving Rules

RULE 1: OPEN, ISOLATE, TEST, EARTH AND CREATE AN EQUIPOTENTIAL ZONE BEFORE TOUCH

To ensure a safe electrical work environment, no person may work/operate on, around or near any electrical network, line or apparatus, electrically connected to the power system and/or electrically charged and/or not electrically charged unless:
a) He/she is trained and authorised as competent for the task to be done;

b) There is a valid permit to work where required and they are being supervised by a competent person;

c) A pre-task risk assessment to identify all risks and hazards has been conducted before any work commences;

d) d) He/she follows the requirements on OPEN, ISOLATE, TEST, EARTH, AND CREATE AN EQUIPOTENTIAL ZONE BEFORE TOUCH, based on applicable/related standards, procedures and outcome of risk assessment fit for the type of work or task to be performed;

e) The work area shall be within the equipotential zone, with the working earth visible at all times.

f) The authorised person has physically shown all team members that the apparatus is safe to work on;

g) He/she makes the specific electrical environment safe before performing the work; and

h) All the appropriate PPE (including face shield and insulated gloves for 1low voltage work) are worn.

Note: The equipotential zone is only applicable for work being done on medium and high voltage apparatus.
RULE 2: HOOK UP AT HEIGHT 

Working at height is a significant part of work in Eskom Holdings and is regarded as a high-risk activity, as a result, all precautions must be taken to prevent incidents while working at height. 

Wherever reasonably practicable, preference must be given to the performance of work at ground level as opposed to work in an elevated position. Where work in an elevated position is necessary, the requirements in this document and all other Eskom requirements pertaining to working from height shall apply.

No person may work at height where there is a risk of falling unless:

a) A Fall Protection Plan has been developed by a trained fall protection plan developer and communicated to all employees working at height based on the scope of work/task;

b) He/she is medically fit to work at height;

c) He/she is trained in accordance with Eskom’s requirements for working at height

d) A pre-task-specific work at height risk assessment to identify all risks and hazards has been conducted and communicated to all participants before commencing any work of this nature;

e) He/she appropriately conducts work as determined by the risk assessment;

f) He/she is appropriately secured during ascending and descending where applicable; and

g) He/she is using an Eskom-approved fall arrest system where applicable.
RULE 3: BUCKLE UP 

Where required, the proper wearing of seat belts for any driver, operator and passenger is mandatory in all vehicles/equipment when driving and/or travelling for Eskom business purposes. The driver is obligated to ensure that he/she as well as all passengers are properly seated and wearing their seatbelts at all times while being transported in the vehicle, as per Eskom specifications. 

Note: This rule is applicable on any road or parking lot, irrespective of the speed, and when the vehicle moves in a forward or backward direction.

RULE 4: BE SOBER 

No person who is under the influence or who appears to be under the influence of intoxicating liquor or drugs will be permitted to enter or remain on an Eskom site conduct Eskom business or drive/operate a vehicle/equipment for Eskom business purposes. 

This includes any level of alcohol or the presence of any drugs, controlled substances, and/or illegal substances in the body that impairs or could impair mental and physical functioning, irrespective of when the substance was used.

RULE 5: ENSURE THAT YOU HAVE A PERMIT TO WORK 

No person shall work without the required Permit to Work (PTW), which is governed by but not limited to:
a) Plant Safety Regulations; or

b) Operating Regulations for High Voltage Systems (ORHVS) (handover or permit); or

c) Low Voltage Operating Regulations; or

d) Any other activity where a permit is required, for example, driver and statutory permits.

No apparatus is to be returned to service without the cancellation of all permits on that plant in accordance with procedure, unless permission is granted for a particular plant to be returned to service with permits still open, like in the case of redundant systems.
NOTE: In the case of live work, a “Live Work Declaration Form” is to be completed by the authorised person, who is the person responsible for the safe execution of work according to relevant standards and procedures.
RULE 6: ENSURE SAFE LIVE WORKING

To ensure safe live work, each live worker shall:

a) Ensure all live work basic principles are adhered to, as outlined (for the method being used) in the High Voltage Live Working Standard for the respective division.

b) Observe and maintain the minimum approach distance (MAD).

c) Only perform live work (never mix live and dead work on the same site at the same time – Refer to ORHVS Section 7 and 5 handouts respectively).
d) Perform tasks they are authorised for and only undertake tasks that are documented in the respective Task Manual (TM). Only work on one potential (voltage) at a time. 

Note: 
Consequences of Violating a Life-Saving Rule - Where a contractor employee allegedly violates a Life-Saving Rule, the contractor shall immediately remove the employee from the site and initiate the disciplinary process. The contractor shall investigate any violation of a Life-Saving Rule and initiate the disciplinary process within five (5) working days of the violation. The contractor shall furnish Eskom with a copy of the sanction after the disciplinary process.  

2.4.5
Matimba Permit to Work System 

The Contractor will ensure that he/she is informed of all the requirements of Eskom’s Plant Safety Regulations and ORHVS and that he/she always comply to the requirements of these Regulations.

The Contractor will ensure that all his supervisors who are directly involved with Eskom’s Permit to Work System, are trained and on successful completion of Matimba’s authorization / evaluation process will be authorized as “Responsible Persons”.

The Responsible Person shall ensure that:

· The conditions of permits and cautionary notices are strictly adhered to

· The lockout procedures, mechanical as well as electrical, are strictly adhered to and any deviations shall be corrected immediately

· The safe work procedures as laid down by Matimba Power Station and as determined by the Risk Assessment, shall be followed

· The workers register and cautionary notices are discussed daily with workers 

2.4.6
Health and Safety Plan (Construction Regulations)

The following will be required after contract reward:

The Contractor shall compile a Health and Safety Plan file, comprising of the following:

· Proof of the contracting company’s own Health and Safety Policy

· Proof of appointments, assignments and designations as required in terms of the Occupational Health and Safety Act, No 85 of 1993

· Proof of Risk Assessments regarding Hazards identified and proof of training of own employees regarding controls derived from the risk assessment

· Proof of Safe Work Procedures that derived out of the Risk Assessments

· Proof of the contracting company’s own Emergency Plan that will deal with their own emergencies on site

· Proof of a Fall Protection Plan, if required to perform work at elevated levels developed by a competent person appointed by the contracting company

· Proof of “Notification to perform Construction Work” – a copy of the notification addressed to the Department of Labour as required Regulation 3 of the Construction Regulations

· Proof of an Induction Program (it is advised that the Matimba SHE Rules as a Guide) and an attendance register signed by its employees prior the commencement of any construction work on site

· Proof of the contracting company’s employees Medical Fitness Certificate. (Must still be valid – one year. May only have been issued by an occupational health practitioner)

· Proof of contractors weekly Health and Safety Rep Inspections regarding its own site and where detached work is performed

· Proof of Personal Protective Equipment (PPE) issued to Contractor’s employees

· Proof of contracting company’s Accident/Incident Reporting and Investigation System

· Proof of checklists and where applicable test certificates, regarding contractor’s tools, equipment,  machinery, mobile equipment, vessels under pressure and any other applicable checks required by the Act

· A “Section 37(2) Agreement with Mandatory” needs to be drawn up by the Employer and co-signed by the Contractor before work can commence

· The Contractor shall ensure that his Subcontractors do also have a Health and Safety File and that it must be accepted by the Contractor.

· The Safety Officer employed by Matimba Power Station will audit these Health and Safety Plans to ensure compliance with the provisions of the Act.

· In terms of Clause 4 (b) of the Construction Regulations, the Employer points out the hazards or risks that is associated with the works, as indicated in Appendix B, to the Contractor. The hazards or risks it are however not limited to this list.

The contractor will only commence with the works once the Health and Safety Plan file is approved by Matimba Safety Health and Environment department

2.4.7
Housekeeping

Working areas are cleaned daily.  All electrical cables and hoses are routed so as not to cross over floors and walkways.  All equipment is packed neatly without interference to access.  All excess scaffolding material is removed from working areas after the scaffolding has been erected.  Scrap bins are available on the zero meter level and emptied daily by the Employer.

2.4.8
Barricading

Access to danger zones is done using handrail type guards of at least 1,2 meters high, able to block access to the danger zone.  Symbolic safety signs depicting “Danger” and “No entry” are attached to the guards.

2.4.9
Radiographic examinations

When radiographic tests are performed in the plant, the danger area is barricaded.  Workers are made aware of this fact and the Radiographic technicians ensure that no person is within or enter the danger area prior to commencing of or during the tests by public announcement according to the procedure.  See relevant procedure PA/272/001.

2.4.10
Scaffolding

All scaffolding erected complies with procedure PS/031/001. At least one person in the Contractor’s service shall be competent to inspect scaffolding in the case where the Contractor himself needs scaffolding. Certificates must be handed in at the Project Manager after contract award. The Employer is responsible for the supply, erection and dismantling of scaffolding

2.4.11
Fire Protection

The Contractor ensures that adequate firefighting apparatus is provided at all his work sites, and that his staff and sub-contractors are trained in the use of this apparatus.

Precautions are taken to prevent any occurrence of fires or explosions while carrying out any work near flammable gas and liquid systems. 

Any tampering with the Employer’s Fire Equipment is strictly forbidden. All exit doors, fire escape routes, walkways, stairways and stair landings are kept free of obstruction, and not be used for work or storage at any time. Firefighting equipment remains accessible always.

2.5

Environmental constraints and management

The Contractor provides an Environmental Management Plan applicable during the execution of the Works. The plan provides a guideline on the environmental management of the handling of the works. All waste is handled in an environmentally friendly manner. The Contractor conforms to the “polluter pays principle”, duty of care and other National Environmental Management Act (NEMA)principles. The contractor will only commence with the works once the Environmental Management Plan file is approved by Matimba Safety Environment department.

The Contractor conforms to all requirements dictated in the document as well as the National Environmental Management Act (NEMA, Act No. 107 of 1998) and the National Environmental Management Waste Act (NEMWA, Act No. 59 of 2008). This is achieved by undertaking inspections, audits, monitoring and reviews, conducted internally by the Contractor and externally by the Project Manager.

The Contractor ensures that all environmental authorization obligations, applicable legislative requirements and Employer’s specific requirements are fulfilled. This includes all national, provincial and local environmental legislation and requirements.

The Contractor issues monthly, Environmental Management Performance and Expenditure Reports to the Project Manager.

The Contractor conducts their environmental management based on the ISO 14001 requirements and implement their environmental management practices accordingly.

The Contractor develops and implements as a minimum the following procedures:

· Environmental Management Plan,

· Waste Management Work Instruction,

· Spill Management Procedure,

· Hazardous Chemical Substances Management and Storage Procedure,

· Stockpile and Erosion Management Procedure,

· Clear-and-Grub Procedure,

· Environmental Rehabilitation Procedure.

All environmental procedures, as listed above, are site-specific and submitted to the Employer for acceptance by the Project Manager before the commencement of construction activities. The Employer provides a copy of the environmental authorisation and Environmental Management Plan to the contractor for the drafting of the above procedures.

2.5.1
Waste Management

All waste management activities, which includes procurement of control measures, handling and disposal or processing of all waste forms generated on the Contractor’s site, are conducted according to Matimba Power Station Waste Management Procedure – PS/244/001, and all requirements of the Employer as per the Environmental Management Programme All costs associated with waste management are the responsibility of the Contractor.

2.5.2
Rehabilitation

The Contractor rehabilitates both its lay-down and construction site including all disturbed areas under their jurisdiction and or as directed by Supervisor at the end of the project. The Contractor submits to the Project Manager a rehabilitation plan and schedule at least 2 weeks before finalisation of the works for acceptance by the Project Manager. All rehabilitation costs are the responsibility of the Contractor.

2.5.3
Hazardous Waste

All waste introduced to and/or produced on Employer's Premises by the Contractor for this order, must be handled in accordance with the minimum requirements for the Handling and Disposal of hazardous waste in terms of Government Legislation as proclaimed by the Department of Water Affairs and Forestry 1994 Ref.: BN0621-16296-5. (A copy of this document is available at the Power Station for reference purposes). 

2.5.4
Environmental Management

Matimba has an Environmental Policy, PP/240/001, to which the Contractor and his employees must adhere. It is the responsibility of the Contractor to ensure that he obtains copies of the Matimba Environmental Policy, the legal register applicable to his area of responsibility, the aspect register and the Matimba procedures (applicable to the Contractor’s area of responsibility) and to familiarize themselves on such procedures, within 30 days from the date of commencement of work at Matimba, to assist the Contractor and his/her employees to prevent pollution and to comply with legislative requirements. Copies of the above-mentioned documents shall be obtained from the Project Manager or Environmental Officer on the first day prior to commencement of work at Matimba. The Contractor shall submit proof to the Environmental Officer of Matimba that he and his employees have done all the necessary training on procedures and Policies supplied to them and that they do understand the contents of the procedures, registers and policies and will adhere to them at all times. 

The Contractor adheres to the following rules:

· Provide sufficient storage containers, labelled depicting general or hazardous waste and store in a designated storage area

· No hazardous waste may be stored for a period of more than 90 days on the Matimba premises

· Ensure that all hazardous waste is disposed of at a licensed Class H disposal site. A copy of the hazardous waste disposal certificate is submitted to the Project Manager.

· Ensure that all other general waste is disposed of at the local municipal waste dump

· Ensure that the Contractor’s site does comply with the general good housekeeping practices. Redundant materials are moved to allocated sites. No scrap shall be stored in the Contractor’s yard. Scrap is to be cleared from Site daily.

The non-adherence to Matimba Environmental policy and rules could result in the termination of this contract.

2.6
Quality assurance requirements

2.6.1
Quality Management System

The Contractor shall implement and maintain a quality management system that as a minimum meets the requirements of 240-105658000 - Supplier Quality Management: Specification. If the Contractor is registered, the appropriate ISO 9001:2018 Registration certificate of compliance must be supplied with the tender. 

The Contractor further ensures that the subcontractor’s programmes comply with the requirements of the Works Information.

The Contractor notifies the Project Manager of any changes to the Quality System and obtains agreement prior to implementation on existing orders and contracts, or sub orders and sub contracts. 

2.6.2
Quality Documents Submitted with the Tender

The Contractor submits a copy of his quality policy and quality system procedures relevant to the Works.

The Contractor also submits a typical quality control plan.

The Project Manager evaluates the Contractor’s capabilities with regards to quality assurance and quality control based on these submissions and the performance history of the Contractor. The Project Manager performs pre-award assessments where necessary, giving further information to aid the selection process.

2.6.3
Quality Documents Submitted after the Contract Date

Contractor submits a fully detailed Quality Assurance Programme (QAP) for acceptance by the Project Manager within four weeks of the Contract Date.

The documents submitted by the Contractor shall include the following:

· Copy of the Quality Manual

· Copy of the Quality System Procedure

· Copy of the Contract Quality Management Plan

· Copy of Quality Control Plans

· Copy of the proposed index of the QA/QC, inspection and test records

The Contractor will further submit the following documents during the course of the contract:

· Non-conformance reports (NCR’s) raised by the Contractor

· Notification of any planned changes to the Contractor’s quality manual, quality system procedures, contract quality management plan or quality plan for acceptance by the Project Manager prior to implementation

· Concession/production permit applications and supporting documentation 

· Data books and/or data packages

2.6.4
Contract Quality Management Plan Requirement

The Contractor prepares a contract quality management plan that, where appropriate, indicates the following:

· Indicates the interface with the Contractors quality system and applicable documents such as procedures and work instructions

· Establishes communication channels between the Contractor and the Project Manager in respect of quality and the integration of such with prescribed contract communication channels

· Indicates how specific subcontractors will be monitored 

· Identifies items or activities for which quality control plans will be prepared 

· Identifies the specifications, drawings and acceptance criteria for material for which quality control plans are not required

· Identifies the areas or processes requiring special controls

· Identifies the Contractor’s Management Representative and personnel responsible for the control of quality activities and their relationship to the Contractor’s management structure 

· Identifies the documents which are to be submitted to the Project Manager

· Identifies the Contractor’s quality monitoring programme

The Contractor periodically updates the contract quality management plan to reflect changes in any of the above details. The frequency of such updates is determined by the Project Manager but will not be greater than one year.

2.6.5
Quality Control Plan 

The Contractor’s quality control plans cover inspection and test proposals for items or activities to be supplied as part of the works.

The quality control plan indicates the following as appropriate:

· The identification of the item

· The material

· A list of the sequence of operations including inspections and tests

· The identification of the specification, drawings or procedures for each operation

· The acceptance criteria with reference to the appropriate technical specification, in-house, national or international standard and relevant clause number

· The inspections and tests the Contractor has nominated for hold and witness points

· Provision for inspections and tests nominated by the Project Manager

· Provision for inspection status indication

· Inspection and test records that are generated by the Contractor

The quality control plans are reviewed by the Project Manager to allow for insertion of his specific requirements, including hold and witness points, prior to commencement of work. The Contractor does not commence work until the Project Manager accepts. 

2.6.6
Inspection and Testing

All Plant and Materials are comprehensively tested in accordance with the agreed QCPs prior to commencement of work. The Employer reserves the right to appoint others to inspect all parts during manufacturing, erection and commissioning to be present at any of the tests specified. The witnessing of tests by the Supervisor or Others, and if the Supervisor chooses to waive the witnessing of any tests, it does not relieve the Contractor of his responsibilities to Provide the Works.

All tests which the Employer requires are carried out by the Contractor during manufacturing, erection and commissioning to prove compliance with the specification independently of any tests which may have been carried out at the Contractor’s premises.

The Supervisor inspects parts of the Plant at his discretion during manufacturing stages and before shipment as per the agreed QCP;

· The Contractor is responsible for the inspection of all the works performed and the Supervisor only verifies that such work is conducted as per the Works Information.

· The Contractor conducts all inspections in accordance with the accepted QCP.

· The Contractor provides suitably qualified personnel to conduct on-and-off site inspections.

· The Contractor ensures that all parts of the works are inspected and accepted before the

· Supervisor is invited for verification.

· The Contractor allows for a minimum of five (5) working days’ notice for local off-site inspections, 24 hours for local on-site inspection, and 21 working days’ notice for foreign inspections. The notice strictly contains copies of the Contractor’s inspection reports and particulars of work which the inspection notice/request entail.

2.6.7
Quality Records

The Contractor prepares and submits to the Project Manager an Index of QA/QC and inspection and test records prior to the commencement of work.

The Project Manager determines which documents are to be submitted during the performance of work and reviews the index and request changes if required. The Contractor conforms to the Index approved by the Project Manager

The Contractor ensures all records identify the items, equipment and/or activities to which they pertain and collates indexes and securely stores the records in such a manner that they are readily retrievable.

The Contractor implements appropriate administrative controls to limit access to prevent inadvertent loss of or damage to records.

The Contractor stores all quality records. The Contractor only destroys or discards quality records with the approval of the Project Manager.

The Contractor presents on completion of the works all quality records in the form of a data package. The package is indexed and shows the entire contents.

2.6.8
Quality Reporting

The Contractor submits monthly quality reports, on the last working day of the month. The report includes, but is not limited to the following:

· A register of NCRs and defects

· Feedback on corrective action taken to address non conformities

· Updated QCP / ITP register

· QA monthly report summary

· Planned and completed local and foreign inspection dates

· Completed and outstanding Inspections

· Audit findings report

· Risks with Mitigation plan

2.6.9
Preservation, shipping and transportation

The Contractor develops and implements a comprehensive preservation, shipping and transportation programme consisting of plans, processes, procedures, and actions undertaken for the purpose of planning for, and maintenance of, material deliverables quality. The Contractor and Subcontractor complies with the Employer’s Quality Requirements: Specifications 240-105658000.

2.7
Programming constraints 

2.7.1
General

The Contractor submits a single integrated Level 3 programme that incorporates all the work to be performed including that of his Subcontractors. The interfaces between Subcontractors as well as the interfaces between Subcontractors and the Contractor are clearly identified. Project key dates are incorporated into the programme.

2.7.2
Computerised Planning

MS Projects is the only planning tool which the Employer accepts for this project; therefore the plan submitted to the Employer must be converted or submitted in this format. The Project Manager does not intend duplicating the Contractor’s planning and scheduling; however, the Accepted Programme is used in the Employer’s internal integrated and Master project programmes for project control purposes, updating and monitoring. The Project Manager requires one project programme to be used and updated during the execution of the works, this is to insures that any changes, deviations to the Programme can be carried out on the agreed programme and monitored. The initial programme supplied to the Employer after Contract award is fully resource loaded.

Any changes that are required to be made to the Project/Programme i.e. scope changes, delays and the like, are recorded through the Employer’s change process and documentation, where all parties agree to the changes and sign.

The Contractor and Project Manager agree on the format of how the updates are done, and the frequency of the updates i.e. such as on a weekly basis, or at any other time as required by the Contractor, or as instructed by the Project Manager.

2.7.3
Planning and Scheduling Levels

All planning and scheduling are done based on the Critical Path Method (CPM). The Contractor uses activity codes to define interfaces to be agreed upon between Project Manager and Contractor. The Contractor’s programme shows the actual critical path clearly.

The schedule layout considers the accepted WBS, reflecting the manner the works are to be performed as per the Contractor’s Method Statement and how activities are to be summarised, reported and monitored.

The programme includes:

a) Major milestones, interface dates, access dates and key dates (for the new plant, existing plant and between Subcontractors)

b) The duration of major activities and their relationship to one another.

c) Identified long-lead material items.

d) Responsibility assignments for accomplishing project objectives end product is a time scaled bar-chart programme developed using logic network.

This programme is separated by unit, by plant area, by phase, by WBS. The work within each plant area is broken down by engineering discipline, procurement, delivery, construction by the Contractor, start-up and commissioning. The programme is resource-loaded and it forms the basis for progress measurement, progress curves and histograms for each discipline within a plant area. This is used for Evaluations and for the accepted programme after contract award. This is saved and used as the original.

The Contractor’s Forecasted Rate of Invoicing (FRI) also aligns with the resource loading on the programme.

2.7.4
Planning Programmes

The Contractor develops a contract programme which includes a bar chart conforming to the project master programme dates included and sufficient detail to indicate the Contractor’s intention for executing the works. This programme covers major items relating to design, procurement, manufacture, delivery, erection, start-up and commissioning. The critical path is clearly shown.

Key milestones, access dates, interface dates and commissioning key dates are clearly identified in the contract programme, including access dates and release of terminal points that involve the Employer or Others.

The programme makes provision for site related preparation such as site establishment, safety induction and medical clearance of the entire Contractor’s staff that will be working on site.

The programme is based on the following working hours: Where applicable

· Twenty four (24) hours per day

· Seven (7) days per week

· Holidays included as working days

· Pay weekends to be negotiated (if working 7 day work week)

2.8
Contractor’s management, supervision and key people
The Contractor must supply an organogram indicating all personnel involved in the project and their lines of authority, with the tender documentation. Past experience, training and competency certificates (related to their position on the organogram) of all personal should also be submitted together with the tender documentation.
The Contractor provides the following key personnel as a minimum:

· Project Manager/ Supervisor

· Site Health and Safety Officer
· All employees must pass ORHVS Module 1 – Access.

· Permit (Isolation)

During the period of construction work the Contractor shall have one or more persons on standby in close proximity to the site. These persons shall be knowledgeable on all works done during the construction period and can be called out to site on short notice for a period as specified by the Engineer. These persons shall be fluent in English and empowered to represent the Contractor.
The Contractor will provide the necessary Supervision for any activity performed during the duration of the project. The selected Supervisor shall have the authority to take instructions from the Employer on behalf of the Contractor and give instructions on behalf of the Contractor. The Supervisor should have a minimum of five years’ experience in the work to be done and a history in construction and project management. 
The Contractor must ensure that all workers have the necessary training to complete specific work packages and that his/her team consists of enough team members to complete the work within the given time frame. All necessary training and certification must be complete prior to commencement of work; any delays will result in penalties. 
2.9
Invoicing and payment
At each assessment interval, the Contractor submits to the Project Manager a forecast rate of invoicing that includes all the expected payments by the Employer to the Contractor on a month-by-month basis.
Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Project Manager’s payment certificate.  
The Contractor shall address the tax invoice to Eskom Holdings SOC Ltd and include on each invoice the following information:

· Name and address of the Contractor and the Project Manager; 

· The contract number and title;

· Contractor’s VAT registration number;

· The Employer’s VAT registration number 4740101508;

· Description of service provided for each item invoiced based on the Price List;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

· Any retention monies to be deducted from the invoice

· Any interest payable

· Escalation formula used where applicable
All invoices in PDF format are emailed straight from your system to an Eskom email address.

· Email addresses for invoice submission: Invoiceseskomlocal@eskom.co.za. The Project Manager is copied when submitting invoices.

· All queries and follow up on invoice payments are made by contacting the FSS Contact Centre: 
Tel: 011 800 5060 or e-mail: fss@eskom.co.za

· For Foreign invoices, the Contractor is required to physically deliver hard copies of original documents to the Project Manager even though the Contractor has e-mailed those invoices.

· The Contractor ensures compliance with the tax Requirement for submitting invoices electronically.

· If there is Cost Price Adjustment (CPA) on your invoice, the Employer recommends that the Contractor issue a separate invoice for CPA so that if there are any issues on the CPA the rest of the invoice can be paid while resolving CPA issues.

· The base invoice number needs to be mentioned on the CPA invoice.

· Electronic invoicing does not guarantee payment but ensures visibility of all invoices and ensures that no invoices get lost. If the Goods Receipt (GR) is not done the invoice is parked and the system automatically sends an e-mail to the Project Manager to do the goods receipt. This is also tracked by the Employer through the parked invoice report.

· The Contractor can request a parked invoice report from the Finance Shared Services (FSS) Contact Centre which can then be followed up and corrected. The Contractor is allowed to forward the details of invoices corrected to the FSS Contact Centre.

2.10
Contract change management 
The Contractor or the Project Manager notifies each other of any event which may lead to a change in agreed terms of this contract. Changes are be dealt with in accordance with the conditions set out in the Contract Data and NEC3 ECC. 

All project changes, impacting Scope, Cost and Time, follow the internal Governance committee processes (Technical, Investment & Commercial) for approval and is the responsibility of the Project Manager.
2.11
Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor
The Contractor submits the following for compensation event assessment: 

•
Quotation indicating Current market rate if not included in the short schedule of cost components 

•
Labour time sheets 

•
Early warning to the Project Manager 

•
Project Manager‘s Instruction 

•
Percentage fee applied 

•
Cost Price Adjustment (CPA) Calculation where short schedule of cost components rates were utilised 

•
Signed Record of Decisions (ROD) or design change request form for Project Management design changes 

•
Revised program where key date and completion date is affected 

•
Revised program where instructed to accelerate by the Project Manager 

•
Invoice from supplier and service providers

3 Engineering and the Contractor’s design
3.1
Employer’s design
Intermediate level cable spreading areas can be found on 7.3-meter level and 13.8-meter level in the Matimba Power Station Auxiliary Bay. These chambers are separated from all other plant areas. The cable spreading areas are divided per unit into fire areas (compartmentalised) by walls and fire doors. Both the 7.3-meter level and 13.8-meter level have a vertical clearance of 1.985m allowing access. The cables are installed in various galvanised steel cable trays that are stacked above one another in different directions, making it difficult to walk freely inside the tunnels. The cable tunnel is considered a commercial building which will be exposed to “Cellulosic” fires. 
Power cables present in the cable spreading areas include: 

· For LV power cable 600/1000 V rated voltage, copper-stranded conductors PVC insulation cables. 

· For single or three core MV power cable rated voltage copper or aluminium stranded conductors; triple extruded cross linked polyethylene (XLPE) insulation cables. 

· Cable type BVXnnCM: Multi-core insulated thermoplastic cables, 600/1000V voltage rating, current rating varies with conductor size, minimum size is 1.5mm2. 

· Cable type UVGnnACM: thermoplastic insulated overall screened twisted pair, 300/500V voltage rating, 0.5mm2 conductor areas, 1A current rating. 

· Cable type BVSnnCM: Multi-core thermoplastic insulated overall screened (not armoured).
3.2
Parts of the works which the Contractor is to design

3.2.1
Work to be performed

The scope of work (SOW) entails passive fire protection which includes the following:  

· Partial coating of all grouped cables on cable racks with a 2-hour rated fire resistant coating.

· Installation of new and repair of existing damaged fire penetrant seals.
· Modification of existing fire door bases.
Fire area elements in power plants shall have a fire rating of two (2) hours in compliance with the fire resistance criteria for insulation, stability and integrity as specified by recognised testing institutions and their standards. Test result certificates of insulation, stability and integrity of the material on the standard time/temperature curve shall be available for any product used as part of this SOW. All fire barriers shall comply SANS 10177.
Penetration seals provided for electrical and mechanical equipment openings are to be qualified by tests conducted by the SANS, Council for Scientific and Industrial Research (CSIR), or internationally recognised testing laboratories, and approved by the Employer for the relevant location and configuration in which the seals are to be used.

All fire barriers and coatings shall be prepared and installed as per manufacturer’s recommendations. The Contractor shall confirm ambient conditions in the cable spreading area to ensure selected passive fire protection products are suitable for the ambient conditions in the area.
3.2.2
Coating of cables

The purpose of coating the cables is to prevent flame spread. All cables that must be coated are situated within cable spreading tunnels and the boiler facility. Cables are exposed to high levels of coal and ash dust. 
3.2.2.1
Surface preparation

The Contractor shall be responsible for the surface preparation and cleaning of all cables and cable racks that will be coated. No coating shall be applied to any surface containing traces of grit, grease, oil, loose rust, mill scale, surface contaminants (i.e., dust), chemical fall-out, salt deposits or corrosion products of any kind. The Contractor’s proposed method of cleaning shall be indicated in his/her method statement which shall be submitted together with tender documentation.
3.2.2.2
Cable coating

To reduce flame spread over cables, an ablative fire protection coating shall be applied onto cables at all cable entries through fire barriers or building walls. Cables shall be coated as follows:

· The coating shall be applied over a distance of five meters from both sides of the fire barrier or wall.  

· Coating shall be applied as far as reasonably practical. Where cable rack congestion makes application in-practical the Project Manager shall be informed thereof.

· Coating shall include the cable tray/rack on which the cable is routed.

· The selected coating must be water based and free of asbestos.
· The coating material and the application rate specified should not affect the performance characteristics of the cables and not cause overheating of cables due to heat build-up.

· The material should be compatible with the cable insulation, have good adhesion and be free of volatiles which could adversely affect these materials.

· The coating material shall be applied in accordance with the manufacturer’s recommendations. The Client’s preferred method of application is by spray, but the Contractor is not limited to this method.

· The selected product must be approved for outdoor use.

· The coating system should consist of a single layer and not necessitate a primer or protective topcoat. 

· The minimum wet and Dry Film Thickness (DFT) specified by the product manufacturer shall be adhered to. The Applicator shall be equipped with a “wet comb” and frequently monitor the wet film thickness throughout application. The range of DFTs of each coat shall be as follows; 90% of random readings shall be equal to or greater than the minimum specified DFT. No individual reading shall be less than 80% of the specified DFT.

· Paint boundaries shall have straight lines.
3.2.2.3
Performance and Test Data

The selected ablative fire protective coating must adhere to the following performance requirements under the specific test methods.
Table 3: Performance and Test Data (Coating of Cables)
	Test Method
	Result

	ASTM E84 Surface Burning
	Class A

	IEC 60332-3-22 Flame Propagation
	2 Hours 


Test certificates shall not be older than five years.
Note: Equivalent test methods from recognised standards can be proposed.

3.2.3
Fire barriers

Fire rated penetration barriers shall be installed wherever cables, pipes or ducts pass through walls, floors or soffits which are boundary elements for a specified fire area. Any damage to exiting fire barriers will be repaired. The fire barrier should limit the spread of fire and reduce its effects on plant equipment and personnel.

The Contractor is required to seal all gaps with a suitable product based on the size of the opening to be sealed. All fire barriers shall have a 2-hour rating in terms of Integrity (E) and Insulation (I). 

3.2.3.1
Surface Preparation and Removal of Damaged Barriers

The Contractor shall be responsible for the surface preparation and removal and disposal of damaged fire barriers. No fire barriers shall be applied to any surface containing traces of grit, grease, oil, loose rust, mill scale, surface contaminants (i.e., dust), chemical fall-out, salt deposits or corrosion products of any kind. The Contractor’s proposed method of cleaning shall be indicated in his/her method statement which shall be submitted together with tender documentation.

3.2.3.2
Repairs of Existing and Installation of New Fire Barriers

The installation of the fire rated penetration barriers should conform to the following:

· The sealant material and the application rate specified should not affect the performance characteristics of the cables and not cause overheating of cables due to heat build-up.

· The fire penetration seal should be capable of withstanding the penetration of water, including firefighting water jets directed at the seals. The sealing material shall be water resistant and provide a barrier for smoke and toxic fumes.

· Horizontal seals should be applied to a height just above floor level and dome shaped to prevent the accumulation of oil or water around the penetration.

· The fire penetration seal should be capable of carrying loads where necessary. Any reinforcing required for this purpose should be subject to Eskom’s approval.

· The performance of fire penetration seals should not be downgraded by normal ageing, vibration or other environmental conditions associated with the plant or facility.

· The fire penetration sealant material should not crack when the sealant dries or shrinks. If it is necessary for additional sealant to be used on the seal, sufficient curing time should be allowed before its application.

· Fire penetration sealant material should be asbestos free, non-toxic, and resistant to chemical attack where specified.

· Fire penetration sealant material should be compatible with the cable insulation or other penetration materials, have good adhesion and be free of volatiles which could adversely affect these materials.

· Fire penetration sealant material may be of the intumescent type capable of expansion under heat to seal voids, cracks or fissures which may exist due to application defects and cable configurations.

· Installation of the material should be subject to the manufacturer’s requirements. The following points should be adhered to during installation:

· Horizontal barriers for vertical penetrations should be sealed on the floor side only.

· Vertical barriers for horizontal penetrations should be sealed on both sides of the barrier to withstand the effects of fire and to ensure that an acceptable finished coating/seal is achieved.

· All tools or equipment used in and around cable penetrations for the application of sealant material should be rounded to prevent damage to the cable insulation. Extra care shall be taken by the Contractor not to damage any cables.

· Where cables have not been evenly laid and spaced, a sealant material capable of being applied under pressure should be utilised to effect penetration between the cables in the fire barrier.

· The use of coating materials as fillers will only be approved if the effectiveness of the application is proven and if the fire rating is maintained.

· Combustible or toxic materials used for shuttering during installation should be removed on completion of the seal.

· Mineral wool, ceramic fibre board or other materials with similar properties may be utilized to fill large voids.

· Openings to be sealed should be properly prepared. Oil and excess water should be removed before installation of sealants begins.

· The manufacturer’s specified curing time should be allowed during the application process.

· Thickness and volumes for the sealant material applied should be strictly in accordance with the manufacturer’s requirements and tests.

· All seals should be provided with a final layer or coat to provide a smooth finish.

· The sealant material utilised should allow for the replacement of cables or additional cables or any other penetration component to be installed without disturbing the major portion of the seal.

· If the sealant material utilised is subject to excessive expansion, steps should be taken to ensure that the bulk of the sealant material remains within the seal when expansion occurs during application.

· Seals may be of the rigid or flexible type.

· If coating of cables is necessary to assist the adhesion of the sealant material, or if sections of cables need to be coated on either side of the seal, this should only be done with Eskom’s approval.

· If reinforcing of the seals is necessary, the type, pattern and anchoring of the reinforcing should be approved by Eskom.

· The method of application and materials utilised should be approved by Eskom.

3.2.3.3
Performance and Test Data

The selected fire barriers must adhere to the following performance requirements under the specific test methods:
Table 4: Performance and Test Data (Fire Barriers)
	Test Method
	Result

	ASTM E814-13a, Standard Test Method for Fire Tests of Penetration Fire Stops
	As Per Clause 10 requirements.


Test certificates shall not be older than five years.
Note: Equivalent test methods from recognised standards can be proposed.
3.2.4
Modification of existing fire door basis

The existing fire doors separating the cable chambers of the different units do not form a fire seal with the concrete floor as there is a 40mm vertical gap. The Contractor is required to construct a ramp consisting of a non-shrink grout under each fire door to prevent fire spreading underneath the door. The exiting concrete surface where the ramp is to be constructed will require surface preparation and the use of a suitable primer/bonding agent to ensure sufficient adhesion of the grout and prevent future cracking. In addition, all doors need to be fitted with heavy duty door closers to ensure that fire doors always remain closed. 

3.2.5
Labelling of fire rated coatings and barriers

All fire-resistant coatings and fire-resistant barriers will be labelled indicating:

1. Product Name.

2. Date of Installation.

3. Fire Rating.

4. “Fire Seal”.

4
Procurement
4.1
People

4.1.1
Minimum requirements of people employed on the Site
· All people employed to provide the works shall have South African Citizenship or a valid worker permit if not South African nationals.

· All people employed to provide the works shall be trained on health and safety.

· All people employed to provide the works shall be trained on doing risk assessments.

· The Contractor must ensure that all workers have the necessary training to complete specific work packages and that his/her team consists of enough team members to complete the work within the given time frame. All necessary training and certification must be complete prior to commencement of work; any delays will result in penalties. All Training and Competency Records regarding the skills the Contractor’s workers used to carry out the works or any other works on the Employer’s premises are to be submitted with tender documentation.
· The Contractor shall appoint a site supervisor that has a minimum of five years’ experience in fire protection projects. 
4.2
Subcontracting
4.2.1
Preferred subcontractors

N/A

4.2.2
Subcontract documentation, and assessment of subcontract tenders

· The Contractor submits the proposed Contract Data for each subcontracting for acceptance to the Project Manager. The Contractor provides a short description of the work it is proposed to sub-contract to each, together with an approximate value of the work to be executed by each. The Contractor will provide details of previous works and references of work done by the intended subcontractor.

· The Contractor prepares subcontracting document as according to the NEC3 Contract.

· The Contractor informs the Project Manager when intending to subcontract some of the works from the contract scope.

· The Contractor takes note that their Subcontractors Safety Files will be accepted by the Contractor Safety Manager before it will be handed to the Matimba SHE practitioner/Officers for verification of compliance before any work commence. Proof of acceptance by the Contractor Safety Manager must be in the Safety file when handed over to Matimba SHE Practitioners for verification.

· The Contractor only employs qualified Subcontractors with relevant experience in the work they intend to perform, with relevant documents to proof their experience.

4.3
Plant and Materials
4.3.1
Quality

· All work is carried out under the supervision of an experienced supervisor/foreman.

· The Contractor complies with the Employer’s Quality Requirements.

· When using materials that are required to comply with a standard specification, the Contractor shall furnish the Project Manager with certificates showing that the materials comply with the applicable standards.

· Where so specified, materials shall bear the official mark of the appropriate standard. 

· Samples ordered or specified shall be delivered to the Project Manager’s office on the Site for check before acceptance.

· Unless otherwise specified, all proprietary materials shall be used and placed in strict accordance with the published instructions of the relevant manufacturer.

· A quality control plan is submitted to the Project Manager as a tender returnable. 
· The Contractor ensures that co-ordinated and formally documented management system is in place for the assurance of quality as specified in ISO 9001, Quality management Systems – Requirements.
· The Project Manager is free to specify hold and witness points during the installation and on-site testing stages of the project. The Contractor issues preliminary notification of such hold and witness points by four days advance notice to the Project Manager and confirms such hold and witness points at least four days prior to the activity.
· Documentation regarding quality procedures is submitted within thirty days of Contract Award. The Project Manager reviews and comments on the acceptability of these documents within the period for reply. If controlled copies of these documents have been submitted to the Employer, then the controlled copy numbers may be quoted in the submission.
4.3.2
Plant & Materials provided “free issue” by the Employer
None
4.3.3
Contractor’s procurement of Plant and Materials

The Contractor shall make use SABS approved plant and materials. Material certificates shall be handed to the Project Manager. 

The Contractor procures all Plant and Materials required for constructing, installing and commissioning the works.

The Contractor:

· Advises the Project Manager in advance of all major shipments of Plant and Material and co-ordinates with the Employer the arrival, off-loading and release of such. The Contractor promptly unloads its shipments and promptly releases carrier equipment.

· Notifies the Project Manager of being unable to promptly unload any shipment not less than 5 (five) days prior to arrival. The Project Manager, at her option, off-loads or makes arrangements for others to off-load such shipments for the account and risk of the Contractor. Costs incurred in respect of off-loading will be for the Contractor’s account.

· Ensures that all the Plant and Materials are inspected. The Contractor notifies the Project Manager who instructs designated Employer’s representatives to inspect the Plant and Materials at the factory, or the Contractor’s premises, before it is transported to the Site.

· Shall provide his own facilities for material and equipment storage on site. A laydown area for storage facilities will be provided by the Employer.

· Supplies and uses suitable and sufficient construction plant, tools and equipment and materials as may be required to carry out the works efficiently.

· At all times provides protection for all plant and materials from damage or loss due to weather, fire, theft, unexplained disappearance or similar.

At all times protects from damage, due to the Contractor’s service to Provide the Works, all plant and materials and equipment and all items on the site that are the property of the Employer or Others.

· Provides or manages, as part of works everything necessary for the receiving, inspection, safe keeping and storage, issuing, handling, management and administration of all plant and materials purchased by the Contractor.

· Provides through the Project Manager and relevant Construction Management personnel the documentation for the warranties from suppliers of all any relevant plant and material used in the execution of the works.

· Ensures to provide all guarantees and warranties of the plant & materials used in the works to the Project Manager and Employer when construction is completed.

· Supplies the labelling for the Plant that forms part of the works. The Contractor provides labels for the Plant according to the Matimba label specification. The Contractor makes use of the KKS codes and descriptions provided by the Employer.

· The labels are affixed in such a way that they are easily legible and not obstructed by the wiring or by other components.

· Clamping methods applied to the labels shall ensure that removal of the labels requires force. The Project Manager’s acceptance should be sought for the proposed method of clamping prior to use.

· Supplies to the Project Manager, for verification and acceptance purposes, with a label list showing the text only. The Project Manager’s acceptance should be sought for the positioning and designation of labels.

· The KKS codes are used accordingly on documentation (e.g. drawings, manuals, equipment lists, cable schedules etc.) as a unique identification means. References to plant are accompanied by the relevant KKS code for that item of plant.

· Abbreviations to descriptions on the labels are generally not acceptable. Where abbreviations are unavoidable, due to the limited number of characters that can be engraved/etched on labels, the abbreviations are submitted to the Project Manager for acceptance. The Contractor makes use of the Employer’s “Eskom Plant Labelling Abbreviation Standard; 240-109607332.

· Arranges all shipments of Plant and Materials and consigns all such shipments to himself as consignee at the project shipping address, freight fully prepaid. The Contractor makes demurrage agreements and settlements with carriers for his shipments.

· Where materials are required to comply with a standard specification, the Contractor shall provide the Project Manager with certificates showing compliance to the standard.

· Samples ordered or specified shall be delivered to the Project Manager’s office on site for check before acceptance.

· Unless otherwise specified, all proprietary materials shall be used and placed in strict accordance with the published instructions of the relevant manufacturer.

4.3.4
Storage

· All materials will be stored as per manufacturer's instructions and material data sheet, and failure to adhere to the material storage requirements will lead to materials not being accepted for use.
· The Contractor will ensure that all material is stored off the ground to prevent deterioration.

· All coating materials are to be transported in their original containers as provided by the manufacturer and shall have a label to inform the user of the content. All leaking containers will be rejected before usage. Coating materials to be stored in a dry enclosed area that is equipped with fire extinguishers and no-smoking signs.
4.3.5
Spares and consumables
All spares and consumables that will be required during the construction period will be provided by the Contractor. The Contractor to ensure enough spares on site, not to delay the completion of the works.
4.4
Contractor’s Equipment (including temporary works)

The Contractor provides all Equipment that is required to complete the works. The Contractor must ensure that all his equipment remains within the fenced off allocated site area. 

The Contractor must ensure that any staff, labour, or equipment moving outside his allocated site does not obstruct the normal operation of Matimba Power Station.

The Contractor must keep daily records of his equipment used on Site and the Working Areas (distinguishing

between owned and hired Equipment) with access to such daily records available for inspection by the Project Manager at all reasonable times.

All Equipment used by the Contractor in providing the Works must comply with the General Machinery

Regulation 4 of the Occupational Health and Safety Act (Act 85 of 1993).
4.5
Tests and inspections before delivery

The Employer carries out quality inspections at his discretion without wavering the Employer’s right to conduct inspections at the Contractor’s site prior to delivery.

All inspections and testing to be performed in accordance with the Quality Control Procedure (QCP) developed by the Contractor.

The Employer will be provided access to the Contractor’s premises for the purpose of:

•
Establishing compliance with the contractual requirements by means of inspections, surveillance, and audits.

•
Witnessing the performance of any tests.

The Employer will inspect equipment forming part of the Plant before they are released from the Contractor’s premises at his discretion. This inspection entails a thorough check to ensure complete compliance with this specification including schedules, design drawings and other applicable standards. 

The Contractor obtains clearance from the Project Manager before despatching of the equipment. This factory release inspection does not release the Contractor of any of his obligations under the contract.

4.6
Marking Plant and Materials outside the Working Areas

N/A

4.7
Contractor’s Equipment (including temporary works).

The Contractor provides all Equipment that is required to complete the works. The Contractor must ensure that all his equipment remains within the fenced off allocated site area. 

The Contractor must ensure that any staff, labour, or equipment moving outside his allocated site does not obstruct the normal operation of Matimba Power Station.

The Contractor must keep daily records of his equipment used on Site and the Working Areas (distinguishing

between owned and hired Equipment) with access to such daily records available for inspection by the Project Manager at all reasonable times.

All Equipment used by the Contractor in providing the Works must comply with the General Machinery Regulation 4 of the Occupational Health and Safety Act (Act 85 of 1993).
The Contractor will supply all equipment required for the completion of the works. See section 4.3.2 Plant & Materials provided “free issue” by the Employer for the equipment that the Employer will provide. All tools and equipment required to complete the works shall be supplied by the Contractor, this will include additional lighting and ventilation equipment as lighting and ventilation is limited in the area of work.
5
Construction
5.1
Housekeeping

The Contractor will ensure that the area of work is kept clean on a continuous basis. This will include the removal of existing debris and litter. 
5.2
Temporary works, Site services & construction constraints

5.2.1
Employer’s Site entry and security control, permits, and Site regulations

Acceptance of this tender is subject to the condition that both the contracting company's management and its

employees provide Eskom with a clear criminal record not older than thirty (30) days from a reputable screening company. No employee personal site access permit will be issued if this document has not been submitted to the Project Manager.

If the Main contractor appoints a subcontractor, the same provisions and measures will apply to the

subcontractor. Acceptance of the tender is also subject to the condition that the contractor will implement all

such security measures for the safe performance of the work as required in the scope of the contract.

In addition, the Contractor complies with the following:

· Matimba Power Station Health and Safety Standards as per Matimba Power Station Health & Safety Specifications for Contractors (PA/270/003).

· Compliance with Eskom & Matimba No Smoking Policy

· Adhere to the OHS Act 85 of 1993

· All staff will undergo Safety Induction, presented by Matimba Risk Management Department

· Adhere to Eskom Life-saving Rules always
· The Contractor must conform to the access control requirements as set out in the document called “Health and Safety Practices for Contractors at Matimba Power Station”.

· The Contractor must conform to the requirements set out in the document called “Eskom Environmental Practices and Standards”.

· Names and Identity numbers are required seven working days before the contract starts. Photocopies of Identity documents are also required. This must be arranged with the Employer’s Representative.

· Lost permits will be paid for by the Contractor to Protective Services at a cost of R30-00 per lost permit.

· Only work vehicles with an approved permit will be allowed on site. No private vehicles will be allowed on site.

· Arrangements must be made with the Employer’s Representative well in advance to allow sub-contractors on site.

· The transport of any equipment onto site must be declared and documented at Protective Services to facilitate the future removal thereof.

· Eskom may at its discretion provide any spare parts, materials or equipment as may be required for the execution of the contract works.

· At least one supervisor shall be authorized as a Responsible Person in terms of the Eskom Plant Safety Regulations to take out Permits to Work on plant.

5.2.2 Access to Site
Access to the site is controlled and is governed by the terms and conditions lay down by Matimba Power Station security officials. The proposed site will be shown to the Contractor during the site meeting, clarification meeting or after contract ward. 

The Contractor liaises with the Matimba SHE Practitioner/Officers for Safety Induction prior work to commence. 

After Induction the Contractor will be issued with a copy of the attendance register for the induction attended. This proof of induction will be used by the Employer to verify attendance prior to signing the Personal Site Access document. 

The Contractor’s employees take the signed site access documents to security reception official in order to finalize their site access.

The Contractor ensures that all its employees carry their site access forms with them all the time.

The Contractor is subjected to alcohol testing daily.

The Contractor submits his application for vehicle permit to the Project Manager. The personnel and vehicles entering and leaving the site are subjected to routine searches.

The Contractor obtains a “Gate Removal Permit” from the Project Manager before materials and equipment can be removed from site. The “Gate Removal permit” gives itemised list of materials and equipment to be removed from site.

The Contractor ensures that a tool list is available on the day of arrival and that all tools are captured on the tool list. The tool list is handed over to the Reception Security official that will stamp the tool list. The tool list is kept safe and used when tools need to be removed from site.

This message is handed over to any Subcontractor working on Matimba Power Station
5.2.3 People restrictions on Site; hours of work, conduct and records

Restrictions and hours of work may apply at Matimba Power Station. The Contractor keeps records of his people on Site, including those of his Subcontractors which the Project Manager or Supervisor have access to at any time. 

· The Medical Station is available on site during normal working hours. The afterhours emergency telephone number is 014-763-8311 or from a Matimba phone the extension is 5000 that can be phoned for assistance.

· Fire protection and rescue services are available on site 24 hours per day.
· The Contractor provides a First Aid service and SHE representative to his employees and Sub-Contractor. In the case where these prove to be inadequate, like in the event of a serious injury, the Employer’s Medical Centre and facilities may be available. Outside the Employer’s office hours, the Employer’s First Aid Services are only available for serious injuries and life-threatening situations. The Employer recovers the costs incurred, in the use of the above Employer’s facilities, from the Contractor.

5.2.4 Health and safety facilities on Site 
· The Medical Station is available on site during normal working hours. The after hours emergency telephone number is 014-763-8311 or from a Matimba phone the extension is 5000 that can be phoned for assistance.

· Fire protection and rescue services are available on site 24 hours per day.
5.2.6 Environmental controls, fauna & flora, dealing with objects of historical interest 

The contractor identifies the environmental aspects and impacts associated with the works and keeps an updated register after approval by the Employer's safety department.

The contractor takes precautions not to disturb any fauna and/or flora (plant or site vegetation) for any purpose, injure or kill any animals, including snakes. The construction site is kept clean and free of litter that can attract pest animal species. 

Use of herbicide on site is subject to approval by Employer's safety department. The application must be according to set specifications and under supervision. 

The contractor shall submit an EMP indicating plans for managing environmental aspects. The Contractor includes in his method statements and risk assessments, mitigation measures for environmental impacts and aspects.

The Contractor shall comply with the Employer's site SHE specification, the site Environmental Procedure and any other procedures from the Employer and site pertaining to environmental management.
5.2.7 Title to materials from demolition and excavation

The Contractor has no title to any material or equipment delivered under this Contract.  He will remove all redundant material and equipment to an area that will be identified by the Project Manager.
5.2.8 Cooperating with and obtaining acceptance of Others

Other Contractors or Employees may be working in the same area as the work of this contract. In this regard,

the Contractor co-ordinates his work with the Project Manager to maintain harmonious working conditions on

Site.

During the progress of the works the Contractor provides access to others who also execute work in the same area, on an as and when required basis.

The Contractor makes his own assessment of the problems and difficulties which may be encountered for

providing access to and interfacing with others (this includes access difficulties experienced during

construction or commissioning phase).

5.2.9 Publicity and progress photographs 

The taking of photographs at Matimba Power Station including the Project works is restricted and subject to the approval by the Project Manager. 
5.2.10 Contractor’s Equipment

· The Contractor provides all Equipment that is required to complete the works.

· The Contractor ensures that all his construction labour and equipment remain within the fenced off allocated construction area.

· The Contractor ensures that any staff, labour, or equipment moving outside his allocated construction site does not obstruct the normal operation of the power station.

· Any additional access routes required are coordinated with the Project Manager.

· The Contractor keeps daily records of his equipment used on Site and the Working Areas (distinguishing between owned and hired Equipment) with access to such daily records available for inspection by the Project Manager at all reasonable times.

· All Equipment used by the Contractor in Providing the Works comply with the General Machinery Regulation 4 of the Occupational Health and Safety Act (Act 85 of 1993).

· The Contractor shall register all their equipment and declare all their belongings at the security gate upon arrival. Unregistered belongings upon arrival will not be allowed to be removed offsite.
· The Contractor shall provide extension leads to connect to existing points of power supply. Where there are no existing points or power supply, the Contractor shall make provision for a mobile generator.

· The Contractor shall provide all lighting, and ventilation and extraction equipment required for safe execution of the entire works.

· The Contractor shall provide all testing equipment required for quality of works monitoring.
· The Contractor shall provide all access ramps which will be required to cross over cables racks to prevent damage to the cables and the racks.
5.2.11
Equipment provided by the Employer
No Equipment is supplied by the Employer.

5.2.12
 Site services and facilities
5.2.12.1 Site Yard
It is required, for the proper co-ordination and execution of the works that the Contractor has an office on Site for the duration of the contract. A site is made available to the Contractor for his yard within the Power Station security area for site establishment. The proposed site is shown to the Contractor during site meeting, clarification meeting or after contract award. The yard is a raw site and will be used by the Contractor for the establishment of his offices, workshop and stores. The Contractor includes in his establishment rates for all further treatment and maintenance of the facilities that he considers necessary for his entire operation throughout his period of occupation and under all weather conditions. The Contractor also includes for all security fencing and access arrangements. The location of the nearest sewer manhole, power distribution point, portable water connection storm water channel and road access point is indicated by the Employer. The Contractor is responsible for connection to the closest point of supply.
The yard is always kept clean and tidy; this includes all workshops and storage areas under the control of the Contractor. Maintenance of the yard is the Contractors responsibility and is for the Project Manager’s acceptance. The Contractor’s plan for the layout of his yard area is accepted by the Project Manager prior to occupying the yard and the Contractor does not occupy any site area other than that allocated to him. The Contractor complies with the environmental policy given in the Site Regulations. 
The Contractor provides, erects and maintains for his own use adequate size office accommodation and stores together with such drainage, lighting, heating, and hot and cold-water services as may be required. Provision is also made for adequate parking area adjacent to all the aforesaid structures. The Contractor dismantles and clears the yard of all such temporary structures and associated foundations and infrastructure at the direction of the Project Manager on Completion of the whole of the works. 

The Contractor’s yard is subject to periodic inspection by the Project Manager/delegated person. The location of the nearest sewer manhole, power distribution point, portable water connection storm water channel and road access point is indicated by the Employer. The Contractor is responsible for connection to the closest point of supply. The contractor will be responsible for providing its own security to protect the equipment and spares that will be utilised for the doing the work, any material that are lost will be the responsibility of the contractor to replace.
5.2.12.2 Supply of Electricity
Electricity is made available for construction purposes free of charge from power points which are indicated by the Project Manager. The Contractor is responsible for the provision of the reticulation system from the point of supply. Both 220 (AC) Volt and 380 (AC) Volt are available on request. All points of supply requested by the Contractor are provided in terms of quantity and location at the discretion of the Project Manager.

No guarantees of power supply quality are given and power supply breaks of some duration may occur without warning. Planned outages are also a possibility. The Contractor makes arrangements at his own expense to improve continuity and quality of power where necessary for any reason and no claim of any nature relating to power failures is considered.

No connection is made to the permanent installation at Matimba Power Station without the prior acceptance of the Project Manager.

The power supply is managed in accordance with the latest revision of the Eskom safety

regulations i.e.:

a) 32-846, Operating Regulations for High-Voltage Systems

b) 36-681, Generation Plant Safety Regulations

c) COC for the site installation is required prior to power being switched on.

5.2.12.3 Lighting
The Contractor at his own expense provides temporary local lighting in accordance with the requirements of the OHS Act as amended. The Project Manager provides no local lighting. All construction lighting is the responsibility of the Contractor.

5.2.12.4 Water
Water is made available on request free of charge from water points on site. The Contractor supplies at his own cost all the necessary connections, fittings, piping work, temporary plumbing and pumps necessary to lead water from the Employer’s points of supply to the various points where it is required. The Contractor is responsible for maintaining this equipment and for removing it at Completion of the whole of the works.

The Project Manager does not guarantee continuity of supply, and the Contractor makes his own provision for standby supplies to maintain continuity of work. Claims of any nature relating to discontinuity of water supply shall not be considered and entertained.

5.2.12.5 Roads
Main access roads are surfaced, complete and may be used by the Contractor with the necessary care. The Employer maintains the Site roads, described above, to a fair condition. Any costs incurred by the Project Manager from damage caused to underground services, structures, etc. as a result of the Contractor not using the identified routes is recovered from the Contractor.

The Contractor provides temporary access points from the prescribed routes and roads to the points where the Contractor is required to perform work, having first obtained permission in writing from the Project Manager.
5.2.12.6 Sanitary Facilities and Refuse

The Contractor is to supply own sanitary facilities at his Contractor’s yard and construction area. 

A refuge control system will be established by the Contractor. All waste and refuge are collected and disposed of as directed by the Project Manager, at the Power Station refuse disposal site.

5.2.12.7 Telecommunications

Neither a network point nor a telephone is available on site. Should the Contractor require one, he is to make his own arrangements with relevant authorities.

Should the Contractor wish to use radio communication equipment on site, he makes his own arrangements with the relevant authorities. In this case, he is requested to liaise with the head of security at the station to ensure that there is no interference with existing channels or equipment.

5.2.12.8 Survey control and setting out of the works
The Contractor shall be required to do underground scans prior to any excavation work being done. The results of the scans shall be submitted to the Employer in a PDF and CAD format which is compatible with Bentley MicroStation. Any damage caused to existing services shall be repaired by the Contractor at his own expense. 

5.2.12.9 Excavations and associated water control
For all excavations, the area needs to be scanned using underground scanning by the contractor to prevent damaging existing services. All excavations will comply with the regulations and Eskom Safety, Health, Environmental and risk requirements

5.2.12.10 Underground services, other existing services, cable and pipe trenches and covers
For all excavations the area needs to be scanned using underground scanning by the contractor to prevent damaging existing services. All excavations will comply with the regulations and Eskom Safety, Health, Environmental and risk requirements.

5.3 Control of noise, dust, water and waste

The Contractor maintains a high standard of cleanliness during the conduct of his activities at Matimba Power Station. This includes areas allocated for storage of materials, site offices etc. in accordance with the requirements. The Contractor keeps these areas clean and free from accumulation of waste materials and refuse regardless of the source.

The Contractor is responsible for the prompt removal of all waste to a licensed disposal facility. For the purpose hereof, “waste” any matter, whether liquid or solid or any combination thereof, which is a by-product, emission, residue or remainder of any process or activity carried out in connection with the works and which is not reused on the Site in the ordinary course of carrying out the works within seven days of production.

The Contractor provides an adequate number of marked bins and containers at offices, in yards, at workshops and on the Site for the temporary storage of waste. The waste bins must be fitted with a tamper proof closing device to prevent monkeys and other wild animals from opening them. These bins and containers are subject to the acceptance of the Project Manager.

The Contractor is required to segregate certain items of waste by type. Bins and containers are emptied and waste removed to the designated area at least once a week. All the temporary storage areas for bins and containers are kept tidy and must not constitute a nuisance to others. The Contractor takes all required steps to avoid spillage of waste alongside the bins and containers during removal and disposal thereof.

All waste that cannot be contained in either a bin or container is placed on a temporary waste site which the Project Manager identifies. The waste is removed as soon as possible but, in any event, at least once a week. No burning of waste is allowed at the Matimba Power Station. Hazardous waste is dealt with in accordance with the safety, health and/or environmental requirements of the works and the Contractor is solely responsible for the proper disposal thereof. Hazardous waste will be disposed of at an authorised landfill site. Waste manifest will be kept for record keeping and hand over at the end of the Project.

5.3.1 Start-up procedures required to put the works into operation

The Contractor will be required to do plant checks to ensure that the material used, and workmanship complies with the specified requirements. The results of those checks shall, if so ordered, be made available to the Engineer.

The plant will only be put in operation after relevant safety clearances for all plant and material has been issued by the Contractor and Signed by the Employer.

The contractor will be required to provide the Employer with the relevant start-up procedures.

5.3.2 Take over procedures

The maintenance and guarantee period will commence on the date of hand-over, which is the date of certification of completion of the works.

Hand-over will not occur until:

a) Testing and commissioning report has been submitted and approved.

b) Operating and maintenance manuals have been submitted and approved.

c) The certificate of compliance (electrical) has been received.

d) All "as-built" drawings (prints and electronic copies) have been submitted and approved.


As a minimum, the Contractor is required to supply:

a) Two (2) sets of prints of each of the "as built" drawings and two sets of a drawing showing the construction of the major items with parts listed and reference numbers for ordering spares.

b) Two (2) sets of prints of each of the diagrams of electrical wiring connections.

c) Electronic copies with PDF and Soft copies version (software recommended by the Employer) of above prints compatible with Employers software (MicroStation)

5.4
Completion, testing, commissioning and correction of Defects

5.4.1 Work to be done by the Completion Date

On or before the Completion Date the Contractor shall have done everything required to Provide the Works except for the work listed below which may be done after the Completion Date but in any case, before the dates stated.  The Project Manager cannot certify Completion until all the work except that listed below has been done and is also free of Defects which would have, in his opinion, prevented the Employer from using the works and Others from doing their work.

	No
	Item of work
	To be completed by

	1
	Partial coating of all grouped cables on cable racks with a 2-hour rated fire resistant coating
	Completion date

	2
	Installation of new and repair of existing damaged fire penetrant seals.
	Completion date

	3
	Modification of existing fire door bases
	Completion date


5.4.2 Use of the works before Completion has been certified

The Employer may use any part of the works before completion has been certified. If he does so, he takes over the part of the works when he begins to use it, except if the use is:

· For the reason stated in the Works Information.

· To suite the Contractor’s method of working.

The Project Manager certifies the date upon which the Employer takes over any part of the works and its extent within one week of the date.
5.4.3
Materials facilities and samples for tests and inspections 
· Before any fire seal or fire coating is installed or applied a full application plan with the required Quality Control Plans (QCP’s) / Inspection and Testing Plans (ITP’s) will be in place with the relevant hold and witness points as required by the Employer. This will include any priming that is required before application. 

· Material application guarantees will be provided as part of the scope. 

· All relevant inspection, testing and maintenance requirements for the products supplied as part of the scope shall be supplied. 
5.4.4
Test certificates 

All fire-resistant coatings or fire-resistant seals that will be supplied as part of this scope shall have test certificates for the specific product that is not older than 5 years. The test certificates shall be in accordance with:

· SANS 10177 Fire testing of materials, components and elements used in buildings

· IEEE 634 Testing for Fire Rated Penetration Seals; or

· ASTM E814 Fire Test of through Penetration Fire Stops; or

· Equivalent.
5.4.5
Labelling of fire rated coatings and seals

All fire-resistant coatings and fire-resistant seals will be labelled indicating:

1. Product Name,
2. Date of Installation and
3. Fire Rating.
4. “Fire Seal”.

5.4.6
Commissioning
The Contractor together with Project Manager, and all identified stakeholders of the Employer will conduct commissioning and acceptance. This will consist of a site visit to visually inspect all the works. 
5.4.7
Start-up procedures required to put the works into operation

The Contractor shall carry out sufficient checks to satisfy himself that the material used, and the workmanship complies with the specified requirements. The results of those checks shall, if so ordered, be made available to the Engineer. The Engineer may carry out similar checks if he deems necessary and the results of the Engineer’s checks shall be made available to the Contractor.
5.4.8
Completion

Completion per section is defined as follows:

· Completion of all construction work.

· Cleaning of working area.

· Successful completion of performance tests and commissioning.

· Documentation is updated to the latest “as built” status.
5.4.9
Take over procedures

Takeover will be on or before the Completion Date specified in the Works Information. The Contractor shall have done everything required to provide the works and the Engineer shall have completed the necessary inspections and approve the work done.
5.4.10
Access given by the Employer for correction of Defects

Clause 43.4 requires that the Project Manager arranges for the Employer to allow the Contractor access to and use of a part of the works which has been taken over if needed to correct a Defect.

Performance tests after Completion.

Acceptance tests shall be carried out to prove all the plant guarantee figures provided by the Contractor in the technical schedules.

6
List of drawings

6.1
Drawings issued by the Employer
This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

Note:  Some drawings may contain both Works Information and Site Information.

	Drawing  number
	Revision
	Title

	0.58/1667
	
	Auxiliary Bay Unit 1 7,300 Level Col’s 1-7 Cable Chamber Plan & Sections

	0.58/1668
	
	Auxiliary Bay Unit 1 7,300 Level Col’s 7-13 Cable Chamber Plan & Sections

	0.58/1671
	
	Auxiliary Bay Unit 1 13,800 Level Col’s 1-7 Cable Chamber Plan & Sections

	0.58/1672
	
	Auxiliary Bay Unit 1 13,800 Level Col’s 7-13 Cable Chamber Plan & Sections

	0.58/3136
	
	Auxiliary Bay Unit 2 7,300 Level Col’s 13-17 Cable Chamber Plan & Sections

	0.58/3137
	
	Auxiliary Bay Unit 2 7,300 Level Col’s 17-23 Cable Chamber Plan & Sections

	0.58/3140
	
	Auxiliary Bay Unit 2 13,800 Level Col’s 13-17 Cable Chamber Plan & Sections

	0.58/4007
	
	Auxiliary Bay Unit 3 7,300 Level Col’s 23-27 Cable Chamber Plan & Sections

	0.58/4008
	
	Auxiliary Bay Unit 3 7,300 Level Col’s 27-33 Cable Chamber Plan & Sections

	0.58/4010
	
	Auxiliary Bay Unit 3 13,800 Level Col’s 27-33 Cable Chamber Plan & Sections

	0.58/4014
	
	Auxiliary Bay Unit 4 7,300 Level Col’s 33-37 Cable Chamber Plan & Sections

	0.58/4015
	
	Auxiliary Bay Unit 4 7,300 Level Col’s 37-43 Cable Chamber Plan & Sections

	0.58/4018
	
	Auxiliary Bay Unit 4 13,800 Level Col’s 33-37 Cable Chamber Plan & Sections

	0.58/4019
	
	Auxiliary Bay Unit 4 13,800 Level Col’s 37-43 Cable Chamber Plan & Sections

	0.58/9596
	
	Auxiliary Bay Unit 5 7,300 Level Col’s 43-47 Cable Chamber Plan & Sections

	0.58/9597
	
	Auxiliary Bay Unit 5 7,300 Level Col’s 47-53 Cable Chamber Plan & Sections

	0.58/10250
	
	Auxiliary Bay Unit 6 7,300 Level Col’s 53-57 Cable Chamber Plan & Sections

	0.58/10251
	
	Auxiliary Bay Unit 6 7,300 Level Col’s 57-63 Cable Chamber Plan & Sections

	0.58/10254
	
	Auxiliary Bay Unit 6 13,800 Level Col’s 53-57 Cable Chamber Plan & Sections

	0.58/10255
	
	Auxiliary Bay Unit 6 13,800 Level Col’s 57-63 Cable Chamber Plan & Sections


� This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008, Fax 011 803 3009 or see � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 







Contract
2
ecc3 Cover pages


