NEC3 Supply Contract (SC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________ ) |  |
| for | Supply and Delivery of C&I Spares on an “as and when required” at Hendrina Power Station (Materials Management Department) for a period of 5 years Insert title of the goods and services |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | [●] |
| Part C2 | Pricing Data | [●] |
| Part C3 | Scope of Work | [●] |
| CONTRACT No. |  |  |

# PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] | [●] |
| C1.2a | Contract Data provided by the Purchaser | [●] |
| C1.2b | Contract Data provided by the Supplier [to be inserted from Returnable Documents at award stage] | [●] |
| C1.3 | Proforma Guarantees | [●] |

C1.1 Form of Offer & Acceptance

## Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Supply and Delivery of C&I Spares on an “as and when required” at Hendrina Power Station (Materials Management Department) for a period of 5 years

The tenderer, identified in the Offer signature block, has

| either | examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender. |
| --- | --- |
| or | examined the draft contract as listed in the Acceptance section and agreed to provide this Offer. |

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

|  | The offered total of the Prices exclusive of VAT is | R [●] |
| --- | --- | --- |
|  | Value Added Tax @ 15% is | R [●] |
|  | The offered total of the amount due inclusive of VAT is | R [●] |
|  | (in words) [●] |  |

This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) | Tebogo Lekalakala |  |  |  |
| Capacity | General Manager Hendrina Power Station |  |  |  |
| for the Purchaser | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | [●] | [●] |
| 2 | [●] | [●] |
| 3 | [●] | [●] |
| 4 | [●] | [●] |
| 5 | [●] | [●] |
| 6 | [●] | [●] |
| 7 | [●] | [●] |

By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Purchaser |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  | Tebogo Lekalakala |
| Capacity |  |  | General Manager Hendrina Power Station |
| On behalf of | (Insert name and address of organisation) |  | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |
| Name & signature of witness |  |  | Jabu Galela |
| Date |  |  |  |

C1.2 SC3 Contract Data

# Part one - Data provided by the Purchaser

[Instructions to the contract compiler:  (delete these two notes in the final draft of a contract)

- Please read the relevant clauses in the conditions of contract before you enter data.  The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data.

- Some SC3 options are always selected by Eskom Holdings SOC Ltd.   The remaining SC3 options are identified by shading in the left hand column.  In the event that the option is not required select and delete the whole row.  Where the following symbol is used “[●]” - data is required to be inserted relevant to the specific option selected.]

Completion of this data in full, according to the Options chosen, is essential to create a complete contract.

| Clause |  |  | ## Statement |  | ## Data |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  | ## General |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | The conditions of contract are the core clauses and the clauses for Options |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | X1: Price adjustment for inflation |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | X2 Changes in the law |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | X7: Delay Damages |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | X17: Low Performance Damages |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Z: Additional conditions of contract |  |  |  |  |  |  |  |  |  |
|  |  |  | of the NEC3 Supply Contract (April 2013) |  | (If the December 2009 edition is to be used delete April 2013 and replace by December 2013) |  |  |  |  |  |  |  |  |  |
| 10.1 |  |  | The Purchaser is (name): |  | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |  |  |  |  |  |
|  |  |  | Address |  | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |  |  |  |  |  |
|  |  |  | Tel No. |  | [●] |  |  |  |  |  |  |  |  |  |
|  |  |  | Fax No. |  | [●] |  |  |  |  |  |  |  |  |  |
| 10.1 |  |  | The Supply Manager is (name): |  | Sibusiso Khawula |  |  |  |  |  |  |  |  |  |
|  |  |  | Address |  | Hendrina Power Station |  |  |  |  |  |  |  |  |  |
|  |  |  | Tel |  | +27 31 710 5356 |  |  |  |  |  |  |  |  |  |
|  |  |  | Fax |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | e-mail |  | khawulsc@eskom.co.za |  |  |  |  |  |  |  |  |  |
| 11.2(13) |  |  | The goods are |  | C&I Spares |  |  |  |  |  |  |  |  |  |
| 11.2(13) |  |  | The services are |  | Supply and Delivery of C&I Spares on an “as and when required” basis at Hendrina Power Station (Materials Management Department) for a period of 5 years |  |  |  |  |  |  |  |  |  |
| 11.2(14) |  |  | The following matters will be included in the Risk Register |  | Delay on delivery Quality of deliverables |  |  |  |  |  |  |  |  |  |
| 11.2(15) |  |  | The Goods Information is in |  | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |  |  |  |  |  |  |  |
| 11.2(15) |  |  | The Supply Requirements as part of the Goods Information is in |  | Annexure A to this Contract Data |  |  |  |  |  |  |  |  |  |
| 12.2 |  |  | The law of the contract is the law of |  | the Republic of South Africa |  |  |  |  |  |  |  |  |  |
| 13.1 |  |  | The language of this contract is |  | English |  |  |  |  |  |  |  |  |  |
| 13.3 |  |  | The period for reply is |  | 2 working days |  |  |  |  |  |  |  |  |  |
| ## 2 |  |  | ## The Supplier’s main responsibilities |  | The Supplier provides the following additional documentation at the time of delivery: - All material certificates - All inspection reports (NDT, Dimensional, etc.) - Detailed tax invoice - QIP (On Items Requested) |  |  |  |  |  |  |  |  |  |
| ## 3 |  |  | ## Time |  |  |  |  |  |  |  |  |  |  |  |
| 30.1 |  |  | The starting date is. |  |  |  |  |  |  |  |  |  |  |  |
| 30.1 |  |  | The delivery date of the goods and services is: |  | goods and services |  |  |  |  |  |  | delivery date |  |  |
|  |  |  |  |  | 1 | On an “as and when required” basis |  |  |  |  |  | On an “as and when required” basis |  |  |
| 30.2 |  |  | The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date. |  | Supplier informs the Purchaser to come and inspect and accept all goods before effecting delivery |  |  |  |  |  |  |  |  |  |
| 31.1 |  |  | The Supplier is to submit a first programme for acceptance within |  | 2 weeks of the Contract Date. |  |  |  |  |  |  |  |  |  |
| 32.2 |  |  | The Supplier submits revised programmes at intervals no longer than |  | 4 weeks. |  |  |  |  |  |  |  |  |  |
| ## 4 |  |  | ## Testing and defects |  |  |  |  |  |  |  |  |  |  |  |
| 42 |  |  | The defects date is |  | On the day of Delivery. |  |  |  |  |  |  |  |  |  |
| 43.2 |  |  | The defect correction period is |  | 1 week (To be negotiated between Purchaser and Supplier based on criticality of spares |  |  |  |  |  |  |  |  |  |
|  |  |  | except that the defect correction period for |  | [●] is [●] weeks |  |  |  |  |  |  |  |  |  |
|  |  |  | and the defect correction period for |  | Criticality of the spare |  |  |  |  |  |  |  |  |  |
| 42.2 |  |  | The defects access period is |  | To be negotiated between Purchaser and Supplier |  |  |  |  |  |  |  |  |  |
|  |  |  | except that the defect access period for |  | [●] is [●] |  |  |  |  |  |  |  |  |  |
|  |  |  | and the defect access period for |  | Criticality of spare |  |  |  |  |  |  |  |  |  |
| ## 5 |  |  | ## Payment |  |  |  |  |  |  |  |  |  |  |  |
| 50.1 |  |  | The assessment interval is |  | After each delivery and acceptance of spares |  |  |  |  |  |  |  |  |  |
| 51.1 |  |  | The currency of this contract is the |  | South African Rand |  |  |  |  |  |  |  |  |  |
| 51.2 |  |  | The period within which payments are made is |  | 14 Days |  |  |  |  |  |  |  |  |  |
| 51.4 |  |  | The interest rate is |  | the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |  |  |  |  |  |  |
| ## 6 |  |  | ## Compensation events |  | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |  |  |
| ## 7 |  |  | ## Title |  | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |  |  |
| ## 8 |  |  | ## Risks, liabilities, indemnities and insurance |  |  |  |  |  |  |  |  |  |  |  |
| 80.1 |  |  | These are additional Purchaser’s risks |  | 1. Supplier not Supplying goods in time can result in outage slip or plant shutdown. |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 2. Supplier not meeting quality requirements can result in financial and production loss. |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 3. Incorrect Specification used can result in production losses / financial loss / PFMA violation and outage slip |  |  |  |  |  |  |  |  |  |
| 88.1 |  |  | The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to |  | R0.0 (zero Rand) |  |  |  |  |  |  |  |  |  |
| 88.2 |  |  | For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to |  | (1) for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event and (2) for all other existing Purchaser’s property the applicable deductible as at contract date |  |  |  |  |  |  |  |  |  |
| 88.3 |  |  | The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to: |  | R[●] [This is a commercial decision, but consider using the total of the Prices. Delete this note after inserting a Rand amount] |  |  |  |  |  |  |  |  |  |
| 88.4 |  |  | The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to |  | R[●] [This is a commercial decision, but consider using at least the total of the Prices. Delete this note after inserting the Rand amount] |  |  |  |  |  |  |  |  |  |
| 88.5 |  |  | The end of liability date is |  | Until product is utilised the period of warranty of the product should commence from the date of use or installation of the product because we cannot determine if the goods were defect or not unless they were in use. As long as the one can objectively determine the date of use or installation and for as long as the goods were not stored for an unreasonably long period in good conditions of storage. |  |  |  |  |  |  |  |  |  |
| ## 9 |  |  | ## Termination and dispute resolution |  |  |  |  |  |  |  |  |  |  |  |
| 94.1 |  |  | The Adjudicator is |  | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |  |  |  |  |  |  |  |
|  |  |  | Address |  | To be known once the dispute arises |  |  |  |  |  |  |  |  |  |
|  |  |  | Tel No. |  | To be known once the dispute arises |  |  |  |  |  |  |  |  |  |
|  |  |  | Fax No. |  | To be known once the dispute arises |  |  |  |  |  |  |  |  |  |
|  |  |  | e-mail |  | To be known once the dispute arises |  |  |  |  |  |  |  |  |  |
| 94.2(3) |  |  | The Adjudicator nominating body is: |  | the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za) |  |  |  |  |  |  |  |  |  |
| 94.4(2) |  |  | The tribunal is: |  | arbitration |  |  |  |  |  |  |  |  |  |
| 94.4(5) |  |  | The arbitration procedure is |  | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |  |  |  |
| 94.4(5) |  |  | The place where arbitration is to be held is |  | [●] South Africa |  |  |  |  |  |  |  |  |  |
|  |  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is |  | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |  |  |  |
| ## 10 |  |  | ## Data for Option clauses |  |  |  |  |  |  |  |  |  |  |  |
| X1 |  |  | Price adjustment for inflation |  |  |  |  |  |  |  |  |  |  |  |
| X1.1 |  |  | The base date for indices is |  | 28 May 2026 |  |  |  |  |  |  |  |  |  |
|  |  |  | The proportions used to calculate the Price Adjustment Factor are: |  | proportion |  | linked to index for |  |  |  | Index prepared by |  |  |  |
|  |  |  |  |  | 60% |  | Mechanical |  |  |  | SEIFSA (G1) |  |  |  |
|  |  |  |  |  | 20% |  | Transport |  |  |  | SEIFSA L2 (B) |  |  |  |
|  |  |  |  |  | 5% |  | Labour |  |  |  | SEIFSA (C3) |  |  |  |
|  |  |  |  |  | 15% |  | non-adjustable |  |  |  |  |  |  |  |
|  |  |  |  |  | 100% |  |  |  |  |  |  |  |  |  |
| X2 |  |  | Changes in the law |  |  |  |  |  |  |  |  |  |  |  |
| X2.1 |  |  | A change in the law of |  | Republic of South Africa is a compensation event if it occurs after the Contract Date |  |  |  |  |  |  |  |  |  |
| X7 |  |  | Delay damages |  |  |  |  |  |  |  |  |  |  |  |
| X7.1 |  |  | Delay damages for Delivery are |  | Delivery of |  |  |  |  | amount per day |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 0.5% (zero point five per centum) increments of the batch order value per calendar day late, until damage have accumulated to 10% of the batch order |  |  |  |  |
| X17.1 |  |  | The amounts for low performance damages are: |  | amount |  |  | performance level |  |  |  |  |  |  |
|  |  |  |  |  | 2% of order value for one day late and 5% for more than one day |  |  | All deliveries to be delivered as per agreed led time stated on order |  |  |  |  |  |  |
|  |  |  |  |  | R 2% of order value |  |  | All items must be wrapped with clear plastic, bubble wrap that is clear or be placed inside cardboards for preservation purposes. The marking should be as follows: Name of Supplier, Purchase Order Number, Part Number and Delivery Date |  |  |  |  |  |  |
|  |  |  |  |  | R [●] |  |  | for [●] |  |  |  |  |  |  |
|  |  |  |  |  | R [●] |  |  | for [●] |  |  |  |  |  |  |
| X20 |  |  | Key Performance Indicators (not used when Option X12 applies) |  |  |  |  |  |  |  |  |  |  |  |
| X20.1 |  |  | The incentive schedule for Key Performance Indicators is in |  | Annexure [●] to this Contract Data |  |  |  |  |  |  |  |  |  |
| X20.2 |  |  | A report of performance against each Key Performance Indicator is provided at intervals of |  | [●] months |  |  |  |  |  |  |  |  |  |
| Z |  |  | The additional conditions of contract are |  | Z1 to Z15 always apply for Eskom |  |  |  |  |  |  |  |  |  |
| Z1 |  | Cession delegation and assignment |  |  |  |  |  |  |  |  |  |  |  |  |
| Z1.1 |  | The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z1.2 |  | Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2 |  | Joint ventures |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.1 |  | If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.2 |  | Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.3 |  | The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z3 |  |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |  |  |  |  |  |
| Z3.1 |  |  | Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change. |  |  |  |  |  |  |  |  |  |  |  |
| Z3.2 |  |  | The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager. |  |  |  |  |  |  |  |  |  |  |  |
| Z3.3 |  |  | Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services. |  |  |  |  |  |  |  |  |  |  |  |
| Z3.4 |  |  | Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |  |  |  |  |  |
| Z4 |  | Confidentiality |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.1 |  | The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time). Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.2 |  | If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.3 |  | In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.4 |  | The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager. All rights in and to all such images vests exclusively in the Purchaser. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.5 |  | The Supplier ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z5 |  | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |  |  |  |  |  |
| Z5.1 |  | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z6 |  |  | Health, safety and the environment: Add to core clause 25.4 |  |  |  |  |  |  |  |  |  |  |  |
| Z6.1 |  |  | The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. Without limitation the Supplier: - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and - undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |  |  |  |
| Z6.2 |  |  | The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |  |  |  |
| Z7 |  | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.1 |  | Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.2 |  | If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.3 |  | The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z8 |  | Notifying compensation events |  |  |  |  |  |  |  |  |  |  |  |  |
| Z8.1 |  | Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9 |  | Purchaser’s limitation of liability |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9.1 |  | The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9.2 |  | The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z10 |  | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |  |  |  |  |  |
| Z10.1 |  | or had a business rescue order granted against it. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z11 |  | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |  |  |  |  |  |  |  |  |
| Z11.1 |  | If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12 | Ethics |  |  |  |  |  |  |  |  |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Affected Party |  |  |  | means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |  |  |  |  |  |  |  |  |  |
| Coercive Action |  |  |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |  |  |  |
| Collusive Action |  |  |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |  |  |  |
| Committing Party |  |  |  | means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, |  |  |  |  |  |  |  |  |  |
| Corrupt Action |  |  |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |  |  |  |  |  |  |  |  |  |
| Fraudulent Action |  |  |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |  |  |  |  |  |  |  |  |  |
| Obstructive Action |  |  |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |  |  |  |  |  |  |  |  |  |
| Prohibited Action |  |  |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |  |  |  |  |  |  |  |  |  |
| Z12.1 | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12.2 | The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12.3 | If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z12.4 | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation. |  |  |  |  |  |  |  |  |  |  |  |  |

Z13	Insurance

Z __13.1	Replace core clause 84 with the following:

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued. |

INSURANCE TABLE A

Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage to the goods, plant and materials; The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.. Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract; Loss of or damage to property Purchaser’s property The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance. Other property The replacement cost Death of or bodily injury The amount required by the applicable law.. Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law.

Z _13.2		Replace core clause 87 with the following:

| Insurance by the Purchaser |  |  |  | 87 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 87.1 | The Purchaser provides the insurances stated in the Insurance Table B |  |
|  |  |  |  |  | INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |
| Z14 |  | Nuclear Liability |  |  |  |  |
| Z14.1 |  | The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |  |  |  |
| Z14.2 |  | The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |
| Z14.3 |  | Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |
| Z14.4 |  | The Purchaser does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |  |  |  |
| Z14.5 |  | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |  |  |  |
| Z15 |  | Asbestos |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |
| AAIA |  |  |  | means approved asbestos inspection authority. |  |  |
| ACM |  |  |  | means asbestos containing materials. |  |  |
| AL |  |  |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |  |  |
| Ambient Air |  |  |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |  |  |
| Compliance Monitoring |  |  |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |
| OEL |  |  |  | means occupational exposure limit. |  |  |
| Parallel Measurements |  |  |  | means measurements performed in parallel, yet separately, to existing measurements to verify validity of results. |  |  |
| Safe Levels |  |  |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |
| Standard |  |  |  | means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |  |  |
| SANAS |  |  |  | means the South African National Accreditation System. |  |  |
| TWA |  |  |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |  |  |
| Z15.1 |  | The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |  |  |  |
| Z15.2 |  | Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |  |  |  |
| Z15.3 |  | The Purchaser manages asbestos and ACM according to the Standard. |  |  |  |  |
| Z15.4 |  | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe. |  |  |  |  |
| Z15.5 |  | The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |  |  |  |
| Z15.6 |  | The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations. |  |  |  |  |
| Z15.7 |  | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Purchaser at the Purchaser’s expense, and conducted in line with South African legislation. |  |  |  |  |

Annexure A:	Supply Requirements

[Notes: The example given in the NEC3 Supply Contract Guidance Notes pages 15 to 20 inclusive is based on Incoterms 2000.   However users will probably wish to use Incoterms 2010 which the details below are based on.    Users may need to adjust the information to comply with actual requirements. First decide whether Incoterms will be used or not, then delete the arrangement below which does not apply and delete these notes]

## The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2010 as follows:

[Select the group and then term within the group which applies and state the applicable delivery place.  Delete all the other groups and this note]

| Group | Category | Term | Delivery Place |
| --- | --- | --- | --- |
| E | departure | EXW |  |
| F | main carriage unpaid | FCA, FAS, FOB |  |
| C | main carriage paid | CIP |  |
| D | arrival | DAT, DAP, DDP |  |

The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

| A | The Supplier’s obligations | B | The Purchaser’s obligations |
| --- | --- | --- | --- |
| A1 | Provision of goods in conformity with contract | B1 | Payment of the price |
| A2 | Licences, authorisations and formalities | B2 | Licences, authorisations and formalities |
| A3 | Contracts of carriage and insurance | B3 | Contracts of carriage and insurance |
| A4 | Delivery | B4 | Taking delivery |
| A5 | Transfer of risks | B5 | Transfer of risks |
| A6 | Division of costs | B6 | Division of costs |
| A7 | Notice to the buyer | B7 | Notice to the seller |
| A8 | Proof of delivery, transport document or equivalent electronic message | B8 | Proof of delivery, transport document or equivalent electronic message |
| A9 | Checking - packing - marking | B9 | Inspection of goods |
| A10 | Other obligations | B10 | Other obligations |

[Should there be a need to amplify any of the published obligations listed above for the chosen INCOTERM, add them here.]

All other information NOT pertinent to the above is given in the balance of the Goods Information

## The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].  [Revise and complete as required]

| 1. The requirements for the supply are | As stated in the Contract Document |  |
| --- | --- | --- |
| 2. The requirements for transport are | As stated in this contract document |  |
| 3. The delivery place is | Hendrina Power Station Stores (Receiving) |  |
| 4. Actions of the Parties during supply | Action | Party which does it |
|  | Giving notice of Delivery | Supplier |
|  | Checking packing and marking before dispatch | Supplier |
|  | Contracting for transport | Supplier |
|  | Pay costs of transport | Included in tendered rates |
|  | Arrange access to delivery place | Purchaser |
|  | Loading the goods | Supplier |
|  | Unloading the goods | As stated in Contract Document |
| For international procurement | Undertake export requirements | Supplier |
|  | Undertake import requirements | Supplier |
| 5. Information to be provided by the Supplier | Title of document |  |
|  | Packing lists for cases and their contents |  |
|  | Copy of invoice for the goods |  |
|  | Delivery Note |  |
|  | Test results and maintenance manuals |  |
| For international procurement | Licences, authorisations and other formalities associated with export of the goods |  |
|  | Air Waybill or Bill of Lading with associated landing, delivery and forwarding order |  |
|  | The Bill of Entry endorsed by the importation authority |  |
|  | Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay |  |
|  | Invoice from the importation clearing agent showing airline fees, landing charges, wharfage and dock dues as applicable |  |
|  | Specify other import documents required by authorised officials. |  |

All other information NOT pertinent to the above is given in the balance of the Goods Information

C1.2 Contract Data

# Part two - Data provided by the Supplier

[Instructions to the contract compiler:  (delete this note before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left hand column it denotes this data is optional and would be required in relation to the option selected.  In the event that the option is not required select and delete the whole row.]

Notes to a tendering supplier:

- Please read both the NEC3 Supply Contract (SC3) and the relevant parts of its Guidance Notes (SC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.

- The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

- Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 10.1 | The Supplier is (Name): |  |  |  |  |
|  | Address |  |  |  |  |
|  | Tel No. |  |  |  |  |
|  | Fax No. |  |  |  |  |
| 11.2(8) | The Goods Information for the Supplier’s design is in: | C3.1 |  |  |  |
| 11.2(11) | The tendered total of the Prices is | R , (in words) |  |  |  |
| 11.2(12) | The price schedule is in: | C2.2 |  |  |  |
| 11.2(14) | The following matters will be included in the Risk Register | Delays on delivery Quality of deliverables Risk to Scope, Time, Quality and Safety Risks. Any other matter posing a risk to the project / contract will be discussed amongst the Parties and agreed upon before inserted on the Risk Register |  |  |  |
| 25.2 | The restrictions to access for the Supply Manager and Others to work being done for this contract are |  |  |  |  |
| 30.1 | The delivery date of the goods and services is: | goods and services |  | delivery date |
|  |  |  | On “as and when required” basis | As per order |
| 31.1 | The programme identified in the Contract Data is contained in: | C3.1 |  |  |  |
| 63.2 | The percentage for overheads and profit added to the Defined Cost is | 0% |  |  |  |

C1.3 Forms of Securities

# Pro formas for Bonds & Guarantees

## For use with the NEC3 Supply Contract (SC3)

[Note to contract compiler:

Once it has been decided which securities are required for this contract delete from this file the ones not required, revise the notes below accordingly and delete this note.]

The conditions of contract stated in the Contract Data Part 1 may include the following Options:

Option X4:	Parent company guarantee

Option X13:	Performance bond

Option X14	Advanced payment to the Supplier

These Options require a bond or guarantee “in the form set out in the Goods Information”.

Pro forma documents for these bonds and guarantees are provided here for convenience but are to be treated as part of the Goods Information.

The organisation providing the bond / guarantee does so by copying the pro forma document onto it’s letterhead without any change to the text or format and completing the required details.  The completed document is then given to the Purchaser within the time stated in the contract.

# Pro forma Parent Company Guarantee (for use with Option X4)

(to be reproduced exactly as shown below on the letterhead of the Supplier’s Parent Company)

| Eskom Holdings SOC Ltd Megawatt Park Maxwell Drive Sandton Johannesburg | Date: |  |
| --- | --- | --- |

Dear Sirs,

## Parent Company Guarantee for Contract No

With reference to the above numbered contract made or to be made between

| Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton Johannesburg |  | (the Purchaser) and |
| --- | --- | --- |
| [Insert registered name and address of the Supplier] |  | (the Supplier), for |
| [Insert details of the goods and services from the Contract Data] |  | (the goods and services). |
| I/We the undersigned |  |  |
| on behalf of the Supplier’s parent company (name) |  |  |
| of physical address |  |  |

and duly authorised thereto do hereby unconditionally guarantee to the Purchaser that the Supplier shall Provide the Goods and Services in accordance with the above numbered Contract.

- If for any reason the Supplier fails to Provide the Goods and Services, we hereby agree to cause to Provide the Goods and Services at no additional cost to the Purchaser.

- If we fail to comply with the terms of this Deed of Guarantee, the Purchaser may itself procure such performance (whether or not the Agreement be formally determined).  The Purchaser is to notify us and we shall indemnify the Purchaser for any additional cost or expense it incurs.

- Our liability shall be as primary obligor and not merely as surety and shall not be impaired or discharged by reason of any arrangement or change in relationship made between the Supplier and the Purchaser and/or between us and Supplier; nor any alteration in the obligations undertaken by the Supplier or in the terms of the Agreement; nor any indulgence, failure, delay by you as to any matter; nor any dissolution or liquidation or such other analogous event of the Supplier.

- The Purchaser shall not be obliged before taking steps to enforce the terms of this Deed of Guarantee to obtain judgement against the Supplier in any court or other tribunal, to make or file any claim in liquidation (or analogous proceedings) or to seek any remedy or proceed first against the Supplier.

- This Deed of Guarantee shall be governed by and construed in accordance with the laws of the Republic of South Africa and we hereby submit to the non-exclusive jurisdiction of the High Court of South Africa.

| Signed at |  | on this |  | day of |  | 20__ |
| --- | --- | --- | --- | --- | --- | --- |

| Signature(s) |  |  |
| --- | --- | --- |
| Name(s) (printed) |  |  |
| Position in parent company |  |  |
| Signature of Witness(s) |  |  |
| Name(s) (printed) |  |  |

# Pro forma Performance Bond – Demand Guarantee (for use with Option X13)

(to be reproduced exactly as shown below on the letterhead of the Bank providing the Bond / Guarantee)

| Eskom Holdings SOC Ltd Megawatt Park Maxwell Drive Sandton Johannesburg | Bank reference No. |  |
| --- | --- | --- |
|  | Date: |  |

Dear Sirs,

Performance Bond – Demand Guarantee for [insert name of Supplier] required in terms of contract [insert Supplier’s contract reference number or title]

- In this Guarantee the following words and expressions shall have the following meanings:-

| 1.1 | “Bank” means | [Insert name of Bank], [●] Branch, Registration No. [●] |
| --- | --- | --- |
| 1.2 | “Bank’s Address” means | [Insert physical address of Bank] |
| 1.3 | “Contract” means | the written agreement relating to providing the goods and services, entered into between the Purchaser and the Supplier, on or about the [●] day of [●] 200[●] (Contract Reference No. [●]) as amended, varied, restated, novated or substituted from time to time; |
| 1.4 | “Supplier” means | [●] a company registered in accordance with the laws of [●] under Registration No [●]. |
| 1.5 | “Purchaser” means | Eskom Holdings SOC Ltd a company registered in accordance with the laws of the Republic of South Africa under Registration Number [●] |
| 1.6 | “Expiry Date” means | the earlier of - the date that the Bank receives a notice from the Purchaser stating that all amounts due from the Supplier as certified in terms of the contract have been received by the Purchaser and that the Supplier has fulfilled all his obligations under the Contract, or - the date that the Bank issues a replacement Bond for such lesser or higher amount as may be required by the Purchaser. |
| 1.7 | “Guaranteed Sum” means | the sum of R[●], ([●] Rand) |
| 1.8 | “goods and services” means | [insert details from Contract Data part 1] |

- At the instance of the Supplier, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of the Purchaser as security for the proper performance by the Supplier of all of its obligations in terms of and arising from the Contract and hereby undertake to pay to the Purchaser, on written demand from the Purchaser received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

- A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

- be signed on behalf of the Purchaser by a Group Executive, Divisional Executive, Senior General Manager, General Manager or its delegate;

- state the amount claimed (“the Demand Amount’);

- state that the Demand Amount is payable to the Purchaser in the circumstances contemplated in the Contract.

- Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

- is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

- is not, and shall not be construed to be, accessory or collateral on any basis whatsoever.

- The Bank’s obligations in terms of this Guarantee:

- shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

- shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed, by the fact that a dispute may exist between the Purchaser and the Supplier.

- The Purchaser shall be entitled to arrange its affairs with the Supplier in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release or compromise granted to the Supplier or any variation under or to the Contract.

- Should the Purchaser cede its rights against the Supplier to a third party where such cession is permitted under the Contract, then the Purchaser shall be entitled to cede to such third party the rights of the Purchaser under this Guarantee on written notification to the Bank of such cession.

- This Guarantee:

- shall expire on the Expiry Date until which time it is irrevocable;

- is, save as provided for in 7 above, personal to the Purchaser and is neither negotiable nor transferable;

- shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof;

- shall be regarded as a liquid document for the purpose of obtaining a court order; and

- shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the jurisdiction of the Courts of the Republic of South Africa.

- will be invalid and unenforceable if any claim which arises or demand for payment is received after the Expiry Date.

- The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

| Signed at |  | on this |  | day of |  | 20__ |
| --- | --- | --- | --- | --- | --- | --- |

For and on behalf of the Bank

| Bank Signatories(s) |  |  |
| --- | --- | --- |
| Name(s) (printed) |  |  |
| Witness(s) |  |  |
| Bank’s seal or stamp |  |  |

# Pro forma Advanced Payment Bond (for use with Option X14)

(to be reproduced exactly as shown below on the letterhead of the Bank providing the Bond)

| Eskom Holdings SOC Ltd Megawatt Park Maxwell Drive Sandton Johannesburg | Bank ref no. Date: | [●] [●] |
| --- | --- | --- |

Dear Sirs,

## Advanced Payment Bond for Contract No. [●]

With reference to the above numbered contract made or to be made between

| Eskom Holdings SOC Ltd | (the Purchaser) and |
| --- | --- |
| {Insert registered name and address of the Supplier} | (the Supplier), for |
| {Insert details of the goods and services from the Contract Data} | (the goods and services). |

| I/We the undersigned | [●] |
| --- | --- |
| on behalf of the Surety | [●] |
| of physical address | [●] |

and duly authorised thereto do hereby bind ourselves as Surety and co-principal debtors in solidum for the due and proper repayment by the Supplier to the Purchaser of the advanced payment made by the Purchaser to the Supplier under the Contract, and for all losses and expenses that may be suffered or incurred by the Purchaser as a result of non-payment by the Supplier, subject to the following conditions

- The terms Purchaser, Supplier, and the goods and services have the meaning as assigned to them by the conditions of contract listed in the Contract Data for the aforesaid Contract.

- We renounce all benefits from the legal exceptions "Benefit of Excussion and Division", "No value received" “Revision of Accounts”, “Cession of Action” and any other exceptions which might or could be pleaded against the validity of this bond, with the meaning and effect of which exceptions we declare ourselves to be fully acquainted.

- The Purchaser has the absolute right to arrange his affairs with the Supplier in any manner which the Purchaser deems fit and without being advised thereof the Surety shall not have the right to claim his release on account of any conduct alleged to be prejudicial to the Surety.  Without derogating from the foregoing compromise, extension of the supply period, indulgence, release or variation of the Supplier’s obligation shall not affect the validity of this Advance Payment bond.

- This bond expires on the date when the Surety receives a notice from the Supply Manager stating that the advanced payment has been repaid to the Purchaser in terms of the Contract, or liquidated by deductions from other payments due to the Supplier.

- The amount of the bond shall be payable to the Purchaser upon the Purchaser’s demand and no later than 7 days following the submission to the Surety of a certificate signed by the Supply Manager stating the amount of the Purchaser’s losses, damages and expenses incurred as a result of the non-performance aforesaid.  The signed certificate shall be deemed to be conclusive proof of the extent of the Purchaser’s loss, damage and expense.

- Our total liability hereunder shall not exceed the sum of ............................. (R ................) which is equal to the advance payment.

- This Advanced Payment Bond is neither negotiable nor transferable and is governed by the laws of the Republic of South Africa.

| Signed at |  | on this |  | day of |  | 200_ |
| --- | --- | --- | --- | --- | --- | --- |

| Signature(s) |  |  |
| --- | --- | --- |
| Name(s) (printed) |  |  |
| Position in Surety company |  |  |
| Signature of Witness(s) |  |  |
| Name(s) (printed) |  |  |

# Part 2: Pricing Data

NEC3 Supply Contract

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions | 2 |
| C2.2 | The price schedule | [●] |

C2.1 Pricing assumptions

# How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

| Identified and defined terms | 11 11.2 | (11) The Prices are the amounts stated in the price column of the Price Schedule. Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate. |
| --- | --- | --- |
|  |  | (12) The Price Schedule is the price schedule unless later changed in accordance with this contract. |
| Assessing the amount due | 50.2 | The amount due is - the Price for each lump sum item in the Price Schedule which the Supplier has completed, - where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate, - plus other amounts to be paid to the Supplier, - less amounts to be paid by or retained from the Supplier. Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due. |

This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.

Preparing the price schedule

Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has

- Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;

- Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

- Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices;

- Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;

- Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.

Format of the price schedule

Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier.

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule

SPARES REQUIREMENTS

GROUP 1

| Item nr |  | Description | Unit |  |  | Quantity |  |  |  |  | Rate |  |  |  | Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0073331 |  | LOCK UP VALVE | ea |  |  | 20 |  |  |  |  |  |  |  |  |  |  |  |  |
| 0174673 |  | ¼” REGULATOR | ea |  |  | 20 |  |  |  |  |  |  |  |  |  |  |  |  |
| 0070510 |  | DIAPHRAGM P/NO 24950626 | ea |  |  | 50 |  |  |  |  |  |  |  |  |  |  |  |  |
| 0070593 |  | DIAPHRAGM P/NO Y30053909 | ea |  |  | 25 |  |  |  |  |  |  |  |  |  |  |  |  |
| 0212946 |  | FISHER DIAPHRAGM | ea |  |  | 6 |  |  |  |  |  |  |  |  |  |  |  |  |
| 0212947 |  | FISHER REPAIR KIT P/NO R667X000502 | ea |  |  | 6 |  |  |  |  |  |  |  |  |  |  |  |  |
| 0218613 |  | POSITIONER LOCK UP 140KPA SUPPLY | ea |  |  | 20 |  |  |  |  |  |  |  |  |  |  |  |  |
| 0149937 |  | DIAPHRAGM 310MM VULCOLAN | ea |  |  | 60 |  |  |  |  |  |  |  |  |  |  |  |  |
| 0149938 |  | DIAPHRAGM 430MM VULCOLAN | ea |  |  | 60 |  |  |  |  |  |  |  |  |  |  |  |  |
| 0149939 |  | DIAPHRAGM 580MM VULCOLAN | ea |  |  | 60 |  |  |  |  |  |  |  |  |  |  |  |  |
| 0149933 |  | DIAPHRAGM 320MM VULCOLAN | ea |  |  | 60 |  |  |  |  |  |  |  |  |  |  |  |  |
| 0149934 |  | DIAPHRAGM 430MM VULCOLAN | ea |  |  |  | 60 |  |  |  |  |  |  |  |  |  |  |  |
| 0149935 |  | DIAPHRAGM 570MM VULCOLAN | ea |  |  |  | 60 |  |  |  |  |  |  |  |  |  |  |  |
| 0110039 |  | SPRING SIZE 12.5 X 66.5 X 170 REF 65S1Y E5-7 | ea |  |  |  | 15 |  |  |  |  |  |  |  |  |  |  |  |
| 0110040 |  | SPRING SIZE 15 X 65 X 220 REF 65S17 E5 – 2 | ea |  |  |  | 15 |  |  |  |  |  |  |  |  |  |  |  |
| 0110041 |  | SPRING SIZE 19 X 74 X 340 REF CRV E5 – 21 | ea |  |  |  | 15 |  |  |  |  |  |  |  |  |  |  |  |
| 0218775 |  | PLATE TOP MEMBRANE 320MM OD | ea |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |  |
| 0218776 |  | PLATE TOP MEMBRANE 430MM OD | ea |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |  |
| 0218777 |  | PLATE TOP MEMBRANE 570MM OD | ea |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |  |
| 0218778 |  | PLATE BOTTOM MEMBRANE 320MM OD | ea |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |  |
| 0218779 |  | PLATE BOTTOM MEMBRANE 430MM OD | ea |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |  |
| 0218780 |  | PLATE BOTTOM MEMBRANE 570MM OD | ea |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |  |
| 0113775 | PISTON RINGS HPG9 (51/2”) |  | ea |  |  |  | 120 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 0040522 | 5 INCH POWER CYLINDER COMPLETE WITH POSITIONER |  | ea |  |  |  | 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 0156893 | PISTON ROD WIPER |  | ea |  |  |  | 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 0212948 | WEARING PART REPLACEMENT KIT P/NO DN-160-PPV-A |  | ea |  |  |  | 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 600507 | PANEL ELECTRICAL FIRE CONTROL |  | ea |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 600509 | DETECTOR FIRE PROTECTION TYPE SMOKE P/N ZP730-2 |  | ea |  |  |  | 50 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 0149978 | LENS P/NO 30075526.000 |  | ea |  |  |  | 300 |  |  |  |  |  |  |  |  |  |  |  |
| 0611093 | WEIDMULLER CONVERTER |  | ea |  |  |  | 100 |  |  |  |  |  |  |  |  |  |  |  |
| 589229 | PYROMETER: RANGE: 250-2000 DEG C; POTENTIAL: 24 VDC; MANUF P/N: 7MC3001-8BA; PZ20AF1; MEASURING RANGE 250 TO 2000 CEL; DISTANCE RATIO 150:1; 0.4M INFINITE; STANDARD OPTIC |  |  |  |  |  | 8 |  |  |  |  |  |  |  |  |  |  |  |
| 0149966 | ROCKWELL FLOWMETER 48 H2 5/8” ENTRY |  | ea |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |  |
| 0149967 | SINGER AMERIVAN GAS MEYTER MODEL AL800 FOR HYDROGEN |  | ea |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |  |
| 0218611 | FLOW METER HYDROGEN AL 425-25. CONNECTION 11/4” |  | ea |  |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |
| 0155549 | HELIX WATERMETER 80MM KENT HSS08198 |  | ea |  |  |  |  | 8 |  |  |  |  |  |  |  |  |  |  |
| 0156869 | 150MM KENT HELIX 3000 WATERMETER |  | ea |  |  |  |  | 4 |  |  |  |  |  |  |  |  |  |  |
| 0219720 | TRANSDUCER 0-8000M INPUT 4-20MA OUTPUT. VITON P/NO FMP40-ABB2GRJG21AA |  | ea |  |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |
| 0207406 | LIQUIPHANT TFTL 260 LEVEL SWITCH ENDRESS & HAUSER |  | ea |  |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |
| 0149971 | COMBINED COUNTER UNDERGEAR ASSEMBLY FOR KENT WATERMETER 6K1400 |  | ea |  |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |
| 0063937 | ¼” SAUNDERS VALVE |  | ea |  |  |  |  | 60 |  |  |  |  |  |  |  |  |  |  |
| 0051896 | MANIFOLD 8128F8J |  | ea |  |  |  |  | 45 |  |  |  |  |  |  |  |  |  |  |
| 0121762 | BESTA HIGH TEMP FLOAT CHAMBER 1027-7C7-CL-RXXX |  | ea |  |  |  |  | 10 |  |  |  |  |  |  |  |  |  |  |
| 0070600 | OLIVER MANIFOLD TYPE 3 WAY Y33S |  | ea |  |  |  |  | 50 |  |  |  |  |  |  |  |  |  |  |
| 0070601 | OLIVER MANIFOLD TYPE 3 WAY YP34S/10 |  | ea |  |  |  |  | 50 |  |  |  |  |  |  |  |  |  |  |
| 0121763 | CARBON STEEL FLOAT CHAMBER TYPE BESTA S021-1RC-RXX |  |  | ea |  |  |  |  | 10 |  |  |  |  |  |  |  |  |  |
| 0152135 | PLATON 2INCH FLOW METER GMTXD50 |  |  | ea |  |  |  |  | 20 |  |  |  |  |  |  |  |  |  |  |
| 0152136 | PLATON 3INCH FLOW METER GMTXD80 |  |  | ea |  |  |  |  | 20 |  |  |  |  |  |  |  |  |  |  |
| 0073126 | VALVE MANIFOLD TYPE S13 7MF9006-4AA |  |  | ea |  |  |  |  | 120 |  |  |  |  |  |  |  |  |  |  |
| 0189819 | FLOAT FOR BESTA LEVEL SWITCH |  |  |  | ea |  |  |  |  | 25 |  |  |  |  |  |  |  |  |  |
| 0154274 | KDG LEVEL TRANSMITTER P/NO: 8780/SS/0/NT/EING |  |  |  | ea |  |  |  |  | 6 |  |  |  |  |  |  |  |  |  |
| 0631022 | PUMP: TYPE: SUBMERSIBLE; SIZE: 32 MM; CAPACITY: 130 L/MIN; |  |  |  | ea |  |  |  |  | 100 |  |  |  |  |  |  |  |  |  |
| 633142 | PUMP, CENTRIFUGAL: NPSH: 0 M; CAPACITY: 3 L/S; TOTAL HEAD: 5 M; SIZE: 50 MM; |  |  |  | ea |  |  |  |  | 50 |  |  |  |  |  |  |  |  |  |
| 0246002 | XMTC H2 FLOW METER |  |  |  | ea |  |  |  |  | 6 |  |  |  |  |  |  |  |  |  |
| 0737601 | LEO XPS 9-7/0.25L SUBMERSIBLE PUMP |  |  |  | ea |  |  |  |  | 60 |  |  |  |  |  |  |  |  |  |
| 0736555 | ULTRAFLUX UF-811 FLOW METER |  |  |  | ea |  |  |  |  | 25 |  |  |  |  |  |  |  |  |  |
| 0736554 | ULTRAFLUX SE1595 CLAMP ON PROBES |  |  |  | ea |  |  |  |  | 10 |  |  |  |  |  |  |  |  |  |
| 0611243 | HACH 1720E TURBIDIMETER |  |  |  | ea |  |  |  |  | 25 |  |  |  |  |  |  |  |  |  |
| 0149976 | GAPMETER TYPE GS SS |  |  |  | ea |  |  |  |  | 15 |  |  |  |  |  |  |  |  |  |

| The total of the Prices |  |
| --- | --- |

GROUP 2

| Item nr |  |  | Description |  |  | Unit |  | Quantity |  | Rate |  | Price |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0225775 |  |  | SENSOR CABLE 1M |  |  | ea |  | 6 |  |  |  |  |  |
| 0225774 |  |  | SWANSENSOR UP CON 1000 |  |  | ea |  | 6 |  |  |  |  |  |
| 0225773 |  |  | SWAN B FLOW L 70 CELL |  |  | ea |  | 6 |  |  |  |  |  |
| 0225772 |  |  | SWAN TRANSMITTER AMU POWERCON |  |  | ea |  | 6 |  |  |  |  |  |
| 0148028 |  |  |  |  | MICRO PROCESSOR LEVEL TX | ea |  | 6 |  |  |  |  |  |
| 0150031 |  |  |  |  | ROTATION INDICATOR | ea |  | 10 |  |  |  |  |  |
| 0150036 |  |  |  |  | ALARM UNIT | ea |  | 6 |  |  |  |  |  |
| 0151107 |  |  |  |  | PEPLER FUCHS | ea |  | 25 |  |  |  |  |  |
| 0207464 |  |  |  | OMRON LIMIT SWITCH WLCA2Y 24VDC |  | ea |  | 60 |  |  |  |  |  |
| 0207466 |  |  |  | HOPPER LEVEL SWITCH BA02MS |  | ea |  | 60 |  |  |  |  |  |
| 0207463 |  |  |  | PARKER REED SWITCH 4622A |  | ea |  | 150 |  |  |  |  |  |
| 0219721 |  |  |  | PARKER REED SWITCH 4624A (BRACKET) |  | ea |  | 150 |  |  |  |  |  |
| 189810 |  |  |  | TRANSDUCER: TYPE: TEMPERATURE; INPUT: 0-200 DEG C; OUTPUT: 4-20 MA; POWER SOURCE: 24 V; SUPPL P/N: T19.30.1PO-1; ANALOGUE TRANSMITTER, DIN RAIL MOUNT, PT 100,ADJUSTABLE ZERO AND SPAN |  | ea |  | 50 |  |  |  |  |  |
| 0207465 |  |  |  | TGB 5 ANGULAR TRANSMITTER 0-18 DEGREE MOVEMENT P/NO V14436A-1011130/303. SHAFT DIAMETER 10MM |  | ea |  | 12 |  |  |  |  |  |
| 0148884 |  |  |  | TRANSMITTER VTGM4. 0-90DEGREE 24VDC. P/NO 14436-0-1512132 |  | ea |  | 25 |  |  |  |  |  |
| 0061235 |  |  |  | FEMALE CONNECTOR ¼’ X ¼’ 4CF4 |  | ea |  | 2000 |  |  |  |  |  |
| 0061236 |  |  |  | FEMALE CONNECTOR ¼” X 3/8” 4CF6 |  | ea |  | 500 |  |  |  |  |  |
| 0061222 |  |  |  | MALE CONNECTOR 1/8” 2CM2 |  | ea |  | 600 |  |  |  |  |  |
| 0061224 |  |  |  | MALE CONNECTOR ¼” X 1/8” 4CM2 |  | ea |  | 1500 |  |  |  |  |  |
| 0061225 |  |  |  | MALE CONNECTOR ¼” 4CM4 |  | ea |  | 4000 |  |  |  |  |  |
| 0060534 |  |  |  | STRAIGHT CONNECTOR 5/16” |  | ea |  | 5000 |  |  |  |  |  |
| 0061229 |  |  |  | MALE CONNECTOR 5/16” X ¼” 8CM4BRME |  | ea |  | 1500 |  |  |  |  |  |
| 0061230 |  |  |  | MALE CONNECTOR 3/” X 1/4” 6CM4 |  | ea |  | 500 |  |  |  |  |  |
| 0061231 |  |  |  | CONNECTOR BRASS 3/8”6CM6 |  | ea |  | 500 |  |  |  |  |  |
| 0060647 |  |  |  | MALE CONNECTOR BRASS ½” 8CM8 |  | ea |  | 500 |  |  |  |  |  |
| 0060363 |  |  |  | MALE CONNECTOR S/S 1/8” 2CM2-316 |  | ea |  | 2500 |  |  |  |  |  |
| 0060370 |  |  |  | MALE CONNECTOR S/S 3/8” 6CM6-316 |  | ea |  | 1000 |  |  |  |  |  |
| 0058282 |  |  |  | MALE CONNECTOR 3/8” X ½” 6CM8-316 |  | ea |  | 1000 |  |  |  |  |  |
| 0060549 |  |  |  | MALE ELBOW BRASS ¼” 4LM4 |  | ea |  | 1000 |  |  |  |  |  |
| 0059449 |  |  |  | MALE ELBOW BRASS ½” 8LM4 |  | ea |  | 500 |  |  |  |  |  |
| 0060356 |  |  |  | TEE BRASS ¼” 4TTT |  | ea |  | 600 |  |  |  |  |  |
| 0061250 |  |  |  | TEE BRASS 5/16” 8TTTBRME |  | ea |  | 500 |  |  |  |  |  |
| 0061251 |  |  |  | TEE BRASS 3/8” 6TTT |  | ea |  | 500 |  |  |  |  |  |
| 0060372 |  |  |  | TEE BRASS ½” 8TTT |  | ea |  | 500 |  |  |  |  |  |
| 00060371 |  |  |  | TEE S/S ½” 8TTT-316 |  | ea |  | 500 |  |  |  |  |  |
| 0060401 |  |  |  | BULKHEAD UNION STEEL ¼” 4BCM4-S |  | ea |  | 50 |  |  |  |  |  |
| 0058292 |  |  |  | BULKHEAD UNION S/S 3/8” 6BU-316 |  | ea |  | 50 |  |  |  |  |  |
| 0061241 |  |  |  | UNION BRASS ¼” 4U |  | ea |  | 4000 |  |  |  |  |  |
| 0061242 |  |  |  | UNION BRASS 3/8” 6U |  | ea |  | 1500 |  |  |  |  |  |
| 0060361 |  |  |  | BRASS EQUAL UNION ½” 8U |  | ea |  | 1500 |  |  |  |  |  |
| 0060377 |  |  |  | STEEL UNION 5/16” 8US |  | ea |  | 1500 |  |  |  |  |  |
| 0060390 |  |  |  | REDUCING ADAPTOR 5/8” X ½” 10CM8 |  | ea |  | 500 |  |  |  |  |  |
| 0060537 |  |  |  | REDUCING UNION ¼” X 1/8” 4RU2 |  | ea |  | 1000 |  |  |  |  |  |
| 0060396 |  |  |  | EQUAL UNION S/S 3/8” 6U-316 |  | ea |  | 1000 |  |  |  |  |  |
| 0059447 |  |  |  | BRASS ADAPTOR 1/8” FEMALE X 1/8” MALE 2AP |  | ea |  | 1000 |  |  |  |  |  |
| 0058277 |  |  |  | TEE S/S ¼” 4TTT-316 |  | ea |  | 1000 |  |  |  |  |  |
| 0174680 |  |  |  | REDUCING UNION ¼” X 1/8” S/S 4RU2 |  | ea |  | 1000 |  |  |  |  |  |
| 0174679 |  |  |  | MALE T/C CONNECTOR ¼’” X 1/8” BRASS 4CMT2 |  | ea |  | 1200 |  |  |  |  |  |
| 0174678 |  |  |  | MALE T/C CONNECTOR 1/8” X ¼” BRASS 2CMT4 |  | ea |  | 2000 |  |  |  |  |  |
| 0174677 |  |  |  | MALE T/C CONNECTOR 1/8” X 1/8” BRASS 2CMT2 |  | ea |  | 2500 |  |  |  |  |  |
| 0174676 |  |  |  | MALE T/C CONNECTOR ¼” X ½” BRASS 4CMT8 |  | ea |  | 2000 |  |  |  |  |  |
| 0060575 |  |  |  | MALE CONNECTOR ¼” X ¼” S/S 4CM4-3165 |  | ea |  | 2200 |  |  |  |  |  |
| 0060429 |  |  |  | MALE T/C CONNECTOR ¼” X ¼” BRASS 4CMT4 |  | ea |  | 2200 |  |  |  |  |  |
| 0060362 |  |  |  | EQUAL UNION BRASS 5/8” 10U |  | ea |  | 1500 |  |  |  |  |  |
| 0061297 |  |  |  | MALE CONNECTOR 3/8” x ¼” s/s 6CM4-316/MME |  | ea |  | 750 |  |  |  |  |  |
| 0059455 |  |  |  | MALE CONNECTOR 10MM X ¼” 10CM4-316MME |  | ea |  | 750 |  |  |  |  |  |
| 0059445 |  |  |  | MALE CONNECTOR 14MM X ¼” S/S 14CM4-316/MME` |  | ea |  | 750 |  |  |  |  |  |
| 0059446 |  |  |  | MALE CONNECTOR 10MM X ½” S/S 10CM8-316/MME |  | ea |  | 750 |  |  |  |  |  |
| 0059444 |  |  |  | MALE CONNECTOR S/S14MM X ½” 14CM8-316/MME |  | ea |  | 750 |  |  |  |  |  |
| 0060394 |  |  |  | MALE CONNECTOR BRASS 12MM X ½” 12CM8-MME |  | ea |  | 750 |  |  |  |  |  |
| 0059453 |  |  |  | MALE ELBOW S/S 10MM X ¼” 10LM4-316/MME |  | ea |  | 750 |  |  |  |  |  |
| 0059448 |  |  |  | MALE ELBOW S/S 10MM X ½” 10LM8-316/MME |  | ea |  | 750 |  |  |  |  |  |
| 0059452 |  |  |  | MALE ELBOW S/S 14MM X ½” 14LM8-316/MME |  | ea |  | 750 |  |  |  |  |  |
| 0059450 |  |  |  | MALE ELBOW BRASS 12MM X ¼” 12LM4/MME |  | ea |  | 750 |  |  |  |  |  |
| 0059454 |  |  |  | UNION S/S 6MM X 6MM 6U-316/MM |  | ea |  | 500 |  |  |  |  |  |
| 0060367 |  |  |  | UNION S/S 8MM X8MM 8U-316 |  | ea |  | 750 |  |  |  |  |  |
| 0060378 |  |  |  | UNION S/S 10MM X 10MM 10U-316/MME |  | ea |  | 750 |  |  |  |  |  |
| 0059451 |  |  |  | UNION S/S 14MM X 14MM 14U-316/MM |  | ea |  | 750 |  |  |  |  |  |
| 0154449 |  |  |  | T/C MALE CONNECTOR S/S 1/” X 1/8” 2CMT2-316 |  | ea |  | 2000 |  |  |  |  |  |
| 0154450 |  |  |  | T/C MALE CONNECTOR S/S ¼” X ¼” 4CMT4-316 |  | ea |  | 2000 |  |  |  |  |  |
| 0061766 |  |  |  | TEE S/S 12MM OD 12TTT-316/MM |  | ea |  | 250 |  |  |  |  |  |  |  |
| 0060558 |  |  |  | TEE S/S 10MM OD 10TTT-316/MM |  | ea |  | 500 |  |  |  |  |  |  |  |
| 0061302 |  |  |  | MALE CONNECTOR S/S 12MM X ½” 12CM8-316/MME |  | ea |  | 500 |  |  |  |  |  |  |  |
| 0174669 |  |  |  | 14MM TEE S/S 14TTT |  | ea |  | 500 |  |  |  |  |  |  |  |
| 0189815 |  |  |  | GAUGE FITTING 12MM X ½” S/S 12CF8ME316 |  | ea |  | 500 |  |  |  |  |  |  |  |
| 0207458 |  |  |  | METRIC ELBOW 8LM4BRME 8MM X ¼” MALE ELBOW |  | ea |  | 500 |  |  |  |  |  |  |  |
| 0060373 |  |  |  | QUICK RELEASE COUPLING CB78/21/45 |  | ea |  | 250 |  |  |  |  |  |  |  |
| 0149911 |  |  |  |  | SILICA GELL CONTAINER | ea |  | 40 |  |  |  |  |  |
| 0149089 | JAQUET SPEED SENSOR DSH1280KTV |  |  |  |  |  | ea |  | 10 |  |  |  |  |  |
| 0149090 | JAQUET SPEED MONITOR FTR1643 24VDC |  |  |  |  |  | ea |  | 10 |  |  |  |  |  |
| 0149091 | JAQUET SPEED CONVERTER FTW1413-UC3 |  |  |  |  |  | ea |  | 10 |  |  |  |  |  |
| 0150006 | SFP SPEED JAQUET FTG 1053/S11 2 METER CABLE |  |  |  |  |  | ea |  | 12 |  |  |  |  |  |
| 0175853 | JAQUET FERROSTAT SPEED SENSOR DSF2210.00SHV (BARING) |  |  |  |  |  | ea |  | 6 |  |  |  |  |  |
| 0154442 | MAGNETIC SPEED RANGE 0-600IPS P/NO 10SC-4S MAGNETIC PICK-UP P/NO 625500 |  |  |  |  |  | ea |  | 12 |  |  |  |  |  |
| 0154411 | VALVE RANGE POSITION CARD WITH 5K OHM POT. RWG PN21.4/4, PN12.1P |  |  |  |  |  | ea |  | 500 |  |  |  |  |  |
| 0124214 | SOCKET 25 WAY 12-301-021 |  |  |  |  |  | ea |  | 50 |  |  |  |  |  |
| 0240573 | FUJITSU MONITOR 24 INCH |  |  |  |  |  | ea |  | 200 |  |  |  |  |  |
| 0149017 | FREQUENCY TO CURRENT CONVERTER KFD2-UFC/EX1.D |  |  |  |  |  | ea |  | 100 |  |  |  |  |  |
| 0184018 | PTFE SEALS FOR DP TRANSMITTERS (TEFLON WASHERS) |  |  |  |  |  | ea |  | 5000 |  |  |  |  |  |
| 0209533 | RELAY RATING 6A RAIL MOUNT P/NO PLC-RSC-24DC/21 |  |  |  |  |  | ea |  | 100 |  |  |  |  |  |
| 0214751 | RELAY SINGLE POINT ALARMER PART NO 1260B |  |  |  |  |  | ea |  | 20 |  |  |  |  |  |
| 0218267 | RELAY TYPE PHOENIX RATING 6A P/NO 2961105 |  |  |  |  |  | ea |  | 300 |  |  |  |  |  |
| 0218275 | HEAD MOUNT TRANSDUCER RANGE N0-150 DEGREE |  |  |  |  |  | ea |  | 120 |  |  |  |  |  |
| 0219729 | FEEDBACK CARD AUMA ACTUATORS P/NO RWG4020 |  |  |  |  |  | ea |  | 400 |  |  |  |  |  |
| 0253703 | CONFIGURABLE PASSIVE ISOLATOR MCR-CLP-U1-1-4 P/NO: 2814252 |  |  |  |  |  | ea |  | 200 |  |  |  |  |  |
| 0728426 | SAMSUNG 43 INCH LED MONITOR |  |  |  |  |  | ea |  | 20 |  |  |  |  |  |
| 0523622 | NEC LCD 46INCH SCREEN |  |  |  |  |  | ea |  | 15 |  |  |  |  |  |
| 0154444 | NEWPORT DIGITAL INDICATOR L2Q9-G |  |  |  |  |  | ea |  | 20 |  |  |  |  |  |
| 0154445 | FREQUENCY TO CURRENT CONVERTER 7MV1110-1AC20-Z |  |  |  |  |  | ea |  | 100 |  |  |  |  |  |
| 0179400 | WOODWARD 505 DIGITAL GOVERNOR CONTROLLER P/NO: 9907-053 |  |  |  |  |  | ea |  | 6 |  |  |  |  |  |
| 606578 | LIQUID DETECTOR COMPLETE |  |  |  |  |  | ea |  | 25 |  |  |  |  |  |
| 0174675 | PRECISION POPTENTIOMETER 5 KILO OHM AUMA P/NO: T18-182Z |  |  |  |  |  | ea |  | 600 |  |  |  |  |  |
| 0090448 | COPPER WASHERS |  |  |  |  |  | ea |  | 6000 |  |  |  |  |  |
| 0150004 | VALVE SHUT OFF |  |  |  |  |  | ea |  | 200 |  |  |  |  |  |
| 0189816 | LEVEL SWITCH P/NO: A01041 |  |  |  |  |  | ea |  | 50 |  |  |  |  |  |
| 0189817 | BESTA MODULE SWITCH |  |  |  |  |  | ea |  | 50 |  |  |  |  |  |
| 0189818 | MICRO SWITCH 2799A |  |  |  |  |  | ea |  | 50 |  |  |  |  |  |
| 0631663 | ULTRAFLUX CLAMP ON PROBE P/NO: 8810134 |  |  |  |  |  | ea |  | 40 |  |  |  |  |  |
| 0070580 | CHLORINE REGULATING VALVE C7700 |  |  |  |  |  | ea |  | 12 |  |  |  |  |  |
| 0154410 | CHLORINE VACUUM REGULATOR C2210 |  |  |  |  |  | ea |  | 12 |  |  |  |  |  |
| 0148985 | MOBREY SONAPULSE MSP90-E12B |  |  |  |  |  | ea |  | 12 |  |  |  |  |  |
| 0528972 | CADIUM COATED COPPER CONNECTION LINE ¾” GRUNDFOS |  |  |  |  |  | ea |  | 25 |  |  |  |  |  |
| 0611242 | HACH SC 200 CONTROLLER |  |  |  |  |  | ea |  | 25 |  |  |  |  |  |
| 0207467 | PADDLE FLOW SWITCH SF1710 |  |  |  |  |  | ea |  | 50 |  |  |  |  |  |
| 253703 | RELAY;2814252,AUXILIARY PROTECTION ~ RELAY |  |  |  |  |  | ea |  | 200 |  |  |  |  |  |
| 742135 | BATTERY: TYPE: APCRBC 115; POTENTIAL: 48 V; LEAD-ACID |  |  |  |  |  | ea |  | 40 |  |  |  |  |  |
| 742136 | DRIVE, DISK: DESIGN TYPE: SATA; DRIVE SIZE: 3.5 IN |  |  |  |  |  | ea |  | 20 |  |  |  |  |  |
| 742137 | UNINTERRUPTIBLE POWER SUPPLY: APPLICATION: SERVERS |  |  |  |  |  | ea |  | 10 |  |  |  |  |  |
| 742138 | DRIVE, DISK: DESIGN TYPE: SAS 10 K; DRIVE SIZE: 2.5 IN |  |  |  |  |  | ea |  | 20 |  |  |  |  |  |
| 742139 | DRIVE, DISK: DESIGN TYPE: SATA; DRIVE SIZE: 3.5 IN |  |  |  |  |  | ea |  | 60 |  |  |  |  |  |
| 744613 | COMPUTER, SERVER: UNIT TYPE: RACK MOUNT; |  |  |  |  |  | ea |  | 10 |  |  |  |  |  |
| 744615 | COMPUTER, SERVER: UNIT TYPE: QNAP |  |  |  |  |  | ea |  | 8 |  |  |  |  |  |
| 744617 | PRINTER, MULTIFUNCTIONAL: TYPE: COLOR LASER |  |  |  |  |  | ea |  | 20 |  |  |  |  |  |
| 744621 | COMPUTER, PERSONAL: MEMORY: 8 GB; PROCESSOR CLOCK SPEED: 3.4 G HZ |  |  |  |  |  | ea |  | 20 |  |  |  |  |  |
| 744645 | COMPUTER, SERVER: UNIT TYPE: RACK MOUNT |  |  |  |  |  | ea |  | 8 |  |  |  |  |  |
| 737282 | SENSOR: TYPE: PAIR, FLOW; RATING: -40 TO 120 DEG C; MODEL NO: SITRANS FSS200-D3 |  |  |  |  |  | ea |  | 50 |  |  |  |  |  |
| 744614 | SWITCH, NETWORK: TYPE: SCALANCE SC636-2C; |  |  |  |  |  | ea |  | 8 |  |  |  |  |  |
| 744616 | SWITCH, NETWORK: TYPE: SCALANCE SC636-2C |  |  |  |  |  | ea |  | 2 |  |  |  |  |  |
| 744646 | SWITCH, NETWORK: TYPE: SCALANCE XC208G; |  |  |  |  |  | ea |  | 4 |  |  |  |  |  |
| 0189813 |  | 0.2-1.6BAR DCM1-ZF351 |  |  |  |  | ea |  | 50 |  |  |  |  |  |
| 0122535 |  | 0.15 – 1.5BAR DCMV3 |  |  |  |  | ea |  | 50 |  |  |  |  |  |
| 0122537 |  | 1-75PSI DCM 6 |  |  |  |  | ea |  | 150 |  |  |  |  |  |
| 0207461 |  | 0.2 -1.6BAR DWR1-351 |  |  |  |  | ea |  | 100 |  |  |  |  |  |
| 0121729 |  | 3-16BAR DCMV 16 |  |  |  |  | ea |  | 150 |  |  |  |  |  |
| 0122536 |  | 0-36PSI DCM 3 |  |  |  |  | ea |  | 150 |  |  |  |  |  |
| 0149974 |  | 0.2 1.6BAR DCMV1-ZF351 |  |  |  |  | ea |  | 50 |  |  |  |  |  |
| 0122542 |  | VACUUM SWITCH 0-30INCH |  |  |  |  | ea |  | 20 |  |  |  |  |  |
| 0121764 |  | 0.5 – 6BAR DDCM-ZF351 |  |  |  |  | ea |  | 150 |  |  |  |  |  |
| 0121765 |  | 0.1 – 0.6BAR DCM06-ZF351 |  |  |  |  | ea |  | 50 |  |  |  |  |  |
| 0121766 |  | 1-10BAR DCM10-ZF351 |  |  |  |  | ea |  | 150 |  |  |  |  |  |
| 0121767 |  | 0.2 – 2.5BAR DCM3-ZF351 |  |  |  |  | ea |  | 300 |  |  |  |  |  |
| 0121768 |  | 4-20BAR DCM25-ZF351 |  |  |  |  | ea |  | 100 |  |  |  |  |  |
| 0121770 |  | DIFFERENTIAL PRESS SWITCH 2-80WCD J120-455 |  |  |  |  | ea |  | 10 |  |  |  |  |  |
| 0062398 |  | REPAIR KIT P/NO 308-405 |  |  |  |  | ea |  | 50 |  |  |  |  |  |
| 0231974 |  | NORGREN SOLENOID V/V SXE9573-A71-00B |  |  |  |  | ea |  | 450 |  |  |  |  |  |
| 0062401 |  | SOLENOID V/V 4 WAY ¼” WPSC 8442-251 220V |  |  |  |  | ea |  | 100 |  |  |  |  |  |
| 0062494 |  | JOUCOMATIC 5/2 SOLENOID V/V 24V SC8401A101 |  |  |  |  | ea |  | 250 |  |  |  |  |  |
| 0134184 |  | JOUCOMATIC SPARE KIT P/NO: 302-372 |  |  |  |  | ea |  | 600 |  |  |  |  |  |
| 0062505 |  | JOUCOMATIC SOLENOID V/V 24V ½” SCE 210C94 |  |  |  |  | ea |  | 450 |  |  |  |  |  |
| 0182824 |  | SOLENOID VALVE ¼” 24VDC P/NO: 514-N.52.0.1.M2 |  |  |  |  | ea |  | 350 |  |  |  |  |  |
| 0207407 |  | ASCO SOLENOID V/V 24V P/NO: SCE210.103 |  |  |  |  | ea |  | 150 |  |  |  |  |  |
| 0062495 |  | JOUCOMATIC 3/2 PORT SOLENOID VALVE SCB320A184 |  |  |  |  | ea |  | 120 |  |  |  |  |  |
| 0244520 |  | PH Sensor |  |  |  |  | ea |  | 15 |  |  |  |  |  |

| The total of the Prices |  |
| --- | --- |

# Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Purchaser’s Goods Information |  |
| C3.2 | Supplier’s Goods Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

# C3.1: Purchaser’s Goods Information

Contents

When the document is complete, insert a ‘Table of Contents’.  To do this go to:  Reference, → Table of Contents.  Three levels and the title (but not the subtitle) may be shown if the formats used in this template are retained.   Alternatively just update the table below when the drafting of the Goods Information is complete by clicking on ‘References’ then ‘Update Table’ then ‘Update entire table’

PART C1:	AGREEMENTS & CONTRACT DATA	ii

Offer	1

Title of the Contract	1

Acceptance	2

Schedule of Deviations to be completed by the Purchaser prior to contract award	3

Part one - Data provided by the Purchaser	1

Statement	1

Data	1

General	1

2	2

The Supplier’s main responsibilities	2

3	2

Time	2

4	2

Testing and defects	2

5	3

Payment	3

6	3

Compensation events	3

7	3

Title	3

There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.	3

8	3

Risks, liabilities, indemnities and insurance	3

9	4

Termination and dispute resolution	4

10	5

Data for Option clauses	5

The Supply Requirements for this contract are based on the use of INCOTERMS:	13

The Supply Requirements for this contract are as follows:	15

Part two - Data provided by the Supplier	1

Clause	1

Statement	1

Data	1

Pro formas for Bonds & Guarantees	1

For use with the NEC3 Supply Contract (SC3)	1

Pro forma Parent Company Guarantee (for use with Option X4)	2

Parent Company Guarantee for Contract No	2

Pro forma Performance Bond – Demand Guarantee (for use with Option X13)	4

Pro forma Advanced Payment Bond (for use with Option X14)	6

Advanced Payment Bond for Contract No. [●]	6

Part 2: Pricing Data	1

1.	How goods and services are priced and assessed for payment	1

2.	Function of the Price Schedule	1

3.	Preparing the price schedule	1

3.1.	Format of the price schedule	2

Part 3: Scope of Work	1

C3.1: Purchaser’s Goods Information	2

1	Overview and purpose of the goods and services	4

2	Specification and description of the goods	4

2.1	Purchaser’s design	4

2.2	Procedure for submission and acceptance of Supplier’s design	4

2.3	Other requirements of the Supplier’s design	4

2.4	Use of Supplier’s design	5

2.5	Manufacture & fabrication	5

2.6	Factory acceptance testing (FAT)	5

2.7	Other tests and inspections and commissioning in place of use	5

2.8	Operating manuals and maintenance schedules	5

3	Supply Requirements	5

4	Specification of the services to be provided	6

5	Constraints on how the Supplier Provides the Goods	6

5.1	Programming constraints	6

5.2	Work to be done by the Delivery Date	6

5.3	Marking the goods	6

5.4	Constraints at the delivery place and place of use	6

5.5	Cooperating with Others	6

5.6	Services & other things to be provided by the Purchaser or Supplier	7

5.7	Management meetings	7

5.8	Documentation control	7

5.9	Health and safety risk management	8

5.10	Environmental constraints and management	8

5.11	Quality	8

5.12	Invoicing and payment	8

5.13	Insurance provided by the Purchaser	8

5.14	Contract change management	9

5.15	Provision of bonds and guarantees	9

5.16	Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier	9

6	Procurement	9

6.1	Subcontracting	9

6.1.1	Preferred subcontractors	9

6.1.2	Limitations on subcontracting	9

6.1.3	Spares and consumables	9

6.1.4	Other requirements related to procurement	10

6.1.5	Cataloguing requirements by the Supplier	10

7	List of drawings	10

7.1	Drawings issued by the Purchaser	10

C3.2	Supplier’s Goods Information	11

# Overview and purpose of the goods and services

- Supply and Delivery of C&I Spares at Hendrina Power Station – Main Stores on an “as and when required” basis.

Specification and description of the goods

- As per full Technical Specification given on Goods Information / Price Schedule Specifications (include Environmental Specifications

- The Supplier implements a quality system and maintains the quality system until the delivery of all equipment.

- The system will be to the Purchaser’s satisfaction and will be accepted prior to the signing of the contract.

- The Supplier will be subject to periodic audits by Purchaser to ensure compliance with the system. Any deviations will be corrected to the Purchaser’s satisfaction.

- The Scope of Work does not limit any C&I components that might require to be supplied at Hendrina Power Station.

- It may also be required to add new items to this table below when projects are implemented after this spares contract is finalised.

Technical Specifications

Group 1 consist of diaphragms, flow meters, valves, springs and pumps

|  |  | DESCRIPTION OF GOODS |  |  |  | UNIT | MAX QUANTITY IN 5 YEARS PERIOD |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 73331 |  | VALVE:LOCK UP;1/2 IN;1.4-7 BAR;THD;STL | VALVE: TYPE: LOCK UP; VALVE SIZE: 1/2 IN; DESIGN RATING: 1.4-7 BAR; CONNECTION: THD; OPERATED: SPRING; BODY MATERIAL: STL; STYLE: BOLTED BONNET; TRIM: STAINLESS STEEL; SOFTGOODS: STAINLESS STEEL; MODEL NO: X-PLU-D; TYPE HITACHI DOUBLE ACTING; PRESSURE TEST CERTIFICATES TO BE SUPPLIED ON DELIVERY |  |  | ea | 20 |  |
| 174673 |  | REGULATOR PRESS:AIR;1/4 IN | REGULATOR, PRESSURE: TYPE: AIR; CONNECTION: 1/4 IN; SUPPL P/N: C11G; CIIG; 0-16 BAR PRESSURE GAUGE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |  |  | ea | 20 |  |
| 70510 |  | DIAPHRAGM ACTTR:DIA 215 MM;CONTROL VALVE | DIAPHRAGM, ACTUATOR: DIMENSIONS: DIA 215 MM; TYPE: CONTROL VALVE; REFERENCE NO: 24950626; 24810; FOR USE ON DIRECT DEMINERALISED WATER TO CONDENSOR |  |  | ea | 50 |  |
| 70593 |  | DIAPHRAGM VLV:DIA 520 X THK 1.5 MM | DIAPHRAGM, VALVE: DIMENSIONS: DIA 520 X THK 1.5 MM; MATERIAL: BUNA-N NYLON; SUPPL P/N: Y30053909; FOR BLAKEBOROUGH VALVE; TYPE BV 803/A40A |  |  | ea | 25 |  |
| 212946 |  | DIAPHRAGM ACTTR:ID 25 X OD 110 X THK 6 | DIAPHRAGM, ACTUATOR: DIMENSIONS: ID 25 X OD 110 X THK 6 MM; MATERIAL: NITRILE/NYLON; PRESSURE RATING: 0.4-20 BAR; ACTUATOR SIZE: 46 MM; SUPPL P/N: 2E859802202; FOR FISHER 667 ACTUATOR; MUST BE INSPECTED AT RECEIVING |  |  | ea | 6 |  |
| 212947 |  | FISHER REPAIR KIT P/NO R667X000502 | KIT, ACTUATOR REPAIR: SUPPL P/N: R667X000502; FOR 667 DIAPHRAGM, COMPRISE OF NITRILE O RINGS TWO BIG/TWO SMALL AND COMPOSITION GASKET, MUST BE CHECKED AT RECEIVING |  |  | ea | 6 |  |
| 218613 |  | POSITIONER VLV:LOCK UP;140 KPA | POSITIONER, VALVE: TYPE: LOCK UP; SUPPLY PRESSURE: 140 KPA; INPUT: 20-103 KPA; BLOCKING RELAY, FOR USE WITH SINGLE ACTING CONTROL VALVES, MUST BE CHECKED AT RECEIVING BEFORE BEING PLACED ON THE SHELF; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |  |  | ea | 20 |  |
| 149937 |  | DIAPHRAGM ACTTR:DIA 310 MM;VULKOLLAN | DIAPHRAGM, ACTUATOR: DIMENSIONS: DIA 310 MM; MATERIAL: VULKOLLAN; FOR USE ON HANNEMANN CONTROL VALVES; MAILING ADDRESS: P.O.BOX 50206 RANDBURG 2125 PHONE NUMBER:011 793 6831 FAX NUMBER:011 793 7172 |  |  | ea | 60 |  |
| 149938 |  | DIAPHRAGM ACTTR:DIA 430 MM;VULKOLLAN | DIAPHRAGM, ACTUATOR: DIMENSIONS: DIA 430 MM; MATERIAL: VULKOLLAN; REFERENCE NO: STP301R; FOR USE WITH HANNEMANN CONTROL VALVE; MAILING ADDRESS: P.O.BOX 50206 RANDBURG 2125 PHONE NUMBER: 011 793 6831 FAX NUMBER: 011 7930 7172 |  |  | ea | 60 |  |
| 149939 |  | DIAPHRAGM ACTTR:DIA 580 MM;VULKOLLAN | DIAPHRAGM, ACTUATOR: DIMENSIONS: DIA 580 MM; MATERIAL: VULKOLLAN; FOR USE WITH HANNEMANN CONTROL VALVE; MAILING ADDRESS: P.O.BOX 50206 RANDBURG 2125 PHONE NUMBER: 011 793 6831 FAX NUMBER: 011 793 7172 |  |  | ea | 60 |  |
| 149933 |  | DIAPHRAGM ACTTR:OD 320 X THK 5 MM | DIAPHRAGM, ACTUATOR: DIMENSIONS: OD 320 X THK 5 MM; MATERIAL: VULKOLLAN; FOR STP II A ACTUATORS, FOR HANNEMANN CONTROL VALVE, 12 HOLES OF DIA 11MM, 297MM PCD, HOLES EQUALLY SPACED, CENTRE HOLE: 32MM DIA, MAILING ADDRESS: P.O.BOX 50206 RANDBURG 2125 PHONE NUMBER 011 793 6831 FAX NUMBER 011 793 7172 |  |  | ea | 60 |  |
| 149934 |  | DIAPHRAGM ACTTR:DIA 430 MM;VULKOLLAN | DIAPHRAGM, ACTUATOR: DIMENSIONS: DIA 430 MM; MATERIAL: VULKOLLAN; REFERENCE NO: STP111A; FOR TYPE 3A ACTUATORS UNITS 1-5; MAILING ADDRESS: P.O.BOX 50206 RANDBURG 2125 PHONE NUMBER 011 793 6831 FAX NUMBER 011 793 7172 |  |  | ea | 60 |  |
| 149935 |  | DIAPHRAGM ACTTR:DIA 570 MM;VULKOLLAN | DIAPHRAGM, ACTUATOR: DIMENSIONS: DIA 570 MM; MATERIAL: VULKOLLAN; FOR HANNEMAN TYPE 4A ACTUATOR; MAILING ADDRESS: P.O.BOX 50206 RANDBURG 2125 PHONE NUMBER: 01193 6831 FAX NUMBER: 011 793 7172 |  |  | ea | 60 |  |
| 110039 |  | SPRING COMPRSN:ID 54 MM;OD 78 MM;LG 170 | SPRING, COMPRESSION: INSIDE DIAMETER: 54 MM; OUTSIDE DIAMETER: 78 MM; LENGTH: 170 MM; COILS: 7; MATERIAL: STL; REFERENCE NO: 65S1Y E5-7; 11, SUITABLE FOR STP 11 AND STP 201 |  |  | ea | 15 |  |
| 110040 |  | SPRING COMPRSN:ID 65 MM;OD 95 MM;LG 215 | SPRING, COMPRESSION: INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 95 MM; LENGTH: 215 MM; COILS: 9; MATERIAL: STL; REFERENCE NO: 65S17E5-2; TYPE 6 FOR PNEUMATIC ACTUATOR OF THE TYPE 3A, KRISCH ENGINEERING |  |  | ea | 15 |  |
| 110041 |  | SPRING COMPRSN:ID 74 MM;OD 112 MM;LG 333 | SPRING, COMPRESSION: INSIDE DIAMETER: 74 MM; OUTSIDE DIAMETER: 112 MM; LENGTH: 333 MM; COILS: 11; MATERIAL: STL; REFERENCE NO: CRV4E5-21; TYPE 10 FOR PNEUMATIC ACTUATOR TYPE 4A, KRISCH ENGINEERING |  |  | ea | 15 |  |
| 218775 |  | PLATE:TOP MEMBRANE;OD 320 MM;STL | PLATE: TYPE: TOP MEMBRANE; DIMENSIONS: OD 320 MM; MATERIAL: STL; DRAWING NO: D02-7130 REV 1; D02-7130 ITEM 15 REV 1; DIAPHRAGM; FOR USE IN STP 2A HANNEMAN CONTROL VALVES; MUST BE CHECKED AT RECEIVING BEFORE BEING PLACED ON THE SHELF |  |  | ea | 6 |  |
| 218776 |  | PLATE:TOP MEMBRANE;OD 430 MM;STL | PLATE: TYPE: TOP MEMBRANE; DIMENSIONS: OD 430 MM; MATERIAL: STL; DRAWING NO: D02-7130 REV 1; D02-7130 ITEM 15 REV 1; DIAPHRAGM; FOR USE IN STP 3A HANNEMANN CONTROL VALVE; MUST BE CHECKED AT RECEIVING BEFORE BEING PLACED ON THE SHELF |  |  | ea | 6 |  |
| 218777 |  | PLATE:TOP MEMBRANE;OD 570 MM;STL | PLATE: TYPE: TOP MEMBRANE; DIMENSIONS: OD 570 MM; MATERIAL: STL; DRAWING NO: D02-7130 ITEM 15 REV 1; D02-7130 REV 1; DIAPHRAGM; FOR USE IN STP 4A HANNEMANN CONTROL VALVE; MUST BE CHECKED AT RECEIVING BEFORE BEING PLACED ON THE SHELF |  |  | ea | 6 |  |
| 218778 |  | DISC VLV:STL;CONTROL;DIA 320 MM | DISC, VALVE: MATERIAL: STL; VALVE STYLE: CONTROL; DIMENSIONS: DIA 320 MM; DRAWING NO: D02-7130 ITEM 16 REV 1; D02-7130 REV 1; BOTTOM MEMBRANE; DIAPHRAGM PLATE FOR USE ON STP 2A HANNEMANN VALVE; MUST BE CHECKED AT RECEIVING BEFORE BEING PLACED ON THE SHELF |  |  | ea | 6 |  |
| 218779 |  | DISC VLV:STL;CONTROL;DIA 430 MM | DISC, VALVE: MATERIAL: STL; VALVE STYLE: CONTROL; DIMENSIONS: DIA 430 MM; DRAWING NO: D02-7130 REV 1; D02-7130 ITEM 16 REV 1; BOTTOM MEMBRANE; DIAPHRAGM PLATE FOR USE ON STP 3A HANNEMANN VALVE; MUST BE CHECKED AT RECEIVING BEFORE BEING PLACED ON THE SHELF |  |  | ea | 6 |  |
| 218780 |  | DISC VLV:STL;CONTROL;DIA 570 MM | DISC, VALVE: MATERIAL: STL; VALVE STYLE: CONTROL; DIMENSIONS: DIA 570 MM; DRAWING NO: D02-7130 REV 1; D02-7130 ITEM 16 REV 1; BOTTOM MEMBRANE; DIAPHRAGM PLATE FOR USE ON STP 4A HANNEMANN VALVE; MUST BE CHECKED AT RECEIVING BEFORE BEING PLACED ON THE SHELF |  |  | ea | 6 |  |
| 113775 | SEAL RNG:PISTON;ID 18 MM;OD 139.7 MM |  |  | SEAL, RING: TYPE: PISTON; INSIDE DIAMETER: 18 MM; OUTSIDE DIAMETER: 139.7 MM; THICKNESS: 18 MM; MATERIAL: RUBBER; SUPPL P/N: HP | ea |  |  | 120 |  |

| 113775 | SEAL RNG:PISTON;ID 18 MM;OD 139.7 MM | SEAL, RING: TYPE: PISTON; INSIDE DIAMETER: 18 MM; OUTSIDE DIAMETER: 139.7 MM; THICKNESS: 18 MM; MATERIAL: RUBBER; SUPPL P/N: HP | ea | 120 |
| --- | --- | --- | --- | --- |
| 40522 | CYLINDER ASSY HYD:POWER;STL | CYLINDER ASSEMBLY, HYDRAULIC: TYPE: POWER; BODY MATERIAL: STL; SIZE: 770MM LG; FOR USE ON PA FANS; VENDORS ARE RESPONSIBLE FOR | ea | 15 |
| 156893 | WIPER:PISTON ROD;ID 25 X OD 42 X THK 6 | WIPER: TYPE: PISTON ROD; DIMENSIONS: ID 25 X OD 42 X THK 6 MM; MATERIAL: FELT; FOR KENT POWER CYLINDERS, 5-1/2 INCH X 7 INCH | ea | 25 |
| 212948 | KIT CYL REPR:REPLACEMENT | KIT, CYLINDER REPAIR: TYPE: REPLACEMENT; SUPPL P/N: DN-160-PPV-A; MUST BE CHECKED AT RECEIVING | ea | 25 |
| 600507 | PANEL ELECT PWR:FIRE CONTROL;230 KVAC;1 | PANEL, ELECTRICAL POWER: TYPE: FIRE CONTROL; DIMENSIONS: WD 410 X LG 540 X DP 137 MM; POTENTIAL: 230 KVAC; CURRENT: 1 A; CLASSI | ea | 6 |
| 600509 | DETECTOR FIRE PROT:SMOKE;-10 TO 75 DEG C | DETECTOR, FIRE PROTECTION: TYPE: SMOKE; TEMPERATURE RATING: -10 TO 75 DEG C; POTENTIAL: 20 V; SPECIFICATION: EN 54 PT7; MANUF P | ea | 50 |
|  | Description of the goods |  | Unit | Maximum Quantity In 5 Years Period |
|  | PYROMETERS AND FLOW METERS |  |  |  |
| 149978 | LENS:RADIOMATIC;DIA 37 MM;GLASS | LENS: TYPE: RADIOMATIC; DIMENSIONS: DIA 37 MM; MATERIAL: GLASS; SUPPL P/N: 30075526-000; FOR RADIAMATIC HEAD, THERMOPILE | ea | 300 |
| 611093 | CONVERTER:ANALOG;I/P 0.04-23.66 MIL V | CONVERTER: TYPE: ANALOG; INPUT: 0.04-23.66 MIL V; OUTPUT: 4-20 MA; APPLICATION: THERMOPILE; SCREW TERMINAL CONNECTION; WAS4 PRO | ea | 100 |
| 589229 | PYROMETER:250-2000 DEG C;24 VDC | PYROMETER: RANGE: 250-2000 DEG C; POTENTIAL: 24 VDC; MANUF P/N: 7MC3001-8BA; PZ20AF1; MEASURING RANGE 250 TO 2000 CEL; DISTANCE | ea | 8 |
| 149966 | METER FLW:HYDROGEN;5/8 IN-BSP;0-999.999 | METER, FLOW: TYPE: HYDROGEN; CONNECTION: 5/8 IN-BSP; RANGE: 0-999.999 GAL; MATERIAL: BRASS; MEDIUM: HYDROGEN; 48 PLANT ENTRY | ea | 6 |
| 149967 | METER:HYDROGEN GAS;0-999999 M3;ANALOG | METER: TYPE: HYDROGEN GAS; RANGE: 0-999999 M3; READOUT: ANALOG; STYLE: SQ FRONT; MODEL NO: A.L. 800 | ea | 6 |
| 218611 | METER FLW:HYDROGEN;1-1/4 IN-BSP;0-12 M3 | METER, FLOW: TYPE: HYDROGEN; CONNECTION: 1-1/4 IN-BSP; RANGE: 0-12 M3; MATERIAL: AL CAST; MEDIUM: HYDROGEN; SUPPL P/N: AL425-25 | ea | 6 |
| 155549 | METER FLW:WATER;FLANGE 210 MM;0-100 L/HR | METER, FLOW: TYPE: WATER; CONNECTION: FLANGE 210 MM; RANGE: 0-100 L/HR; MATERIAL: STL; MEDIUM: WATER; REFERENCE NO: HSS08198 | ea | 8 |
| 156869 | METER FLW:WATER;FLANGE 300 MM;0-10 M3 | METER, FLOW: TYPE: WATER; CONNECTION: FLANGE 300 MM; RANGE: 0-10 M3; MATERIAL: STL; MEDIUM: WATER; 150MM INFERENTIAL TYPE, INTE | ea | 4 |
| 219720 | TRANSDUCER:LEVEL;I/P 0-8 M;O/P 4-20 MA | TRANSDUCER: TYPE: LEVEL; INPUT: 0-8 M; OUTPUT: 4-20 MA; POWER SOURCE: 90-250 VAC; SUPPL P/N: FMP40-ABB2GRJG21AA; GUIDED RADAR, | ea | 6 |
| 207406 | SWITCH LVL:RISING LEVEL;24 VDC | SWITCH, LEVEL: METHOD OF ACTUATION: RISING LEVEL; POTENTIAL: 24 VDC; SUPPL P/N: FTL260-0120; LIQUIPHANT T AC; +24VDC OUTPUT | ea | 6 |
| 149971 | ASSY:COUNTER/UNDER GEAR | ASSEMBLY: TYPE: COUNTER/UNDER GEAR; SUPPL P/N: 6K1400; AND UNDER GEAR; FOR KENT 6 WATER METER | ea | 6 |
| 63937 | VALVE DIAPH:6 MM;16 BAR;-20 TO 100 DEG C | VALVE, DIAPHRAGM: VALVE SIZE: 6 MM; DESIGN RATING: 16 BAR; TEMPERATURE RATING: -20 TO 100 DEG C; CONNECTION: FEMALE THD; BODY M | ea | 60 |
| 51896 | MANIFOLD VLV:3 WAY;STL ALLOY;FNPT | MANIFOLD, VALVE: STYLE: 3 WAY; BODY MATERIAL: STL ALLOY; CONNECTION: FNPT; NDLE VLV 8128F8J BLRS; VENDORS ARE RESPONSIBLE FOR E | ea | 45 |
| 121762 | CHAMBER:FLOAT | CHAMBER: TYPE: FLOAT; SUPPL P/N: 1027-7C7-CL-RXXX; REFERENCE NO: HAA-01-041; HIGH TEMPERATURE, COMPLETE WITH BESTA HIGH TEMPERA | ea | 10 |
| 70600 | MANIFOLD VLV:3 WAY;1/2 IN;3000 PSI;SS | MANIFOLD, VALVE: STYLE: 3 WAY; SIZE: 1/2 IN; DESIGN RATING: 3000 PSI; BODY MATERIAL: STAINLESS STEEL; CONNECTION: NPT; SUPPL P/ | ea | 50 |
| 70601 | MANIFOLD VLV:3 WAY;1/2 IN;6000 PSI;SS | MANIFOLD, VALVE: STYLE: 3 WAY; SIZE: 1/2 IN; DESIGN RATING: 6000 PSI; BODY MATERIAL: STAINLESS STEEL; CONNECTION: NPT; SUPPL P/ | ea | 50 |
| 121763 | CHAMBER | CHAMBER: SUPPL P/N: S021-1RC-RXXX; MATERIAL: CARBON STEEL, TYPE: BESTA, COMPLETE WITH FLANGED HIGH TEMPERATURE BESTA FLOAT SWIT | ea | 10 |
| 152135 | METER FLW:ALARM;FLANGE 148 MM;10-100 | METER, FLOW: TYPE: ALARM; CONNECTION: FLANGE 148 MM; RANGE: 10-100 L/MIN; MATERIAL: SS GR 316; MEDIUM: LIQUID; 2 INCH FLOWMETER | ea | 20 |
| 152136 | METER FLW:ALARM;FLANGE 220 MM;100-1000 | METER, FLOW: TYPE: ALARM; CONNECTION: FLANGE 220 MM; RANGE: 100-1000 L/MIN; MATERIAL: SS GR 316; 3 INCH GMT VAMPIRE 80MM, COMPL | ea | 20 |
| 73126 | MANIFOLD VLV:5 WAY;8 MM;400 BAR;1000;STL | MANIFOLD, VALVE: STYLE: 5 WAY; SIZE: 8 MM; DESIGN RATING: 400 BAR; TEMPERATURE RATING: 1000 DEG C; BODY MATERIAL: STEEL; CONNEC | ea | 120 |
| 189819 | FLOAT:LEVEL SWITCH;DIA 62 X LG 215 MM;SS | FLOAT: TYPE: LEVEL SWITCH; DIMENSIONS: DIA 62 X LG 215 MM; MATERIAL: STAINLESS STEEL; SUPPL P/N: 2662; VENDORS ARE RESPONSIBLE | ea | 25 |
| 154274 | TRANSMITTER LVL:0-4 M;O/P 4-20 MA;10-30 | TRANSMITTER, LEVEL: RANGE: 0-4 M; OUTPUT: 4-20 MA; SUPPLY: 10-30 VDC; CONNECTION: FLANGE; WORKING PRESSURE: 4 M H2O; ELECTRICAL | ea | 6 |
| 149976 | METER FLW:3/8 IN-NPT | METER, FLOW: CONNECTION: 3/8 IN-NPT; FOR GAPMETER TYPE GS SS | ea | 15 |
| 611243 | TURBIDIMETER:LOW ANALYZER;0-100 NTU;12 | TURBIDIMETER: TYPE: LOW ANALYZER; RANGE: 0-100 NTU; POWER SOURCE: 12 VAC; MANUF P/N: 1720E; MEASURING UNITS MG/L; NTU; DEGREE; RESOLUTION 0.0001 NTU UP TO 9.9999 NTU; SAMPLE FLOW RATE REQUIRED 250 TO 750 ML/ MINUTE; OPERATING TEMPERATURE 0 TO 50 DEG C; OPERATING HUMIDITY 5 TO 95 PCT NON CONDENSING; POWER REQUIREMENTS 12 VDC; 12.5 WATTS MAX; SENSOR CABLE LENGTH 2 M; MOUNTING OPTIONS BODY AND HEAD ASSEMBLY: WALL/FLOOR STAND; INDOOR INSTALLATION ENVIRONMENT; INCLUDE CALIBRATION CYLINDER 1 L 20 NTU STABLCAL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | ea | 25 |
| 246002 | ANALYZER GAS:HYDROGEN IN NITROGEN | ANALYZER, GAS: TYPE: HYDROGEN IN NITROGEN; SUPPL P/N: XMTC-62-11; RANGE 90-100 PCT POWER SOURCE 2/24 VDC 1.2 A ANLOGUE OUTPUT 4-20 MA ISOLATED 800 OHMS MAX INGRESS PROTECTION IP66 RESPONSE TIME 2O SECONDS 90% STEP CHANGE ACCURACY +/- 20% OF SPAN LINEARITY +/- 1% OF SPAN REPEATABILITY +/-0.5 % OF SPAN ZERO STABILITY +/-SAN PER WEEK CALIBRATION CERTIFICATE EEX D IIC T6 RATED | ea | 6 |
| 737601 | PUMP:XSP9-7/O.25L;X2211010004;1.25 IN;SS | PUMP: TYPE: SUBMERSIBLE; SIZE: 1.25 IN; CAPACITY: 150 L/MIN; SPEED: 2860 RPM; RATING: 0.25 KW; POTENTIAL: 220 VAC; CASING MATERIAL: STAINLESS STEEL; OEM P/N: XSP9-7/O.25L; X2211010004; XSP9-7/O.25 L 220 VAC SUBMERSIBLE PUMP COMPLETE WITH FLOAT SWITCH | ea | 60 |
| 736555 | METER FLW:ULTRASONIC;RS 232;0-1000 L/S | METER, FLOW: TYPE: ULTRASONIC; CONNECTION: RS 232; RANGE: 0-1000 L/S; MATERIAL: PLASTIC; ULTRAFLUX; OUTPUT: 4-20 MA; ENCLOSURE: IP67/EN IEC 60529; ACCURACY: 0.5 PCT; OPERATING TEMPERATURE: 60 DEG C; GRAPHIC LCD SCREEN; USED ON ALL HOMOGENOUS PIPE MATERIALS | ea | 50 |
| 0631022 | PUMP: TYPE: SUBMERSIBLE; SIZE: 32 MM | PUMP: TYPE: SUBMERSIBLE; SIZE: 32 MM; CAPACITY: 130 L/MIN; SPEED: 2860 RPM; RATING: 130 L/MIN; DRIVER: ELECTRIC MOTOR; POTENTIAL: 220-240 V; FURNISHED ITEMS: COMPLETE SET; ZIMELT V250F DRAINAGE PUMP MAXIMUM HEAD OF 7 METRES; MAXIMUM FLOW OF 130 L/MIN; VOLTAGE SINGLE PHASE; INPUT POWER 250 WATTS; IP68; INSULATION CLASS B; FULL LOAD CURRENT OF 1.8 AMP | ea | 50 |
| 0633142 | PUMP, CENTRIFUGAL: NPSH: 0 M; CAPACITY: 3 L/S; | PUMP, CENTRIFUGAL: NPSH: 0 M; CAPACITY: 3 L/S; TOTAL HEAD: 5 M; SIZE: 50 MM; SPEED: 2010 RPM; STAGE: 1; TYPE: SUBMERSIBLE; VS40-VS/CS/GS50-VS/CS/65-VS/CS/80-VS/CS/100-VS/CS/150 | ea | 50 |

Group 2 consist of switches, computers, electronics, transmitters, relays and fittings

|  | DESCRIPTION OF GOODS |  |  |  | UNIT | MAX QUANTITY IN 5 YEARS PERIOD |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 225775 | CABLE ASSY ELECT:HEAT SENSOR;1 M |  | CABLE ASSEMBLY, POWER ELECTRICAL: TYPE: HEAT SENSOR; OVERALL LENGTH: 1 M; SUPPL P/N: A-88.155.120; FOR RLUT, UP-CON 1000 SENSORS, MUST BE CHECKED AT RECEIVING BEFORE BEING PLACED ON SHELF; MATERIAL: PLASTIC COVER |  | ea | 6 |  |  |
| 225774 | SENSOR TEMP |  | SENSOR, TEMPERATURE: SUPPL P/N: A-87.334.100; REFERENCE NO: PT1000; CONDUCTIVITY, RANGE: 0.055 TO 1000 MICRO SIMENS/CM, MUST BE CHECKED AT RECEIVING BEFORE BEING PLACED ON SHELF, CABLE LENGTH 1M, CELL CONSTANT 0.04/CM-1, CONNECTION 3/4 INCH NPT, MATERIAL SS |  | ea | 6 |  |  |
| 225773 | CELL CNDCTVY:FLOW;0.04/CM-1;SS GR 316L |  | CELL, CONDUCTIVITY: TYPE: FLOW; CELL CONSTANT: 0.04/CM-1; CELL MATERIAL: SS GR 316L; ELECTRODE: TITANIUM; SUPPL P/N: A-83.228.123; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |  | ea | 6 |  |  |
| 225772 | TRANSMITTER:CONDUCTIVITY;0.055-30 MS/CM |  | TRANSMITTER: TYPE: CONDUCTIVITY; RANGE: 0.055-30 MS/CM; OUTPUT: 0/4-20 MA; SUPPLY: 220 VAC; SUPPL P/N: A-13.463.100; MUST BE CHECKED AT RECEIVING BEFORE BEING PLACED ON SHELF |  | ea | 6 |  |  |
| 148028 |  | TRANSMITTER LVL:0-12 M;O/P 4-20; 0-20 MA |  | TRANSMITTER, LEVEL: RANGE: 0-12 M; OUTPUT: 4-20; 0-20 MA; SUPPLY: 110-230 VAC; TYPE: ULTRASONIC; SENSOR: MICRO PROCESSOR PROGRA |  |  | ea | 6 |  |
| 150031 |  | CONVERTER:ROTATION |  | CONVERTER: TYPE: ROTATION; SUPPL P/N: 00335; INDICATOR, ROTATE WE77-DRM-PUMP |  |  | ea | 10 |  |
| 150036 |  | ALARM:BACKUP UNIT;220 V AC 4-20 MA 50 HZ |  | ALARM: TYPE: BACKUP UNIT; RATING: 220 V AC 4-20 MA 50 HZ; REFERENCE NO: 42866/08; SINGLE AND DUAL, ET 1215, OUTPUT: 2 SPDT; VEN |  |  | ea | 6 |  |
| 151107 |  | SENSOR:PROBE |  | SENSOR: TYPE: PROBE; SUPPL P/N: NCB10-30GM40-NO |  |  | ea | 25 |  |
| 207464 |  | SWITCH SNSTV:24 VDC |  | SWITCH, SENSITIVE: POTENTIAL: 24 VDC; SUPPL P/N: WLCA2Y; DOUBLE CONTACT MICRO SWITCH |  |  | ea | 60 |  |
| 207466 |  | SWITCH SNSTV:MICRO |  | SWITCH, SENSITIVE: BODY STYLE: MICRO; SUPPL P/N: BA02MS; LEVEL; DOUBLE SWITCH |  |  | ea | 60 |  |
| 207463 |  | SWITCH LMT:24 VDC;10 A;SPST;RELAY;IP66 |  | SWITCH, LIMIT: POTENTIAL: 24 VDC; CURRENT: 10 A; ACTION: SPST; ACTUATOR: RELAY; CONTACT ARRANGEMENT: 1NO 1NC; ENCLOSURE: IP66; |  |  | ea | 80 |  |
| 219721 |  | KIT:BRACKET;REED SWITCH |  | KIT: TYPE: BRACKET; APPLICATION: REED SWITCH; SUPPL P/N: 4624A |  |  | ea | 80 |  |
| 207465 |  | TRANSMITTER:POSITION;0-18 DEG;O/P 4-20 |  | TRANSMITTER: TYPE: POSITION; RANGE: 0-18 DEG; OUTPUT: 4-20 MA; SUPPLY: 13-36 VDC; SUPPL P/N: TGM 5; V14436A-1011130/303; ANGULA |  |  | ea | 8 |  |
| 189810 |  | TRANSDUCER: TYPE: TEMPERATURE; INPUT: 0-200 DEG C; |  | TRANSDUCER: TYPE: TEMPERATURE; INPUT: 0-200 DEG C; OUTPUT: 4-20 MA; POWER SOURCE: 24 V; SUPPL P/N: T19.30.1PO-1; ANALOGUE TRANSMITTER, DIN RAIL MOUNT, PT 100,ADJUSTABLE ZERO AND SPAN |  |  | ea | 50 |  |
| 148884 |  | TRANSMITTER:ANGLE TO CURRENT;0-120 DEG C |  | TRANSMITTER: TYPE: ANGLE TO CURRENT; RANGE: 0-120 DEG C; OUTPUT: 4-20 MA; SUPPLY: 24 VDC; SUPPL P/N: TGM 4/TGM5; 314050; 14436- |  |  | ea | 25 |  |
| 61235 |  | ADAPTOR TUBE-PIPE:1/4 IN;COMPRESSION;1/4 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/4 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/4 IN; PIPE CONNECTION: FNPT; MATERIAL: BRA |  |  | ea | 2000 |  |
| 61236 |  | ADAPTOR TUBE-PIPE:1/4 IN;COMPRESSION;3/8 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/4 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 3/8 IN; PIPE CONNECTION: FNPT; MATERIAL: BRA |  |  | ea | 500 |  |
| 61222 |  | ADAPTOR TUBE-PIPE:1/8 IN;COMPRESSION;1/8 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/8 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/8 IN; PIPE CONNECTION: NPT; MATERIAL: BRAS |  |  | ea | 600 |  |
| 61224 |  | ADAPTOR TUBE-PIPE:1/4 IN;COMPRESSION;1/8 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/4 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/8 IN; PIPE CONNECTION: NPT; MATERIAL: BRAS |  |  | ea | 1500 |  |
| 61225 |  | ADAPTOR TUBE-PIPE:1/4 IN;COMPRESSION;1/4 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/4 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/4 IN; PIPE CONNECTION: NPT; MATERIAL: BRAS |  |  | ea | 2000 |  |
| 60534 |  | UNION TUBE:8 MM;BRS;COMPRESSION |  | UNION, TUBE: SIZE: 8 MM; MATERIAL: BRASS; CONNECTION: COMPRESSION; SUPPL P/N: 8UBRME |  |  | ea | 5000 |  |
| 61229 |  | ADAPTOR TUBE-PIPE:8 MM;COMPRESSION;1/4 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 8 MM; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/4 IN; PIPE CONNECTION: NPT; MATERIAL: BRASS; |  |  | ea | 1500 |  |
| 61230 |  | ADAPTOR TUBE-PIPE:3/8 IN;COMPRESSION;1/4 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 3/8 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/4 IN; PIPE CONNECTION: NPT; MATERIAL: BRAS |  |  | ea | 500 |  |
| 61231 |  | ADAPTOR TUBE-PIPE:3/8 IN;COMPRESSION;3/8 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 3/8 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 3/8 IN; PIPE CONNECTION: NPT; MATERIAL: BRAS |  |  | ea | 500 |  |
| 60647 |  | ADAPTOR TUBE-PIPE:1/2 IN;COMPRESSION;1/2 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/2 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/2 IN; PIPE CONNECTION: NPT; MATERIAL: BRAS |  |  | ea | 500 |  |
| 60363 |  | ADAPTOR TUBE-PIPE:1/8 IN;COMPRESSION;1/8 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/8 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/8 IN; PIPE CONNECTION: NPT; MATERIAL: SS G |  |  | ea | 2500 |  |
| 60370 |  | ADAPTOR TUBE-PIPE:3/8 IN;COMPRESSION;3/8 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 3/8 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 3/8 IN; PIPE CONNECTION: PT; MATERIAL: STAIN |  |  | ea | 1000 |  |
| 58282 |  | ADAPTOR TUBE-PIPE:3/8 IN;COMPR;1/2 IN |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 3/8 IN; TUBE CONNECTION: COMPR; PIPE SIZE: 1/2 IN; PIPE CONNECTION: NPT; MATERIAL: SS GR 316; |  |  | ea | 1000 |  |
| 60549 |  | ELBOW TUBE ADPTR:1/4 IN;COMPRESSION;NPT |  | ELBOW, TUBE ADAPTOR: SIZE: 1/4 IN; INLET CONNECTION: COMPRESSION; OUTLET CONNECTION: NPT; MATERIAL: BRASS; DEGREE: 90 DEG; SUPP |  |  | ea | 1000 |  |
| 59449 |  | ELBOW TUBE ADPTR:1/2 X 1/4 IN;NPT;BRS;90 |  | ELBOW, TUBE ADAPTOR: SIZE: 1/2 X 1/4 IN; INLET CONNECTION: NPT; OUTLET CONNECTION: COMPRESSION; MATERIAL: BRASS; DEGREE: 90 DEG |  |  | ea | 500 |  |
| 60356 |  | TEE TUBE:1/4 IN;COMPRESSION;BRS;6 BAR |  | TEE, TUBE: SIZE: 1/4 IN; CONNECTION: COMPRESSION; MATERIAL: BRASS; RATING: 6 BAR; SUPPL P/N: 4TTT; ALL AROUND COMPLETE WITH FER |  |  | ea | 600 |  |
| 61250 |  | TEE TUBE:8 MM;COMPRESSION;BRS |  | TEE, TUBE: SIZE: 8 MM; CONNECTION: COMPRESSION; MATERIAL: BRASS; SUPPL P/N: 8TTTBRME |  |  | ea | 500 |  |
| 61251 |  | TEE TUBE ADPTR:3/8 IN;BRS;COMPRESSION |  | TEE, TUBE ADAPTOR: SIZE: 3/8 IN; MATERIAL: BRASS; FIRST END CONNECTION TYPE: COMPRESSION; SECOND END CONNECTION TYPE: COMPRESSI |  |  | ea | 500 |  |
| 60372 |  | TEE TUBE:1/2 IN;COMPRESSION;BRS;6 BAR |  | TEE, TUBE: SIZE: 1/2 IN; CONNECTION: COMPRESSION; MATERIAL: BRASS; RATING: 6 BAR; SUPPL P/N: 8TTT; HENDRINA GYROLOK BRAND ONLY |  |  | ea | 500 |  |
| 60371 |  | TEE TUBE:1/2 IN;COMPRESSION;SS |  | TEE, TUBE: SIZE: 1/2 IN; CONNECTION: COMPRESSION; MATERIAL: STAINLESS STEEL; SUPPL P/N: 8TTT-316 |  |  | ea | 500 |  |
| 60401 |  | UNION TUBE BHD:OD 1/4 IN;COMPRESSION;STL |  | UNION, TUBE BULKHEAD: OUTSIDE DIAMETER: 1/4 IN; CONNECTION: COMPRESSION; MATERIAL: STL; SUPPL P/N: 4BCM4-S; HENDRINA GYROLOK BR |  |  | ea | 50 |  |
| 58292 |  | UNION TUBE BHD:OD 3/8 IN;COMPRESSION;SS |  | UNION, TUBE BULKHEAD: OUTSIDE DIAMETER: 3/8 IN; CONNECTION: COMPRESSION; MATERIAL: STAINLESS STEEL; SUPPL P/N: 6BU-316 |  |  | ea | 50 |  |
| 61241 |  | UNION TUBE:1/4 IN;BRS;COMPRESSION |  | UNION, TUBE: SIZE: 1/4 IN; MATERIAL: BRASS; CONNECTION: COMPRESSION; SUPPL P/N: 4U |  |  | ea | 4000 |  |
| 61242 |  | UNION TUBE:3/8 IN;BRS;COMPRESSION |  | UNION, TUBE: SIZE: 3/8 IN; MATERIAL: BRASS; CONNECTION: COMPRESSION; SUPPL P/N: 6U |  |  | ea | 1500 |  |
| 60361 |  | UNION TUBE:1/2 IN;BRS;COMPRESSION |  | UNION, TUBE: SIZE: 1/2 IN; MATERIAL: BRASS; CONNECTION: COMPRESSION; SUPPL P/N: 8U |  |  | ea | 1500 |  |
| 60377 |  | UNION TUBE:5/16 IN;STL;COMPRESSION |  | UNION, TUBE: SIZE: 5/16 IN; MATERIAL: STEEL; CONNECTION: COMPRESSION; SUPPL P/N: 8US-MME; HENDRINA GYROLOK BRAND ONLY |  |  | ea | 1500 |  |
| 60390 |  | ADAPTOR TUBE-PIPE:5/8 IN;COMPRESSION;1/2 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 5/8 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/2 IN; PIPE CONNECTION: NPT; MATERIAL: BRAS |  |  | ea | 500 |  |
| 60537 |  | REDUCER TUBE:1/4 X 1/8 IN;COMPRESSION |  | REDUCER, TUBE: NOMINAL SIZE: 1/4 X 1/8 IN; CONNECTION: COMPRESSION; MATERIAL: BRASS; SUPPL P/N: 4RU2 |  |  | ea | 1600 |  |
| 60396 |  | UNION TUBE:3/8 IN;SS;COMPRESSION |  | UNION, TUBE: SIZE: 3/8 IN; MATERIAL: STAINLESS STEEL; CONNECTION: COMPRESSION; SUPPL P/N: 6U316; GYROLOK BRAND ONLY |  |  | ea | 1000 |  |
| 59447 |  | ADAPTOR PIPE:1/8 IN;FNPT;1/8 IN;NPT;BRS |  | ADAPTOR, PIPE: INLET SIZE: 1/8 IN; INLET CONNECTION: FNPT; OUTLET SIZE: 1/8 IN; OUTLET CONNECTION: NPT; MATERIAL: BRASS; SUPPL |  |  | ea | 1000 |  |
| 58277 |  | TEE TUBE:1/4 IN;COMPRESSION;SS |  | TEE, TUBE: SIZE: 1/4 IN; CONNECTION: COMPRESSION; MATERIAL: STAINLESS STEEL; SUPPL P/N: 4TTT-316 |  |  | ea | 1000 |  |
| 174680 |  | REDUCER TUBE:1/4 X 1/8 IN;COMPRESSION;SS |  | REDUCER, TUBE: NOMINAL SIZE: 1/4 X 1/8 IN; CONNECTION: COMPRESSION; MATERIAL: STAINLESS STEEL; SUPPL P/N: 4RU2-316; HENDRINA GY |  |  | ea | 1000 |  |
| 174679 |  | ADAPTOR TUBE-PIPE:1/4 IN;COMPRESSION;1/8 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/4 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/8 IN; PIPE CONNECTION: NPT; MATERIAL: BRAS |  |  | ea | 1200 |  |
| 174678 |  | ADAPTOR TUBE-PIPE:1/8 IN;COMPRESSION;1/4 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/8 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/4 IN; PIPE CONNECTION: NPT; MATERIAL: BRAS |  |  | ea | 2000 |  |
| 174677 |  | ADAPTOR TUBE-PIPE:1/8 IN;COMPRESSION;NPT |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/8 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/8 IN; PIPE CONNECTION: NPT; MATERIAL: BRAS |  |  | ea | 2500 |  |
| 174676 |  | ADAPTOR TUBE-PIPE:1/4 IN;COMPRESSION;NPT |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/4 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/2 IN; PIPE CONNECTION: NPT; MATERIAL: BRAS |  |  | ea | 2000 |  |
| 60575 |  | ADAPTOR TUBE-PIPE:1/4 IN;COMPRESSION;1/4 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/4 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/4 IN; PIPE CONNECTION: NPT; MATERIAL: SS G |  |  | ea | 2200 |  |
| 60429 |  | ADAPTOR TUBE-PIPE:1/4 IN;COMPRESSION;1/4 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/4 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/4 IN; PIPE CONNECTION: NPT; MATERIAL: BRAS |  |  | ea | 2200 |  |
| 60362 |  | UNION TUBE:5/8 IN;BRS;COMPRESSION |  | UNION, TUBE: SIZE: 5/8 IN; MATERIAL: BRASS; CONNECTION: COMPRESSION; SUPPL P/N: 10U; GYROLOK BRAND ONLY |  |  | ea | 1500 |  |
| 61297 |  | ADAPTOR TUBE-PIPE:3/8 IN;COMPRESSION;1/4 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 3/8 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/4 IN; PIPE CONNECTION: NPT; MATERIAL: SS G |  |  | ea | 750 |  |
| 59455 |  | ADAPTOR TUBE-PIPE:10 MM;COMPRESSION;1/4 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 10 MM; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/4 IN; PIPE CONNECTION: NPT; MATERIAL: SS GR |  |  | ea | 750 |  |
| 59445 |  | ADAPTOR TUBE-PIPE:14 MM;COMPRESSION;1/4 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 14 MM; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/4 IN; PIPE CONNECTION: NPT; MATERIAL: SS GR |  |  | ea | 750 |  |
| 59446 |  | ADAPTOR TUBE-PIPE:10 MM;COMPRESSION;1/2 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 10 MM; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/2 IN; PIPE CONNECTION: NPT; MATERIAL: SS GR |  |  | ea | 750 |  |
| 59444 |  | ADAPTOR TUBE-PIPE:14 MM;COMPRESSION;1/2 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 14 MM; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/2 IN; PIPE CONNECTION: NPT; MATERIAL: SS GR |  |  | ea | 750 |  |
| 60394 |  | ADAPTOR TUBE-PIPE:12 MM;COMPRESSION;1/2 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 12 MM; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/2 IN; PIPE CONNECTION: NPT; MATERIAL: BRASS |  |  | ea | 750 |  |
| 59453 |  | ELBOW TUBE ADPTR:10 MM X 1/4 IN;NPT;90 |  | ELBOW, TUBE ADAPTOR: SIZE: 10 MM X 1/4 IN; INLET CONNECTION: COMPRESSION; OUTLET CONNECTION: NPT; MATERIAL: SS GR 316; DEGREE: |  |  | ea | 750 |  |
| 59448 |  | ELBOW TUBE ADPTR:10 MM X 1/2 IN;NPT;90 |  | ELBOW, TUBE ADAPTOR: SIZE: 10 MM X 1/2 IN; INLET CONNECTION: NPT; OUTLET CONNECTION: COMPRESSION; MATERIAL: SS GR 316; DEGREE: |  |  | ea | 750 |  |
| 59452 |  | ELBOW TUBE ADPTR:14 MM X 1/2 IN;NPT;90 |  | ELBOW, TUBE ADAPTOR: SIZE: 14 MM X 1/2 IN; INLET CONNECTION: NPT; OUTLET CONNECTION: COMPRESSION; MATERIAL: SS GR 316; DEGREE: |  |  | ea | 750 |  |
| 59450 |  | ELBOW TUBE ADPTR:12 MM X 1/4 IN;NPT;BRS |  | ELBOW, TUBE ADAPTOR: SIZE: 12 MM X 1/4 IN; INLET CONNECTION: COMPRESSION; OUTLET CONNECTION: NPT; MATERIAL: BRASS; DEGREE: 90 D |  |  | ea | 750 |  |
| 59454 |  | UNION TUBE:6 MM;SS;COMPRESSION |  | UNION, TUBE: SIZE: 6 MM; MATERIAL: STAINLESS STEEL; CONNECTION: COMPRESSION; SUPPL P/N: 6U-316/MM; HENDRINA GYROLOK BRAND ONLY |  |  | ea | 500 |  |
| 60367 |  | UNION TUBE:8 MM;SS;COMPRESSION |  | UNION, TUBE: SIZE: 8 MM; MATERIAL: STAINLESS STEEL; CONNECTION: COMPRESSION; SUPPL P/N: 8U316; HENDRINA GYROLOK BRAND ONLY |  |  | ea | 750 |  |
| 60378 |  | UNION TUBE:10 MM;SS;COMPRESSION |  | UNION, TUBE: SIZE: 10 MM; MATERIAL: STAINLESS STEEL; CONNECTION: COMPRESSION; SUPPL P/N: 10U316MME; HENDRINA GYROLOK BRAND ONLY |  |  | ea | 750 |  |
| 59451 |  | UNION TUBE:14 MM;SS;COMPRESSION |  | UNION, TUBE: SIZE: 14 MM; MATERIAL: STAINLESS STEEL; CONNECTION: COMPRESSION; SUPPL P/N: 14U-316/MM; HENDRINA GYROLOK BRAND ONL |  |  | ea | 750 |  |
| 154449 |  | ADAPTOR TUBE-PIPE:1/8 IN;COMPRESSION;1/8 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/8 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/8 IN; PIPE CONNECTION: NPT; MATERIAL: STAI |  |  | ea | 2000 |  |
| 154450 |  | ADAPTOR TUBE-PIPE:1/4 IN;COMPRESSION;1/4 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/4 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/4 IN; PIPE CONNECTION: NPT; MATERIAL: SS G |  |  | ea | 2000 |  |
| 61766 |  | TEE TUBE:12 MM;COMPRESSION;SS |  | TEE, TUBE: SIZE: 12 MM; CONNECTION: COMPRESSION; MATERIAL: STAINLESS STEEL; SUPPL P/N: 12TTT316/MM |  |  | ea | 250 |  |
| 60558 |  | TEE TUBE:10 MM;COMPRESSION;SS |  | TEE, TUBE: SIZE: 10 MM; CONNECTION: COMPRESSION; MATERIAL: STAINLESS STEEL; SUPPL P/N: 10TTT316MM |  |  | ea | 500 |  |
| 61302 |  | ADAPTOR TUBE-PIPE:1/2 IN;COMPRESSION;1/2 |  | ADAPTOR, TUBE TO PIPE: TUBE SIZE: 1/2 IN; TUBE CONNECTION: COMPRESSION; PIPE SIZE: 1/2 IN; PIPE CONNECTION: NPT; MATERIAL: SS G |  |  | ea | 500 |  |
| 174669 |  | TEE TUBE:14 MM;COMPRESSION;SS;6 BAR |  | TEE, TUBE: SIZE: 14 MM; CONNECTION: COMPRESSION; MATERIAL: STAINLESS STEEL; RATING: 6 BAR; SUPPL P/N: 14TTT-316MM; HENDRINA GYR |  |  | ea | 500 |  |
| 189815 |  | ADAPTOR PIPE:12 MM;FEMALE;1/2 IN;NPT;SS |  | ADAPTOR, PIPE: INLET SIZE: 12 MM; INLET CONNECTION: FEMALE; OUTLET SIZE: 1/2 IN; OUTLET CONNECTION: NPT; MATERIAL: STAINLESS ST |  |  | ea | 500 |  |
| 207458 |  | ELBOW TUBE ADPTR:8 MM X 1/4 IN;NPT;BRS |  | ELBOW, TUBE ADAPTOR: SIZE: 8 MM X 1/4 IN; INLET CONNECTION: NPT; OUTLET CONNECTION: COMPRESSION; MATERIAL: BRASS; DEGREE: 90 DE |  |  | ea | 500 |  |
| 60373 |  | ADAPTOR PIPE:1/4 IN;NPT;1/4 IN;FNPT;STL |  | ADAPTOR, PIPE: INLET SIZE: 1/4 IN; INLET CONNECTION: NPT; OUTLET SIZE: 1/4 IN; OUTLET CONNECTION: FNPT; MATERIAL: STL; SUPPL P/ |  |  | ea | 250 |  |
| 149089 |  | SENSOR:SPEED;10-30 VDC |  | SENSOR: TYPE: SPEED; RATING: 10-30 VDC; DSH 1280 K TV |  |  | ea | 10 |  |
| 149090 |  | MONITOR:SPEED;0.1-3600 S;24 VDC |  | MONITOR: TYPE: SPEED; RANGE: 0.1-3600 S; POWER SOURCE: 24 VDC; MODEL NO: FTR1643; JAQUED |  |  | ea | 10 |  |
| 149091 |  | CONVERTER:SPEED |  | CONVERTER: TYPE: SPEED; SUPPL P/N: FTW1413-UC3 |  |  | ea | 10 |  |
| 150006 |  | TRANSMITTER:O/P 4-20 MA;12 VDC |  | TRANSMITTER: OUTPUT: 4-20 MA; SUPPLY: 12 VDC; SUPPL P/N: FTG 1053/S11; WITH 2M CABLE, RANGE WATER |  |  | ea | 12 |  |
| 175853 |  | SENSOR:SPEED;0-25 MA;24 VDC;5 M |  | SENSOR: TYPE: SPEED; RANGE: 0-25 MA; RATING: 24 VDC; CABLE LENGTH: 5 M; SUPPL P/N: DSF2210.005HV; FOR USE ON UNIT 6-10; TURBINE |  |  | ea | 6 |  |
| 154442 |  | SENSOR:MAGNETIC SPEED;0-600IPS;24 VDC |  | SENSOR: TYPE: MAGNETIC SPEED; RANGE: 0-600IPS; RATING: 24 VDC; SUPPL P/N: 5430-929; WOODWARD PICK-UP, LONG STANDARD MODEL, INCL MAGNETIC PICK-UP P/NO: 625500 |  |  | ea | 6 |  |
| 154411 |  | MODULE:VALVE RANGE POSITION |  | MODULE: TYPE: VALVE RANGE POSITION; SUPPL P/N: RWG 4020; VALVE RANGE POSITION CARDS, WITH 5 K OHM SINGLE POT PART NUMBER SINGLE |  |  | ea | 500 |  |
| 124214 |  | CONN COMM:PLUG;1-1.5 MM;25 |  | CONNECTOR, COMMUNICATION: TYPE: PLUG; CONDUCTOR: 1-1.5 MM; POSITION: 25; SUPPL P/N: 12-301-021; SOCKET |  |  | ea | 50 |  |
| 240573 |  | MONITOR VIDEO:LCD;24 IN;100/240 VAC |  | MONITOR, VIDEO: TYPE: LCD; SIZE: 24 IN; POWER SOURCE: 100/240 VAC; RESOLUTION: 1920 X 1200 PX; MANUF P/N: P2400-6 IPS; SUPPL P/ |  |  | ea | 200 |  |
| 149017 |  | CONVERTER SGNL:FREQUENCY TO CURRENT;24 |  | CONVERTER, SIGNAL: TYPE: FREQUENCY TO CURRENT; OUTPUT: 4-20 MA; POWER SOURCE: 24 VDC; MODEL NO: KFD2- UFC-EX1.D; REFERENCE NO: |  |  | ea | 100 |  |
| 184018 |  | SEAL RNG:ID 18 MM;OD 25.4 MM;PTFE |  | SEAL, RING: INSIDE DIAMETER: 18 MM; OUTSIDE DIAMETER: 25.4 MM; MATERIAL: PTFE; WITH A CHAMFER ON ONE SIDE; 4.3MM ON THE INSIDE |  |  | ea | 5000 |  |
| 209533 |  | RELAY:24 VDC;1NO;6 A;SPDT;SCREW;AGSNO |  | RELAY: COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 6 A; ACTION: SPDT; TERMINAL: SCREW; MOUNT: CLIP RAIL; CO |  |  | ea | 100 |  |
| 214751 |  | RELAY:SINGLE POINT ALARMER;24 VDC;1NO |  | RELAY: TYPE: SINGLE POINT ALARMER; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 0-10 VDC; ACTION: SPDT; TERM |  |  | ea | 20 |  |
| 218267 |  | RELAY:PHOENIX;24 VDC;1NO;6 A;SPDT;PIN |  | RELAY: TYPE: PHOENIX; COIL VOLTAGE: 24 VDC; CONTACT ARRANGEMENT: 1NO; CONTACT RATING: 6 A; ACTION: SPDT; TERMINAL: PIN; MOUNT: |  |  | ea | 300 |  |
| 218275 |  | TRANSDUCER:HEAD MOUNT;O/P 4-20 MA |  | TRANSDUCER: TYPE: HEAD MOUNT; OUTPUT: 4-20 MA; VARIOUS INPUT; LOOP POWERED; TO FIT ANSI HEAD, RANGE 0-150 DEG CELCIUS, MUST BE |  |  | ea | 120 |  |
| 219729 |  | CCT:ELECTRONIC;FEEDBACK CARD |  | CIRCUIT: TYPE: ELECTRONIC; FUNCTION: FEEDBACK CARD; SUPPL P/N: RWG 4020; FOR 4-20 MA, 24 VDC SUPPLY, SIGNAL FROM 3 WIRE, 5 KOHM |  |  | ea | 400 |  |
| 253703 |  | RELAY;2814252,AUXILIARY |  | RELAY;2814252,AUXILIARY PROTECTION ~ RELAY; TYPE AUXILIARY PROTECTION, CONTACT RATING 24 VAC, CONTACT ARRANGEMENT 11NO 1NC, CONTACT MATERIAL POLYAMIDE, ACTION 12P6T, COI L VOLTAGE 8-30VAC/DC, TERMINAL 12 PIN PLUG IN, MOUNT 19 INCH RACK, ENCLOSURE RATING GLASS/PLASTIC, REFERENCE NO: MCR-CLP-UI-1-4, PAR T NUMBER: 2814252; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |  |  | ea | 200 |  |
| 728426 |  | SAMSUNG 43INCH LED MONITOR |  | MONITOR, VIDEO: TYPE: LED; SIZE: 43 IN; POWER SOURCE: 220 VAC; MODEL NO: LH43QMEEBGCXXA; REFERENCE NO: LH 43 QMBE; SAMSUNG 107.9 CM |  |  | ea | 20 |  |
| 523622 |  | MONITOR:LCD;100-230 VAC;46 IN |  | MONITOR: TYPE: LCD; POWER SOURCE: 100-230 VAC; SIZE: 46 IN; MANUF P/N: X 4615; FREQUENCIES: HORIZONTAL 31.5 - 91.1 KHZ; VERTICAL 50 - 85 HZ; RESOLUTION: NATIVE RESOLUTION 1920 X 1080 AT 60 HZ; ORDER CODE: 60003056; ACTIVE SCREEN AREA: 1.018 X 572 MM; ASPECT RATIO: 16:9 |  |  | ea | 15 |  |
| 154444 |  | INDICATOR:DIGITAL;0-99.99;PLASTIC |  | INDICATOR: TYPE: DIGITAL; DIMENSIONS: WD 115 X LG 260 X HT 112 MM; RANGE: 0-99.99; MATERIAL: PLASTIC; SUPPL P/N: L2Q9-R-P; 4-20 |  |  | ea | 20 |  |
| 154445 |  | CONVERTER:FREQUENCY TO CURRENT |  | CONVERTER: TYPE: FREQUENCY TO CURRENT; SUPPL P/N: 7MV1110-1AC20-Z |  |  | ea | 100 |  |
| 149088 |  | TRANSMITTER TEMP:0-300 DEG C;O/P 4-20 MA |  | TRANSMITTER, TEMPERATURE: RANGE: 0-300 DEG C; OUTPUT: 4-20 MA; SUPPLY: 24 VDC; TYPE: THERMOCOUPLE; MOUNT: HEAD; SUPPL P/N: K; R |  |  | ea | 100 |  |
| 149087 |  | TRANSMITTER TEMP:0-600 DEG C;O/P 4-20 MA |  | TRANSMITTER, TEMPERATURE: RANGE: 0-600 DEG C; OUTPUT: 4-20 MA; SUPPLY: 24 V; TYPE: ANALOG; MOUNT: HEAD; SUPPL P/N: T21-31-110; |  |  | ea | 100 |  |
| 179400 |  | CONTROLLER:WOODWARD |  | CONTROLLER: TYPE: WOODWARD; SUPPL P/N: 9907-053; 9907-164; TYPE 505 DIGITAL TURBINE GOVERNOR, RATING 18-32VDC; VENDORS ARE RESP |  |  | ea | 6 |  |
| 606578 |  | SWITCH LVL:FLOAT;19.6 BAR;240 VAC;15 A |  | SWITCH, LEVEL: METHOD OF ACTUATION: FLOAT; RANGE: 19.6 BAR; POTENTIAL: 240 VAC; CURRENT: 15 A; ACTION: (2) SPDT; CONTACT ARRANG |  |  | ea | 25 |  |
| 174675 |  | RESISTOR VAR:5 K OHM;25 W;LUG;METAL;0.5 |  | RESISTOR, VARIABLE: RESISTANCE: 5 K OHM; RATING: 25 W; CONNECTION: LUG; MATERIAL: METAL; TOLERANCE: 0.5 PCT; SUPPL P/N: SINGLE |  |  | ea | 600 |  |
| 90448 |  | WASHER SEALG:16.2 MM;ID 6.35 MM;OD 16.2 |  | WASHER, SEALING: NOMINAL SIZE: 16.2 MM; INSIDE DIAMETER: 6.35 MM; OUTSIDE DIAMETER: 16.2 MM; THICKNESS: 3 MM; MATERIAL: COPPER; |  |  | ea | 6000 |  |
| 150004 |  | VALVE:SHUT OFF;1/2 IN;0-100 BAR;MS |  | VALVE: TYPE: SHUT OFF; VALVE SIZE: 1/2 IN; DESIGN RATING: 0-100 BAR; TEMPERATURE RATING: 14.5 BAR AT 450 DEG C; CONNECTION: 1/2 |  |  | ea | 200 |  |
| 189816 |  | SWITCH LVL:MAGNETIC;-40 TO 55 DEG C;250 |  | SWITCH, LEVEL: METHOD OF ACTUATION: MAGNETIC; RANGE: -40 TO 55 DEG C; POTENTIAL: 250 V; CURRENT: 5 A; ENCLOSURE: IP65; SUPPL P/ |  |  | ea | 50 |  |
| 189817 |  | MODULE:SWITCH |  | MODULE: TYPE: SWITCH; SUPPL P/N: A BINARY; SINGLE |  |  | ea | 50 |  |
| 189818 |  | SWITCH SNSTV:1NO 1NC;5 A;MICRO;SCREW |  | SWITCH, SENSITIVE: CONTACT ARRANGEMENT: 1NO 1NC; CURRENT: 5 A; BODY STYLE: MICRO; MOUNT: SCREW; REFERENCE NO: 2799 A; ACTION SN |  |  | ea | 50 |  |
| 631663 |  | PROBE:ULTRAFLUX;40 MM;LG 64 MM;1-100 CM3 |  | PROBE: TYPE: ULTRAFLUX; DIAMETER: 40 MM; LENGTH: 64 MM; RATING: 1-100 CM3; CABLE LENGTH: 80 M; MATERIAL: STAINLESS STEEL; MANUF |  |  | ea | 40 |  |
| 70580 |  | VALVE:CHLORINE REGULATING;8 MM;BSP;LEVER |  | VALVE: TYPE: CHLORINE REGULATING; VALVE SIZE: 8 MM; CONNECTION: BSP; OPERATED: LEVER; BODY MATERIAL: STL; TYPE C7700; PRESSURE |  |  | ea | 12 |  |
| 154410 |  | REGULATOR PRESS:CHLORINATOR;0-15 BAR |  | REGULATOR, PRESSURE: TYPE: CHLORINATOR; INLET PRESSURE: 0-15 BAR; CONNECTION: COUPLING 3/4 IN; SUPPL P/N: C2210; REFERENCE NO: |  |  | ea | 12 |  |
| 148985 |  | TRANSDUCER:IPQ203 |  | TRANSDUCER: REFERENCE NO: MSP90-E12B; IPQ203; SONA PULSE BRAND; NON CONTACT ULTRASONIC LIQUID LEVEL WITH SPECIAL FLANGE TO BE I |  |  | ea | 12 |  |
| 528972 |  | PIPE:ID 8 MM;LG 1 M |  | PIPE: INSIDE DIAMETER: 8 MM; LENGTH: 1 M; MATERIAL: CADMIUM COATED COPPER; MANUF P/N: 64.6 CHLORINE 10023; COATED CONNECTION LI |  |  | ea | 25 |  |
| 611242 |  | CONTROLLER:MICROPROCESSOR;0.001-100 NTU |  | CONTROLLER: TYPE: MICROPROCESSOR; RANGE: 0.001-100 NTU; RATING: 10-240 VAC; OUTPUT: 4-20 MA; MOUNTING: WALL; SC 200 CONTROLLER |  |  | ea | 25 |  |
| 207467 |  | SWITCH FLW |  | SWITCH, FLOW: SUPPL P/N: T FTM 260; SOLIPHANT |  |  | ea | 50 |  |
| 736554 |  | TRANSMITTER FLW:100-300 MM;O/P 4-20 MA |  | TRANSMITTER, FLOW: TYPE: ULTRASONIC CLAMP-ON PROBE; RANGE: 100-300 MM; OUTPUT: 4-20 MA; SUPPLY: 10-32 VDC; MODEL NO: SE 1595; ULTRAFLUX; TX CONNECTION; POTTED CABLE THROUGH CABLE GLAND MOUNTING ON PIPE FROM DN80-DN4500; OPERATING TEMPERATURE: -20 TO 80 DEG C; INGRESS PROTECTION EN/IEC 60529 IP68; FOR LIQUID FLOW MEASUREMENT ON A FULL PIPE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). |  |  | ea | 50 |  |
| 0742135 |  | BATTERY: TYPE: APCRBC 115; |  | BATTERY: TYPE: APCRBC 115; POTENTIAL: 48 V; LEAD-ACID |  |  | ea | 40 |  |
| 0742136 |  | DRIVE, DISK: DESIGN TYPE: SATA; |  | DRIVE, DISK: DESIGN TYPE: SATA; DRIVE SIZE: 3.5 IN; DATA STORAGE CAPACITY: 4 TB; UNIT DESIGN: NAS HDD; OEM P/N: WD 40 EFAX |  |  | ea | 20 |  |
| 0742137 |  | UNINTERRUPTIBLE POWER SUPPLY: |  | UNINTERRUPTIBLE POWER SUPPLY: APPLICATION: SERVERS; INPUT: 230 V; RATING: 1500 VA; OUTPUT VOLTAGE: 230 V; OUTPUT CURRENT: 6.5 A; OEM P/N: SMX1500RMI2U; RACK MOUNT |  |  | ea | 10 |  |
| 0742138 |  | DRIVE, DISK: DESIGN TYPE: SAS 10 K |  | DRIVE, DISK: DESIGN TYPE: SAS 10 K; DRIVE SIZE: 2.5 IN; DATA STORAGE CAPACITY: 1.2 TB; UNIT DESIGN: HPE SERVER HDD; OEM P/N: 872737-001 |  |  | ea | 20 |  |
| 0742139 |  | DRIVE, DISK: DESIGN TYPE: SATA; |  | DRIVE, DISK: DESIGN TYPE: SATA; DRIVE SIZE: 3.5 IN; DATA STORAGE CAPACITY: 1 TB; UNIT DESIGN: HDD; OEM P/N: WD 10 PURX |  |  | ea | 60 |  |
| 0744613 |  | COMPUTER, SERVER: UNIT TYPE: RACK MOUNT; |  | COMPUTER, SERVER: UNIT TYPE: RACK MOUNT; PROCESSOR CHIP TYPE: INTEL XEON SILVER 4110; MEMORY: 16 GB; HARD DRIVE: 2 X 1.2 TB SAS 10K; NETWORK CARD: HPE ETHERNET 1GB 4 PORT 366T ADAPTOR; DRIVE: 10 000 RPM SAS; POWER SUPPLY: 220 VAC; PROCESSOR CLOCK SPEED: 2.1G (1 X ROCESSORS) HZ; OEM P/N: 6DU7050-OXG03-8XA0; HDD, WINDOWS 2016 SERVER, 2 X HOTSWAP POWER SUPPLY |  |  | ea | 10 |  |
| 0744615 |  | COMPUTER, SERVER: UNIT TYPE: QNAP; |  | COMPUTER, SERVER: UNIT TYPE: QNAP; PROCESSOR CHIP TYPE: AL324 64BLT ARM CORTEX A57 4 CORE; MEMORY: 2 GB; HARD DRIVE: 4 TB X 4 NAS HDD; NETWORK CARD: 1.7GHZ; DRIVE: NAS HDD; POWER SUPPLY: 220 VAC; PROCESSOR CLOCK SPEED: 1.7G (4cores) HZ; OEM P/N: TS-432PXU-RP-2G; WITH REDUNDANT POWER, RACK MOUNT NAS SERVER WITH 4 X NAS HDD 2 GB UDIMM DDR4 1 X 2GB, 2 X 2 5 GBE AND 2 X 10GBE NETWORK CARDS. 2 5GBE NETWORK CARDS S/NO REAL TEK RTL 6125 RJ45, 10GBE NETWORK CARD S/NO ANNA PURNA - SFP + RJ45 |  |  | ea | 8 |  |
| 0744617 |  | PRINTER, MULTIFUNCTIONAL: |  | PRINTER, MULTIFUNCTIONAL: TYPE: COLOR LASER; PRINT CAPACITY: WD 210 x LG 297 MM; OEM P/N: M555DN 7ZU78A; SUPPLY 220 VAC |  |  | ea | 20 |  |
| 0744621 |  | COMPUTER, PERSONAL: MEMORY: 8 GB |  | COMPUTER, PERSONAL: MEMORY: 8 GB; PROCESSOR CLOCK SPEED: 3.4 G HZ; MEMORY TYPE: UDIMM 288 PIN; PROCESSOR CHIP TYPE: INTEL CORE 13; DATA STORAGE CAPACITY: 1 TB; SCREEN SIZE: 24 IN; NETWORK: PCLE ETHERNET; CONNECTIONS: PCLE ETHERNET; UNIT DESIGN: THINK STATION; OEM P/N: 6DU7000-OXMOO-8XAO; CLIENT SPPA-T3000 R8 2 SP3, P340 SFF, WITH NVIDIA GRAPHICS QUADRO P620 2 GB GDDR 5 512 CUDA CORE CARD; (5M30Z71648), (WDIOEZEX) |  |  | ea | 20 |  |
| 0744645 |  | COMPUTER, SERVER: UNIT TYPE: RACK MOUNT |  | COMPUTER, SERVER: UNIT TYPE: RACK MOUNT; PROCESSOR CHIP TYPE: INTEL XEON SILVER 4110; MEMORY: 64 GB; HARD DRIVE: 2 X 1.2 TB SAS 10 K; NETWORK CARD: HPE ETHERNET 1GB 4 PORT 366T ADAPTOR; DRIVE: 10 000 RPM SAS; POWER SUPPLY: 220 VAC; PROCESSOR CLOCK SPEED: 2.1G (2 X ROCESSORS) HZ; OEM P/N: 6DU7042-0XG00-8XA0; HPE PROLIANT DL360 GENIO, 64GB RAM, HPE ETHERNET 1GB 4 PORT 3661T ADAPTOR NETWORK CARD WITH 2 X HOTSWAP POWER SUPPLY |  |  | ea | 8 |  |
| 0737282 |  | SENSOR: TYPE: PAIR, FLOW; RATING: -40 TO 120 DEG |  | SENSOR: TYPE: PAIR, FLOW; RATING: -40 TO 120 DEG C; MODEL NO: SITRANS FSS200-D3; ULTRASONIC; SUPPLY 90-250 V; OUTPUT 4-20 A; OUTER DIAMETER RANGE 203-610 MM; INCLUDING MOUNTING FRAME, COAX PVC CABLES, F-CONNECTOR; SUBMERSIBLE UP TO 10 M; RANGE: 0-12 METER PER SECOND |  |  | ea | 50 |  |
| 744614 |  | SWITCH, NETWORK: TYPE: SCALANCE SC636-2C; |  | SWITCH, NETWORK: TYPE: SCALANCE SC636-2C; PORT TYPE: 6 X RJ45, 2 X COMBO; OEM P/N: 6GK5636-2GSOO-2AC2; INDUSTRIALSEC URITY APPLIANCE PROTECTION OF DEVICES AND NETWORKS |  |  | ea | 8 |  |
| 744616 |  | SWITCH, NETWORK: TYPE: SCALANCE SC636-2C; |  | SWITCH, NETWORK: TYPE: SCALANCE SC636-2C; PORT TYPE: 5 X RJ45, 3 X MM FO ST. 1 X CONSOLE; OEM P/N: 6GK5205-3BB00-2AB2; SCALANCE XB205-3 MANAGEABLE LAYER 2 IE SWITCH 5 X 10/100 MBITS RJ 45 PORTS |  |  | ea | 2 |  |
| 744646 |  | SWITCH, NETWORK: TYPE: SCALANCE XC208G; PORT |  | SWITCH, NETWORK: TYPE: SCALANCE XC208G; PORT TYPE: 8 X RJ45; OEM P/N: 6GK5208-OGAOO-2AC2; XC208G MANAGEABLE LAYER 2 IE SWITCH 8 X 10/100/1000 MBITS RJ 45 PORTS, 1 X CONSOLE PORT OFFICE FEATURES (RSTP, VLAN) PROFINET 10 DEVICES, DIAGNOSTICS LED REDUNDANT POWER SUPPLY IEC 624434-2 CERTIFIED IEEE 1588V2 PTP, DIN RAIL S7 MOUNTING RAIL/WALL REDUNDANCY. ETHERNET IP-COMPLAINT C-PLUG SLOT |  |  | ea | 4 |  |
|  |  | Description of the goods |  |  |  |  | Unit | Maximum Quantity In 5 Years Period |  |
|  |  | PRESSURE SWITCHES |  |  |  |  |  |  |  |
| 189813 |  | SWITCH PRESS:0.2-1.6; DIF 0.04; MAX 6;24 |  | SWITCH, PRESSURE: RANGE: 0.2-1.6; DIF 0.04; MAX 6 BAR; POTENTIAL: 24 VDC; CURRENT: 8 A; ACTION: SPST; CONNECTION: 1/2 IN-BSP; E |  |  | ea | 50 |  |
| 122535 |  | SWITCH PRESS:GP;2-2.5 BAR;250 V;8 A;SPDT |  | SWITCH, PRESSURE: TYPE: GENERAL PURPOSE; RANGE: 2-2.5 BAR; POTENTIAL: 250 V; CURRENT: 8 A; ACTION: SPDT; CONNECTION: BOTTOM 1/2 |  |  | ea | 50 |  |
| 122537 |  | SWITCH PRESS:1-75 PSI;250 V;10 A;SPDT;AL |  | SWITCH, PRESSURE: RANGE: 1-75 PSI; POTENTIAL: 250 V; CURRENT: 10 A; ACTION: SPDT; CONNECTION: BOTTOM 1/2 IN-NPT; ENCLOSURE RATI |  |  | ea | 150 |  |
| 207461 |  | SWITCH PRESS:0.2-1.6; MAX 6 BAR;IP65 |  | SWITCH, PRESSURE: RANGE: 0.2-1.6; MAX 6 BAR; ENCLOSURE RATING: IP65; MODEL NO: DCM 1-351; SWITCHING DIFFERENCE MEAN VALUE 0.04 |  |  | ea | 100 |  |
| 121729 |  | SWITCH PRESS:3-16 BAR;250 V;10 A;SPDT |  | SWITCH, PRESSURE: RANGE: 3-16 BAR; POTENTIAL: 250 V; CURRENT: 10 A; ACTION: SPDT; CONNECTION: BOTTOM 1/2 IN-NPT; ENCLOSURE RATI |  |  | ea | 150 |  |
| 122536 |  | SWITCH PRESS:CGE;0-0.36 PSI;250 V;10 A |  | SWITCH, PRESSURE: TYPE: CGE; RANGE: 0-0.36 PSI; POTENTIAL: 250 V; CURRENT: 10 A; ACTION: SPDT; CONNECTION: BOTTOM 1/2 IN-NPT; E |  |  | ea | 150 |  |
| 149974 |  | SWITCH PRESS:GP;0.75-20 PSI;250 VAC;10 A |  | SWITCH, PRESSURE: TYPE: GENERAL PURPOSE; RANGE: 0.75-20 PSI; POTENTIAL: 250 VAC; CURRENT: 10 A; ACTION: SPDT; CONNECTION: BOTTO |  |  | ea | 50 |  |
| 122542 |  | SWITCH PRESS:VACUUM;0-30 IN;250 V;15 A |  | SWITCH, PRESSURE: TYPE: VACUUM; RANGE: 0-30 IN; POTENTIAL: 250 V; CURRENT: 15 A; ACTION: SPDT; CONNECTION: BOTTOM 1/4 IN-FNPT; |  |  | ea | 20 |  |
| 121764 |  | SWITCH PRESS:DUAL DIFFERENTIAL;0-6 BAR;8 |  | SWITCH, PRESSURE: TYPE: DUAL DIFFERENTIAL; RANGE: 0-6 BAR; POTENTIAL: 250 V; CURRENT: 8 A; ACTION: SPDT; CONNECTION: 1/4 IN-FNP |  |  | ea | 150 |  |
| 121765 |  | SWITCH PRESS:AIR;150-600 MBAR;250 V;8 A |  | SWITCH, PRESSURE: TYPE: AIR; RANGE: 150-600 MBAR; POTENTIAL: 250 V; CURRENT: 8 A; ACTION: SPDT; CONNECTION: BOTTOM 1/2 IN-BSP; |  |  | ea | 50 |  |
| 121766 |  | SWITCH PRESS:AIR;250 V;8 A;SPDT |  | SWITCH, PRESSURE: TYPE: AIR; RANGE: 200-600 MBAR; MAX 16 BAR; POTENTIAL: 250 V; CURRENT: 8 A; ACTION: SPDT; CONNECTION: BOTTOM |  |  | ea | 150 |  |
| 121767 |  | SWITCH PRESS:AIR;0.5-2.5; MAX 16 BAR;250 |  | SWITCH, PRESSURE: TYPE: AIR; RANGE: 0.5-2.5; MAX 16 BAR; POTENTIAL: 250 V; CURRENT: 8 A; ACTION: SPDT; CONNECTION: BOTTOM 1/2 I |  |  | ea | 300 |  |
| 121768 |  | SWITCH PRESS:AIR;0-25; MAX 60 BAR;250 V |  | SWITCH, PRESSURE: TYPE: AIR; RANGE: 0-25; MAX 60 BAR; POTENTIAL: 250 V; CURRENT: 8 A; ACTION: SPDT; CONNECTION: BOTTOM 1/2 IN-NPT; ENCLOSURE RATING: IP65; NEMA 13; SUPPL P/N: DCM25-ZF351; ADJUSTABLE DEAD BAND 1.3-6.0 BAR |  |  | ea | 100 |  |
| 121770 |  | SWITCH PRESS:DUAL DIFFERENTIAL;1.25-20 |  | SWITCH, PRESSURE: TYPE: DUAL DIFFERENTIAL; RANGE: 1.25-20 KPA; POTENTIAL: 480 VAC; CURRENT: 15 A; ACTION: SPDT; CONNECTION: 1/4 IN-FNPT; ENCLOSURE RATING: NEMA 13; SUPPL P/N: J120-455; DIAPHRAGM: BUNA-N |  |  | ea | 10 |  |
|  |  | Description of the goods |  |  |  |  | Unit | Maximum Quantity In 5 Years Period |  |
|  |  | SOLENOID VALVES |  |  |  |  |  |  |  |
| 62198 |  | KIT VLV RPR:SOLENOID |  | KIT, VALVE REPAIR: TYPE: SOLENOID; CAT NO: 302-752; REFERENCE NO: 24251 SA; FOR ASCO |  |  | ea | 100 |  |
| 231974 |  | VALVE SLND:1/4 IN;3 WAY;24 VDC;240 KPA |  | VALVE, SOLENOID: PIPE SIZE: 1/4 IN; STYLE: 3 WAY; POTENTIAL: 24 VDC; DESIGN RATING: 240 KPA; BODY MATERIAL: ALUMINIUM; ENCLOSUR |  |  | ea | 450 |  |
| 62401 |  | VALVE SLND:18 MM;4 WAY;220 VAC;140-1035 |  | VALVE, SOLENOID: PIPE SIZE: 18 MM; STYLE: 4 WAY; POTENTIAL: 220 VAC; DESIGN RATING: 140-1035 KPA; CONNECTION: NPT 1/4 IN; BODY |  |  | ea | 100 |  |
| 62494 |  | VALVE SLND:1/4 IN;2/5 WAY;110 VAC;FNPT |  | VALVE, SOLENOID: PIPE SIZE: 1/4 IN; STYLE: 2/5 WAY; POTENTIAL: 110 VAC; DESIGN RATING: 140-1000 KPA; CONNECTION: FNPT; BODY MAT |  |  | ea | 250 |  |
| 134184 |  | KIT VLV RPR |  | KIT, VALVE REPAIR: SUPPL P/N: 302-372 (104/0468); REFERENCE NO: C02C72 |  |  | ea | 600 |  |
| 62505 |  | VALVE SLND:1/2 IN;2 WAY;24 VDC;300 KPA |  | VALVE, SOLENOID: PIPE SIZE: 1/2 IN; STYLE: 2 WAY; POTENTIAL: 24 VDC; DESIGN RATING: 300 KPA; CONNECTION: THD; BODY MATERIAL: BR |  |  | ea | 450 |  |
| 182824 |  | VALVE SLND:1/4 IN;3 WAY;24 VDC;10 BAR;AL |  | VALVE, SOLENOID: PIPE SIZE: 1/4 IN; STYLE: 3 WAY; POTENTIAL: 24 VDC; DESIGN RATING: 10 BAR; CONNECTION: FNPT; BODY MATERIAL: AL |  |  | ea | 350 |  |
| 207407 |  | VALVE SLND:2 IN;24 VDC;18 BAR;FEMALE;BRS |  | VALVE, SOLENOID: PIPE SIZE: 2 IN; POTENTIAL: 24 VDC; DESIGN RATING: 18 BAR; CONNECTION: FEMALE; BODY MATERIAL: BRASS; ENCLOSURE |  |  | ea | 150 |  |
| 62495 |  | VALVE SLND:1/4 IN;2/3 WAY;24 VDC;FNPT;AL |  | VALVE, SOLENOID: PIPE SIZE: 1/4 IN; STYLE: 2/3 WAY; POTENTIAL: 24 VDC; DESIGN RATING: 140-1000 KPA; CONNECTION: FNPT; BODY MATE |  |  | ea | 120 |  |
|  |  | Description of the goods |  |  |  |  | Unit | Maximum Quantity In 5 Years Period |  |
| 244520 |  | SENSOR CNDCTVY:PH;6 M;SS;PANEL |  | SENSOR, CONDUCTIVITY: TYPE: PH; CABLE LENGTH: 6 M; MATERIAL: STAINLESS STEEL; MOUNT: PANEL; MANUF P/N: PD IRI; SUPPLY VOLTAGE 2 |  |  | ea | 15 |  |
| 244521 |  | TRANSMITTER FLW:CONDUCTIVITY;2 MM;220;8 HACH |  | TRANSMITTER, FLOW: TYPE: CONDUCTIVITY; RANGE: 2 MM; OUTPUT: 4-20 MA; SUPPLY: 220 VAC; WORKING PRESSURE: 8 BAR; CONNECTION: 1/2 |  |  | ea | 25 |  |
| 244522 |  | TRANSMITTER FLW:8.8-9 PPM;O/P 4-20 MA;8 HACH |  | TRANSMITTER, FLOW: RANGE: 8.8-9 PPM; OUTPUT: 4-20 MA; SUPPLY: 220 VAC; WORKING PRESSURE: 8 BAR; CONNECTION: 1/2 IN; BODY MATERI |  |  | ea | 25 |  |
| 244523 |  | TRANSMITTER FLW:TURBONY SENSOR;0.2 CM;8 HACH |  | TRANSMITTER, FLOW: TYPE: TURBONY SENSOR; RANGE: 0.2 CM; OUTPUT: 4-20 MA; SUPPLY: 220 VAC; WORKING PRESSURE: 8 BAR; BODY MATERIA |  |  | ea | 20 |  |
| 244524 |  | TRANSMITTER FLW:2 MM;O/P 4-20 MA;220 VAC HACH |  | TRANSMITTER, FLOW: RANGE: 2 MM; OUTPUT: 4-20 MA; SUPPLY: 220 VAC; WORKING PRESSURE: 8 BAR; CONNECTION: 1/2 IN; BODY MATERIAL: S |  |  | ea | 25 |  |
| 244525 |  | TRANSMITTER FLW:8.8-9 PPM;O/P 4-20 MA;8 HACH |  | TRANSMITTER, FLOW: RANGE: 8.8-9 PPM; OUTPUT: 4-20 MA; SUPPLY: 220 VAC; WORKING PRESSURE: 8 BAR; CONNECTION: 1/2 IN; BODY MATERI |  |  | ea | 25 |  |
| 244526 |  | TRANSMITTER FLW:INSERTION;40 DEG C;12-36 BURKERT |  | TRANSMITTER, FLOW: TYPE: INSERTION; RANGE: 40 DEG C; OUTPUT: 4-20 MA; SUPPLY: 12-36 VDC; WORKING PRESSURE: 8 BAR; BODY MATERIAL |  |  | ea | 30 |  |
| 244527 |  | TRANSMITTER FLW:O/P 4-20 MA;220 VAC;8 HACH |  | TRANSMITTER, FLOW: OUTPUT: 4-20 MA; SUPPLY: 220 VAC; WORKING PRESSURE: 8 BAR; BODY MATERIAL: BACALINE; DIAPHRAGM MATERIAL: BAKA |  |  | ea | 24 |  |
| 244517 |  | SENSOR CNDCTVY:2 MM;2.1 M;PLASTIC;25 MM |  | SENSOR, CONDUCTIVITY: CELL CONSTANT: 2 MM; CABLE LENGTH: 2.1 M; MATERIAL: PLASTIC; CONNECTION: 25 MM; MOUNT: PANEL; SUPPL P/N: |  |  | ea | 25 |  |
| 244518 |  | SENSOR CNDCTVY:2 MM;6 M;PLASTIC;25 MM |  | SENSOR, CONDUCTIVITY: CELL CONSTANT: 2 MM; CABLE LENGTH: 6 M; MATERIAL: PLASTIC; CONNECTION: 25 MM; MOUNT: PANEL; SUPPL P/N: 32 |  |  | ea | 25 |  |

Packing / Crating

- The Supplier shall be responsible for the packaging of all Spares delivered to Hendrina Power Station – Main Stores

- All the spares supplied shall be individually wrapped as per the Hendrina Commercial Stock Preservation and Management procedure.

Delivery to Site

- The Supplier shall be responsible for the transportation of all Spares delivered to Hendrina Power Station – Main Stores.

- Ownership will only be transferred to the Purchaser upon payment

Supply before award of contract

The Supplier will provide the following before the contract is awarded

- Material Certificates to be provided by the Supplier upon delivery

Purchaser’s design

- As per OEM Materials Specifications, Quality Control Plan, Welding Procedures, Consumables, Non-Destructive Testing, and post weld heat treatment certificates to be supplied with delivery by Supplier.

Procedure for submission and acceptance of Supplier’s design

- Before the Supplier can deliver must ensure that it’s the correct spares. The Supplier will still be liable to supply the correct spares that will precisely be applicable to Eskom Plant Standards.

Other requirements of the Supplier’s design

- As per OEM and Purchaser’s Specifications.

Use of Supplier’s design

- As per OEM and Purchaser’s Specifications.

Manufacture & fabrication

- As per OEM. Supplier will be required to provide data sheets for all manufactured spares and also provide the pressure testing certificate and material certificates where applicable. Certificates will the be the property of the Purchaser. As per OEM and Purchaser’s Specifications and Drawings.

\

Factory acceptance testing (FAT)

- QC to be done with the end user before and after delivery. Supplier will be required to provide data sheets for all manufactured spares and also provide certification as mentioned in the Technical Specifications above.

Other tests and inspections and commissioning in place of use

- All relevant required certificates and test reports to be supplied

- Additional testing (NDE) by the Purchaser as and when required.

Operating manuals and maintenance schedules

- As requested by end user

Supply Requirements

- The Supply and Delivery of C&I Spares

- No Delivery will be accepted without an official contract release order starting with a 45 number

- All equipment / spares must be on time of required order date

- Transported by road on Suppliers costs and transport

- End user to be informed when delivery will be done at least two days upfront

- No deliveries to be done on Weekend or Public Holiday except on an emergency basis indicated by the Purchaser

- The Supplier must deliver the equipment / spares between 08:30 to 15:30 Mondays to Thursdays and 08:30 to 11:30 on Fridays. No deliveries to be done on weekends unless prior arrangements are made with the Supplier, Purchaser and Stores

- Pallets to convey the batch must be strong enough to carry and transport load at anytime

- Batches to be clearly marked and packed according to the required specifications

Specification of the services to be provided

- Access to site to be arranged before delivery

- No delivery will be accepted without an official contract release order

- Supplier delivery note must indicate partial delivery if partial delivery is made

- The stock number, quantity and material short description must be stated on the delivery note.

- Each delivery to be recorded on receiving register and each delivery note must have a unique number

- Equipment / spares must be well packaged and safely transported

Constraints on how the Supplier Provides the Goods

Programming constraints

- All equipment / spares must be on time of required order date

- End user to be informed when delivery will be done at least two days after the Purchase Order Release was received by the Supplier

- Lead time should be included

Work to be done by the Delivery Date

- All equipment / spares must be on time of required order date

- Transported by road on Suppliers costs and transport

- The Purchaser to acknowledge receipt of goods by stamping and signing the delivery note of the Supplier upon delivery, rejected items to be communicated after the official quality inspection is done on site by the end user of the spares, rejected items to be communicated after the official quality inspection is done on site by the end user of the spares, rejected equipment / spares must be collected and the correct equipment / spares must be supplied within seven days.

- Only spares / equipment specified will be accepted.

- Any spares / equipment that does not meet the specifications will be rejected

Marking the goods

Batches to be clearly marked and packed according to the required specifications as follows:

- Name of Supplier

- Purchase order number

- Material number

- Serial / part number

- Quantity delivered

- Each component must have a unique identification linked to the relevant Supplier

- Short description

Constraints at the delivery place and place of use

- Supplier to have the correct access to site approved

- End user will determine the offloading point at time

- Forklift with driver will be supplied for offloading

- Pallets to convey the batch must be strong enough to carry and transport load at anytime

- Supplier might not be the only Supplier delivering on that day and has to wait for assistance

Cooperating with Others

- Co-operation with others will be from time to time and on a as and when required basis on request by the Purchaser

Services & other things to be provided by the Purchaser or Supplier

- The Purchaser will determine the offloading point at time

- The Purchaser will provide resources to offload the spares / equipment being delivered (Forklift / Crane)

- The Supplier will offload small spares / equipment

- Supplier to provide Safety File and approved by Risk Management

Management meetings

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Risk register and compensation events | TBC | TBA | TBC |
| Overall contract progress and feedback | TBC | TBA | Purchaser, Supplier, |

Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

- Attendance of meetings as required by the Purchaser

- Any meeting requested by the Purchaser or Supplier

Documentation control

- Each instruction, certificate, submission, proposal, record, acceptance, notification, reply and other communication which this contract requires is communicated in a form which can be read, copied and recorded

- Writing is in the language of this contract

- All reports to be discussed, compiled and handed in to the Purchaser

- All communication must be printed and filed in the Purchaser file.

Health and safety risk management

The Supplier shall comply with the health and safety requirements [stated here or contained in Annexure _SHE SPECIFICATIONS 14 RISK SRM - 084 to this Goods Information].

- ALL THE Purchaser Health and Safety Procedures and Regulations to be adhered to by Supplier

- A SHEQ file to be handed in at the SHEQ Department for approval prior to work commencement and kept up to date for the duration of the contract.

SHEQ Policy

Eskom SHEQ Policy

The Purchaser has made a commitment to conduct business with respect and care for people, the environment and assets and that no operating condition or urgency of service justifies exposing anyone to negative risks arising from the Purchaser business

Compliance with the Purchaser SHEQ Policy and applicable Regulations is the responsibility of every employee and Supplier

Supplier’s SHEQ Policy

All Contractors shall have an OHS Policy signed by the CEO of the Supplier and prominently displayed where employees normally report for duty

Singed copy of OHS Policy shall form part of the SHEQ file

SHE Plan Requirements

- Principal Contractor shall develop a suitable and sufficiently documented site specific SHE Plan, based on the scope of work and client SHEQ Specifications

- The SHE Plan must be pre-approved by the client for implementation. The Principal Supplier has a responsibility to send the SHE Plan to the client for approval prior to commencement of work

- The SHE Plan must be applied from the commencement of and for the duration the construction work, which must be updated / reviewed as the work progress / changes.

When a Principal Supplier intends appointing Contractors, the Principal Supplier shall ensure that the Supplier provides and demonstrate a suitable, sufficiently documented and coherent site-specific Health and Safety Plan, based on the client’s SHEQ Specifications and scope of work,

Health and Safety Arrangements

The Supplier ensures that all his personnel attend a Health and Safety Induction course prior to contract starting date, and annual re-induction

The induction course is presented by the Employer’s Safety Risk Department

Employee arrangements are made with Safety Risk Management by the Contractor

The Employer’s Safety Risk Manager visits and inspects the Contractor’s workplace or site yard and the working areas to ensure that tools, machinery and equipment comply with minimum safety requirements

The Supply Manager may instruct the Supplier to stop work, where the Contractor’s personnel fail to conform to safety standards or contravene Health and Safety Regulations

Such stop work is not a compensation event

The Supply Manager may instruct the Supplier to discipline his employee and to submit a disciplinary action report to the Supply Manager

The Supplier implements additional Health and Safety precautions where necessary

Health and Safety

The Supplier complies with the Occupational Health and Safety Act 85 of 1993, as well as per the Employer’s procedures as stipulated below:

- SHEQ Policy 32-727

- The Purchaser’s Procurement and Supply Chain Management Procedure 32-1034

- SHE Requirements for the Purchaser’s Commercial Process 32-726

- Supplier’s Health and Safety Requirements 32-136

- Integrated SHE Organization, Roles and Responsibilities and Statutory Appointments 32-296

- Live Saving Rules 240-62196227

- Working at Heights 32-418

- The Purchaser’s Vehicle Safety Specifications 32-345

- The Purchaser’s Supplier SHEQ Specifications 14RISK SRM-084

Site Regulations and Procedures

Site Regulations

The latest revision of the Purchaser’s Site Regulations form part of this contract

Copies of these procedures are available on request

(Any additional site regulations implemented will be applicable)

Safety Risk Management

“Standards for Health and Safety at Hendrina Power Station – requirements to be met by Contractor

Vehicle and Driver Safety

All drivers, passengers and pedestrians must obey vehicle safety requirements in terms of the National Road Traffic Act, Act No 93 of 1996, as amended, including other relevant provincial or local requirements

Speed Limit

All vehicles must be driven with due consideration for personnel and property

All speed limits will be always adhered to on the premises

Transportation of Passengers: Open LDV’s

With effect of 31 May 2006 no Purchaser’s Employee or Supplier’ would be allowed to transport passengers on the back of open light delivery vehicles (LDV’S)

It is a legal requirement to provide safe transportation of the Purchaser’s and Supplier’s employees – therefor the following will be enforced

The Employer’s Life Saving Rules

Five Life Saving Rules have been developed that will apply to all Employer’s employees, Agents, Consultants and Contractors

- RULE 1: Open, Isolate, Test, Earth, Bond, And / Or insulate before touch – that is any plant operating above 1 000V

- RULE 2: Hook up at heights – no person may work at height where there is a risk of falling

- RULE 3: Buckle up – no person may drive any vehicle for the Employer’s business and / or on the Employer’s premises unless the driver and all passengers are wearing seat belts

The Purchaser takes a “ZERO TOLERANCE” attitude to drivers and passengers who do not wear safety belts when driving in a vehicle for the Employer’s Business and / or on the Employer’s premises

The violation of this very important safety rule as well as any safety rule while performing work for or on behalf of the Purchaser may result in the Purchaser terminating your obligation to perform work in terms of your contract with the Employer.

All occupants must wear their safety belts properly and must never put the shoulder belt under their arm or behind their backs.

Drivers and all passengers must always buckle-up for the sake of themselves and their families

- RULE 4: be sober (no person is allowed to work under the influenced of drugs and alcohol)

- RULE 5: use a permit to work – where an authorization limitation exist, no person shall work without the required permit to work

The Supplier acknowledge that it is fully aware of the requirements of all the above and undertake to employ only people who have been duly authorised in terms of who have received sufficient safety training to ensure that they can comply therewith

The Supplier undertakes not to do, or not to allow anything to be done which will contravene any of the provisions of the Act, Regulations or Safety and Operating Procedures

The Supplier shall appoint a person who will liaise with the Purchaser’s Safety Officer responsible for the premises relevant to this contract

Do safety audits at the Contractor’s premises, its workplaces and on its employees

Refuse any employee, sub-Supplier or agent of the Supplier access to its premises if such person has been found to commit any unlawful act or any unsafe working practice or is found to be not authorised or qualifies in terms of the OHSACT

Issue the Supplier with a work stop order or a compliance order should Purchaser become aware of any unsafe working procedures or conditions or any non-compliance with the ACT, Regulations and Procedures by the Supplier or any of its employees, sub-Contractor or agents

The Contractor’s Health and Safety file is to be submitted for approval to the Purchaser’s Safety Officer before contract commencement

All work stoppages called by the Purchaser to be adhered to

Supplier’s Responsible to ensure that his Letter of Good Standing is valid at all times as stipulated in the Construction Regulations point 7 © and She Specifications 252 (iv) and 3 10

Supplier will not be allowed on site if his Letter of Good Standing is not valid

First Aid and Fire Fighting

Adequate first aid and fire fighting equipment to be provided by the Purchaser

All Supplier’s personnel must have first aid and firefighting training

Fire extinguishers to be provided by the Contractor

Fire Precautions

Any tampering with the Employer’s fire equipment is strictly forbidden

All exit doors, fire escape routes, walkways, stairways, stair landings and access to electrical distribution boards is kept free of obstruction and are not used for work or storage at any time.

Firefighting equipment must always remain accessible.

The Supplier takes the necessary action to safeguard the area to prevent injury and the spreading of the fire

Security, Fire Protection and Safety

The Supplier shall be responsible for ensuring the security of the works, and of his plant, equipment and materials

To that end he shall make adequate provision for access control, lightning and watchman to works where required

Fire Protection

The provision of the Employer’s standard NWS 1494 “Fire Prevention and Protection of Contractor’s premises at New Work Sites” shall be applicable

Safety and Incident Prevention

The Supplier shall implement and maintain an active Site Safety and Accident Prevention Programme in accordance with the Purchaser’s SHEQ Specifications

The overriding regulations will however be in the Occupational Health and Safety Act

- Incident Management, Corrective & Prevention Action Procedure to be adhered to – 14RISK IM PC-019

Reporting of Incidents

The Purchaser follows an accident prevention policy that includes the investigation of all accidents involving personnel and property

This is done with the intention of introducing control measures to prevent a recurrence of the same incidents

The Supplier’s expected to fully co-operate to achieve this objective

The Supply Manager must be informed immediately of an incident

A written report to be submitted to the Purchaser within 24 hours of incident and any damage to property or equipment

NOTE! This report does not relieve the Supplier of his legal obligations to report certain incidents to the Department of Labour, or to keep records in terms of the Occupational Health and Safety Act, and Compensation for Occupational Injuries and Diseases Act

Occupational Health and Safety Act 85 of 1993 – Section 37

In accordance with Section 37 (2) of the Act, the Supplier’s appointment by the Purchaser’s mandatory to assume Health and Safety duties and responsibilities

The Supplier ensures compliance with all requirements of the Act and any instruction or notification that enhances those requirements

The Supplier acknowledges that he is fully aware of all the requirements of the Occupational Health and Safety Act and undertakes to employ only staff who have been duly authorised in terms thereof and who receive sufficient safety training to ensure that they can comply therewith

The Supplier undertakes not to do, and not to allow anything to be done which will contravene any of the provisions of the Act, Regulations or Safety and Operating Procedures.

The Supplier appoints a person who liaise with the Employer’s Safety Officer, responsible for the premises relevant to the contract.

The person appointed shall on request:

- Supply the Purchaser’s Safety Officer with copies of minutes of all Health and Safety Committee meetings, whenever required

- Supply the Purchaser’s Safety Officer with copies of all appointments in respect of employees employed on this contract, in terms of the Act and Regulations and shall notify the Purchaser’s Safety Officer of any changes thereto

The Purchaser may, at any stage during the duration of this contract:

- Perform safety audits at the Contractor’s premises, it’s workplace and its employees

- Refuse any employee, sub-supplier or agent of the Supplier access to its premise if such person is found to commit any unsafe working practise or is found not to be duly authorised nor qualified in terms of the Act

- Issue the Supplier an instruction to stop work should the Purchaser become aware od any unsafe working procedure or condition or any non-compliance with the Act, Regulations and Procedures referred to in the Occupational Health and Safety Act -85 of 1993 and all Regulations made hereunder as well all the Purchaser’s Safety and Operating Procedures

- Any such instruction is not a compensation event

- Furthermore, no amendments to the Act or Regulations or reasonable amendments to the Purchaser’s Safety and Operating Procedures will entitle the Supplier to claim any additional costs or time incurred in complying therewith from the Purchaser

Safety Regulations of the Purchaser

- The Supplier conforms to the Employer’s Plant Safety Regulations

- The Purchaser makes available to the Contractor on request a copy of the latest revision of the Plant Safety Regulations

Barricading / Screens and Scaffolding

the Supplier shall provide and install fixed barricades and warning devices to ensure that equipment and people are not exposed to danger or to prevent access to dangerous areas.

The Purchaser will supply scaffolding if not stated differently in the Works Information.

Arrangements of such must be made at least one week in advance by the Contractor

Tampering of any approved scaffold is not allowed for an adjustment

The Supply Manager should be notified of any adjustments

Environmental constraints and management

The Supplier shall comply with Hendrina Power Station Environmental Management System

This includes the identification, collection, storage, transportation and disposal of waste.

Hazardous waste shall be disposed of in line with the applicable Environmental Legislation

It is important to note that all spilling must be cleaned immediately and reported to the Supply Manager as soon as possible

It is the responsibility of the polluter to clean all spillage and for the rehabilitation of the polluted land

The clean up cost is for the Contractor’s account

Quality

The Purchaser is in the process of implementing an ISO 9001 series, therefore the Supplier will be expected to implement a quality system and maintains the quality system until completion of this contract

The Supplier will comply with the provisions of the ISO 9001 series

The Supplier will work according to the Purchaser’s standards, specifications, guidelines and procedures

Where no standards, specifications, guidelines and procedures are available, the Supplier will work according to the Generation Quality Manual and Professional Guidelines

- Quality Process in Hendrina – 15MNT MSS QCP-0080

- Quality Control Plan and Contract Plan Approval Process Standard 39-71

- SANAS Approved Standards

- QM 58 – Eskom’s Quality Requirements

Invoicing and payment

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s payment certificate.

The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

- Name and address of the Supplier and the Supply Manager;

- The contract number and title;

- Supplier’s VAT registration number;

- The Purchaser’s VAT registration number.

- Description of goods and services provided for each item invoiced based on the Price List.

- Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

- Purchase Order Number

- CPA calculation sheet

- CPA calculation sheet and the invoice for CPA on the invoice to be sent to the Financial Department as per the Employer’s invoicing procedure / instruction

Insurance provided by the Purchaser

Not Applicable

Contract change management

- In a case where one Supplier takes over from another Supplier, the Site Supply Manager must be notified in writing immediately

- The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser

- Changing the Service Information

- Access

- Provision by the Purchaser

- Stopping work

- Work of the Purchaser or others

- Reply to communication

- Changing a decision

- Withholding acceptance

- Delayed tests or inspections

- Change of affected property

- Materials, facilities, etc. for tests

- Purchaser risks

- Assumption about Compensation Events

- Purchaser breach of contract

Provision of bonds and guarantees

Not Applicable

Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier

Will be done as per Eskom assessments, invoicing and payment procedure and requirements

Procurement

Subcontracting

Preferred subcontractors

- Subcontracting will be approved by the Supply Manager if it is required to do subcontracting or as per SD&L requirements – 5% Subcontracting to DHL Pty Ltd Transport

Limitations on subcontracting

- Subcontracting will be approved by the Supply Manager if it is required to do subcontracting or as per SD&L requirements

Spares and consumables

Not Applicable

Other requirements related to procurement

- To be negotiated with the Supply Manager

Cataloguing requirements by the Supplier

- To be communicated with the Supply Manager

List of drawings

Drawings issued by the Purchaser

This is the list of drawings issued by the Purchaser at or before the Contract Date and which apply to this contract.

- As per OEM and Purchaser’s drawings

| Drawing number | Revision | Title |
| --- | --- | --- |

# C3.2	Supplier’s Goods Information

- As per OEM Specifications

- All relevant documentation to be handed in as requested from Purchaser / Supply Manager

This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.

International Chamber of Commerce, Incoterms 2010, Paris, January 2011

Either April 2013 or December 2009 Edition as stated by Purchaser in Contract Data part 1.

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902, or www.ecs.co.za