Environmental Returnables

- ISO 14001:2025 Environmental Policy / Statement of Commitment: A formal statement demonstrating top management commitment to environmental management. Must reference the supply chain, product quality, and climate change considerations as required by the 2025 standard.

- Hazardous Substance Declarations: Lighting spares (fluorescent tubes, HID lamps, batteries in emergency fittings) often contain Mercury (Hg) or Lead (Pb). A declaration must be provided stating whether your products contain any hazardous substances and confirming they are below legal thresholds.

- Material Safety Data Sheets (MSDS): If supplying batteries, capacitors, or lamps containing gas/mercury, MSDS must be provided. This document instructs the power station on how to handle, store, and dispose of the item safely in case of breakage or failure.

- Packaging and Transport Environmental Procedure: A statement confirming that packaging is recyclable or minimal, and that transport logistics are optimized to reduce carbon emissions (aligning with ISO 14001:2025 climate change requirements).

- Spill Response / Emergency Procedure: Specific to the transport and delivery of lighting spares. This procedure outlines how to contain mercury vapor or glass dust to prevent soil contamination in the event of breakage (e.g., a box of fluorescent tubes breaking during delivery).